## ToC
Driving a sustainable future in space cooling
The CoolLIFE project aims to address the need for sustainable solutions to the EU’s rising demand for space cooling in buildings. The project will develop open-source tools which encourage the consideration of green cooling solutions in public and private decision-making, planning, design, and implementation processes.
What will you find in this file? |  | Table of Contents
This file gathers information available in the Member State's reporting to the European Commission about strategies, policies and regulations relevant to sustainable space cooling, and a focus on the national building regulations and financing schemes (public and private) (see Table of Contents on the right): - [Summary] provides an overview of the main information from all sources reviewed - [draftNECPupdate] provides the information identified in the draft update of National Energy Climate Plan (2023) - [CA2020] provides the information identified in the Comprehensive Assessment for heating and cooling (2020 version) - [BuildingRegulation] provides the information identified in the national building regulations - [Public Schemes] and [Private Schemes] provide two lists of financing schemes that promote energy efficiency in buildings and/or efficient space cooling systems - [Adaptation] provides the information identified in the National Adaptation Strategy and/or National Adaptation Plan |  | Summary
draftNECPupdate
CA2020
BuildingRegulation
Public Schemes
Private Schemes
Adaptation
#VALUE! | The CoolLIFE project has received funding from the LIFE Programme of the European Union. Views and opinions expressed are however those of the author(s) only and do not necessarily reflect those of the European Union or CINEA. Neither the European Union nor CINEA can be held responsible for them.

## Summary
COUNTRY: | Austria
Data summary about national policies and regulations
Back to Table of Contents
Tab 1 - National background and strategy
National background and strategy | Austria's draft NECP update emphasizes the importance of cooling within its national energy strategy. Cooling is repeatedly addressed in the country's energy objectives, including specific targets related to energy efficiency and the share of renewable energy in the cooling sector. While cooling is not the primary focus, it is integrated into broader energy planning and decarbonization strategies. Additionally, the NECP mentions adaptation measures for cooling, highlighting the importance of addressing the increasing demand for cooling in the context of climate change and energy efficiency improvements in buildings.
Sources | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy
Tab 2 - Governance
Governance | In Austria, the framework for addressing cooling is integrated within the broader energy strategy, led primarily by the national government. Cooling is considered alongside energy efficiency and renewable energy goals outlined in national plans like the draft NECP update. While there is no dedicated cooling strategy, it is addressed through energy efficiency measures, particularly in building regulations. These regulations, set at the national level, ensure that cooling solutions are aligned with the country’s overall energy transition. Local authorities and stakeholders are engaged in discussions to promote efficient cooling technologies, while incentive schemes help encourage energy-efficient cooling practices.
Sources | draft NECP update 2023
Tab 3 - Links with Adaptation
Links with adaptation | Austria's adaptation issues related to cooling focus heavily on addressing the increasing risk of heatwaves, which are expected to become more frequent and intense due to climate change. The National Heat Protection Plan, updated regularly, involves coordinated efforts at federal, state, and local levels to protect public health during extreme heat events. The plan emphasizes the importance of public awareness campaigns, the preparation of cooling centers, and specific measures to safeguard vulnerable populations such as the elderly and those in urban areas prone to heat island effects. In addition, Austria is developing a heat early warning system to help healthcare facilities, local authorities, and the general public better prepare for and manage the health risks associated with heatwaves. The system will prioritize measures based on detailed climate scenarios, evaluating the effectiveness of interventions like urban greening and adaptation in buildings. This comprehensive approach ensures that cooling measures are integrated into Austria’s broader adaptation and public health strategies, helping mitigate the risks posed by rising temperatures.
Sources | national adaptation strategy, National Heat Protection plan Austria 2024
Tab 4 - Planning processes
Planning processes | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans.
More details | The NECP and related assessments are aligned with Austria’s broader energy and climate goals, such as the Renewable Energy Expansion Act, which targets climate neutrality by 2040. While specific cooling data may still be limited, these assessments form the basis for future policy adjustments. At the regional level, local authorities, particularly in cities like Vienna and Graz, have been developing district heating systems, but there is no legal obligation for municipalities to create specific heating and cooling plans. Consultations with regional and local governments are ongoing, with increasing efforts to make spatial energy planning more consistent across Austria, especially regarding the integration of renewable energy into heating and cooling systems​
Sources | draft NECP update 2023, comprehensive assessment 2020
Tab 5 - National regulations (building level)
How space cooling is addressed in the building regulations | In Austria, space cooling and summer comfort are addressed in the building regulations with an official and clear definition provided. However, specifics on the measures or actions related to space cooling within the regulations are not well defined. The focus appears to be on acknowledging the importance of cooling, but detailed implementation guidelines or strategies are not outlined in the provided data.
Main provisions relevant to space cooling needs or summer comfort | The building regulations set specific provisions to minimize cooling demand. For new buildings, the cooling energy limit is set at 1 kWh/m³ per year, while for major renovations, the limit is 2 kWh/m³ per year. These provisions aim to reduce the need for externally induced cooling and promote energy efficiency in both new constructions and renovated buildings.
Main provisions relevant to the use of space cooling | No specific provisions relevant to space cooling or summer comfort were found
References of the relevant regulations (or other source(s)) | OIB-LEITFADEN RL-6 (https://www.oib.or.at/de/oib-richtlinien/richtlinien/2019/oib-richtlinie-6-leitfaden)
Tab 6 - Regulations on space cooling systems or products
EU regulations and provisions | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives.
National implementation | In Austria, the implementation of EU energy labelling, ecodesign, and F-gas regulations is overseen by national market surveillance authorities. These authorities ensure compliance with EU standards for air conditioning units, cooling systems, and the phase-down of HFCs. Mandatory technician training and regular leak testing of large systems are part of the national enforcement, aligning with EU regulations on energy efficiency and refrigerant use.
References of the relevant regulations (or other source(s)) | https://leap.unep.org/en/countries/at/national-legislation/integrated-national-energy-and-climate-plan-austria
Tab 8 - Financing schemes | See separate file on financing schemes
Overview of public schemes | - Wohnbauförderung (Housing Subsidies) - Neubau in energieeffizienter Bauweise (New building in energy efficient construction) - Abwärmeauskopplung (Waste heat extraction) - Wärme- und Kälteleitungsausbaugesetz (Heating and Cooling Line Expansion Act) -Nah-/Fernwärme Anschluss ≥ 100 kW (District heating connection ≥ 100 kW)
Overview of private schemes | Climate Action Facility Loan (EIB) (Climate Action Facility Loan) - Nachhaltigkeitskredit (Sustainability Loan) - Erste Green Housing (Erste Green Housing) - Financing for Green investments (Financing for Green investments) -Going Green Kredit (Going Green Credit)

## draftNECPupdate
COUNTRY: | Austria
Review of the draft NECP update
Back to Table of Contents | 2023 draft update National Energy and Climate Plans available at: | https://commission.europa.eu/energy-climate-change-environment/implementation-eu-countries/energy-and-climate-governance-and-reporting/national-energy-and-climate-plans_en#national-energy-and-climate-plans-2021-2030
Part 1 - (see particularly Executive summary - section 1.1; and Overview of current policy situation - section 1.2)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | Cooling is repeatedly mentioned and addressed in the assessment of the current status, targets, and policies, but never alone, always in conjunction to heating (except for one section and target on Fluorinated gases). 34 results for "cooling", 1 for "air-conditioning", 4 for "air conditioning", 17 for "heat pump", 0 for other keywords. 2030 Objectives: Sector: Buildings - GHG sector contribution: -3 million t CO2 equivalent compared to 2016 (total contribution) - Measures: Meet the heating and cooling needs of newly constructed buildings, as far as possible without using fossil fuels, and in any event excluding fossil oil. Phase out the use of fossil fuels by replacing them with renewable energy sources for heating, hot water and cooling. Increase the share of efficient renewable energy sources and district heating/cooling systems for heating, hot water and cooling, including component activation, active use of hot water storage and buildings as storage for load balancing and load flexibility. Sector: Energy and industry (non-ETS) - A corresponding quantitative GHG sector contribution will be enshrined in the Climate Protection Act - Measure: Promote the switch to renewable energy sources and energy efficiency measures for heating and cooling Sector: Fluorinated gases - A corresponding quantitative GHG sector contribution will be enshrined in the Climate Protection Act - Measure: Prevent F-gas emissions, in particular through: Implementation of EU law Reduction in the cooling needs of buildings (see also the building measures concerning thermal renovation and standards for new buildings) Qualification in the area of cooling and air conditioning.
Part 2 - National objectives and targets
Section 2.1.1 GHG emissions and removals (particularly if sub-section about buildings)
Any mention about cooling and related aspects? | Not found
Details / explanations | But Part 1 mentioned cooling in 3 objectives: relating to buildings, industry
Section 2.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (ii))
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | Sector-specific shares of energy from renewable sources, measured in terms of gross final consumption of renewable energy (model-based development paths according to the ‘with additional measures’ scenario), Heating and Cooling: current share of 17%, 20% in 2030
Section 2.2 Energy Efficiency (see points (ii) about long-term renovation strategies and (iii) about other objectives)
Any mention about cooling and related aspects? | Not found
Details / explanations
Section 2.4.4 Energy poverty
Does the assessment of energy poverty consider 'summer energy poverty'? | Not found
Details / explanations
Section 2.5 Dimension research, innovation and competitiveness
Any mention about research or innovation related to cooling and related aspects? | Not found
Details / explanations
Part 3 - Policies and Measures (PaMs)
Section 3.1.1 GHG emissions and removals (particularly if sub-section about PaMs for buildings, in point (i))
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | Construction of new buildings: The technologies are already available to ensure that as far as possible, buildings constructed after 2020 will not require fossil fuels for heating, hot water or cooling. These include, for example, component activation, the active use of hot water storage tanks and the use of buildings as storage tanks for load balancing and load flexibility. Fluorinated gases: EU law in the area of fluorinated gases is primarily to be implemented by way of Regulation (EU) No 517/2014, in particular by means of enforcement measures in line with the system of indirect federal administration. In particular, measures will be taken in cooperation with customs authorities to combat illegal trade in fluorinated gases and equipment filled with fluorinated gases and to ensure compliance with the EU quota system. In the building sector, demand for cooling during the summer needs to be reduced (thermal renovation and efficiency standards for new buildings).
Section 3.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (i) and in point (vi) about district cooling)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | i. Policies and measures to achieve the national contribution to the binding 2030 Union target (including sector- and technology-specific measures where appropriate) - Renewable Energy Expansion Act - System Responsibilities: e. ‘Greening the gas’ : In order to guarantee the quality of renewable gases and its provision in the necessary quantities in a comprehensible and transparent way, the electricity sector’s system of guarantees of origin must be transformed in an evolutionary manner. Not least as a requirement for transposing the Renewable Energy Directive 2018, guarantees of origin must be established not only for electricity and gas but also for heating and cooling. - Support Schemes: g. Guarantees of origin for renewable energy: Integrated National Energy and Climate Plan for Austria 153 of 268 Not least as a requirement for transposing the European Renewable Energy Directive 2018, guarantees of origin must be established not only for renewable electricity and gas by way of tradable good for energy sources but also for renewable heating and cooling. iii. Specific measures on financial support, where applicable, including Union support and the use of Union funds, for promoting the production and use of energy from renewable sources in the electricity, heating and cooling, and transport sectors. (only in the title, not in the text) vi. Assessment of infrastructure measures needed for district heating and cooling produced from renewable energy sources: An assessment of infrastructure measures needed for district heating and cooling from renewable Integrated National Energy and Climate Plan for Austria 161 of 268 energy sources will be carried out during the ongoing drafting of the Renewable Energy Expansion Act
Section 3.2 Energy Efficiency (particularly in points (ii) about long-term renovation strategies)
Any mention about cooling and related aspects? | Not found
Details / explanations
Section 3.4.4 Energy poverty
Is any policy measure about energy poverty dealing with 'summer energy poverty'? | Not found
Details / explanations
Section3.5 Dimension research, innovation and competitiveness (particularly in point (i))
Any mention about research or innovation related to cooling and related aspects? | Yes, directly
Details / explanations | Plan for implementing the energy research initiative in the Austrian Climate and Energy Strategy (energy research field) - Innovation Targets, Integrated regional energy systems 2.4 Efficient and effective heating and cooling using available energy supplies (including waste heat) and portfolio offer of thermal services The Development Plans (‘Innovation Activities’) Mission Integrated Regional Energy Systems - IRE.13 Heating and cooling systems Development of components and systems for heating and cooling supply Transnational cooperation - The SET Plan Action 4 Working Group, also organised by Member States, has developed a joint implementation plan in close cooperation with ETIP SNET, ETIP Renewable Heating and Cooling, ETIP PV and ETIP Geothermal. Global initiatives - With the agreement of Austrian stakeholders, participation in Mission Innovation will initially focus on Smart Grids Integrated National Energy and Climate Plan for Austria 206 of 268 (IC1), Heating and Cooling of Buildings (IC7) and Hydrogen (IC8).
Parameters and variables to be reported in Part B (often in a separate annex)
Point 1(13): Cooling Degree Days | Not found
Details / explanations
Other sections of the NECP
Is space cooling mentioned or addressed in other sections of the NECP? | Yes, directly
Details / explanations | 3.3. Dimension 3: Security of energy supply - i. Policies and measures related to diversifying energy supply (including third countries), reducing dependence on imports and increasing the flexibility of the national energy system, in particular through the deployment of domestic energy sources, demand response and energy storage - Maintain efficient existing installations: Key to integrated urban development is a central heating and cooling supply to conurbations which uses waste heat from existing high-efficiency CHP plants, waste incineration, industrial waste heat and the efficient use of heat from biomass plants 3.4.3. Market integration - ii. Measures to increase the flexibility of the energy system with regard to renewable energy such as smart grids, aggregation, demand response, storage, distributed generation, mechanisms for dispatching, re-dispatching and curtailment, real-time price signals, including the roll-out of intraday market coupling and cross-border balancing markets - Making energy systems more flexible - To maximise the use of renewable energy when making efficient use of existing and new infrastructure, flexibility in the energy system must be encouraged, including: Flexibility in consumption (e.g. buffering of thermal energy for heating and cooling building stock, adapting industrial and commercial processes) 4.2.2. Renewable energy - i. Current share of renewable energy in gross final energy consumption and in different sectors (heating and cooling, electricity and transport) as well as per technology in each of these sectors - In Austria in 2016, the share of renewable energy within the gross final consumption of energy was 33.5%. The target of 34% by 2020 is therefore already in sight. With regard to energy use for heating and air conditioning, the share of renewable energy in 2016 was 33.3%. 4.3. Dimension: Energy efficiency ii. Current potential for the application of high-efficiency cogeneration and efficient district heating and cooling - In Austria, significant use is already being made of high-efficiency cogeneration and efficient district heating and cooling. Grid densification is ongoing. The area of households and services includes a further slight increase in district heating in the ‘with existing measures’ scenario. 4.6. Dimension: Research, Innovation and Competitiveness - i. Current situation in the low-carbon-technologies sector and, to the extent possible, its position on the global market (that analysis is to be carried out at European and/or global level) Roadmaps and research strategies: R&D roadmap for district heating and cooling (2015) https://www.klimafonds.gv.at/wp-content/uploads/sites/6/FEFahrplanFernwaermeFernkaelte.pdf Innovative energy technology in Austria – 2017 market developments e) Heat pumps: ... Efforts are also focused on the development of new energy services, e.g. cooling and air-conditioning, and building drainage in the renovation sector. 5.2. Impacts of the planned policies and measures described in Section 3 on the economy and, where possible, on health, environment, employment and education, skills and social conditions including aspects regarding the just transition (in the form of costs, benefits and cost efficiency) at least until the final year of the plan’s validity period with a comparison against the projections given in the current policies and measures. - Thermal building renovation and building cooling (including operational buildings) are also relevant for climate change adaptation and have a positive impact on human health (e.g. when the weather is hot). 5.3. Overview of required investments - Investment area: Heating and cooling (buildings and industry), Overall investments for entire period to 2030: 29,728 (EUR million)
Complementary information about financing schemes promoting building renovation (in point (i) and/or (ii) of section 3.2 of the draft NECP update)
Does the draft NECP update provide information about schemes for building renovation?
General comments | Only the renovatin check, of the renovation offensive, and the oil phase out bonus are mentioned expliccitely, but the mapping of financial instruments listed many more schemes
Name of the scheme 1 | 3.1.1 i. Renovation Initiative - The Federal Government (together with the provinces) provides funding under the renovation initiative (and paid via the Domestic Environmental Support scheme) not only for private households or building owners for building renovations (‘renovation vouchers’) but also for businesses’ commercial premises.
Name of the scheme 2 | 3.1.1 i. Oil Phase-out Premium - As part of the renovation initiative 2019, the Federal Government in conjunction with the provinces introduced a funding priority to phase out fossil-fuel powered heating systems in residential housing (‘Oil Phase-Out Premium’ [Raus aus dem Öl-Bonus] as part of the Domestic Environmental Support scheme (non-ETS sector)). In 2019, EUR 62.7 million was made available for the ‘Oil Phase-Out Premium’, including the renovation check and thermal renovation measures in buildings used for commercial purposes.
Name of the scheme 3 | Thermal energy renovation (mentions funding, but not the scheme name) • The Federal Government and the provinces are working together on a definition for the concept ‘thermal renovation rate’. • Based on this definition, the objective is to double the renovation rate for the period 2020-2030. Comprehensive renovation works may also be carried out in stages under multi-annual renovation plans. Given the current decline in renovation works, considerable extra effort and a coordinated mix of measures are required. Cost-optimal levels will apply in any case to renovation (and part-renovation). – Targeted funding for building renovation works in the form of investment grants, subsidised financing models and tax measures, is being examined and implemented. The right mix of measures can ensure an efficient and administratively sound system. – Part-renovation in particular will also be funded, but only if there is an overall thermal-energy renovation plan and the part-renovation works fit into the overall renovation plan. In this way, it will be guaranteed as far as possible that partrenovation works lead to complete renovation. – Regulatory requirements, e.g. socially-responsible renovation requirements and price signals are also under discussion. The possibility of setting price signals is being examined with an overall systematic approach.
etc
Note on A48: add here the name of the scheme
Note on A49: add here the name of the scheme
Note on A50: add here the name of the scheme
Note on A51: add here the name of the scheme

## CA2020
COUNTRY: | Austria
Review of the Comprehensive Assessment 2020
The parts / sections mentioned below are the ones listed in Annex VIII of the initial Energy Efficiency Directive 2012/27/EU (as amended by regulation (EU) 2019/826)
Back to Table of Contents |  | Comprehensive Assessements available at: | https://energy.ec.europa.eu/topics/energy-efficiency/heating-and-cooling_en#comprehensive-assessments-on-efficient-heating-and-cooling
Criteria | Yes/No categorisation | Explanations / comments
Information reported on Part II (Objectives, strategies and policy measures)
Point 5: planned contribution of the Member State to its national objectives and targets (through efficiency in heating and cooling)
Any objective/target in terms of reductions of GHG emissions specifically from cooling? | No clear target | The government set no targets for H&C, so they could not be reported here.
Any objective/target in terms of share of RES specifically from cooling? | No clear target | The government set no targets for H&C (jointly).
Any objective/target in terms of contribution specifcally from cooling to the energy efficiency target | No clear target
Other objectives/targets mentioned about or relevant to cooling? | not applicable
Other comments or explanations related to objectives and targets mentioned in the Comprehensive Assessment (when relevant to how space cooling is addressed) |  | Austria committed to achieve carbon neutrality by 2040, and supply electricity consumption from 100% domestic renewables by 2030. The RED Recast set two tagets for H&C that Austria must meet: an annual increase of 1.3% renewable energy in heating and cooling and 1% in district heating and cooling until 2030. Austria has a quantitative target in the NECP of emission reductions in the building sector (3 Mt CO2eq between 2016 and 2030).
Point 6: information on existing policies and measures related to heating and cooling
Information about a strategy, umbrella framework or overall planning for heating and cooling? | Yes, with info relevant to space cooling | The CA reports the measures listed in the NECP: - Measures with an impact on the Dimension Energy efficiency until 2030: increase in the share of efficient renewable energy sources and district heating/cooling for heating, hot water and cooling, including component activation, active use of hot water storage systems and buildings as storage for load balancing and increased load flexibility, - Measures with an impact on decarbonisation: the necessary infrastructure measures in the areas of district heating and cooling from renewable energies will be assessed in connection with the current drafting process for the Renewable Expansion Act. An Integrated Network Infrastructure Plan is also being developed at present; development of components and systems for heating and cooling supply - Other actions: The Austrian Heating and Cooling Network Expansion Act uses investment subsidies to achieve CO2 savings and increase energy efficiency. The creation of cooling grids is designed to curb the increase in electricity consumption for air-conditioning and to make cost-effective use of existing heat and waste heat potential, particularly on an industrial scale.
Information about building regulation(s)? | Yes, but nothing related to space cooling | Measures with an impact on the Dimension Energy efficiency until 2030: - transposition of Directive 2012/27/EU in the version of Directive 2018/2002/EU, including measures in the buildings sector, - doubling of the renovation rate, - subsidies, regulatory law, identification and gradual abolition of counterproductive incentives and grants, - phase-out of liquid fossil fuels. Step-by-step plan for the phase-out of oil and coal in the buildings sector, - for new builds (from 2020), - for replacement heating systems (from 2021), - mandatory replacement of boilers older than 25 years (from 2025), - replacement of all boilers by 2035 at the latest,
Information about financial incentives for energy efficiency in buildings? | Yes, but nothing related to space cooling | Measures with an impact on the Dimension Energy efficiency until 2030: (same as in the previous point) - subsidies, regulatory law, identification and gradual abolition of counterproductive incentives and grants,
Information about measures related to cooling systems (e.g. standards, labelling, incentives)? | Not found
Information about measures to develop RES for cooling (or RES for heating&cooling)? | Yes, with info relevant to space cooling | Considerations from the assessment more tahn actual measures. The decarbonisation of the heating and cooling supply in Austria is possible, but only under some key assumptions and framework conditions, such as extensive efforts to renovate buildings, parallel decarbonisation of electricity generation and the successful integration of industrial waste (/excess) heat accompanied by the decarbonisation of industry.
Information about measures for district cooling (or district heating&cooling)? | Yes, with info relevant to space cooling | The share of district heating depends above all on the connection rate that can be achieved in the district heating regions, which in turn is strongly related to the spatial energy planning framework conditions. Depending on the achievable connection rate, an economic potential for district heating is calculated from about 20% to over 50%. Concerning the technology mix of district heating supply, the following statements can be made: - Under the assumptions made in this study, renewable gas does not prove to be a cost-effective option for decarbonising the sector. - Biomass continues to represent a significant share of the renewable heat supply, both decentralised and in district heating. It can be observed that in the scenarios with low efficiency increases, the pressure on the use of biomass resources would increase very strongly. - It can be seen that heat pumps play an essential role not only in decentralised applications, but also in district heating. - The role of thermal power plants and CHPs in a future renewable electricity system was not the focus of this study. In the sense of high fuel utilisation, heat extraction from existing thermal power plants should definitely be strived for. Until 2050, however, the analyses show that gasfired CHP plants will only be used with relatively low full load hours. - Large solar thermal plants can be an economically viable option, although there is a strong dependence on the overall structure of the generation portfolio on the one hand, and on the achievable cost reductions on the other; these in turn scale strongly with the size of the plants. - The use of large thermal storage systems is shown to contribute significantly to the economic operation of the heating networks. At the same time, there are significant uncertainties regarding the associated costs, which depend not least on the exact location.
Information about other type(s) of measure that could be relevant to space cooling? | Not found
Summary comments about the policies and measures mentioned in the Comprehensive Assessment (as regards aspects relevant to space cooling)
Information reported on Part IV (Potential new strategies and policy measures)
Point 9: overview of new legislative and non-legislative policy measures to realise the economic efficiency potential in heating and cooling
Any reference to a national multi-annual strategy or planning (other than the NECP)? | Yes, but nothing related to space cooling | Federal Government’s Climate and Energy Strategy (mission2030), the Renewable Expansion Act, the Integrated Network Infrastructure Plan.
Information on development(s) planned or under discussion about regulations for new buildings? | Not found
Information on development(s) planned or under discussion about measures for the renovation of existing buildings? | Not found
Information on development(s) planned or under discussion about measures for cooling systems (e.g. about standards, labelling, incentives)? | Not found
Information on development(s) planned or under discussion about measures to develop RES for cooling? | Not found
Information on development(s) planned or under discussion about measures to develop district cooling? | Yes, with info relevant to space cooling | According to the draft of the Austrian Heating and Cooling Network Expansion Act, parties submitting an application for funding under this Act should therefore be obliged to submit a changeover plan for their existing network in which they explain how they intend to achieve a share of up to 80% renewables in their provision of district heating or district cooling by 2030 (decarbonisation pathway). As part of this process, applicants should describe the necessary measures and timetable for the changeover and quantify the anticipated greenhouse gas (GHG) savings. The changeover plans should serve as a basis for the gradual renovation of the networks, taking due account of municipal heating plans. It is planned that renewable energy communities for local heating networks will be exempt from this obligation, since these communities are by definition based entirely on renewable energy sources, rendering a decarbonisation pathway unnecessary.
Information on development(s) planned or under discussion about other type(s) of measure? | Not found
Summary comments about policy developments planned or under discussion (as regards aspects relevant to space cooling) |  | Austria has 3,229 HDD and 26 CDD, therefore, cooling is almost always mentined together with heating, but it is not really a priority, and the decarbonization of cooling is integrated mostly in the decarbonization fo the electricity supply. Nonetheless there are some DHC neworks providing also cooling (e.g., in Vienna)
Information reported on Part I (Overview of heating and cooling)
Point 1: Heating and cooling demand in terms of assessed useful energy and quantified final energy consumption in GWh per year by sectors
Does the comprehensive assessment include separate data on cooling consumption? | Not found
Any other more disaggregated data on cooling consumption/demand? | Not found
Point 3: Map covering the entire national territory identifying heating and cooling demand areas, existing and planned heating and cooling supply points
Does the map / assessment cover cooling demand (or only heating)? | No, only map about heating
Point 4: Forecast of trends in the demand for heating and cooling (which is supposed to take into account the expected impacts from the long-term renovation strategy)
Does the comprehensive assessment include separate forecast data on future cooling consumption? | Not found | Only for heating
other comment(s) on data about energy consumption/demand or cooling technologies
Information reported on Part III (analysis of the economic potential for efficiency in heating and cooling
Does the analysis deal with cooling as well? | No (analysis on heating only)
Does the comprehensive assessment include cost data about cooling technologies? | Not found
other comment(s) on cost data or the cost-benefit methodology
other comment(s) about the comprehensive assessment

## BuildingRegulation
COUNTRY: | Austria |  | Back to Table of Contents
BUILDING REGULATIONS
HOW SPACE COOLING OR SUMMER COMFORT IS ADDRESSED IN THE BUILDING REGULATIONS
DEFINITION(S) (about space cooling or summer comfort; in building regulations)
Data field | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
clear definition(s)? | Yes = an official and clear definition is included Unclear = a definition or some elements close to a definition are included, but this remains vague | Yes
Definition(s) |  | Energy needs: The cooling requirement is the amount of heat that has to be removed from the rooms in order to stay below the target temperature. It is calculated from the unusable internal and solar gains. Final energy demand: In the cooling energy requirement, the losses of the cooling system and the provision of cooling are taken into account in addition to the cooling requirement
ENERGY PERFORMANCE CALCULATION (energy performance of the building)
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Is space cooling considered in the calculation methodology? | "Yes, in global performance" = when energy demand related to space cooling or summer comfort is taken into account for calculating the global energy performance of the building "Yes, separately" = when energy demand related to space cooling or summer comfort is taken into account only separately (e.g. to set specific requirements on the cooling demand) "Unclear" = when the calculation methology does not make it clear whether and how space cooling would be taken into account | Yes, in global performance | ÖNORM B 8110-5:2019-02, which provides the methodology for the calculation of energy use for space heating and cooling, domestic hot water, ventilation, and lighting, includes the cooling energy demand in the calculation. The calculation methodology accounts for various factors such as the cooling load of the building, the efficiency of the cooling system, and the cooling setpoints to determine the amount of energy needed to cool the building. | OIB-LEITFADEN RL-6 | https://www.oib.or.at/sites/default/files/leitfaden_richtlinie_6_12.04.19.pdf
Any difference between residential and non-residential? |  | Yes | Residential: occupant number, internal gains, solar gains Non Residential: size of building, occupant number, type of cooling system, control strategies
MINIMUM ENERGY PERFORMANCE REQUIREMENTS
Any requirement in terms of maximum allowed cooling demand? | (more details and other type(s) of requirements can be described below, per type of building)
1) NEW BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone | Global and specific | no externally induced cooling demand must occur and if summer-overheating does not exceed a certain temperature threshold | OIB Richtlinie 6 | https://www.oib.or.at/sites/default/files/leitfaden_richtlinie_6_12.04.19.pdf
Details about the requirements for new residential buildings |  | no externally induced cooling demand must occur and if summer-overheating does not exceed a certain temperature threshold
Details about the requirements for new non-residential buildings |  | New Building : 1 kWh/m3. year
Other main requirements related to space cooling or summer comfort
2) EXISTING BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone | Global and specific | OIB Richtlinie 6 requires that buildings must be renovated to provide comfortable indoor temperatures during the summer months, without the need for excessive use of mechanical cooling systems. The maximum indoor temperature is set at 26°C during the day and 28°C at night. | OIB-RICHTLINIE 6 | https://www.oib.or.at/sites/default/files/richtlinie_6_12.04.19_1.pdf
Details about the requirements for existing residential buildings |  | Only for major renovation, no externally induced cooling demand must occur and if summer-overheating does not exceed a certain temperature threshold
Details about the requirements for existing non-residential buildings |  | Major Renovation: 2 kWh/m3.year
Other main requirements related to space cooling or summer comfort
REGULATIONS (OR STANDARD VALUES) ABOUT THE USE OF SPACE COOLING
SETPOINT and/or COMFORT INDOOR TEMPERATURE (when mentioned in regulations, either as mandatory or indicative / standard assumption)
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any comfort indoor temperature(s) defined? | (whatever mandatory or indicative; considering sector coverage, i.e. residential and/or non-residential) | yes for both | The maximum indoor temperature is set at 26°C during the day and 28°C at night.
type of value | "minimum not to exceed" = mandatory, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand | none found | No definition of the set point temperature for the cooling technologies
value (in °C) (residential)
type of value
value (in °C) (non-residential)
COOLING SEASON
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any requirement related to the annual duration for which the standard comfort would not be met or would require extra cooling demand? | (considering sector coverage, i.e. residential and/or non-residential) | not found | The regulations aim at avoiding the need for air-conditioning systems.
some kind of cooling season defined? (i.e. period when cooling is allowed and/or standard cooling period used as assumption in modelling, contracts, etc.) | "mandatory" = to be complied with, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand | none found
details about the cooling season | (e.g. period/duration, exceptions / cases not subject to limitation of use, etc.)
REGULATIONS FOR COOLING OR AIR-CONDITIONING SYSTEMS
MAINTENANCE AND INSPECTION OF AIR-CONDITIONING SYSTEMS (implementation of Article 15 of EPBD)
MANDATORY INSPECTIONS or ALTERNATIVE APPROACH (implementation of EPBD Art.15(1) and (3))
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Approach used to implement Art.15 of the EPBD (inspection of large aid-conditioning systems) | "mandatory regulary inspections" = Art.15(1) "alternative approach" = Art.15(3) (alternative information measures) "unclear" = when no official reporting available about implementation of Art.15 |  |  | Possible source to start from: country reports 2020 of the CA EPBD (see section "2.IV.vi. Progress and current status on AC systems" in the country reports) MS reports submitted in 2014 (in case of alternative approaches) | CA EPBD country reports: https://epbd-ca.eu/database-of-outputs MS reports submitted in 2014: https://scientificnet.sharepoint.com/:f:/r/sites/CoolLIFE2/Shared%20Documents/General/WP4_Policies/Sources/EPBDart15_MSreports2014?csf=1&web=1&e=atJAyX
Sector coverage / differences | Are the provisions to implement Art.15 covering both, residential and non-residential buildings? And in the same way?
Scope for the mandatory inspections or alternative measures | Size threshold(s) (e.g. effective rated output of 70 kW set in Art.15, but it can be lower in national regulations), and whether different thresholds apply according to building segments or types of provisions + possible exemptions
Details about the mandatory inspections or alternative measures | Short description about the main provisions in national regulations to implement EPBD Art.15(1) or (3)
Requirements on BACS or other monitoring systems (implementation of EPBD Art.15(4) and (5))
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Regulation on BACS (Building Automation and Control System) for large AC in non-residential buildings (EPBD Art.15(4)) | "Already in force" = requirements on BACS already in force "Deadline set" = deadline of 2025 (or earlier) including in legislation "Provision planned" = legislation not yet adopted, but planned "Unclear" = no official information found on national implementation of Art.15(4)
Provisions on monitoring systems for AC in residential buildings (EPBD Art.15(5)) | "Mandatory requirements" = a regulation set mandatory requirements "Other types of measures" = no mandatory requirement, but informative or other type(s) of measure(s) promoting the use of monitoring systems
Details about provisions on BACS and other monitoring systems | Short description about the main provisions in national regulations or policies to implement EPBD Art.15(4) and (5)

## Public Schemes
ID | Country | Level | Scheme Name (EN) | Scheme Name (local) | Building Eff | H&C Eff | H&C RES | DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Start-End Year | Description | Rephrase | Budget | Above 500 characters | Start | End Year | Geothermal | Cooling | Air conditioning | Supported measures | Total Budget | Yearly Budget
1 | Austria | National | Housing Subsidies | Wohnbauförderung | Y |  |  |  |  | Y |  | Grant/Subsidy | https://www.oesterreich.gv.at/themen/bauen_wohnen_und_umwelt/wohnen/2.html | http://www.bmwfw.gv.at/ https://www.help.gv.at/Portal.Node/hlpd/public/content/21/Seite.2103 National law setting the framework for regional laws offering subsidies or soft loans for buying, building or renovating a property (→ Bundesländer ) Burgenland: https://www.oesterreich.gv.at/themen/bauen_wohnen_und_umwelt/bauen/3/Seite.2260403.html Kärnten: https://www.oesterreich.gv.at/themen/bauen_wohnen_und_umwelt/bauen/3/Seite.2260404.html Niederösterreich: https://www.oesterreich.gv.at/themen/bauen_wohnen_und_umwelt/bauen/3/Seite.2260405.html Oberösterreich: https://www.oesterreich.gv.at/themen/bauen_wohnen_und_umwelt/bauen/3/Seite.2260406.html Salzburg: https://www.oesterreich.gv.at/themen/bauen_wohnen_und_umwelt/bauen/3/Seite.2260407.html Steiermark: https://www.oesterreich.gv.at/themen/bauen_wohnen_und_umwelt/bauen/3/Seite.2260408.html Tirol: https://www.oesterreich.gv.at/themen/bauen_wohnen_und_umwelt/bauen/3/Seite.2260409.html Vorarlberg: https://www.oesterreich.gv.at/themen/bauen_wohnen_und_umwelt/bauen/3/Seite.2260410.html Wien: https://www.oesterreich.gv.at/themen/bauen_wohnen_und_umwelt/bauen/3/Seite.2260411.html | 1965-ongoing | Regional laws that offer funding to buy, build or renovate a property through one-time grants, interest or annuity subsidies, state or own funds replacement loans, and guarantees. (A National law sets the framework for all federal state laws, different from region to region) |  | 2.287.130.000 (516.860.000 for renovation) | 0 | 1965 | ongoing | #VALUE! | #VALUE! | #VALUE!
2 | Austria | National | New building in energy efficient construction | Neubau in energieeffizienter Bauweise | Y | [5 empty] | Y | Grant/Subsidy | https://www.umweltfoerderung.at/betriebe/neubau-in-energieeffizienter-bauweise | https://www.klimaaktiv.at/foerderungen/foerd-neubau-2017.html | 2004-ongoing | Funding is provided for the construction of new buildings that are predominantly used for business purposes and that fall significantly short of the requirements of the OIB guideline. |  | 11.837.225 total in 2020-2022 | 0 | 2004 | ongoing | #VALUE! | #VALUE! | #VALUE!
3 | Austria | National | Waste heat extraction | Abwärmeauskopplung |  | (Y) |  | Y | (Y) |  | Y | Grant/Subsidy | https://www.umweltfoerderung.at/fileadmin/user_upload/umweltfoerderung/betriebe/Abwaermeauskopplung/UFI_Standardfall_Infoblatt_Abwaerme.pdf | https://www.umweltfoerderung.at/betriebe/abwaermeauskopplung-und-verteilnetze | 2022?-ongoing | Funding for plants that extract waste heat from industrial and commercial operations, feed it into new or existing networks, distribute it to customers, and make it usable by heat pumps. The scheme is open to all businesses, other entrepreneurial organizations, associations and religious institutions. Depending on the type of system, the subsidy amounts to up to 30 % of the of the eligible additional investment costs. |  | 20.000.000 total in 2020-2022 | 0 | 2014 | ongoing | #VALUE! | #VALUE! | #VALUE!
4 | Austria | National | Heating and Cooling Line Expansion Act | Wärme- und Kälteleitungsausbaugesetzes, BGBl. I Nr. 113/2008 idgF. |  |  |  | Y | Y |  | Y | Grant/Subsidy | http://www.awista.at/gesetze-regelwerke/bgbl-i-722014/ | http://www.awista.at/service-angebot/haufig-gestellte-fragen/ | 2020-ongoing | Federal law that promotes the construction of pipelines for the transport of local and district heating as well as local and district cooling through a one-time investment subsidy. Subsidies for district heating expansion projects, infrastructure facilities, infrastructure projects, projects for the utilization of industrial waste heat as well as district cooling projects; district heating and district cooling infrastructure pipelines, district heating and district cooling storage facilities, district heating pumping stations as well as connections of geothermal sources. | The federal law provides a one-time investment subsidy to promote the construction of pipelines for local and district heating, as well as local and district cooling. The subsidies are available for various projects including district heating expansion, infrastructure facilities, utilization of industrial waste heat, and district cooling projects. The funding can be used for the construction of pipelines, storage facilities, pumping stations, and connections to geothermal sources. | unknown | 1 | 2020 | ongoing | 559 | 135 | #VALUE!
5 | Austria | National | District heating connection ≥ 100 kW (for businesses and municipalities) | Nah-/Fernwärme Anschluss ≥ 100 kW (für Betriebe, für Gemeinde) |  |  |  | Y | (Y) |  | Y | Grant/Subsidy | https://www.umweltfoerderung.at/fileadmin/user_upload/umweltfoerderung/betriebe/Fernwaermeanschluss_Standardfall/UFI_Standardfall_Infoblatt_FERNW.pdf | https://www.wko.at/service/foerderungen/foerderung-fernwaermeanschluss.html#:~:text=Die%20F%C3%B6rderung%20betr%C3%A4gt%20in%20Abh%C3%A4ngigkeit,Euro. https://www.umweltfoerderung.at/betriebe/fernwaermeanschluss-100-kw-1/unterkategorie-waerme-aus-erneuerbaren-ressourcen | 2022?-ongoing | Funding for the construction of a connection with a capacity of 100 kW or more to climate-friendly and highly efficient local/district heating systems with predominantly business use. All businesses, associations and religious institutions can submit applications. The subsidy is calculated on a flat-rate basis depending on the output of the connection and amounts to a maximum of up to 45% of the eligible costs. All system components within the property boundary and owned by the applicant for the connection are considered. | This text discusses funding opportunities for the construction of a connection to local/district heating systems with a capacity of 100 kW or more. The funding is available for businesses, associations, and religious institutions, and is calculated based on a flat-rate basis depending on the output of the connection. The subsidy can cover up to 45% of the eligible costs and includes all system components owned by the applicant within the property boundary. | 13.200.000 | 1 | 2016 | ongoing | #VALUE! | #VALUE! | #VALUE!
6 | Austria | National | "Out of oil and gas" for companies (Heat pumps <100) | „Raus aus Öl und Gas“ für Betriebe (Wärmepumpen <100) |  | Y | (Y) | Y | (Y) |  | Y | Grant/Subsidy | https://www.umweltfoerderung.at/betriebe/waermepumpe-100-kw/unterkategorie-waerme-aus-erneuerbaren-ressourcen | https://www.umweltfoerderung.at/fileadmin/user_upload/umweltfoerderung/betriebe/Raus_aus_Oel_Erneuerbare_Waermeerzeugung_100_kW/UFI_Infoblatt_WAERMERZEUGER_PAU.pdf | 2019-ongoing | Funding will be provided for the new installation of heat pumps and the connection to climate-friendly or highly efficient local/district heating for heating systems with a thermal output below 100 kW. |  |  | 0 | 2019 | ongoing | #VALUE! | #VALUE! | #VALUE!
7 | Austria | National | Energy centers for internal heat and cold supply - | Energiezentralen zur innerbetrieblichen Wärme- un Kältebereitstellung |  | Y | (Y) | Y | Y |  | Y | Grant/Subsidy | https://www.umweltfoerderung.at/betriebe/energiezentralen.html | https://www.umweltfoerderung.at/fileadmin/user_upload/media/umweltfoerderung/Dokumente_Betriebe/Energiezentralen/UFI_Standardfall_Infoblatt_ENERZEN.pdf | 2022?-ongoing | Funding is provided for energy centers for the internal supply of heating and cooling that contain a combination of particularly innovative and energy-efficient measures for all companies, organizations, associations and religious institutions. The subsidy amounts to up to 45% of the eligible additional investment costs. |  |  | 0 | 2020 | ongoing | #VALUE! | 79 | #VALUE!
8 | Austria | National | Innovative local heating networks | Innovative Nahwärmenetze |  | Y | Y | Y | (Y) |  | Y | Grant/Subsidy | https://www.umweltfoerderung.at/betriebe/innovative-nahwaermenetze/unterkategorie-waerme-aus-erneuerbaren-ressourcen | https://www.umweltfoerderung.at/fileadmin/user_upload/umweltfoerderung/betriebe/Innovative_Netze/UFI_Standardfall_Infoblatt_INNO_NETZ.pdf | 2020-ongoing | Funding for efficient energy centers to supply existing or new distribution networks that contain a combination of particularly innovative and energy-efficient measures and are located in areas that cannot be supplied by an existing local heating network, based on waste heat, geothermal energy or biomass. For all businesses, associations and religious institutions. The subsidy amounts to up to 35% of the eligible additional investment costs. |  |  | 0 | 2020 | ongoing | 278 | #VALUE! | #VALUE!
9 | Austria | Regional | Upper Austria Clean Energy Program - Funding program for renewable energies & efficient energy use (Upper Austria) | OÖ Clean Energy Program - Förderprogramm für erneuerbare Energien & effiziente Energienutzung (Ober Österreich) | Y | Y | Y | Y | Y |  | Y | Grant/Subsidy | https://www.land-oberoesterreich.gv.at/files/publikationen/us_Ooe_Clean_Energy_Program.pdf |  | 2003-ongoing (renewed yearly) | Overall strategy with listing of subsidies, in particular: - Renewable energies: Connection to district/local heating <>100 kW connected load, Connection to district cooling, Innovative heating centers and distribution networks, Local heating supply based on renewable energy sources - Efficient energy use: Energy saving in companies / Efficient use of energy, Thermal building renovation - Municipal subsidies in the field of renewable energy production plants and energy saving measures: Connection to district / local heating for municipalities Special subsidies: Subsidy program for heat pumps, district heating connections and thermal solar systems, Community Energy Program "GEP", Clean Heating for All | The overall strategy includes subsidies for renewable energies such as district heating and cooling, innovative heating centers, and local heating supply from renewable sources. There are also subsidies for efficient energy use, including energy saving in companies and thermal building renovation. Municipalities can receive subsidies for renewable energy production plants and energy saving measures, as well as special subsidies for heat pumps, district heating connections, and thermal solar systems. |  | 1 | 2003 | ongoing (renewed annually) | #VALUE! | 168 | #VALUE!
10 | Austria | Regional | Construction and conversion/retrofitting of existing heating systems - funding application (Vienna) | Errichtung und Umstellung/Nachrüstung vorhandener Heizanlagen - Förderungsantrag (Vienna) |  | Y |  | Y | (Y) | Y | Y | Grant/Subsidy | https://www.wien.gv.at/amtshelfer/bauen-wohnen/wohnbaufoerderung/wohnungsverbesserung/heizungsinstallationen.html#:~:text=F%C3%BCr%20die%20Errichtung%20oder%20Umstellung,f%C3%B6rderbar%20anerkannten%20Kosten%20gew%C3%A4hrt%20werden. | https://www.wien.gv.at/amtshelfer/bauen-wohnen/wohnbaufoerderung/wohnungsverbesserung/heizungsinstallationen.html | 2007-ongoing (renewed yearly) | The City of Vienna promotes the construction, conversion and retrofitting of highly efficient heating systems operated with renewable energy sources or with district heating. Eligible measures: Construction or installation of a central heat supply system with connection to district heating; Construction or installation of a comprehensive floor heating system with highly efficient alternative energy systems such as heating heat pumps or biomass systems; Conversion of existing heating systems to district heating or outside the district heating supply area to highly efficient alternative energy systems such as heat pumps or biomass systems | The City of Vienna encourages the use of highly efficient heating systems powered by renewable energy sources or district heating. Eligible measures include installing central heat supply systems connected to district heating, comprehensive floor heating systems with alternative energy sources, and converting existing heating systems to district heating or alternative energy systems. This initiative aims to promote the use of renewable energy and increase energy efficiency in heating systems within the city. |  | 1 | 2007 | ongoing (renewed annually) | #VALUE! | #VALUE! | #VALUE!
11 | Austria | National | National renovation campaign 2023/2024 (Renovation voucher) | Sanierungsoffensive 2023/2024 (Sanierungsscheck) | Y | (Y) | (Y) | (Y) | (Y) | Y | Y | Grant/Subsidy | https://www.oesterreich.gv.at/themen/bauen_wohnen_und_umwelt/energie_sparen/1/sanierungsoffensive.html | https://www.bmk.gv.at/themen/energie/publikationen/treibhausgasreduktion-wohnbau.html 1. Sanierungsscheck für Private - Renovation Voucher for Private Individuals - Ein-Zweifamilienhaus und Reihenhaus – Umweltförderung (→ KPC) https://www.help.gv.at/linkaufloesung/applikation-flow?leistung=LA-HP-GL-sanierungsscheck-ein-zweifamilienhaus-reihenhaus-20232024&quelle=HELP&flow=LO - Mehrgeschossiger Wohnbau – Umweltförderung (→ KPC) https://www.help.gv.at/linkaufloesung/applikation-flow?leistung=LA-HP-GL-sanierungsscheck-mehrgeschossiger-wohnbau-20232024&quelle=HELP&flow=LO 2. Thermische Gebäudesanierung für Betriebe, Vereine, konfessionelle Einrichtungen - Umfassende Gebäudesanierung – Umweltförderung (→ KPC) https://www.help.gv.at/linkaufloesung/applikation-flow?leistung=LA-HP-GL-betriebe-sanierungsoffensive&quelle=HELP&flow=LO - Thermische Bauteilsanierung – Umweltförderung (→ KPC) https://www.help.gv.at/linkaufloesung/applikation-flow?leistung=LA-HP-GL-sanierungsoffensive-einzelmassnahmen&quelle=HELP&flow=LO 3. Thermische Gebäudesanierung für Gemeinde - Umfassende Sanierung – Umweltförderung (→ KPC) https://www.help.gv.at/linkaufloesung/applikation-flow?leistung=LA-HP-GL-gemeinden-sanierungsoffensive-umfassende-sanierung&quelle=HELP&flow=LO - Einzelmaßnahmen – Umweltförderung (→ KPC) https://www.help.gv.at/linkaufloesung/applikation-flow?leistung=LA-HP-GL-gemeinden-sanierungsoffensive-einzelmassnahmen&quelle=HELP&flow=LO Full text: https://www.ris.bka.gv.at/GeltendeFassung.wxe?Abfrage=Bundesnormen&Gesetzesnummer=20006413 Additional info on budget and interaction of the two schemes "Raus aus Öl und Gas" and "Sanierugsoffensive": https://www.bmk.gv.at/themen/klima_umwelt/klimaschutz/ufi/sanierung_kesselaustausch.html https://www.oesterreich.gv.at/themen/bauen_wohnen_und_umwelt/energie_sparen/1/sanierungsoffensive.html#:~:text=Die%20F%C3%B6rderung%20betr%C3%A4gt%20je%20nach,gesamten%20f%C3%B6rderungsf%C3%A4higen%20Kosten%20gef%C3%B6rdert%20werden. | 2021-ongoing (renewed biannually) | Funding for thermal renovations in buildings older than 20 years, for private individuals (detached and semi-detached houses, terraced houses), companies, organizations and public administrations. Eligible for funding are comprehensive renovations in accordance with the klimaaktiv standard or good standard as well as partial renovations that lead to a reduction in heating requirements of at least 40 percent. In addition, individual building component renovations are also subsidized. The subsidy amounts to between 3,000 euros and 14,000 euros, depending on the type of renovation. If insulating material made from renewable raw materials is used, a supplement can also be granted. A maximum of 50% of the total eligible costs can be subsidized. | Funding is available for thermal renovations in buildings older than 20 years, including private homes, businesses, organizations, and public administrations. Renovations must meet certain standards and result in a reduction in heating requirements of at least 40%. The amount of funding ranges from 3,000 euros to 14,000 euros, depending on the type of renovation, and can be increased if renewable materials are used. |  | 1 | 2021 | ongoing (renewed biannually) | #VALUE! | #VALUE! | #VALUE!
12 | Austria | National | Heat pump ≥ 100 kW | Wärmepumpe ≥ 100 kW |  | Y |  |  | (Y) |  | Y | Grant/Subsidy | https://www.umweltfoerderung.at/betriebe/waermepumpe-100-kw-1 | https://www.umweltfoerderung.at/fileadmin/user_upload/umweltfoerderung/betriebe/Waermepumpen/UFI_Standardfall_Infoblatt_WAERMPU.pdf | 2016-ongoing (renewed annually) | Funding is available for electrical heat pumps with a nominal heat output >=100 kW used for the production of heating, hot water or process heat or the supply of heat networks with predominantly operational use, for all companies, associations and religious institutions. The calculation of the subsidy for heat pumps from 100 kWth is made on a flat-rate basis depending on the output and type of heat pump and can cover up to 45% of the eligible costs. |  |  | 0 | 2016 | ongoing (renewed annually) | #VALUE! | #VALUE! | #VALUE!
13 | Austria | National | Energy saving measures | Energiesparmaßnahmen | Y | Y |  |  |  |  | Y | Grant/Subsidy | https://www.umweltfoerderung.at/betriebe/energiesparmassnahmen |  | 2016-ongoing (renewed annually) | Subsidies for energy saving measures for companies, associations and religious organizations. Funding up to 30% of the eligible additional investment costs of measures for the efficient use of energy in commercial and industrial processes and buildings, including heat recovery systems. |  |  | 0 | 2016 | ongoing (renewed annually) | #VALUE! | #VALUE! | #VALUE!
14 | Austria | National | Air conditioning and cooling - companies | Klimatisierung und Kühlng - Betriebe |  | Y |  |  | Y |  | Y | Grant/Subsidy | https://www.umweltfoerderung.at/betriebe/klimatisierung-und-kuehlung | https://www.umweltfoerderung.at/fileadmin/user_upload/media/umweltfoerderung/Dokumente_Betriebe/Klimatisierung_und_Kuehlung/UFI_Standardfall_Infoblatt_KUEHL.pdf | 2016-ongoing (renewed annually) | Subsidies for air conditioning and refrigeration for all companies, associations and religious institutions. Funding is available for adsorption and absorption chillers with drive energy from renewable energy sources, industrial waste heat or district heating, free cooling systems and the acquisition of process refrigeration systems using alternative refrigerants with a Global Warming Potential less than 150. The funding amounts to up to 15% of the eligible investment costs. |  |  | 0 | 2016 | ongoing (renewed annually) | #VALUE! | 267 | 15
15 | Austria | National | Building component activation - Energy flexibility | Bauteilaktivierung - Energieflexibilität |  | Y | Y | Y | Y |  | Y | Grant/Subsidy | https://www.umweltfoerderung.at/betriebe/bauteilaktivierung.html | https://www.klimafonds.gv.at/wp-content/uploads/sites/6/LeitfadenTBA.pdf | 2022-15.12.2023 | Energy flexibility through thermal component activation. The Climate and Energy Fund finances the through the program "Apartment buildings in the decarbonized energy system. Optimized use of renewable energy by means of storage with flexibility option" the application of the thermal storage capacity of building components to maximize the use of renewable energy for the thermal conditioning of buildings. The program aims to stimulate innovative planning of thermal component activation (TCA) by providing targeted funding from the Climate and Energy Fund for planning services for entire heat supply concepts with TCA as heat storage. | The Climate and Energy Fund is funding a program called "Apartment buildings in the decarbonized energy system" which aims to maximize the use of renewable energy for heating buildings. The program focuses on utilizing the thermal storage capacity of building components to store and optimize the use of renewable energy. It provides targeted funding for planning services to develop heat supply concepts that incorporate thermal component activation as a form of heat storage. |  | 1 | 2022 | 2023 | #VALUE! | #VALUE! | #VALUE!
16 | Austria | National | Energy Communities | Energiegemeinschaften |  | Y | Y | Y | Y | Y |  | Grant/Subsidy | https://www.umweltfoerderung.at/privatpersonen/energiegemeinschaften/energiegemeinschaften | https://www.umweltfoerderung.at/fileadmin/user_upload/media/umweltfoerderung/Dokumente_Betriebe/Energiegemeinschaften/KLIEN_Leitfaden_Energiegemeinschaft.pdf https://www.umweltfoerderung.at/fileadmin/user_upload/media/umweltfoerderung/Dokumente_Gemeinden/Energiesparen_in_Gemeinden/UFI_Standardfall_Infoblatt_ENERGSPA_Gemeinden.pdf | 2021-ongoing (renewed biannually) | The program provides consulting services including information events, environmental studies and planning services, training and networking measures, etc. of energy communities with an already high degree of concreteness. The program is aimed at energy communities with an innovative character that can be implemented in concrete terms, which go beyond the current standard of energy communities (billing of a generation plant in the community) and therefore require increased planning effort. |  |  | 0 | 2021 | ongoing (renewed biannually) | #VALUE! | #VALUE! | #VALUE!
17 | Austria | National | Heat Recovery Refrigeration, Ventilation & Recirculation Systems | Wärmeruckgewinnung Kälte-, Lüftungsanlagen & Umluftsysteme |  | Y | Y | Y | Y |  | Y | Grant/Subsidy | https://www.umweltfoerderung.at/betriebe/waermerueckgewinnung-100-kw-und-umluftsysteme-50000-m3/h | https://www.umweltfoerderung.at/fileadmin/user_upload/media/umweltfoerderung/Dokumente_Betriebe/Waermerueckgewinnung_PAU/UFI_Pauschalen_Infoblatt_WRG.pdf | 2016-ongoing (renewed annually) | Funding for energy saving for all companies, associationd and regligious organizations. Heat recovery from refrigeration systems and ventilation systems with a heat exchanger capacity <>=100 kW and air recirculation systems with a volume flow <>= 50,000 m³/h are eligible for funding. |  |  | 0 | 2016 | ongoing (renewed annually) | #VALUE! | #VALUE! | 199
18 | Austria | Regional | THEWOSAN – funding scheme for buildings thermal renovation (Vienna) | THEWOSAN - Thermisch-energetische Wohnhaussanierung (Vienna) | Y | Y | Y | Y | Y | Y |  | Grant/Subsidy | http://www.wohnfonds.wien.at/ | https://pocacito.eu/sites/default/files/Thewosan_Vienna.pdf | 2000-ongoing | THEWOSAN is Vienna´s programme and funding scheme for thermal and energy renovation of existing residential buildings. Through both thermal insulation of buildings and additional measures for their heating systems, a significant reduction of the energy consumption in residential buildings can be achieved. This has the benefits of a reduction of CO2 as well as air pollutant emissions with linked improvement of the global and local environment. |  |  | 0 | 2000 | ongoing | #VALUE! | #VALUE! | 363
19 | Austria | National | EIB Climate Action Programme Loan | - | (Y) | (Y) | (Y) | (Y) | (Y) |  | Y | Loan/Soft Loan | https://www.eib.org/en/registers/all/141672030 | https://www.eib.org/attachments/registers/141672030.pdf | 2021-ongoing | Programme Loan to support small to medium sized energy efficiency, renewable energy, and other climate action projects in Austria. Suboperations will be intermediated framework loans to eligible Financial Intermediaries. Some projects will be located in convergence regions. |  |  | 0 | 2021 | ongoing | #VALUE! | #VALUE! | #VALUE!
20 | Austria | National | Energy efficiency obligation scheme (White certificates) | Energieeffizienzverpflichtungssystem (Weiße Zertifikate) | Y | Y | Y | Y | Y | Y | Y | Energy efficiency obligations | https://www.ca-eed.eu/ia_document/national-implementation-report-austria/ | https://ensmov.eu/wp-content/uploads/2020/06/ENSMOV_Snapshot_EEOS_provisional.pdf | 2015-ongoing | Each energy retail sales company with energy sales of more than 25 GWh has to achieve savings at final customers in Austria that amount to 0.6% of energy sales of the preceding year between 2015 and 2020. 40% of these savings have to be achieved in households. The EEO was introduced with the enactment of the Federal Energy Efficiency Act and is formulated in §10. |  |  | 0 | 2015 | ongoing | #VALUE! | #VALUE! | #VALUE!
21 | Austria | National | Green Project Finance Programs to mobilize private capital | Grüne Projektfinanzierung | (Y) | (Y) | Y | (Y) | (Y) |  | Y | Equity financing | https://www.bmk.gv.at/green-finance.html |  | 2020-ongoing | Public schemes to mobilize private capital in new business models, new test and demonstration projects that could become new standards: - klimaaktiv: Austrian Green Investment Pioneers Programme - Climate and Energy Fund: Green Finance Programme - Financing Renewable Energy Communities |  |  | 0 | 2008 | ongoing | #VALUE! | #VALUE! | #VALUE!

## Private Schemes
ID | Country | Level | Scheme Name (EN) | Scheme Name (local) | Provider (Bank/ Investment Firm) | Building Eff | H&C Eff | H&C RES | DHC | Geo DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Description | Notes
1 | Austria | National | Climate Action Facility Loan (EIB) | Climate Action Facility Loan (EIB) | Bank Austria | Y | Y | Y | Y | Y | Y | Y | Y | Green Loan | https://www.bankaustria.at/en/about-us-press-releases_62288.jsp | https://www.bankaustria.at/ueber-uns-presse-presseinformationen_62283.jsp | The European Investment Bank (EIB) and UniCredit Bank Austria will support investments in small and medium-sized renewable energy and energy efficiency projects in Austria. The EIB will make a framework loan of up to €92 million available to the Austrian bank, which will then create a credit portfolio of up to €200 million for financing clean energy projects. (This scheme is connected to the public scheme EIB Climate Action Programme Loan)
2 | Austria | National | Sustainability loan | Nachhaltigkeitskredit | Bank Austria | (Y) | (Y) | (Y) | (Y) | (Y) | (Y) |  | Y | Green Loan | https://www.bankaustria.at/files/flugblatt_nachhaltigkeitskredit_en.pdf |  | The sustainability loan from UniCredit Bank Austria is available as an investment or working capital loan, depending on the company’s ESG rating. If the company stays on course of its sustainability strategy and its ESG rating improves, it can profit from more favourable conditions. Lona up to 750000€, for companies with revenue of 3M€ or higher.
3 | Austria | National | Erste Green Housing | Erste Green Housing | Erste Bank | Y | Y | Y | Y | Y | Y | Y | (Y) | Green Loan | https://www.sparkasse.at/erstebank/unternehmen/produkte-firmenkunden/finanzieren/eib-darlehen |  | Fixed interest rates loans up to 25 years, refinanced by the EIB up to 50M €, targeting the building renovation sector, thermal and energy renovation of multi-storey buildings. (This scheme is connected to the public scheme EIB Climate Action Programme Loan)
4 | Austria | National | Financing for green investments | Financing for green investments | Raiffeisen | Y | Y | Y | Y | Y | Y |  | Y | Green Loan | https://www.raiffeisen.at/noew/rlb/de/firmenkunden/finanzieren/eib-globaldarlehen-erneuerbare-energie.html |  | Loan to companies of all sizes (from SMEs to large corporations) for renewable energy generation projects, investments in energy efficiency measures, and projects that concern the reduction of CO2 emissions with a total value of up to EUR 50 million. This loan can be refinanced with EIB funds up to 50% and combined with Going Green loans or with OeKB investment loans. (This scheme is connected to the public scheme EIB Climate Action Programme Loan)
5 | Austria | National | Going Green Credit | Going Green Kredit | Raiffeisen | Y | Y | Y | Y | Y | Y |  | Y | Green Loan | https://www.raiffeisen.at/noew/rlb/de/firmenkunden/finanzieren/going-green-kredit.html |  | Loan to companies of all sizes (from SMEs to large corporations) for projects with an ecological added value: climate protection and resource efficiency.
6 | Austria | National | Climate Credit & Climate Quick Credit | Klima-Kredit & Klima-Schnell-Kredit | Hypo Voralberg | Y | Y | Y | Y | Y | Y | Y | Y | Green Loan | https://www.hypovbg.at/kredite-finanzierungen/klimakredite |  | Loan for investments up to 40,000€ (-0.1% interest discount on the standard conditions for the first 5 years, or debit interest rate of 6.50%), up to 35 or 10 years
7 | Austria | National | Exportinvest Green (OeKB’s preferential loan) | Exportinvest Green (OeKB) | Bank Austria | Y | Y | Y | Y | Y | Y |  | Y | Green Loan, Advisory Service | https://www.bankaustria.at/en/corporate-customers-exportinvest-green.jsp | https://www.bankaustria.at/files/oekb_exportinvest_green_en.pdf | Bank Austria offers expert advice to companies to choose the specific solution that fits their individual circumstances among the fiancing option of the OeKB Exportinvest Green. Preferential loans can finance up to the rounded down share of exports of the company income, plus 20% for green investments.
8 | Austria | National | Financing for thermal renovation | Thermische Sanierung | Raiffeisen | Y | Y | Y | Y | Y | Y | Y | (Y) | Green Loan, Advisory Service | https://www.raiffeisen.at/de/immobilien/bauen-sanieren/thermische-sanierung.html |  | Financing of building thermal renovation: lonas and consulting to identify suitable subsidies.
9 | Austria | National | Renovate for Sustainbale Living | Sanieren für nachhaltiges wohnen | VKB | Y | Y | (Y) |  |  |  | Y | (Y) | Advisory Service, Technical Assistance | https://www.vkb-bank.at/finanzieren/kredite/nachhaltige-sanierung |  | Individual financing advice on public subsidies and loan financing options for investments in building renovation.
10 | Austria | National | Green bond | Green bond | BKS Bank | (Y) | (Y) | (Y) | (Y) | (Y) | (Y) | Y | Y | On-bill financing | https://www.bks.at/green-bond |  | BKS Green Bond offers an investment specifically in ecological projects. BKS Bank's Green Bonds to date have financed photovoltaic plants, a small hydropower plant, a biomass plant for the generation of process heat and an afterburning plant for exhaust air purification, and a green building, the BKS Holzquartier in Klagenfurt, among other things.
11 | Austria | National | Sustainable Financing - Green Leasing | Nachhaltig Finanzieren | BKS Bank | Y | Y | Y | (Y) | (Y) | Y | Y | Y | Green Leasing | https://www.bks.at/landwirte/nachhaltig-finanzieren |  | Alternative to credit financing. Various green leasing options
12 | Austria | National | Development and financing of energy systems and supporting measures in energy efficiency | - | Reenag Group and Holding | (Y) | (Y) | Y | Y | Y | (Y) |  | Y | Equity financing | http://www.reenag.com/index.php-tabid=8&language=2.html |  | The REENAG-Group develops, finances and implements projects in the areas of renewable energy and energy efficiency, and operates small hydropower plants and wind parks.

## Adaptation
COUNTRY: | Austria
Review of the NAS/NAP
Back to Table of Contents
Part 1 - Climate haxard/ Key topic of measures
Details / explanations | • Wildfire • Tornado • Snow and ice load • Landslide • Temperature variability • Water scarcity • Soil erosion
Part 2 - Adaptation priorities
Details / explanations | No priorities, however methodology has been established to identify and prioritise adaptation actions assessing them with the following criteria on significance/ relevance, urgency, robustness and quality assurance, flexibility and reversibility, cost-benefit or budget effectiveness, sdditional benefits and synergies, simultaneous mitigation effects, interactions with other recommended actions, and political feasibility. In general, providing measures that benefits the independent of climate change (“win-win”) or measures that entail no disadvantages in case the actual climate trends do not correspond to projections (“no-regret”) should be prioritised, as well as flexible measures.
Part 3 - NAS/NAP
Publication report (year) | NAS 2017 NAP 2017
NAS/NAP Objectives | The NAS sets the principles and the framework to make adaptation happen while the NAP identifies key sectors and makes recommendations for each one. • Strengthening the natural, social and technical capacity to adapt. • Implement measures that involve no social downsides but instead minimise risks to democracy, health, security, and social justice. • Increase awareness at all levels in order to sensitize actors and make the complex issue of adaptation to climate change more tangible. • Development of flexible and robust recommendations for action that can easily be adjusted to various requirements and bring secondary benefits. • Avoidance of maladaptations.
NAS/NAP Key Measures (related to the keywords) | • Strengthening the protection of the population against natural hazards as a result of climatic change, including heatwaves. • A strong emphasis on “climate-proof”, sustainable spatial planning and development the improvement of urban spaces with a focus on micro- and meso-climatic conditions in urban and open space. • Ensuring quality of living through implementation of planning, building and use-related adaptation measures for buildings and their surroundings. • Various actions oriented towards the development of passive solutions in buildings, such as the optimisation of and use of buildings’ thermal inertia and general design to better control energy consumption for heating, cooling and lighting. • Fast and professional management of disasters through better linkages and preparation of all concerned actors, in particular with regard to changing climatic conditions. • Factoring in the effects of climate change when making decisions on energy and research activities, such as from the point of view of further diversification. • Reduction of internal loads to avoid overheating in summer in buildings by reducing power consumption and increasing final energy efficiency.
Part 4 - Good Practice
Campaigns | The climate protection initiative “klimaaktiv”,which supports adaptation to climatic change and as awareness-raising measures in the reduction of energy consumption. https://www.klimaaktiv.at/english/ Operation of the Austrian Heat Protection Plan https://climate-adapt.eea.europa.eu/en/metadata/case-studies/operation-of-the-austrian-heat-protection-plan Guidelines for roof- and façade-greening (“die umweltberatung”Wien 2009, ÖkoKauf Wien 2013), as well as the guide on green building methods for cities of the future (Pitha et al. 2014), give tips for implementation. Guideline: http://www.baunat.boku.ac.at/fileadmin/data/H03000/H87000/H87500/files/projekte/sommertauglichkeit/sommertauglichkeit_v11_lowres.pdf Broschüre: http://www.energiesparverband.at/fileadmin/redakteure/ESV/Info_und_Service/Publikationen/Sommertauglich_Bauen.pdf Roof and façade greening: https://www.wien.gv.at/umweltschutz/raum/gruendaecher.html https://www.wien.gv.at/umweltschutz/raum/gruene-waende.html http://www.umweltberatung.at/leitfaden-fassadenbegruenung https://portal.linz.gv.at/Serviceguide/viewChapter.html?chapterid=121934 http://gruenstattgrau.at/
Energy sector | • Checking and, where necessary, adaptation of, building standards and norms, in particular rapid adoption of the OIB guidelines in building regulations of the federal states. • Joint planning of heating, warm water, emergency electricity, lighting and air flow. The goal is to support buildings with low primary energy demand and CO2 emissions, building on guidelines updated in 2012. • Optimisation of the operating times of appliances (e.g., regulation of lighting depending on daylight).
Housing sector | The use of district cooling systems increased strongly in recent years in urban areas. The delivery of district cooling in Austria in 2013 amounted to about 320 TJ (89 GWh), which was four times as much compared to previous years. A further growth is expected (Klima- und Energiefonds 2015). For example, in Vienna around 100 Megawatt of installed district cooling was available in 2015 and the goal for 2020 is 200 MW (Wien Energie 2016). In 2012 the Austrian Ministry for Transport, Innovation and Technology published a technology roadmap for solar-thermal cooling in Austria. This provides an overview of the technologies being used, the cost-effectiveness and the possible market for solar-thermal cooling. In recent years, comprehensive know-how in the area of solar-thermal cooling has developed in Austria. Research results and information about solar-thermal cooling are provided by the website www.nachhaltigwirtschaften.at or Austria Solar (www.solarwaerme.at).

## List
Summary and NECP
YesNotFound | EnergyPoverty | Renovation
Yes, directly | Yes | Yes, with clear information
Yes, indirectly | No assessment | Yes, vaguely
Not found | Not found | Not found
Comprehensive Assessments
Targets | PoliciesMeasures | Consumption | YesNotfound | Map | EconomicAnalysis
Yes, specific to cooling | Yes, with info relevant to space cooling | Yes, per sector | Yes | Yes, separate map about cooling | Yes, with detailed analysis
No, only jointly for heating and cooling | Yes, but nothing related to space cooling | Yes, but total only | Not found | Yes, joint map about heating and cooling | Yes, with rough analysis only
No clear target | Not found | No (merged with heating data) |  | No, only map about heating | No (analysis on heating only)
not applicable | Not applicable | Not found |  | No map found
Building regulations
Setpoint temperature | Cooling season | Definitions | Calculation methodology | Difference | Requirements | Sector
indicative | indicative | Yes | Yes, in global performance | Yes | Global and specific | yes for residential only
minimum not to exceed | mandatory | Unclear | Yes, separately | Not found | Global only | yes for non-residential only
other | other | Not found | Unclear |  | Specific only | yes for both
none found | none found |  | Not found |  | Not found | not found
AC inspections | AC sector differences | EPBDArt15(4) | EPBDArt15(5)
Mandatory regular inspections | Provisions for non-residential only | Already in force | Mandatory requirements
Alternative approach | Provisions for residential only | Deadline set | Other types of measures
Unclear | Provisions for both, and the same | Provision planned | Not found
| Provisions for both, but different | Unclear