## ToC
Driving a sustainable future in space cooling
The CoolLIFE project aims to address the need for sustainable solutions to the EU’s rising demand for space cooling in buildings. The project will develop open-source tools which encourage the consideration of green cooling solutions in public and private decision-making, planning, design, and implementation processes.
What will you find in this file? |  | Table of Contents
This file gathers information available in the Member State's reporting to the European Commission about strategies, policies and regulations relevant to sustainable space cooling, and a focus on the national building regulations and financing schemes (public and private) (see Table of Contents on the right): - [Summary] provides an overview of the main information from all sources reviewed - [draftNECPupdate] provides the information identified in the draft update of National Energy Climate Plan (2023) - [CA2020] provides the information identified in the Comprehensive Assessment for heating and cooling (2020 version) - [BuildingRegulation] provides the information identified in the national building regulations - [Public Schemes] and [Private Schemes] provide two lists of financing schemes that promote energy efficiency in buildings and/or efficient space cooling systems - [Adaptation] provides the information identified in the National Adaptation Strategy and/or National Adaptation Plan |  | Summary
draftNECPupdate
CA2020
BuildingRegulation
Public Schemes
Private Schemes
Adaptation
The CoolLIFE project has received funding from the LIFE Programme of the European Union. Views and opinions expressed are however those of the author(s) only and do not necessarily reflect those of the European Union or CINEA. Neither the European Union nor CINEA can be held responsible for them.

## Summary
COUNTRY: | Croatia
Data summary about national policies and regulations
Back to Table of Contents
Tab 1 - National background and strategy
National background and strategy | No strategy or plan specific to cooling (or heating and cooling). Croatia's National Energy and Climate Plan (NECP) builds on national laws and related strategies. Croatia' Energy Act of 2012 transposed the EU acquis in the field of energy into the national legislation. This law, regularly revised, sets the process for the Energy Development Strategy until 2030 with an outlook to 2050, umbrella document for national energy planning. This strategy defines the national targets (e.g. for energy efficiency and RES) and was submitted to public consultation at the end of 2018. The 2019 Act on Climate Change and Protection of the Ozon layer complements this with the Low-Carbon Development Strategy until 2030 with an outlook to 2050, and the related Action Plan to implement this strategy over 5-year periods. The low-carbon strategy was drafted in 2017 and then aligned with the energy strategy in 2021. In parallel, the Climate Change Adaptation Strategy was adopted in 2020. More specifically about energy efficiency, the Energy Efficiency Act maintains the previous process of a National Energy Efficiency Action Plan (NEEAP) revised every three years with measures to be implemented under the NECP. More specifically about buildings, the key document is the Long-Term Strategy to encourage investment in the renovation of the national building stock until 2050, revised in 2020, with the objective to gradually increase the annual renovation rate from 0.7% in 2020 to 3% in 2030, with a 10-year average of 1.6%/year. Moreover, the Construction Act transposes most of the provisions of the EU Energy Performance of Buildings Directive - EPBD), including the minimum energy performance requirements for new buildings and major renovations, and the obligation to regularly inspect large heating and cooling or air conditioning systems in buildings. About RES for heating and cooling, the target is a 47.8% share of RES in the gross final energy consumption for heating and cooling by 2030 (compared to 36.8% in 2020). However, the related measures are clearly focused on heating (and district heating). Similarly, while in theory some of the main energy efficiency policies (Energy Efficiency Obligation Scheme, energy renovation programmes for buildings, energy management systems) could address space cooling, the measures related to buildings are mostly focused on heating. This can be because, according to the Comprehensive Assessment 2020, space heating remains the dominant share (63.6%) of residential buildings' energy consumption, vs. about 1.2% only for space cooling (about 311 GWh/year). The space cooling share is however higher (16%) in tertiary buildings, i.e. 1.5 TWh of final electricity consumption/year (all estimations for 2019).
Sources | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy
Tab 2 - Governance
Governance | The umbrella institution for the implementation of national energy and climate policies is the Ministry of the Economy and Sustainable Development (MESD), its Energy Directorate and Directorate for climate, sustainable development and air, soil and light pollution protection. The MESD also include the National Coordination Body for Energy Efficiency. The Committee for intersectoral coordination for policy and measures of mitigation of and adaptation to climate change was established in 2018, and includes a Coordination Group and a Technical Working Group, to coordinate mitigation and adaptation policies and measures. More specifically about buildings, the main authority is the Ministry of Physical Planning, Construction and State Assets, for example in charge of the building regulations and renovation programmes. The ministry has also initiated a Charter of Cooperation for the Decarbonisation of Buildings by 2050, that was signed by 77 stakeholders from the business and public sectors (data as of end of June 2022). The Environmental Protection and Energy Efficiency Fund (EPEEF) plays an important role in the implementation of the energy efficiency programmes (including the renovation programmes). It has a central role in (co-)financing the main public programmes (including the renovation programmes) and is mainly funded from environmental taxes or contributions (e.g. CO2 tax on non-ETS sites, waste fees, fees on motor vehicles), and from the revenues of the carbon allowances. Since 2019, the Energy Efficiency Obligation Scheme requires energy suppliers to achieve energy savings by investing in and stimulating energy efficiency improvements by end customers or by payments to the EPEEF. However, it is likely that the share of actions related to space cooling is negligible (apart from building renovations). At local level, counties and large cities (> 35,000 inhabitants) have to adopt three-year action plans and annual energy efficiency plans.
Sources | draft NECP update 2023
Tab 3 - Links with Adaptation
Links with adaptation | Croatia's Climate Change Adaptation Strategy was adopted in 2020 aims to to raise awareness about the importance and threats of climate change for society and the necessity of integrating the concept of adaptation to climate change into existing and new policies. This strategy includes the following measures relevant to sustainable space cooling, ensuring summer comfort or mitigating the impacts of heat waves: - Ensuring sustainable regional and urban development by introducing a new model of green urban renewal strategies and implementation of a pilot project for the development of green infrastructure and circular management of space and buildings. - Ensuring sustainable energy development by creating preconditions for improving the resilience of existing production capacities (thermal power plants, hydro power plants and thermal power plants –heating plants) to the effects of climate change. Initiatives are also developing at local level, for example with the Heat Stress of the City of Zagreb, or after the earthquake in 2020 that provided an opportunity for the comprehensive study of heat stress and the subsequent implementation of green infrastructure and nature-based solutions in city blocks. This has for example been investigated in pilot projects, like Greening the City (which involves the architectural design and planting of 1500 trees throughout the city, especially at educational facilities) and GreenscapeCE2 (a project which aims to develop technical and financial prerequisites for the deployment of green infrastructures and nature-based solutions) also provided solutions. In parallel, the draft NECP update mentions that the assessment of future energy consumption takes into account the impact of expected climate change on the ways and dynamics of consumption of different types of energy. And particularly that expected changes in temperature and weather conditions can affect the use of energy for space heating and cooling and seasonal energy consumption.
Sources | national adaptation strategy; https://www.interreg-central.eu/projects/greenscape-ce/
Tab 4 - Planning processes
Planning processes | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans.
More details | Croatia's Comprehensive Assessment 2020 includes data specific to energy delivered and useful energy for space cooling, per main sector (residential, services and industry), and with further disaggregated data (e.g. individual houses / multifamily buildings ; sub-sector in services ; data and map per county). This shows that space cooling is and will remain a small end-use (1.2% in 2019) in residential buildings, whereas much more significant (16%) in services. The BAU scenario estimated a moderate increase of energy delivered for space cooling by 2030 (+8%) and larger (+18.5%) by 2050 (all vs. 2019). The scenario with integrated measures would compensate most of this increase, even with a decrease (-7%) by 2030 and slight increase (+3%) by 2050 (all vs. 2019). The main action type considered to reduce energy consumption from / improve efficiency in space cooling is the replacement of split systems with heat pumps. No financial incentive is planned for this action type, as it was estimated to be cost-effective already (positive Net Present Value). The development of district cooling is not foreseen. However, the use of heat from district heating system in the summer to power central absorption chillers for cooling spaces in larger non-residential buildings (e.g. hospitals, hotels, shops, etc.) which are already connected to the district heating system is considered as an option to replace compression chillers using refrigerants with high environmental impacts.
Sources | draft NECP update 2023, comprehensive assessment 2020
Tab 5 - National regulations (building level)
How space cooling is addressed in the building regulations | Under Construction act, there is an obligation to regularly inspect heating and cooling or air conditioning systems in buildings. Also, buildings and their installations for heating, cooling, lighting and ventilation must be designed and built so that the amount of energy they require remains at a low level, taking into account the users and the climatic conditions of the building's location. Buildings must also be energy efficient, so that they use as little energy as possible during construction and dismantling.
Main provisions relevant to space cooling needs or summer comfort | For buildings whose space, having regard to its purpose, should be protected against solar overheating, the outer opaque parts of the building shell exposed to sunlight must have the appropriate dynamic thermal characteristics to reduce their contribution to the heating of the air in the building during the summer months.
Main provisions relevant to the use of space cooling | Residential and non-residential buildings for offices, educational purposes, hospitals, hotels and restaurants shall be designed and constructed in such a way that the annual heat required for cooling per unit of useful surface of the building, Q’’C,nd is not greater than the value 550 kWh/(m2·a). (2) Non-residential office, educational, hospitals, hotels, and restaurant buildings with a total window surface area of f > 30 % must be designed and constructed in such a way that the annual heat energy required per unit of useful area of the building , Q’’C,nd is not greater than 70 kWh/(m2·a). A building heated to a temperature higher than 12 °C and cooled to a temperature below 4 °C must be designed and constructed in such a way that the impact of the thermal bridges on the required annual heat and cooling is as low as possible and does not cause building damage in the form of internal or external surface condensation in project conditions of use of building space
References of the relevant regulations (or other source(s)) | https://mpgi.gov.hr/UserDocsImages/dokumenti/Propisi/PT_Technical.regulationNN128-15.pdf
Tab 6 - Regulations on space cooling systems or products
EU regulations and provisions | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives.
National implementation | Odinance on the labeling of the energy efficiency of air-conditioners establishes the requirements regarding labeling and delivery of additional product information for air conditioners with mains power supply, rated power ≤ 12 kW for cooling, or heating. The Construction Act sets the requirements for the mandatory inspection of cooling and air conditioning systems in buildings with one or more thermal/cooling energy generating units with a total nominal power of 12 kW and larger (every 10 years). Moreover, the draft NECP update reminds the measure entitled "Restrictions and prohibitions on launching certain products and equipment on the market" to restrict the use of fluorinated greenhouse gases with high GWP (Global Warming Potential) in new air-conditioning equipment (among other equipment).
References of the relevant regulations (or other source(s)) | https://narodne-novine.nn.hr/clanci/sluzbeni/2013_04_48_940.html
Tab 8 - Financing schemes | See separate file on financing schemes
Overview of public schemes | Most relevant Public Schemes available are: - subsidies from National fund for Environmental Protection and Energy Efficiency (FZOEU) for energy renovation of public buildings, family homes and multi-residential buildings and for the use of renewable energy systems in family buildings (For these renovation programmes, the draft NECP update mentions that "energy renovation makes buildings more resilient to some of the effects of climate change, such as extreme temperature conditions". However, the primary objective is to reduce heating consumption.) - Scheme to reduce an electricity consumption levy imposed on energy-intensive companies (RES levy) - Croatian Modernisation Fund - Energy efficiency obligation scheme
Overview of private schemes | Most relevant Private Schemes available are: - Green housing loan - Green Loans and Circular Economy - Sustainable ESG finance - Sustainability linked bonds

## draftNECPupdate
COUNTRY: | Croatia
Review of the draft NECP update
Back to Table of Contents | 2023 draft update National Energy and Climate Plans available at: | https://commission.europa.eu/energy-climate-change-environment/implementation-eu-countries/energy-and-climate-governance-and-reporting/national-energy-and-climate-plans_en#national-energy-and-climate-plans-2021-2030
Part 1 - (see particularly Executive summary - section 1.1; and Overview of current policy situation - section 1.2)
Any mention about cooling and related aspects? | Not found
Details / explanations | No strategy or plan specific to cooling (or heating and cooling). Croatia's National Energy and Climate Plan (NECP) builds on national laws and related strategies. Croatia' Energy Act of 2012 transposed the EU acquis in the field of energy into the national legislation. This law, regularly revised, sets the process for the Energy Development Strategy until 2030 with an outlook to 2050, umbrella document for national energy planning. This strategy defines the national targets (e.g. for energy efficiency and RES). Its latest version was adopted in February 2020. The 2019 Act on Climate Change and Protection of the Ozon layer complements this with the Low-Carbon Development Strategy until 2030 with an outlook to 2050, and the related Action Plan to implement this strategy over 5-year periods. The low-carbon strategy was drafted in 2017 and then aligned with the energy strategy in 2021. In parallel, the Climate Change Adaptation Strategy was adopted in 2020. More specifically about energy efficiency, the Energy Efficiency Act maintains the previous process of a National Energy Efficiency Action Plan (NEEAP) revised every three years (current one is 2022-2024) with measures to be implemented under the NECP. More specifically about buildings, the key document is the Long-Term Strategy to encourage investment in the renovation of the national building stock until 2050, revised in 2020, with the objective to gradually increase the annual renovation rate from 0.7% in 2020 to 3% in 2030, with a 10-year average of 1.6%/year. Moreover, the Construction Act transposes most of the provisions of the EU Energy Performance of Buildings Directive - EPBD), including the minimum energy performance requirements for new buildings and major renovations, and the obligation to regularly inspect large heating and cooling or air conditioning systems in buildings. About RES for heating and cooling, the measures are clearly focused on heating (and district heating). Similarly, while in theory some of the main energy efficiency policies (Energy Efficiency Obligation Scheme, energy renovation programmes for buildings, energy management systems) could address space cooling, they are mostly focused on heating, as heating remains the dominant share of buildings' energy consumption. The Environmental Protection and Energy Efficiency Fund has a central role in (co-)financing the main public programmes (including the renovation programmes). It is mainly funded from environmental taxes or contributions (e.g. CO2 tax on non-ETS sites, waste fees, fees on motor vehicles). The Committee for intersectoral coordination for policy and measures of mitigation of and adaptation to climate change was established in 2018, and includes a Coordination Group and a Technical Working Group, to coordinate mitigation and adaptation policies and measures. The Committee is responsible for monitoring and evaluating the implementation and planning of policies and measures for mitigating and adapting to climate change in Croatia. More specifically about buildings, to achieve the long-term target of reducing CO2 emissions by 80% in the buildings sector by the end of 2050, the Ministry of Physical Planning, Construction and State Assets has initiated a Charter of Cooperation for the Decarbonisation of Buildings by 2050, that was signed by 77 stakeholders from the business and public sectors (data as of end of June 2022).
Part 2 - National objectives and targets
Section 2.1.1 GHG emissions and removals (particularly if sub-section about buildings)
Any mention about cooling and related aspects? | Not found
Details / explanations | ## check HFC
Section 2.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (ii))
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | Indicative national targets for RES shares by 2030 are for heating and cooling (not specific to cooling, and most of the measures are focused on RES for heating). Target = 47.8% of RES in the gross final energy consumption for heating and cooling by 2030 (compared to 36.8% in 2020)
Section 2.2 Energy Efficiency (see points (ii) about long-term renovation strategies and (iii) about other objectives)
Any mention about cooling and related aspects? | Not found
Details / explanations | The measures for energy efficiency in buildings are mostly focused on heating.
Section 2.4.4 Energy poverty
Does the assessment of energy poverty consider 'summer energy poverty'? | Not found
Details / explanations | The draft NECP update highlighted that 'energy poverty' was still to be defined in the Croatian context.
Section 2.5 Dimension research, innovation and competitiveness
Any mention about research or innovation related to cooling and related aspects? | Not found
Details / explanations
Part 3 - Policies and Measures (PaMs)
Section 3.1.1 GHG emissions and removals (particularly if sub-section about PaMs for buildings, in point (i))
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | In measure "Establishing the Programme to Calculate and Reduce the Carbon Footprint of Economic Operators and Public Sector Entities" it is mentioned that there is need to calculate emissions from various sources, including consumption of heating and cooling energy. Moreover, the plan includes a measure to limit fluorinated greenhouse gas emissions (in line with the related EU regulation). "The measure defines activities and procedures for the prevention of fluorinated greenhouse gas emissions, conducting equipment leakage checks, use of equipment with leakage detection systems, keeping records of equipment on which leakage checks should be carried out, collection of fluorinated greenhouse gases to ensure their recovery, recovery or destruction, the development of a producer responsibility system for the collection of fluorinated greenhouse gases and their renewal, recovery or destruction, and the implementation of training and certification programmes." More specifically about air-conditioning systems, the plan includes a measure entitled "Restrictions and prohibitions on launching certain products and equipment on the market" to restrict the use of fluorinated greenhouse gases with high GWP (Global Warming Potential) in new air-conditioning equipment (among other equipment).
Section 3.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (i) and in point (vi) about district cooling)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | RES usage in cooling sector is mentioned in several measures under Section 3.2. Moreover, it is written that "In terms of greater integration of RES into district heating systems and the eventual development of district cooling systems, it is necessary to create the conditions for connection and operation of production plants for the production of heating and cooling energy from RES". In practice, a programme supports the development of geothermal energy, primarily to supply heating (mainly for district heating), but this could also be used for cooling purposes. Likewise, about the programme about RES for centralised heating systems, the details mention that centralized heat systems can also be used for cooling via absorption heat pumps.
Section 3.2 Energy Efficiency (particularly in points (ii) about long-term renovation strategies)
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | The term "cooling" is included in the measure "Increasing the efficiency in the heating systems", indicating that the measure envisages the development of new heating and cooling systems, which use high efficiency cogeneration or renewable energy sources. However, the measures on energy efficiency in buildings are clearly focused on heating. The only measure mentioning specifically cooling is an implementation of the EPBD about the mandatory inspection of cooling and air conditioning systems in buildings with one or more thermal/cooling energy generating units with a total nominal power of 12 kW and larger (every 10 years).
Section 3.4.4 Energy poverty
Is any policy measure about energy poverty dealing with 'summer energy poverty'? | Not found
Details / explanations | The draft NECP update describes several energy efficiency measures partly or fully dedicated to alleviate energy poverty. They are mostly focused on reducing heating consumption (replacement of heating systems, building insulation), and to a lesser extent on the replacement of household appliances. Space cooling or air-conditioning is not mentioned.
Section3.5 Dimension research, innovation and competitiveness (particularly in point (i))
Any mention about research or innovation related to cooling and related aspects? | Not found
Details / explanations
Parameters and variables to be reported in Part B (often in a separate annex)
Point 1(13): Cooling Degree Days | Not found
Details / explanations | The lines about heating degree days and cooling degree days are empty in the annex with the parameters.
Other sections of the NECP
Is space cooling mentioned or addressed in other sections of the NECP? | Not found
Details / explanations | It is only indicated that "the potential indicators for the application of high-efficiency cogeneration and efficient district heating and cooling are taken from the document “Comprehensive assessment of the potential for efficient heating and cooling in Croatia according to Annex VIII of Directive 2012/27/EU", from July 2021, which was developed for the needs of the Ministry of the Economy and Sustainable Development in accordance with Article 14 (1) of Directive 2012/27/EC."
Complementary information about financing schemes promoting building renovation (in point (i) and/or (ii) of section 3.2 of the draft NECP update)
Does the draft NECP update provide information about schemes for building renovation? | Yes, with clear information
General comments | The renovation programmes are structured according to the main segments of the building stock (multifamily buildings, individual homes, and public buildings). No public programme mentioned for commercial buildings (it is expected that this segment of the building stock will be covered by the activities of the supplier within the energy efficiency obligation system as well as the energy services market).
Energy renovation programme for multi-apartment buildings | continuation in 2021-2030 of the programme implemented in 2014-2020 (with some changes), co-funded by the EU structural funds, considering three situations (buildings damaged by the earthquake of 2020, undamaged buildings, and special support to households at risk of energy poverty). objective to renovate 6.27 million m² by 2030 (i.e. 700 000 m² per year on average), with an estimated impact of final energy savings of 1.87 PJ/year in 2030, and a total estimated investment ocst of 3.81 billion euros. The funding from EPEEF and EU Funds would provide 2.28 billion euros. The description of the programme mentions that "energy renovation makes buildings more resilient to some of the effects of climate change, such as extreme temperature conditions". However, the list of eligible actions is not described, and it is likely that the primary objective is to reduce heating consumption.
Energy Renovation Programme of Public Sector Buildings for the period up to 2030) | continuation in 2021-2030 of the implementation of the Public Sector Buildings Renovation Programme 2016-2020, mainly financed from EU structural funds and EPEEF, together with private capital (through ESCos). Objective to renovate about 350 000 m² each year for new annual savings of 0.169 PJ/year, and totalling 1.69 PJ/year in 2030 Total investment cost over 2021-2030 estimated to amount to 1.2 billion euro. Like for the programme for multi-apartment buildings, the description mentions that "energy renovation makes buildings more resilient to some of the effects of climate change, such as extreme temperature conditions". However, the list of eligible actions is not described, and it is likely that the primary objective is to reduce heating consumption.
Energy renovation programme for single-family houses | continuation in 2021-2030 of the programme implemented in 2014-2020 (with some changes), mainly financed by EPEEF (from the revenues of the carbon allowances and the fees paid by the energy suppliers for the EEOS), with annual calls for grants. considering three situations (homes damaged by the earthquake of 2020, undamaged homes, and special support to households at risk of energy poverty). objective to renovate 11,5 million m² by 2030 (i.e. 1.35 million m² or 13 500 hours per year on average), with an estimated impact of final energy savings of 4.47 PJ/year in 2030, and a total estimated investment ocst of 3.44 billion euros. The planned funding from EPEEF is not specified in the draft NECP update. Like for the programme for multi-apartment buildings, the description mentions that "energy renovation makes buildings more resilient to some of the effects of climate change, such as extreme temperature conditions". However, the list of eligible actions is not described, and it is likely that the primary objective is to reduce heating consumption.
Energy renovation of buildings with the status of protected cultural heritage | Programme meant for two categories of buildings: (1) Individually protected cultural property (individual buildings and building complexes) and (2) Buildings within a protected cultural and historical unit (the programme does not cover buildings protected as a preventively-protected cultural property, nor buildings protected as a registered cultural property). The total investment needs would amount to 2.5 billion euros in the period from 2021 to 2030 (investment costs of 1.8 billion euros and maintenance costs of 0.7 billion euros). The public funding to support these investments was still to be defined. + same explanation as for the other programme about making buildings more resilient to climate changes.
Note on A48: add here the name of the scheme
Note on A49: add here the name of the scheme
Note on A50: add here the name of the scheme
Note on A51: add here the name of the scheme

## CA2020
COUNTRY: | Croatia
Review of the Comprehensive Assessment 2020
The parts / sections mentioned below are the ones listed in Annex VIII of the initial Energy Efficiency Directive 2012/27/EU (as amended by regulation (EU) 2019/826)
Back to Table of Contents |  | Comprehensive Assessements available at: | https://energy.ec.europa.eu/topics/energy-efficiency/heating-and-cooling_en#comprehensive-assessments-on-efficient-heating-and-cooling
Criteria | Yes/No categorisation | Explanations / comments
Information reported on Part II (Objectives, strategies and policy measures)
Point 5: planned contribution of the Member State to its national objectives and targets (through efficiency in heating and cooling)
Any objective/target in terms of reductions of GHG emissions specifically from cooling? | No, only jointly for heating and cooling | No national heating and cooling strategy or alike. The main planning document on energy is the Energy Development Strategy that covers all sectors.
Any objective/target in terms of share of RES specifically from cooling? | No, only jointly for heating and cooling | Target of reaching 47.8% of RES in the gross final energy consumption for heating and cooling (compared to a 36.8% in 2020). No target specific to cooling, and most measures are focused on heating.
Any objective/target in terms of contribution specifcally from cooling to the energy efficiency target | No clear target | The energy efficiency targets are set for the overall primary and final energy consumption (and cumulative energy savings for Article 8 EED). No energy efficiency target specific to heating and/or cooling. The comprehensive assessment mentions that "Improved efficiency and decarbonisation of heating and cooling systems are integral elements of the building renovation programme". In practice, this highlights mostly the importance of heating in the total energy consumption, and thereby in the achievement of the energy efficiency targets.
Other objectives/targets mentioned about or relevant to cooling? | No clear target | The CA also refers to the long term renovation strategy. The current renovation rate (2014–2019) of 0.7% of the total floor area of the building stock (about 1.35 million m² per year) is foreseen to increase gradually from 1% in 2021 and 2022, 1.5% in 2023 and 2024, 2.0% in 2025 and 2026, 2.5% in 2027 and 2028, and 3% in 2029 and 2030 to 3.5% between 2031 and 2040, and 4% between 2041 and 2050. The objective is to promote predominantly deep energy renovation. The CA is also clear that this is mostly about reducing the energy consumption for heating.
Other comments or explanations related to objectives and targets mentioned in the Comprehensive Assessment (when relevant to how space cooling is addressed)
Point 6: information on existing policies and measures related to heating and cooling
Information about a strategy, umbrella framework or overall planning for heating and cooling? | Yes, with info relevant to space cooling | Main reference to the draft NECP update, delivered to the EC in June 2023 (https://mingor.gov.hr/UserDocsImages/KLIMA/NECPdraftUpdateHRv1EC.pdf) Croatia's Energy Development Strategy until 2030 with an Outlook to 2050, and the Long-term strategy for national building stock renovation by 2050 are also mentioned, as major sources, especially about future trends.
Information about building regulation(s)? | Yes, with info relevant to space cooling | Construction Law (OG 153/13, 20/17, 39/19, 125/19) and Technical regulation of rational use of energy and thermal insulation in Building (OG 128/15, 70/18, 73/18, 86/18, 102/20) define tecnical requirements regarding rational use of energy and thermal protection of construction part of the building and technical systems of heating, ventilation, cooling, air conditioning etc. that must be met during the design and construction of new buildings and during the use of exiting buildings.
Information about financial incentives for energy efficiency in buildings? | Yes, but nothing related to space cooling | According to the Long-Term Renovation Strategy of the Republic of Croatia, the overview of the available financial incentives were given, without referring specifically to financial incentives relevant to space cooling. (https://mpgi.gov.hr/UserDocsImages/dokumenti/EnergetskaUcinkovitost/DSO_14.12.2020.pdf) The renovation programmes are mostly focused on reducing space heating consumption. No public incentive specifically for space cooling solutions.
Information about measures related to cooling systems (e.g. standards, labelling, incentives)? | Yes, with info relevant to space cooling | CA refers to valid national laws and regulations that define necessary measures that need to be taken into account when building new buildings and/or renovating and reconstructing existing buildings, but also on inspection of air-conditioning systems and installation of BACS (pg 240 of the CA). As of measures mentioned in the CA, only one cooling measure is defined and analysed for household and service sector. For household and service sector the same measure is analysed: More efficient technology use (replacement of split systems with heat pumps: air-to-water, water-to-water, ground-to-water) (pg 229 and 231, respecively). The CBA shows a positive Net Present Value for this action type in both, residential and service sectors. Which makes that no public incentive is planned for it.
Information about measures to develop RES for cooling (or RES for heating&cooling)? | Not found | Almost all space cooling is supplied with electricity.
Information about measures for district cooling (or district heating&cooling)? | Yes, but nothing related to space cooling | The CA does not foresee the development of district cooling. However, the CA mentions that existing district heating systems could be used as a source of energy for central cooling systems during summer: "use of a DHS heat-carrying medium in the summer to power the central absorption chiller for cooling spaces in larger non-residential buildings (e.g. hospitals, hotels, shops, etc.) which are already connected to the district heating system – removal of compression chillers with environmentally unacceptable refrigerants and installation of absorption chillers powered by hot water from the DHS". Nevertheless, this option has not been assessed (not part of the CBA) in the CA2020.
Information about other type(s) of measure that could be relevant to space cooling? | Not applicable
Summary comments about the policies and measures mentioned in the Comprehensive Assessment (as regards aspects relevant to space cooling) |  | Under the energy efficiency dimension (ENU), the key measures for encouraging improved efficiency of existing heating and cooling systems, as well as their decarbonisation, are programmes for the energy renovation of buildings (multi-apartment buildings, family houses, public buildings, buildings with cultural heritage status, and buildings in areas with specific development needs and a predominantly energy-poor population). All the programmes envisage a reduction in the heating requirements of buildings by applying thermal insulation of the external envelope, as well as the replacement of thermotechnical systems, with incentives provided only for those using RES. It is precisely these programmes that are expected to contribute most to both the reduction of energy consumption in the building sector and to the decarbonisation of the heating and cooling systems used in those buildings. Nevertheless, these programmes are mostly focused on reducing energy consumption for space heating. This can justified because of (1) the small share of space cooling in total energy use, and (2) the main action type considered to improve efficiency of space cooling (replacing split systems with heat pumps) has a positive NPV, so no financial incentive would be needed.
Information reported on Part IV (Potential new strategies and policy measures)
Point 9: overview of new legislative and non-legislative policy measures to realise the economic efficiency potential in heating and cooling
Any reference to a national multi-annual strategy or planning (other than the NECP)? | Not found | Even though multi-annual strategies, other than NECP, are not mentioned in the CA, they should be mentioned here since they are referring to cooling: Energy development strategy of the Republic of Croatia until 2030 with a viw to 2050 (https://mingor.gov.hr/UserDocsImages/UPRAVA%20ZA%20ENERGETIKU/Strategije,%20planovi%20i%20programi/Strategija%20energetskog%20razvoja%20RH%202030%20s%20pogledom%20na%202050.pdf) - NO ENGLISH TRANSLATION Long-term strategy for national building stock renovation by 2050 A programme of exploiting heating and cooling efficiency potential for 2016 - 2030 (https://energy.ec.europa.eu/system/files/2017-09/croatia_report_eed_art_141update_en_0.pdf) Low-carbon development strategy of the Republic of Croatia until 2030 with the view to 2050 (https://mingor.gov.hr/UserDocsImages/klimatske_aktivnosti/odrzivi_razvoj/NUS/lts_nus_eng.pdf) Climate change adaptation strategy of the Republic of Croatia for the period until 2040 with a view to 2070 (https://mingor.gov.hr/UserDocsImages/KLIMA/Climate%20change%20adaptation%20strategy.pdf)
Information on development(s) planned or under discussion about regulations for new buildings? | Not applicable | CA does not mention any changes in existing regulations nor the development of new ones.
Information on development(s) planned or under discussion about measures for the renovation of existing buildings? | Not applicable | CA refers to several energy renovation programmes (for family houses, multi-apartment buildings and public buildings)
Information on development(s) planned or under discussion about measures for cooling systems (e.g. about standards, labelling, incentives)? | Not found | The single action type considered to improve efficiency of space cooling (replacing split systems with heat pumps) has a positive NPV, so no financial incentive would be needed according to the CA.
Information on development(s) planned or under discussion about measures to develop RES for cooling? | Not found | Almost all space cooling is supplied with electricity. The CA suggested the use of heat from existing district heating systems in summer as an option to power central absorption chillers for cooling spaces in larger non-residential buildings (e.g. hospitals, hotels, shops, etc.) and replace compression chillers using refrigerants with high environmental impacts.
Information on development(s) planned or under discussion about measures to develop district cooling? | Not found | No development of district cooling is foreseen in the CA.
Information on development(s) planned or under discussion about other type(s) of measure? | Not found
Summary comments about policy developments planned or under discussion (as regards aspects relevant to space cooling)
Information reported on Part I (Overview of heating and cooling)
Point 1: Heating and cooling demand in terms of assessed useful energy and quantified final energy consumption in GWh per year by sectors
Does the comprehensive assessment include separate data on cooling consumption? | Yes | About residential buildings, space cooling was estimated to be about 1.5% only of the total energy delivered for heating and cooling purposes (vs. 79.5% for space heating, and 19% for domestic hot water - DHW). Heating (including DHW) and cooling represent about 80% of the energy used in residential buildings. So overall, space cooling would be 1.2% (63.6% for space heating) of the final energy used in residential buildings. All space cooling is supplied with electricity (about 311 GWh/year in 2019), mostly for room-based system (85% of the energy used for space cooling, vs. 15% for centralised cooling systems). About the service sector, space cooling was estimated to be about 26% of the total energy delivered for heating and cooling purposes (vs. 62.3% for space heating, and 11.7% for domestic hot water - DHW). Heating (including DHW) and cooling represent about 61% of the energy used in tertiary buildings. So overall, space cooling would be about 16% (38% for space heating) of the final energy used in tertiary buildings. 98% of space cooling is supplied with electricity (about 1491 GWh/year in 2019). Page 96 - Total annual energy delivered for heating/cooling purposes to household, service and industrial sectors in Croatia amounted to 33 505.18 GWh in 2019. Total annual useful energy needed for heating/cooling purposes to household, service and industrial sectors in Croatia amounted to 32 366.55 GWh in 2019. Overview of energy delivered and useful energy needed by sectors in 2019 is given in the Table I.54
Any other more disaggregated data on cooling consumption/demand? | Yes | Total annual useful energy needs by county for household (pg. 105), service (pg. 116) and industrial (pg. 118) sectors in Croatia For residential buildings, Table I.58 (p.107) provides average COP (ratio between useful energy and energy delivered) per cooling system (room-based / centralised) and building type (individual houses / multifamily buildings). The overall factor is 2.8. For the service sector, Table I.68 (p.119) provides the estimated useful energy for space cooling per sub-sector. The highest final energy consumption is for "trade" (33%), followed by offices (16%) and hotels and restaurants (15%). The overall COP (useful energy divided by energy delivered) for space cooling in the service sector is 2.96.
Point 3: Map covering the entire national territory identifying heating and cooling demand areas, existing and planned heating and cooling supply points
Does the map / assessment cover cooling demand (or only heating)? | Yes, separate map about cooling | Pages 146 - 148 - spatial representation of energy needed for cooling in housing, service and industry sector.
Point 4: Forecast of trends in the demand for heating and cooling (which is supposed to take into account the expected impacts from the long-term renovation strategy)
Does the comprehensive assessment include separate forecast data on future cooling consumption? | Yes | The demand is expressed in Table I.93 (pg. 167) for BAU scenario and Table I.98 (pg.171) for scenario with integrated measures. In the BAU scenario, the increase in the total energy delivered for space cooling (residential + non-residential buildings) would be moderate: +8% (2.1 TWh/year) by 2030 and larger, +18.6% (2.3 TWh) by 2050 vs. 2019 (1.94 TWh/year). In the scenario with integrated measures, the trend would be a decrease (1.8 TWh; -7% vs. 2019) by 2030 and a slight increase (2 TWh/year; +3% vs. 2019) by 2050.
other comment(s) on data about energy consumption/demand or cooling technologies |  | Approximately 85% of the total energy delivered for space cooling in the household sector is consumed using a room-based, that is, a decentralised space cooling (individual air conditioning), so decentralised (room-based) space cooling systems still account for a large share in Croatia (for the residential sector). Total energy delivered for heating/cooling purposes to the industrial sector in Croatia amounted to 6 733.98 GWh in 2019, while energy used for only for cooling purposes account 5,67 % of the total annual energy.
Information reported on Part III (analysis of the economic potential for efficiency in heating and cooling
Does the analysis deal with cooling as well? | Yes, with rough analysis only
Does the comprehensive assessment include cost data about cooling technologies? | Yes | Page 227. (3rd paragraph), and Tables III.24, III.25 (pg 221-225)
other comment(s) on cost data or the cost-benefit methodology
other comment(s) about the comprehensive assessment
Note on B19: List here the measures mentioned in the Comprehensive Assessment to support the development of district cooling (or of district heating & cooling, if not addressed separately; in that case make it clear in your explanation; also mention it if district cooling is not mentioned at all, or if the comprehensive assessment states that there is no development of district cooling in the country). (if more than 5 measures, mention the main ones, and refer to the pages where the other measures can be found) Mention if the information mentions the types of sources/technologies promoted for district cooling. Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling

## BuildingRegulation
COUNTRY: | Croatia |  | Back to Table of Contents
BUILDING REGULATIONS
HOW SPACE COOLING OR SUMMER COMFORT IS ADDRESSED IN THE BUILDING REGULATIONS
DEFINITION(S) (about space cooling or summer comfort; in building regulations)
Data field | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
clear definition(s)? | Yes = an official and clear definition is included Unclear = a definition or some elements close to a definition are included, but this remains vague | Unclear | There is the definition of the cooling system, according to Technical regulation on the heating and cooling systems of buildings. Also, in the Rulebook on the system for monitoring, measuring and verifying energy savings, there is a definition of "energy consumption for space cooling". Moreover, in the Technical regulation on energy economy and heat retention in buildings, there is an article related to the comfort of the inner space, but it includes many variables. | Technical regulation on the heating and cooling systems of buildings (Official Gazette 110/08) Ordinance on the system for monitoring, measurement and verification of energy savings (OG 98/21) Technical regulation on energy economy and heat retention in buildings (Official Gazette 128/15 - Provisional Translation, 70/18 - Provisional Translation, 73/18, 86/18, 102/20)
Definition(s) |  | Cooling system - is a system that serves to cool the building, several rooms or just one room in the building Energy consumption for cooling per unit area with climate correction is the ratio of energy consumption for space cooling corrected with regard to climatic conditions and the total area of ​​permanently inhabited apartments. It is expressed in the unit toe/m². The comfort of the interior space is ensured by meeting the requirements for heating, cooling and ventilation, thermal stability and internal surface temperatures, regulated humidity, indoor air quality, proper lighting and permissible noise level in the space.
ENERGY PERFORMANCE CALCULATION (energy performance of the building)
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Is space cooling considered in the calculation methodology? | "Yes, in global performance" = when energy demand related to space cooling or summer comfort is taken into account for calculating the global energy performance of the building "Yes, separately" = when energy demand related to space cooling or summer comfort is taken into account only separately (e.g. to set specific requirements on the cooling demand) "Unclear" = when the calculation methology does not make it clear whether and how space cooling would be taken into account | Yes, in global performance | The energy performance of the building is the calculated amount of energy required for heating, cooling, ventilation, preparation of domestic hot water and lighting during the characteristic use of the building. The building's energy performance is expressed through the specific annual primary energy for reference climate data and the Algorithm-prescribed regime of use of space and regime of operation of technical systems. The energy performance of the building is expressed as a numerical indicator of the use of primary energy in [kWh/(m2·a)] to issue energy certificates and comply with the minimum requirements for the energy performance of the building. The annual required heat energy for cooling, QC,nd (kWh/a), is the calculated amount of heat that should be removed from the building by the cooling system during one year to maintain the internal design temperature in the building during the building's cooling period. | Ordinance on energy audits and energy certification of buildings (Official Gazette 88/17, 90/20, 1/21, 45/21)
Any difference between residential and non-residential? |  | Yes | There are multiple partition of minumum requirements, not only on residential and non-residential buildings.
MINIMUM ENERGY PERFORMANCE REQUIREMENTS
Any requirement in terms of maximum allowed cooling demand? | (more details and other type(s) of requirements can be described below, per type of building) | yes for both | Residential buildings and non-residential buildings for office use, educational purposes, hospitals, hotels and restaurants must be designed and built in such a way that the annual required energy for cooling per unit area of ​​the useful surface of the building, Q''C,nd is not greater than the value of 50 kWh/(m2·a). | Technical regulation on energy economy and heat retention in buildings (Official Gazette 128/15 - Provisional Translation, 70/18 - Provisional Translation, 73/18, 86/18, 102/20)
1) NEW BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone | Global only | Table 8 of the Technical regulation on energy economy and heat retention in buildings shows the maximal values for new buildings | Technical regulation on energy economy and heat retention in buildings (Official Gazette 128/15 - Provisional Translation, 70/18 - Provisional Translation, 73/18, 86/18, 102/20) | http://thoriumaplus.com/wp-content/uploads/2020/09/Tehnicki-propis-o-racionlanoj-uporabi-energije-i-toplinskoj-zastiti-u-zgradama-procisceni-tekst-NN-102-20.pdf
Details about the requirements for new residential buildings
Details about the requirements for new non-residential buildings
Other main requirements related to space cooling or summer comfort
2) EXISTING BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone | Global only | Table 9 of the Technical regulation on energy economy and heat retention in buildings shows the maximal values for new buildings | Technical regulation on energy economy and heat retention in buildings (Official Gazette 128/15 - Provisional Translation, 70/18 - Provisional Translation, 73/18, 86/18, 102/20) | http://thoriumaplus.com/wp-content/uploads/2020/09/Tehnicki-propis-o-racionlanoj-uporabi-energije-i-toplinskoj-zastiti-u-zgradama-procisceni-tekst-NN-102-20.pdf
Details about the requirements for existing residential buildings
Details about the requirements for existing non-residential buildings
Other main requirements related to space cooling or summer comfort
REGULATIONS (OR STANDARD VALUES) ABOUT THE USE OF SPACE COOLING
SETPOINT and/or COMFORT INDOOR TEMPERATURE (when mentioned in regulations, either as mandatory or indicative / standard assumption)
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any comfort indoor temperature(s) defined? | (whatever mandatory or indicative; considering sector coverage, i.e. residential and/or non-residential) | yes for residential only
type of value | "minimum not to exceed" = mandatory, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand | indicative |  | Ordinance on labeling energy efficiency of air-conditioning systems (OG 48/2013) | https://narodne-novine.nn.hr/clanci/sluzbeni/2013_04_48_940.html
value (in °C) (residential) |  | Indoor temperature 27 °C if outdoor temperature is 35 °C
type of value |  | indicative
value (in °C) (non-residential)
COOLING SEASON
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any requirement related to the annual duration for which the standard comfort would not be met or would require extra cooling demand? | (considering sector coverage, i.e. residential and/or non-residential) | not found
some kind of cooling season defined? (i.e. period when cooling is allowed and/or standard cooling period used as assumption in modelling, contracts, etc.) | "mandatory" = to be complied with, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand
details about the cooling season | (e.g. period/duration, exceptions / cases not subject to limitation of use, etc.)
REGULATIONS FOR COOLING OR AIR-CONDITIONING SYSTEMS
MAINTENANCE AND INSPECTION OF AIR-CONDITIONING SYSTEMS (implementation of Article 15 of EPBD)
MANDATORY INSPECTIONS or ALTERNATIVE APPROACH (implementation of EPBD Art.15(1) and (3))
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Approach used to implement Art.15 of the EPBD (inspection of large aid-conditioning systems) | "mandatory regulary inspections" = Art.15(1) "alternative approach" = Art.15(3) (alternative information measures) "unclear" = when no official reporting available about implementation of Art.15 | Mandatory regular inspections | In response to Articles 14 and 15 of theEPBD, Croatia has opted for carrying outregular inspections of heating systems andcooling/AC systems in buildings. Regular inspection of the heating systemand cooling or AC system in a building must be carried out concurrently with theenergy audit of the building for purposesof EPC issuance because for now, thesetwo obligations overlap. | Possible source to start from: country reports 2020 of the CA EPBD (see section "2.IV.vi. Progress and current status on AC systems" in the country reports) MS reports submitted in 2014 (in case of alternative approaches) | CA EPBD country reports: https://epbd-ca.eu/database-of-outputs MS reports submitted in 2014: https://scientificnet.sharepoint.com/:f:/r/sites/CoolLIFE2/Shared%20Documents/General/WP4_Policies/Sources/EPBDart15_MSreports2014?csf=1&web=1&e=atJAyX
Sector coverage / differences | Are the provisions to implement Art.15 covering both, residential and non-residential buildings? And in the same way? | Provisions for both, and the same | When not concurrent with EPC issuance,heating systems with a boiler of aneffective rated output of more than20 kW are regularly inspected every10 years. Those with a boiler of aneffective rated output of more than100 kW are inspected every 2 years, or4 years in the case of a gas‐fuelled boiler.Cooling or AC systems in buildings witheffective rated output of more than12 kW must be regularly inspected atleast once every 10 years.
Scope for the mandatory inspections or alternative measures | Size threshold(s) (e.g. effective rated output of 70 kW set in Art.15, but it can be lower in national regulations), and whether different thresholds apply according to building segments or types of provisions + possible exemptions
Details about the mandatory inspections or alternative measures | Short description about the main provisions in national regulations to implement EPBD Art.15(1) or (3) |  | A regular inspection of the heating systemand cooling or AC system in a buildingincludes collection and inspection ofdocuments, visual and functionalinspection of the heating system and ofheated areas, the necessarymeasurements, assessment of the size of the system relative to building needs,development of a proposal of measuresfor improving the energy efficiency of thesystem and/or application of alternativesolutions and drafting of the final report.The report must contain information onall actions carried out within theframework of the regular inspection,measurement results, comparisons withtechnical specifications of themanufacturer, and a proposal of measuresfor improving the energy efficiency of thesystem. Reports are prepared byauthorised persons. The report content isdetermined by the Ordinance andMethodology for carrying out energyaudits of buildings.
Requirements on BACS or other monitoring systems (implementation of EPBD Art.15(4) and (5))
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Regulation on BACS (Building Automation and Control System) for large AC in non-residential buildings (EPBD Art.15(4)) | "Already in force" = requirements on BACS already in force "Deadline set" = deadline of 2025 (or earlier) including in legislation "Provision planned" = legislation not yet adopted, but planned "Unclear" = no official information found on national implementation of Art.15(4) | Already in force | The building automation and control system is mandatory in new and existing non-residential buildings with a space heating system, a combined space heating and ventilation system, a space cooling system, a combined space cooling and ventilation system, with a nominal heating/cooling power greater than 290 kW, unless proven that the same is not technically and economically feasible. | Technical regulation on energy economy and heat retention in buildings (Official Gazette 128/15 - Provisional Translation, 70/18 - Provisional Translation, 73/18, 86/18, 102/20) | http://thoriumaplus.com/wp-content/uploads/2020/09/Tehnicki-propis-o-racionlanoj-uporabi-energije-i-toplinskoj-zastiti-u-zgradama-procisceni-tekst-NN-102-20.pdf
Provisions on monitoring systems for AC in residential buildings (EPBD Art.15(5)) | "Mandatory requirements" = a regulation set mandatory requirements "Other types of measures" = no mandatory requirement, but informative or other type(s) of measure(s) promoting the use of monitoring systems | Mandatory requirements | Residential buildings that can be exempted from the obligation of regular inspections of heating systems and cooling or air conditioning systems should meet the requirements of the permanent electronic monitoring function and the management function to ensure optimal generation, distribution, storage and use of energy according to HRN EN 15232-1:2017. | Technical regulation on energy economy and heat retention in buildings (Official Gazette 128/15 - Provisional Translation, 70/18 - Provisional Translation, 73/18, 86/18, 102/20) | http://thoriumaplus.com/wp-content/uploads/2020/09/Tehnicki-propis-o-racionlanoj-uporabi-energije-i-toplinskoj-zastiti-u-zgradama-procisceni-tekst-NN-102-20.pdf
Details about provisions on BACS and other monitoring systems | Short description about the main provisions in national regulations or policies to implement EPBD Art.15(4) and (5) |  | In order to fulfill the management requirement for ensuring optimal generation, distribution, storage and use of energy according to HRN EN 15232-1:2017, the building automation and management system for residential buildings should: For cooling systems, have at least five of the following functions: a) management of the transfer of thermal energy b) temperature management of the cooling water in the pipe distribution of the building c) management of distribution pumps in the pipe distribution of the building d) blocking between heating and cooling management in delivery and/or distribution e) management of the cooling energy generator f) scheduling the operation of the cooling energy generator g) management of the thermal energy storage tank h) local energy production and renewable sources i) heat recovery and increase in heat consumption j) integration with the smart grid. For ventilation and air conditioning systems, have at least five of the following functions: a) supply air flow control at room level b) room air temperature management using the ventilation system c) room air temperature management d) managing the supply of outside air e) control of air flow or pressure at the level of the air conditioning chamber f) supply air temperature management at the air conditioning chamber level g) local energy production and renewable sources h) heat recovery and increase in heat consumption i) integration with the smart grid. | Technical regulation on energy economy and heat retention in buildings (Official Gazette 128/15 - Provisional Translation, 70/18 - Provisional Translation, 73/18, 86/18, 102/20) | http://thoriumaplus.com/wp-content/uploads/2020/09/Tehnicki-propis-o-racionlanoj-uporabi-energije-i-toplinskoj-zastiti-u-zgradama-procisceni-tekst-NN-102-20.pdf

## Public Schemes
ID | Country | Level | Scheme Name (EN) | Scheme Name (local) | Building Eff | H&C Eff | H&C RES | DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Start-End Year | Description | Rephrase | Budget | Above 500 characters | Start | End Year | Geothermal | Cooling | Air conditioning | Supported measures | Total Budget | Yearly Budget
57 | Croatia | National | National fund for Environmental Protection and Energy Efficiency (FZOEU) | Fond za zaštitu okoliša i energetsku učinkovitost | Y | Y | Y | Y | Y | Y | Y | Grant/Subsidy | https://www.fzoeu.hr/en/home/8 | https://www.fzoeu.hr/en/national-public-calls-and-calls-for-proposals/1367 | 2004-ongoing | The Environmental Protection and Energy Efficiency Fund (EPEEF) has a key role in promoting the implementation of energy efficiency measures at national level, and energy management measures at local level. The Fund’s resources are used to finance the projects of energy retrofit and use of RES, as well as various activities promoting low-emissions mobility. Beneficiaries of the Fund’s resources may be units of local and regional self-government, institutions, companies, civil society organisations and citizens, that can exercise the right to have their projects co-financed by applying to calls for proposals and public calls and submitting the relevant documentation. | The Environmental Protection and Energy Efficiency Fund (EPEEF) promotes energy efficiency measures at the national level and energy management measures at the local level. It finances projects for energy retrofit, use of renewable energy sources, and activities promoting low-emissions mobility. Units of local and regional self-government, institutions, companies, civil society organizations, and citizens can apply for co-financing of their projects by submitting relevant documentation to calls for proposals and public calls. |  | 1 | 2023 | ongoing | #VALUE! | #VALUE! | #VALUE!
58 | Croatia | National | Energy renovation of family homes | Energetska obnova obiteljskih kuća | Y | Y | Y | (Y) | Y | Y |  | Grant/Subsidy | https://gov.hr/en/energy-renovation-of-family-houses/1272 |  | 2020-ongoing | Public call for energy renovation of family houses. Co-financing for all citizens will be 60%, while the renovation for vulnerable groups of citizens will be fully financed. Funds provided for: 1. building envelope (thermal insulation of the walls, roof, widnows);2. heat pumps, solar panels, pellet biomass (wood cips/pellet) boilers;3. photovoltaic power plant for private conumption-50%. |  |  | 0 | 2004 | ongoing | #VALUE! | #VALUE! | #VALUE!
59 | Croatia | National | Energy renovation of multi-residential buildings | Energetska obnova višestambenih zgrada | Y | Y | (Y) | (Y) | Y | Y |  | Grant/Subsidy | https://gov.hr/en/energy-renovation-of-multi-residential-buildings/1274 |  | 2016-ongoing | The energy renovation of multi-residential buildings is co-financed by grants from the European Regional Development Fund. The implementation of energy renovation measures and the use of renewable energy sources shall be co-financed at a rate of 60%, while the measures related to energy audits and energy certificates, both before and after renovation, development of the main energy renovation design, project management and administration, and project promotion and visibility, shall be co-financed at a rate of 85%. A new Public Call is being prepared. | The European Regional Development Fund is providing grants to support the energy renovation of multi-residential buildings. The fund will co-finance 60% of the costs for implementing energy renovation measures and using renewable energy sources. Additionally, it will co-finance 85% of the expenses for energy audits, energy certificates, project management, and promotion. A new Public Call is being prepared for this initiative. |  | 1 | 2023 | ongoing | #VALUE! | #VALUE! | #VALUE!
60 | Croatia | National | Energy renovation of public sector buildings | Energetska obnova zgrada javnog sektora | Y | Y | (Y) | (Y) | Y |  | Y | Grant/Subsidy | https://gov.hr/en/energy-renovation-of-public-sector-buildings/1280 |  | 2021-ongoing | Grants to reduce utility costs and achieve better quality of stay in schools, kindergartens, student homes, etc. through energy renovation of buildings. |  |  | 0 | 2020 | ongoing | #VALUE! | #VALUE! | #VALUE!
61 | Croatia | National | Scheme to reduce an electricity consumption levy imposed on energy-intensive companies (RES levy) | Hrvatski program za potporu energetski intenzivnim poduzećima (RES levy) | Y | Y | Y | (Y) | Y |  | Y | Grant/Subsidy | https://ec.europa.eu/commission/presscorner/detail/en/ip_23_390 |  | 2023-ongoing | Scheme to support energy-intensive companies. In particular, Croatia plans to reduce for those companies a levy on electricity consumption, which finances the deployment of renewable energy sources in Croatia (‘RES levy'). Beneficiaries will have to conduct an energy audit and to either (i) perform certain energy efficiency investments, (ii) invest in projects leading to substantial reductions of their greenhouse gas emissions, or (iii) cover at least 60% of their electricity consumption with renewable energy sources. | Croatia is implementing a scheme to assist energy-intensive companies by reducing the levy on their electricity consumption. This levy, known as the RES levy, funds the deployment of renewable energy sources in the country. In order to benefit from this reduction, companies must undergo an energy audit and either invest in energy efficiency measures, reduce greenhouse gas emissions, or use renewable energy sources for at least 60% of their electricity consumption. |  | 1 | 2016 | ongoing | #VALUE! | #VALUE! | #VALUE!
62 | Croatia | National | Croatian Modernisation Fund | Objavljen prvi poziv za dodjelu sredstava iz Modernizacijskog fonda | Y | Y | Y | (Y) | Y |  | Y | Grant/Subsidy | https://www.fzoeu.hr/hr/objavljen-prvi-poziv-za-dodjelu-sredstava-iz-modernizacijskog-fonda/9354 |  | 2023-ongoing | Call for proposals for generating electricity from renewable sources in the processing industry and the heating industry, for which the Environmental Protection and Energy Efficiency Fund will be the implementing authority. The aim of the call is to encourage companies to produce energy for their own needs, which would, among other things, reduce the dependence on the purchase of energy on the market and fuel costs. |  |  | 0 | 2021 | ongoing | #VALUE! | #VALUE! | #VALUE!
63 | Croatia | National | Energy efficiency obligation scheme (White certificates) | Sustav obveze energetske učinkovitosti (Bijeli certifikati) | Y | Y | Y | Y | Y | Y | Y | Energy efficiency obligations | http://thoriumaplus.com/wp-content/uploads/2019/04/Pravilnik-o-sustavu-obveze-energetske-ucinkovitosti-NN-41-19.pdf | https://ensmov.eu/wp-content/uploads/2020/06/ENSMOV_Snapshot_EEOS_provisional.pdf | 2019-ongoing | The EEO scheme obliges energy suppliers to meet the specified energy saving targets. The EEO scheme has been set up in 2019. It is expected that the scheme will deliver 50.1% of Article 7 cumulative savings through measures directed to energy consumers. |  |  | 0 | 2023 | ongoing | #VALUE! | #VALUE! | #VALUE!
64 | Croatia | National | Public call for the use of renewable energy systems in family buildings | Javni poziv za korištenje sustava obnovljivih izvora energije u obiteljskim zgradama |  | Y | Y |  | Y | Y |  | Grant/Subsidy | https://www.fzoeu.hr/hr/nacionalni-javni-pozivi-i-natjecaji/1367 | https://www.ehpa.org/wp-content/uploads/2023/03/EHPA_Subsidies-for-residential-heat-pumps-in-Europe_FINAL_April-2023.pdf | 2018-ongoing | Energy efficiency subsidy scheme. For Heatpumps, max of €4,250 and up to 40% subsidised*. In less economic developed regions, subsidy is increased up to 60% (max. €6,375) or up to 80% (max. €8,500). Auxiliary components and installation works are acceptable cost. (currently closed, usually published twice a year) |  |  | 0 | 2023 | ongoing | #VALUE! | #VALUE! | #VALUE!

## Private Schemes
ID | Country | Level | Scheme Name (EN) | Scheme Name (local) | Provider (Bank/ Investment Firm) | Building Eff | H&C Eff | H&C RES | DHC | Geo DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Description | Notes
25 | Croatia | National | Green housing loan | Zeleni stambeni kredit | Zagrebačka banka | Y | Y | Y |  |  | (Y) | Y |  | Green Loan | https://www.zaba.hr/home/en/green-home-loan |  | The green housing loan is intended for investing in green construction and increasing the energy efficiency of residential real estate. It is approved for the purchase or construction of a low-energy residential property of energy class A+ or A , or for increasing the energy efficiency of a residential property (installation of a system for the use of renewable energy sources: a biomass system and a system with a heat pump, installation of a thermal facade, replacement of the roof, installation of exterior carpentry with iso-glass, purchase and installation of solar systems, etc.).
26 | Croatia | National | Green Loans and Circular Economy | Zeleni krediti i cirkularna ekonomija | Privredna banka Zagreb | Y | Y | Y |  |  | Y |  | Y | Green Loan | https://www.pbz.hr/en/srednji-poduzetnici/ulazim-u-novi-investicijski-ciklus/zeleni-krediti.html |  | Green Loan for business sustainability to design a new economic system. Consultation available to identify eligible projects. Favourable financing for green and circular economy projects: production and transfer of renewable energy, energy efficiency in manufacturing processes and buildings, sustainable management of natural resources and biodiversity.
27 | Croatia | National | Sustainable ESG finance | Održivo (ESG) financiranje | Raiffeisen bank | Y | Y | Y | (Y) | (Y) | Y | Y | Y | Green Loan | https://www.rba.hr/en/srednja-i-velika-poduzeca/financiranje/odrzivo-esg-financiranje |  | ESG Investment Loans: offered to companies that plan long-term investments with a green or social purpose which meet the predefined criteria: energy efficiency improvements in manufacturing processes, green transport, green energy, etc. ESG Project Finance: loan repayment relates to the financed assets, the expected project cash flow and the insurance value of project assets that have been invested for the ESG purposes. ESG Loans for Construction, Purchase or Adaptation of Real Estate: for investments in housing or public buildings in keeping with the local regulations and EU Taxonomy, to increase energy efficiency and saving in construction of new buildings, reconstruction of existing buildings or purchase of buildings. ESG Green Bonds: offered with a portfolio of green projects
28 | Croatia | National | Sustainability linked bonds | veza povezana s održivošću | M+ Group (& ERBD) | (Y) | (Y) | (Y) | (Y) | (Y) | (Y) | (Y) | (Y) | Green Bonds | https://balkangreenenergynews.com/first-green-bonds-issued-in-croatia/ |  | M+ Group is the first company in Croatia that issued sustainability-linked bonds valued at HRK 300 million (almost EUR 40 million). The strategic partners in the green bond issue are Erste&Steiermärkische Bank and the European Bank for Reconstruction and Development (EBRD). M+ Group said the other investors include insurance companies and investment funds.

## Adaptation
COUNTRY: | Croatia
Review of the NAS/NAP
Back to Table of Contents
Part 1 - Climate haxard/ Key topic of measures
Details / explanations | • Wildfire • Storm (including blizzards dust and sandstorms) • Snow and ice load • Temperature variability • Changing wind patterns • Sea level rise
Part 2 - Adaptation priorities
Details / explanations | • Ensuring sustainable regional and urban development. • Ensuring preconditions for the economic development of rural areas, coastal areas and islands. • Ensuring sustainable energy development. • Strengthening of the management capacities through a networked monitoring and early warning system. • Ensuring continuity of research activities.
Part 3 - NAS/NAP
Publication report (year) | NAS
NAS/NAP Objectives | The purpose of the Adaptation Strategy is to raise awareness of the importance and threats of climate change for society and the necessity of integrating the concept of adaptation to climate change into existing and new policies, in order to reduce the vulnerability of the environment, economy and the society caused by climate change. The Republic of Croatia resistant to climate change. To achieve the vision, the following goals have been set: • to reduce the vulnerability of natural systems and society to the negative impacts of climate change. • to increase the capacity to recover from the effects of climate change. • to take advantage of potential positive effects, which may also result from climate change.
NAS/NAP Key Measures (related to the keywords) | • Ensuring sustainable regional and urban development by introducing a new model of green urban renewal strategies and implementation of a pilot project for the development of green infrastructure and circular management of space and buildings. • Ensuring sustainable energy development by creating preconditions for improving the resilience of existing production capacities (thermal power plants, hydro power plants and thermal power plants –heating plants) to the effects of climate change, development plans should anticipate the reconstruction and revitalization of existing plants by strengthening their resilience and providing safe supply with a sufficient amount of energy, irrespective of extreme weather and climate hazards and climate change.
Part 4 - Good Practice
Campaigns | Heat Stress of the City of Zagreb (Faculty of Science, Department of Geophysics) available at https://www.pmf.unizg.hr/geof/en/research/climatology/croclimgogreen/about_the_project
Synergies | Karlovac, the city, located some 50 kilometers southwest of Zagreb, adopted a Sustainable Energy and Climate Action Plan (SECAP), which was developed by the North-West Croatia Regional Energy Agency (REGEA). The guidelines will mark the beginning of the implementation of measure 3 from the SECAP, which envisages the introduction of integrated energy and climate planning. This concept entails spatial and urban-energy analysis and a proposal of the city’s energy and climate concept.
Heatpumps | The Ministry of Regional Development and EU Funds planned a public call for using sea temperature to provide heating and cooling, Jutarnji.hr reported. Using wave or tidal energy as well as seawater heat exchangers is still in the early stages in the European Union, but they are included in the solutions supported through a massive financial package within the European Green Deal. Croatia has a long sea coast, which makes the heating and cooling technology especially beneficial. https://fedarene.org/project/in-plan/
Green | The rebuilding of the city after the earthquake provided an opportunity for the comprehensive study of heat stress and the subsequent implementation of green infrastructure and nature-based solutions in city blocks. Ongoing pilot projects, like Greening the City (which involves the architectural design and planting of 1500 trees throughout the city, especially at educational facilities) and GreenscapeCE2 (a project which aims to develop technical and financial prerequisites for the deployment of green infrastructures and nature-based solutions) also provided solutions. https://www.interreg-central.eu/projects/greenscape-ce/