## ToC
Driving a sustainable future in space cooling
The CoolLIFE project aims to address the need for sustainable solutions to the EU’s rising demand for space cooling in buildings. The project will develop open-source tools which encourage the consideration of green cooling solutions in public and private decision-making, planning, design, and implementation processes.
What will you find in this file? |  | Table of Contents
This file gathers information available in the Member State's reporting to the European Commission about strategies, policies and regulations relevant to sustainable space cooling, and a focus on the national building regulations and financing schemes (public and private) (see Table of Contents on the right): - [Summary] provides an overview of the main information from all sources reviewed - [draftNECPupdate] provides the information identified in the draft update of National Energy Climate Plan (2023) - [CA2020] provides the information identified in the Comprehensive Assessment for heating and cooling (2020 version) - [BuildingRegulation] provides the information identified in the national building regulations - [Public Schemes] and [Private Schemes] provide two lists of financing schemes that promote energy efficiency in buildings and/or efficient space cooling systems - [Adaptation] provides the information identified in the National Adaptation Strategy and/or National Adaptation Plan |  | Summary
draftNECPupdate
CA2020
BuildingRegulation
Public Schemes
Private Schemes
Adaptation
The CoolLIFE project has received funding from the LIFE Programme of the European Union. Views and opinions expressed are however those of the author(s) only and do not necessarily reflect those of the European Union or CINEA. Neither the European Union nor CINEA can be held responsible for them.

## Summary
COUNTRY: | Cyprus
Data summary about national policies and regulations
Back to Table of Contents
Tab 1 - National background and strategy
National background and strategy | Cyprus's strategies for heating and cooling, outlined in the National Energy and Climate Plan (NECP) and related assessments, emphasize increasing renewable energy integration and enhancing energy efficiency. The draft NECP update targets a 48.2% renewable energy share in heating and cooling by 2030, promoting solar thermal systems and other sustainable technologies. In 2021, the share of RES in the power sector stood at 14.8%, while it was 41.3% in the heating and cooling sector (mostly thanks to a widespread use of solar thermal systems for water heating, then heat pumps and biomass). One challenge for decarbonising cooling may then be to increase the share of RES in the power sector (cooling being mostly supplied with electricity, even if heat pumps already help with the share of RES for cooling). Local-level planning and energy-efficient practices are prioritized to optimize systems and reduce emissions. Comprehensive initiatives like the "Energy Efficiency Strategy" and guidance for local heating and cooling strategies support these goals, aligning with Cyprus's broader adaptation measures to address climate change impacts and achieve sustainability objectives. More specifically about cooling, the draft NECP update outlines strategies to enhance the energy performance of buildings, aiming to reduce energy consumption for cooling purposes. The plan also highlights the promotion of renewable energy sources for cooling, such as solar cooling technologies, to decrease reliance on conventional energy sources.
Sources | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy
Tab 2 - Governance
Governance | In Cyprus, energy and climate responsibilities are centralized under the Ministry of Energy, Commerce, and Industry, which develops policies, implements EU directives, and oversees national plans like the NECP. The Energy Service manages programs, subsidies, and compliance with energy goals. Without a formal regional governance structure, functions at this level are managed nationally. At the municipal level, local authorities implement specific measures, such as energy efficiency projects, permitting for renewable energy installations, and awareness campaigns, acting as facilitators of national strategies in their communities. The Heating and Cooling Strategy at the Local Level further supports these efforts by promoting tailored solutions for energy efficiency and renewable energy integration, including the adoption of solar thermal systems and energy-efficient building designs.This centralized framework ensures consistent policy application across the country.
Sources | draft NECP update 2023
Tab 3 - Links with Adaptation
Links with adaptation | Cyprus is experiencing increased temperatures and more frequent heatwaves due to climate change, leading to health risks such as heat-related illnesses and respiratory issues from worsened air quality. The National Adaptation Strategy and Action Plan addresses these challenges by promoting energy-efficient cooling systems, enhancing building designs for better thermal performance, and implementing early warning systems for heatwaves. These measures aim to reduce vulnerability to heat-related health risks and ensure sustainable cooling solutions. The strategy also emphasizes public awareness campaigns to educate citizens on coping mechanisms during extreme heat events, aligning with broader efforts to mitigate climate change impacts and protect public health.
Sources | national adaptation strategy
Tab 4 - Planning processes
Planning processes | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans. | standard text for all 27 Member States
More details | Cyprus's planning process for energy and climate policy is structured to align with the EU directives, particularly the National Energy and Climate Plan (NECP) for 2021-2030. The Ministry of Energy, Commerce, and Industry leads this process, coordinating with other governmental bodies to set objectives such as reducing greenhouse gas emissions, increasing renewable energy usage, and enhancing energy efficiency. The collaborative approach to prepare the NECP aims at ensuring that national policies are comprehensive and reflect the input of various sectors and the public. More specifically about heating and cooling, the latest comprehensive assessment for heating and cooling was published in 2021. According to this assessment, the useful energy consumption for space cooling would be about 1.9 TWh/y for residentia buildings, and 2.8 TWh/y in services. One of the main results from the economic analysis is that heat pumps combined with photovoltaic panels was found to be the solution identified with the greatest economic potential to meet the heating and cooling requirement in the residential and tertiary sectors. At the oppostive, the assessment found that district heating and cooling would not be economically feasible in Cyprus for the moment. The 2021 assessment was prepared by a consultancy (Ricardo), following a study in 2017 about the “development of a heating and cooling strategy at a local level” where an Excel-based model was first developed to assess potentials for high efficiency solutions for heating and cooling in selected areas. | NOT FOR ALL 27 MEMBER STATES
Sources | draft NECP update 2023, comprehensive assessment 2020
Tab 5 - National regulations (building level)
How space cooling is addressed in the building regulations | The Energy Performance of Buildings Directive (EPBD) requires EU Member States to ensure that the calculation of a building's energy performance includes all energy uses, including space cooling. This comprehensive assessment considers factors such as thermal characteristics, installed systems, and climatic conditions to provide a holistic evaluation of energy consumption. By integrating space cooling into the calculation, the EPBD aims to promote energy efficiency, reduce greenhouse gas emissions, and encourage the adoption of sustainable cooling solutions in both residential and non-residential buildings across the EU. Cyprus' building regulations emphasize overall energy performance rather than setting explicit maximum limits for cooling demand. The focus is on ensuring that a significant portion of a building's primary energy consumption, including that used for cooling, is derived from renewable energy sources: Ministerial Decree 121/2020 indeed mandates that new or renovated buildings source at least 25% of their primary energy consumption for heating and cooling from renewable energy sources. For hotels, this requirement is set at 9%.
Main provisions relevant to space cooling needs or summer comfort | New buildings and major renovations of existing buildings must align with energy performance standards to enhance overall efficiency and comfort. The solutions used to meet the requirements of the regulations often focus on measures that improve summer comfort, such as enhanced insulation to reduce heat gain, installation of shading devices like awnings or shutters to minimize solar heat exposure, and replacing outdated cooling systems with energy-efficient models that ensure better indoor thermal regulation. These improvements contribute to reduced energy consumption and increased comfort during warmer months. | NOT FOR ALL 27 MEMBER STATES
Main provisions relevant to the use of space cooling | In Cyprus, specific indoor temperature requirements are established for workplaces to ensure thermal comfort and protect workers from heat stress. The Safety and Health at Work (Code of Practice for the Protection of Workers from Heat Stress) Orders of 2014 and 2020 (P.I. 291/2014 and P.I. 206/2020) mandate that workplace temperatures must accommodate the human body's needs during working hours, considering the nature of work and physical exertion involved. Employers are required to implement appropriate organizational and technical measures to maintain temperature and relative humidity within defined comfort limits. For residential buildings, there are no explicit indoor temperature requirements specified in national legislation. However, Cyprus adheres to European standards, such as EN 15251:2007, which recommends indoor temperature ranges for thermal comfort. These guidelines suggest maintaining indoor temperatures between 20°C and 26°C, depending on seasonal and climatic conditions. | NOT FOR ALL 27 MEMBER STATES
References of the relevant regulations (or other source(s))
Tab 6 - Regulations on space cooling systems or products
EU regulations and provisions | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives. | standard text for all 27 Member States
National implementation | In Cyprus, the implementation of Articles 15(4) and (5) of the Energy Performance of Buildings Directive (EPBD) focuses on enhancing the energy efficiency of air-conditioning systems in both non-residential and residential buildings. The Law for the Regulation of the Energy Performance of Buildings (L.142(I)/2006) mandates regular inspections of air-conditioning systems with an effective rated output exceeding 12 kW, irrespective of the building type. These inspections assess the efficiency of the system, its sizing relative to cooling requirements, and recommend improvements to reduce energy consumption. The provisions also include random checks to ensure compliance, with penalties for non-compliance. For non-residential buildings with heating or air-conditioning systems exceeding an effective rated output of 290 kW, the integration of Building Automation and Control Systems (BACS) is mandated by December 31, 2024. These systems must continuously monitor, log, analyze, and adjust energy use, as well as detect inefficiencies and inform facility managers about opportunities for optimization. This requirement will extend to systems with an output exceeding 70 kW by December 31, 2029. While the EPBD allows for the introduction of monitoring systems for air-conditioning in residential buildings exceeding 70 kW, Cyprus has not mandated specific provisions for this sector. Instead, measures for energy efficiency improvements in residential buildings remain focused on voluntary actions and compliance with broader energy performance standards. | NOT FOR ALL 27 MEMBER STATES
References of the relevant regulations (or other source(s))
Tab 7 - Other relevant legislations
Other EU legislations or documents relevant to space cooling or summer comfort |  | standard text for all 27 Member States
Other national legislations or policies relevant to space cooling or summer comfort |  | NOT FOR ALL 27 MEMBER STATES
References of the relevant regulations (or other source(s))
Tab 8 - Financing schemes | See separate file on financing schemes | PREPARED SEPARATELY
Overview of public schemes | The public schemes providing financial incentives for energy efficiency investments are usually not restricted to an end-use or type of solution. The Energy Fund of Funds providing soft loans for energy efficiency helps households, SMEs, and the public sector to finance various types of energy efficiency investments, that may include the improvement of buildings or cooling systems. Other schemes are focused on energy efficiency investments in buildings: - Grant Scheme to encourage the use of Renewable Energy Sources and Energy Saving in Homes - Scheme to Promote Energy Efficiency Investments by Small and Medium Enterprises and Non-Profit Organisations These schemes have been boosted by the Recovery and Resilience Plan. Cyprus has also started in 2023 an Energy Efficiency Obligation Scheme, requiring energy suppliers to achieve energy savings targets. However, it is not known yet if this scheme would be used to support energy efficiency in buildings or cooling systems.
Overview of private schemes | Banks offer green loans either for residential buildings or for non-residential buildings, including: - Business Green Loan, Green Home Loan and Green Loan for Home Improvements, by the Hellenic Bank - Fil-eco Home renovation for energy upgrade, and Fil-eco Photovoltaic & other systems by the Bank of Cyprus - Green Energy Solutions by CDB Bank These loans have different requirements (either about overall increase in energy performance, or list of eligible action types, etc.).
Tab 9 - Good practices |  | TO BE PREPARED LATER
Overview of good practices |  | standard text for all 27 Member States
Examples |  | NOT FOR ALL 27 MEMBER STATES ?
Note on B5: Concise introduction highlighting the main relevant legislations and schemes, and referring to the national cooling strategy (or other relevant planning or strategic document), if any Guidance: summary to be prepared from the national cooling strategy (if any), or from the screening of the draft NECP update, comprehensive assessments, national adaptation strategy
Note on B6: Add other sources (e.g. national heating and cooling strategy) when relevant
Note on B8: Brief explanation of the distribution of main responsibilities between the national/Federal level, regional level and municipal level Guidance: information should be available from sections 1.2(iv) and 1.3 of the NECP2019 or draft NECP update
Note on B9: add other sources, when relevant
Note on B11: Key information about adaptation issues related to cooling (e.g. expected increase of heat waves) Summary about action plans to address these adaptation issues, and how it may relate to the cooling strategy
Note on B12: add other sources, when relevant
Note on B14: Brief reminder of the main provisions in the EED about heating & cooling plans and comprehensive assessments (+ possible links with adaptation plans when possible/relevant)
Note on B15: Depending on the info available: overview of the relevant national processes, with key objectives , timeline and consultation process (if any)
Note on B16: add other sources, when relevant
Note on B18: from the template on building regulation data (summary from lines 6 to 11) or standard summary explaining that the EPBD requires the calculation of energy performance to include space cooling (in case of country not analysed in detail)
Note on B19: from the template on building regulation data (summary from lines 13 to 25)
Note on B20: from the template on building regulation data (summary from lines 29 to 39)
Note on B21: Full references and links to the building codes (for new and existing buildings, when relevant), and possibly other building regulations relevant to space cooling or summer comfort Copied from the template on building regulation data Or maybe reference to an EU report on national building regulations (for countries other than the 10 ones analysed in detail)
Note on B23: Same text for all countries: brief reminder of the relevant ecodesign regulations + EPBD provisions on inspection of cooling systems + regulation on F-Gas
Note on B24: from the template on building regulation data (summary from lines 43 to 60) Or possibly from EU reports summarizing MS implementation of EPBD Art.15, and similar reports about Ecodesign
Note on B25: Full references (with links when possible) of the ecodesign regulations (and their national adoption when relevant) + of the possible other relevant regulations Other relevant sources (e.g. MS notification to EC about the implementation of Art.15 of EPBD)
Note on B27: Same text for all countries. Summary about the other EU legislations that have provisions relevant to space cooling or summer comfort
Note on B28: Overview of possible other relevant national legislations or policies, with the references and brief explanations about the most relevant ones
Note on B29: Full references (with links when possible) of the other regulations or policies mentioned in the two lines above
Note on B31: from the tab "public schemes" in the fille compiling the financing schemes
Note on B32: from the tab "private schemes" in the fille compiling the financing schemes
Note on B34: Brief text referring to where the whole set of good practices can be found in the Knowledge Hub
Note on B35: Brief introduction (e.g. with a bullet list) about the good practices identified in the country An alternative for countries with no good practice identified, would be to include a standard text per type/group of countries, referring to relevant good practices in similar/neighbooring countries. For example, if we find one good practice in a Northern country, then this example could be mentioned here for the other Northern countries as well.

## draftNECPupdate
COUNTRY: | Cyprus
Review of the draft NECP update
Back to Table of Contents | 2023 draft update National Energy and Climate Plans available at: | https://commission.europa.eu/energy-climate-change-environment/implementation-eu-countries/energy-and-climate-governance-and-reporting/national-energy-and-climate-plans_en#national-energy-and-climate-plans-2021-2030
Part 1 - (see particularly Executive summary - section 1.1; and Overview of current policy situation - section 1.2)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | The NECP emphasizes the importance of energy efficiency in both heating and cooling sectors. It outlines strategies to enhance the energy performance of buildings, aiming to reduce energy consumption for cooling purposes. The plan also highlights the promotion of renewable energy sources for cooling, such as solar cooling technologies, to decrease reliance on conventional energy sources.
Part 2 - National objectives and targets
Section 2.1.1 GHG emissions and removals (particularly if sub-section about buildings)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | mandatory target of an annual increase of at least 0.8 % in the period 2021 to 2025 and 1.1 % in the period 2026 to 2030 in the RES share in the heating and cooling sector,
Section 2.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (ii))
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | The share of RES in 2021 in the power sector stood at 14.84 %, in the heating and cooling sector at 41.34 % and in transport at 7.19 %. In the heating and cooling sector, the RES share in 2021 reached 41.34 %, exceeding the indicative trajectory set in the NECP for 32.6 % in 2021. There has also been a 11.12 % increase in the share of RES in the sector in 2020 (37.12 %). Most of the RES share in the heating and cooling sector is due to solar energy through the widespread use of solar thermal systems for water heating. Also important is the contribution from the use of heat pumps and the use of biomass (wood products) for heating purposes and the use of waste-based biomass in industry (cement factory). In addition, the contribution of RES cooling with heat pumps is significant, in accordance with the provisions of Delegated Regulation (EU) 2022/759.34. The share of RES in the heating and cooling sector is projected to continue to grow throughout the period 2022-2030. Of the scenarios examined, the share of RES-H in 2030 increases to 48.2 % in the baseline scenario ‘Scenario with Additional Measures (SPM)’, while in the ‘Scenario with Existing Measures (FAM)’ the share of RES-C% Y reaches 45.2 %
Section 2.2 Energy Efficiency (see points (ii) about long-term renovation strategies and (iii) about other objectives)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | A comprehensive assessment of the energy saving potential in heating and cooling was notified to the European Commission on 30/7/21. The technology identified with the greatest economic potential to meet the heating and cooling requirement in the residential, tertiary and agricultural sectors comes from heat pumps combined with photovoltaic panels, while the technology with the greatest economic potential to meet the hot water requirement is solar thermal systems.
Section 2.4.4 Energy poverty
Does the assessment of energy poverty consider 'summer energy poverty'? | Not found
Details / explanations
Section 2.5 Dimension research, innovation and competitiveness
Any mention about research or innovation related to cooling and related aspects? | Not found
Details / explanations
Part 3 - Policies and Measures (PaMs)
Section 3.1.1 GHG emissions and removals (particularly if sub-section about PaMs for buildings, in point (i))
Any mention about cooling and related aspects? | Not found
Details / explanations
Section 3.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (i) and in point (vi) about district cooling)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | In the heating and cooling sector, support schemes to provide financial incentives for installing or replacing solar domestic hot water systems continue to be implemented. Support measures will also be implemented to further promote high-efficiency heat pumps for heating and cooling. At the same time, sponsorship schemes for the energy upgrading of existing buildings continue, including subsidies for RES heating and cooling systems (solar thermal, heat pumps, geothermal systems, etc.).
Section 3.2 Energy Efficiency (particularly in points (ii) about long-term renovation strategies)
Any mention about cooling and related aspects?
Details / explanations | In the heating and cooling sector, support schemes to provide financial incentives for installing or replacing solar domestic hot water systems continue to be implemented. Support measures will also be implemented to further promote high-efficiency heat pumps for heating and cooling. At the same time, sponsorship schemes for the energy upgrading of existing buildings continue, including subsidies for RES heating and cooling systems (solar thermal, heat pumps, geothermal systems, etc.).
Section 3.4.4 Energy poverty
Is any policy measure about energy poverty dealing with 'summer energy poverty'? | Not found
Details / explanations
Section3.5 Dimension research, innovation and competitiveness (particularly in point (i))
Any mention about research or innovation related to cooling and related aspects? | Not found
Details / explanations
Parameters and variables to be reported in Part B (often in a separate annex)
Point 1(13): Cooling Degree Days | Not found
Details / explanations
Other sections of the NECP
Is space cooling mentioned or addressed in other sections of the NECP? | Not found
Details / explanations
Complementary information about financing schemes promoting building renovation (in point (i) and/or (ii) of section 3.2 of the draft NECP update)
Does the draft NECP update provide information about schemes for building renovation?
General comments
Note on B5: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B9: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B12: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B15: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B18: Yes = 'summer energy poverty' or related aspects (e.g. decent comfort in summer, ability to keep home cool in summer) is mentioned No assessment = no definition, no indicator and no qualitative assessment about energy poverty in the country Not found = there is some assessment (e.g. a definition or indicator(s)), but there is no mention of any of the keywords
Note on B21: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B25: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B28: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B31: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B34: Yes, directly = summer energy poverty or alike (e.g. ability to keep home adequately cool in summer) is mentioned about the objectives or focus of at least one policy measure against energy poverty Yes, indirectly = one of the policy measures mentioned might contribute to improve summer comfort or reduce summer energy poverty (even if not mentioned explicitly), or the topic of summer energy poverty is mentioned among the issues to be addressed in a national energy povery strategy or alike Not found = none of the keywords is mentioned
Note on B37: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B43: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B44: If "cooling" or other related keywords are found in other sections of the NECP, please explain briefly where and about what. For example, space cooling could be mentioned in sections about energy security and electricity infrastuctures in countries where space cooling can generate strong peak loads. "cooling" or other related keyworks could also be mentioned in sections about future trends in GHG emissions and energy consumption.
Note on B46: Yes, with clear information: when renovation schemes are clearly mentioned, with details about schemes already in place, or planned schemes with clear timeline, budget, etc. Yes, vaguely: when plans or measures for building renovation are mentioned, but with no clear name of schemes, and no detail about their date of implementation, budget, etc. Not found: if no information could be found about schemes for building renovation
Note on B47: General comments about the information available on renovation schemes (e.g. whether it is vague or with details on concrete schemes already in place; if there is information about funding; etc.)
Note on A48: add here the name of the scheme
Note on B48: When available, summarize here the main information about the scheme: - implementation period - type of financing instrument (e.g. grants, loans, etc.) - budget - whether actions more specific to cooling (e.g. sun shading or protection) are eligible
Note on A49: add here the name of the scheme
Note on B49: When available, summarize here the main information about the scheme: - implementation period - type of financing instrument (e.g. grants, loans, etc.) - budget - whether actions more specific to cooling (e.g. sun shading or protection) are eligible
Note on A50: add here the name of the scheme
Note on B50: When available, summarize here the main information about the scheme: - implementation period - type of financing instrument (e.g. grants, loans, etc.) - budget - whether actions more specific to cooling (e.g. sun shading or protection) are eligible
Note on A51: add here the name of the scheme
Note on B51: When available, summarize here the main information about the scheme: - implementation period - type of financing instrument (e.g. grants, loans, etc.) - budget - whether actions more specific to cooling (e.g. sun shading or protection) are eligible

## CA2020
COUNTRY: | Cyprus
Review of the Comprehensive Assessment 2020
The parts / sections mentioned below are the ones listed in Annex VIII of the initial Energy Efficiency Directive 2012/27/EU (as amended by regulation (EU) 2019/826)
Back to Table of Contents |  | Comprehensive Assessements available at: | https://energy.ec.europa.eu/topics/energy-efficiency/heating-and-cooling_en#comprehensive-assessments-on-efficient-heating-and-cooling
Criteria | Yes/No categorisation | Explanations / comments
Information reported on Part II (Objectives, strategies and policy measures)
Point 5: planned contribution of the Member State to its national objectives and targets (through efficiency in heating and cooling)
Any objective/target in terms of reductions of GHG emissions specifically from cooling? | No clear target
Any objective/target in terms of share of RES specifically from cooling? | No clear target
Any objective/target in terms of contribution specifcally from cooling to the energy efficiency target | No clear target
Other objectives/targets mentioned about or relevant to cooling? | No clear target
Other comments or explanations related to objectives and targets mentioned in the Comprehensive Assessment (when relevant to how space cooling is addressed) |  | No information specific to cooling in the part about objectives and targets.
Point 6: information on existing policies and measures related to heating and cooling
Information about a strategy, umbrella framework or overall planning for heating and cooling? | Yes, with info relevant to space cooling | NECP draft, delivered to the EC in 2023 (https://commission.europa.eu/publications/cyprus-draft-updated-necp-2021-2030_en) Comprehensive assessment includes an overwiev of existing policies and measures from National Energy and Climate Plan plus other policies and measures that were not included in the NECP. Existing policies and measures related to heating and cooling are divided in several dimensions, according o the Article 1(2) of the Governance Regulation (EU) 2018/1999: Decarbonization, Energy Efficiency, Energy Security, Internal Energy Market and Research, innovation and competitiveness. Most of measures and policies are tied up to Decarbonization and Energy Efficiency Dimension, while Energy Security and Research, innovation and competitiveness have no specific measures relevant to heating and cooling. The technology identified with the greatest economic potential to meet the heating and cooling requirement in the residential, tertiary and agricultural sectors comes from heat pumps combined with photovoltaic panels, while the technology with the greatest economic potential to meet the hot water requirement is solar thermal systems. In industrial processes, there is the greatest economic potential in the use of CHP plants mainly fuelled by LPG.
Information about building regulation(s)? | Yes, but nothing related to space cooling | All new tertiary sector buildings and all new dwellings, except those described in the Annex to the Regulation on the Energy Performance of Buildings Law (Law 142(I)/2006) must satisfy the minimum energy performance requirements established by a relevant decree adopted by the Minister for Commerce, Industry and Tourism. This measure arises from Cyprus’ obligation to implement the Buildings Directive concerning the energy performance of buildings.
Information about financial incentives for energy efficiency in buildings? | Yes, with info relevant to space cooling | Comprehensive assessment indicated several policies and measures that encourages using financial incentives for energy efficiency in buildings: Financial support to perform energy audits in SME; soft loans for energy efficiency investments; financial support for roof thermal insulation in households; lower VAT rates for the renovation and repair of private dwellings etc. Aforementioned measures mainly adress heating and/or cooling in a way of decreasing its yearly consumption due to efficient insulation.
Information about measures related to cooling systems (e.g. standards, labelling, incentives)? | Not found
Information about measures to develop RES for cooling (or RES for heating&cooling)? | Yes, with info relevant to space cooling | Several supporting schemes for the promotion of RES electricity is emphasized in the comprehensive assessment, both for residential and non-resiential sector. Also, vulnerable groups/consumers have been adressed here, by giving them financial support for the installation of net-metering PV systems in their houses. Moreover, soft measures, such as certification of RES system installers is mentioned, as they are a crucial link in successfull implementation of RES measures.
Information about measures for district cooling (or district heating&cooling)? | Yes, but nothing related to space cooling | Regarding the availability of waste heat from cooling installations, the conclusion is that there are no individual buildings with cooling demand large enough to produce waste heat on a scale that could make recovery and feeding into a DHC scheme feasible.
Information about other type(s) of measure that could be relevant to space cooling? | Not applicable
Summary comments about the policies and measures mentioned in the Comprehensive Assessment (as regards aspects relevant to space cooling) |  | Since energy consumption of Cyprus mostly relies on the electricity, most of the policies and measures are focused on increasing the production of electricity from renewable energy sources (PVs, heat pumps etc.) and on decarbonization of building sector, and thus decreasing the consumption of heating (and cooling) energy.
Information reported on Part IV (Potential new strategies and policy measures)
Point 9: overview of new legislative and non-legislative policy measures to realise the economic efficiency potential in heating and cooling
Any reference to a national multi-annual strategy or planning (other than the NECP)? | Not found | Even though multi-annual strategies, other than NECP, are not mentioned in the CA, they should be mentioned here since they are referring to cooling: An energy efficiency strategy for Cyprus up to 2020, 2030 and 2050 (https://www.energy.gov.cy/assets/modules/wnp/articles/202307/226/docs/energyefficiencystrategy.pdf) Cyprus' Long-term low GHG emission development strategy (https://unfccc.int/sites/default/files/resource/2022_lts_final_cyprus.pdf)
Information on development(s) planned or under discussion about regulations for new buildings? | Not found | CA does not mention any changes in existing regulations nor the development of new ones.
Information on development(s) planned or under discussion about measures for the renovation of existing buildings? | Not found | CA does not mention any renovation measures that are planned or under discussion.
Information on development(s) planned or under discussion about measures for cooling systems (e.g. about standards, labelling, incentives)? | Not found
Information on development(s) planned or under discussion about measures to develop RES for cooling? | Not found
Information on development(s) planned or under discussion about measures to develop district cooling? | Not applicable | There are no measures for the development of distric cooling systems, but the CBA was made for various types of DHC (district heating and cooling networks) which are not, at this point, economically feasible.
Information on development(s) planned or under discussion about other type(s) of measure? | Not found
Summary comments about policy developments planned or under discussion (as regards aspects relevant to space cooling)
Complementary screening of data that could be relevant to WP2
Information reported on Part I (Overview of heating and cooling)
Point 1: Heating and cooling demand in terms of assessed useful energy and quantified final energy consumption in GWh per year by sectors
Does the comprehensive assessment include separate data on cooling consumption? | Yes | Total useful energy consumption (MWH/y) is given for residential, service and industrial sector. It amounts 1,871,417 MWh/y for residential, 2,783,370 MWh/y for service and 16,100 MWh/y for industrial sector in 2018. This data can be found on pages 10, 14 and 21 of the CA.
Any other more disaggregated data on cooling consumption/demand? | Yes | For heating and cooling, where the input involves the consumption of electricity (i.e. heat pumps for heating, resistance heaters and heat pumps for cooling) a proportion of this electricity input is considered renewable. Thus, the data is provided for residential and service sector, where, out of total useful energy consumption (4,654,788 MWh/y), according to Eurostat, 9,43% or 438,947 MWh/y is generated from renewables. The same percentage goes for industrial sector where, out of 16,100 MWh/y of electricity used for cooling, 1,518 MWh/y is generated from renewables.
Point 3: Map covering the entire national territory identifying heating and cooling demand areas, existing and planned heating and cooling supply points
Does the map / assessment cover cooling demand (or only heating)? | Yes, separate map about cooling | Pages 50, 52, 54, 56 - spatial representation of energy needed for cooling in housing, service and industry sector.
Point 4: Forecast of trends in the demand for heating and cooling (which is supposed to take into account the expected impacts from the long-term renovation strategy)
Does the comprehensive assessment include separate forecast data on future cooling consumption? | Not found | The forecast is expressed for heating AND cooling with existing measures. Projections are made each year to 2030 and then every 5 years to 2050.
Other comments on data about energy consumption/demand or cooling technologies |  | In CA is also included agricultural sector, but there is no data on energy consumption for cooling in this sector, only for heating.
Information reported on Part III (analysis of the economic potential for efficiency in heating and cooling
Does the analysis deal with cooling as well? | Yes, with rough analysis only | The analysis in the Comprehensive Assessment deals with both heating and cooling. Baseline technologies for the provision of heating and cooling across the four sectors have been defined. The economic and financial case for supplanting these with a range of high efficiency solutions, both District Heating and Cooling (DHC) and individual building level solutions, has been evaluated by a Cost Benefit Analysis (CBA) Excel spreadsheet model developed for this work.
Does the comprehensive assessment include cost data about cooling technologies? | Yes | Page 116. and Tables 7-1 and 7-2
Other comments on cost data or the cost-benefit methodology |  | Studies already carried out show that it is not cost-effective to develop district heating and cooling systems in Cyprus. The potential for such investments exists only in two tourist areas, but no such development is economically viable without financial support. More efficient options such as heat pumps and solar systems make it impossible to install such networks.
other comment(s) about the comprehensive assessment |  | A study was done in 2017 by Ricardo Energy & Environment for the Ministry of Ministry of Energy, Commerce, Industry and Tourism, about the “development of a heating and cooling strategy at a local level”. The objective was to identify the potential for high efficiency heating and cooling solutions in agreed areas of Cyprus, where high efficiency solutions include District Heating and Cooling (DHC) and local, building level heating solutions, including Combined Heat and Power (CHP), heat pumps and solar thermal solutions. This study also developed an Excel-based model used to evaluate this potential. The final report of this study is available here: https://energy.gov.cy/assets/entipo-iliko/DEVELOPMENT%20OF%20A%20HEATING%20AND%20COOLING%20STRATEGY%20OF%20LOCAL%20LEVEL%20(CYPRUS).pdf
Note on C8: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C9: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C10: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C11: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C14: If a national strategy, planning document or other relevant document is mentioned, please include the reference here, with a brief explanation what it is about, and the publication or adoption date (when relevant/mentioned). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C15: If the name or reference of the building is mentioned, please include it here, as this is useful to check if the same building regulation was screened already (or a more recent/older one). When possible, briefly explain if the comprehensive assessment provides details about how the building regulation would address space cooling or summer comfort. Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on C16: Mention if the comprehensive assessment refers to the Long-Term Renovation Strategy (cf. Art.2a of the EPBD) or a similar national strategy for building renovations. Please list here the names of the schemes mentioned in the comprehensive assessment (usfeful to double check vs. the list of financial schemes compiled for CoolLIFE). If too many schemes are mentioned (more than 5), then mention the 5 main ones, and refer to the pages where the others can be found. Briefly explain whether the information about these schemes mention anything relevant to space cooling (or summer comfort), or whether the information is mostly related to space heating or energy performance of buildings in general. Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on C17: Mention if the comprehensive assessment refers to the ecodesign and/or energy labelling regulations applicable to cooling systems/devices, and/or about other possible national regulations or standards relevant to space cooling. Mention if the comprehensive assessment refers to the mandatory inspections of air-conditioning systems (cf. Art.15(1) of the EPBD), and/or to the installation of BACS (Building Automation and Control Systems; cf. Art.15(4) of the EPBD) Include here any other measure mentioned by the comprehensive assessment about cooling systems/devices (e.g. scrappage schemes of old inefficient air-conditioners; regulation on F-gas) Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on B19: List here the measures mentioned in the Comprehensive Assessment to support the development of district cooling (or of district heating & cooling, if not addressed separately; in that case make it clear in your explanation; also mention it if district cooling is not mentioned at all, or if the comprehensive assessment states that there is no development of district cooling in the country). (if more than 5 measures, mention the main ones, and refer to the pages where the other measures can be found) Mention if the information mentions the types of sources/technologies promoted for district cooling. Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on C20: Please add here the name of the measures (and links/references if available), and briefly explain why they can be relevant to space cooling. Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on C24: If the same document(s) is/are mentioned than about existing measures, mention it briefly. If other document(s) is/are mentioned, please add the name(s), reference(s) or link(s) here. Please include a brief explanation whether the information provided include elements relevant to space cooling Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C25: Briefly mention whether changes/developments in the building regulations were planned or under discussion. And if so, whether the comprehensive assessment provides details about how this would address space cooling or summer comfort. Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on C26: Mention if the comprehensive assessment refers to the Long-Term Renovation Strategy (cf. Art.2a of the EPBD) or a similar national strategy for building renovations. Briefly explain whether the information about future developments mention anything relevant to space cooling (or summer comfort), or whether the information is mostly related to space heating or energy performance of buildings in general. Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on C27: Summarize the main changes/developments mentioned in the comprehensive assessment (or if it does not mention any development in measures about cooling products/devices). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on C28: Mention here whether the information on the future developments of measures to increase the share of RES for heating and cooling include elements specific to / relevant to cooling. Mention if the information mentions the types of RES or technologies promoted, and especially if there would be differences with the scope of RES and technologies promoted by the existing measures (see line 18 above). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on C29: Mention here whether the information on the future developments of measures to further support the development of district heating and/or cooling include elements specific to / relevant to cooling.. Mention if the information mentions the types of sources/technologies promoted for district cooling, especially if there would be differences with the scope of existing measures (see line 19 above). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on C30: Provide brief explanations about the other developments that could be relevant to space cooling. Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on C35: No need to enter in details here. You can simply mention the section or pages where the data can be found. Feel free to add comments that can help the WP2 team to know how interesting the data may be.
Note on C36: If possible, mention briefly the type of disaggregated data (e.g. per sub-sector, per region, per technology). No need to enter in further details here. Please mention the section or pages where the data can be found. Feel free to add comments that can help the WP2 team to know how interesting the data may be.
Note on C38: If possible, mention briefly the type of data (e.g. until 2030 or 2050; total data only or disaggregated per sector). No need to enter in further details here. Please mention the section or pages where the data can be found. Feel free to add comments that can help the WP2 team to know how interesting the data may be.
Note on C43: If the analysis covers cooling, mention the section or pages where the related info can be found. Feel free to add brief comments about it. If no economic analysis on cooling is included, mention whether the comprehensive assessment provides justification why cooling was not covered in this part (e.g. too low cooling demand; lack of data; ...).
Note on C44: No need to enter in details here, but useful to mention the type of cost data, if any is available (e.g. total cost only; disaggregated data like investment cost and operation cost) Please mention the section or pages where the data can be found. Feel free to add comments that can help the WP2 team to know how interesting the data may be.

## BuildingRegulation
COUNTRY: | Cyprus |  | Back to Table of Contents
BUILDING REGULATIONS
HOW SPACE COOLING OR SUMMER COMFORT IS ADDRESSED IN THE BUILDING REGULATIONS
DEFINITION(S) (about space cooling or summer comfort; in building regulations)
Data field | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
clear definition(s)? | Yes = an official and clear definition is included Unclear = a definition or some elements close to a definition are included, but this remains vague | Not found
Definition(s)
ENERGY PERFORMANCE CALCULATION (energy performance of the building)
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Is space cooling considered in the calculation methodology? | "Yes, in global performance" = when energy demand related to space cooling or summer comfort is taken into account for calculating the global energy performance of the building "Yes, separately" = when energy demand related to space cooling or summer comfort is taken into account only separately (e.g. to set specific requirements on the cooling demand) "Unclear" = when the calculation methology does not make it clear whether and how space cooling would be taken into account | Yes, in global performance | energy performance of a building means the calculated or measured amount of energy needed to meet the energy demand linked to the normal use of the building or building unit, which includes, inter alia, the energy used for heating, cooling, ventilation, hot water production and lighting |  | http://www.cylaw.org/nomoi/enop/non-ind/2006_1_142/full.html
Any difference between residential and non-residential? |  |  | In Cyprus, the methodology for calculating the energy performance of buildings is standardized across both residential and non-residential structures.
MINIMUM ENERGY PERFORMANCE REQUIREMENTS
Any requirement in terms of maximum allowed cooling demand? | (more details and other type(s) of requirements can be described below, per type of building) |  | In Cyprus, building regulations emphasize overall energy performance rather than setting explicit maximum limits for cooling demand. The focus is on ensuring that a significant portion of a building's primary energy consumption, including that used for cooling, is derived from renewable energy sources.
1) NEW BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone | Global and specific | Ministerial Decree 121/2020 mandates that new or renovated buildings source at least 25% of their primary energy consumption for heating and cooling from renewable energy sources. For hotels, this requirement is set at 9%. |  | https://clean-energy-islands.ec.europa.eu/countries/cyprus/legal/heating-cooling-support/heating-cooling-support-building-obligations?utm_source=chatgpt.com#15583
Details about the requirements for new residential buildings
Details about the requirements for new non-residential buildings
Other main requirements related to space cooling or summer comfort
2) EXISTING BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone | Global and specific | Major renovations of existing buildings in Cyprus must align with updated energy performance standards to enhance overall efficiency and comfort. These upgrades often focus on measures that improve summer comfort, such as enhanced insulation to reduce heat gain, installation of shading devices like awnings or shutters to minimize solar heat exposure, and replacing outdated cooling systems with energy-efficient models that ensure better indoor thermal regulation. These improvements contribute to reduced energy consumption and increased comfort during warmer months. |  | https://energy.ec.europa.eu/system/files/2020-07/cyprus_2020_ltrs_en_0.pdf?utm_source=chatgpt.com
Details about the requirements for existing residential buildings
Details about the requirements for existing non-residential buildings
Other main requirements related to space cooling or summer comfort
REGULATIONS (OR STANDARD VALUES) ABOUT THE USE OF SPACE COOLING
SETPOINT and/or COMFORT INDOOR TEMPERATURE (when mentioned in regulations, either as mandatory or indicative / standard assumption)
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any comfort indoor temperature(s) defined? | (whatever mandatory or indicative; considering sector coverage, i.e. residential and/or non-residential) |  | In Cyprus, specific indoor temperature requirements are established for workplaces to ensure thermal comfort and protect workers from heat stress. The Safety and Health at Work (Code of Practice for the Protection of Workers from Heat Stress) Orders of 2014 and 2020 (P.I. 291/2014 and P.I. 206/2020) mandate that workplace temperatures must accommodate the human body's needs during working hours, considering the nature of work and physical exertion involved. Employers are required to implement appropriate organizational and technical measures to maintain temperature and relative humidity within defined comfort limits. For residential buildings, there are no explicit indoor temperature requirements specified in national legislation. However, Cyprus adheres to European standards, such as EN 15251:2007, which recommends indoor temperature ranges for thermal comfort. These guidelines suggest maintaining indoor temperatures between 20°C and 26°C, depending on seasonal and climatic conditions. |  | https://www.mlsi.gov.cy/mlsi/dli/dliup.nsf/All/1D53129AD65E97B8C2257DDD002620AF?OpenDocument
type of value | "minimum not to exceed" = mandatory, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand | none found
value (in °C) (residential)
type of value
value (in °C) (non-residential)
COOLING SEASON
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any requirement related to the annual duration for which the standard comfort would not be met or would require extra cooling demand? | (considering sector coverage, i.e. residential and/or non-residential) | not found
some kind of cooling season defined? (i.e. period when cooling is allowed and/or standard cooling period used as assumption in modelling, contracts, etc.) | "mandatory" = to be complied with, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand | none found
details about the cooling season | (e.g. period/duration, exceptions / cases not subject to limitation of use, etc.) | n/a
REGULATIONS FOR COOLING OR AIR-CONDITIONING SYSTEMS
MINIMUM REQUIREMENTS ABOUT SPACE COOLING DEVICES? --> can there be differences among Member States?
MAINTENANCE AND INSPECTION OF AIR-CONDITIONING SYSTEMS (implementation of Article 15 of EPBD)
MANDATORY INSPECTIONS or ALTERNATIVE APPROACH (implementation of EPBD Art.15(1) and (3))
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Approach used to implement Art.15 of the EPBD (inspection of large aid-conditioning systems) | "mandatory regulary inspections" = Art.15(1) "alternative approach" = Art.15(3) (alternative information measures) "unclear" = when no official reporting available about implementation of Art.15 | mandatory regulary inspections | In Cyprus, the implementation of Article 15 of the Energy Performance of Buildings Directive (EPBD) regarding the inspection of air-conditioning systems is governed by the Law for the Regulation of the Energy Performance of Buildings (L.142(I)/2006). Inspections are mandatory for air-conditioning systems with an effective rated output exceeding 12 kW and are conducted regularly to ensure energy efficiency and optimal performance. | Possible source to start from: country reports 2020 of the CA EPBD (see section "2.IV.vi. Progress and current status on AC systems" in the country reports) MS reports submitted in 2014 (in case of alternative approaches) | CA EPBD country reports: https://epbd-ca.eu/database-of-outputs MS reports submitted in 2014: https://scientificnet.sharepoint.com/:f:/r/sites/CoolLIFE2/Shared%20Documents/General/WP4_Policies/Sources/EPBDart15_MSreports2014?csf=1&web=1&e=atJAyX
Sector coverage / differences | Are the provisions to implement Art.15 covering both, residential and non-residential buildings? And in the same way? |  | The Law for the Regulation of the Energy Performance of Buildings (L.142(I)/2006) mandates regular inspections of air-conditioning systems with an effective rated output exceeding 12 kW, irrespective of the building type. |  | http://www.cylaw.org/nomoi/enop/non-ind/2006_1_142/full.html
Scope for the mandatory inspections or alternative measures | Size threshold(s) (e.g. effective rated output of 70 kW set in Art.15, but it can be lower in national regulations), and whether different thresholds apply according to building segments or types of provisions + possible exemptions |  | In Cyprus, the inspection of air-conditioning systems is mandated for both residential and non-residential buildings with systems exceeding specific capacity thresholds. The national regulations stipulate that air-conditioning systems with an effective rated output of more than 70 kW must undergo inspections every five years. |  | http://www.cylaw.org/nomoi/enop/non-ind/2006_1_142/full.html
Details about the mandatory inspections or alternative measures | Short description about the main provisions in national regulations to implement EPBD Art.15(1) or (3) |  | The main provisions in Cyprus's national regulations to implement Article 15(1) and (3) of the Energy Performance of Buildings Directive (EPBD) focus on the inspection and maintenance of air-conditioning systems to ensure energy efficiency and optimal performance. Under the Law for the Regulation of the Energy Performance of Buildings (L.142(I)/2006), inspections are required for air-conditioning systems with an effective rated output exceeding 12 kW. These inspections assess the efficiency of the system, its sizing relative to cooling requirements, and recommend improvements to reduce energy consumption. Certified professionals registered with the Energy Service are tasked with conducting these inspections. For systems with an effective rated output over 70 kW, inspections must occur at least every five years, and exemptions may apply if the system is equipped with automation and control technology or covered by an energy performance contract. The provisions also include random checks to ensure compliance, with penalties for non-compliance. This regulatory framework is designed to align with the EPBD's goals of improving energy efficiency and reducing environmental impact in buildings. |  | http://www.cylaw.org/nomoi/enop/non-ind/2006_1_142/full.html
Requirements on BACS or other monitoring systems (implementation of EPBD Art.15(4) and (5))
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Regulation on BACS (Building Automation and Control System) for large AC in non-residential buildings (EPBD Art.15(4)) | "Already in force" = requirements on BACS already in force "Deadline set" = deadline of 2025 (or earlier) including in legislation "Provision planned" = legislation not yet adopted, but planned "Unclear" = no official information found on national implementation of Art.15(4) |  | (6)Buildings not used as dwellings with air conditioning systems or air conditioning and ventilation systems of a useful rated power of more than 290kW shall be equipped with automation and control systems which allow; (a) the continuous monitoring, recording, analysis and ability to adapt energy consumption; (b) the benchmarking of the energy efficiency of the building, identifying losses in the efficiency of the building's technical systems and informing the operator of its installations or technical management; (() communication with interconnected technical building systems and other appliances within the building, and interoperability with technical building systems of different patented technologies, mechanisms or manufacturers. (7)The installation of automation and control systems provided for in paragraph (6) shall apply, provided that it is considered as the most cost-effective solution to inspections, as their amortisation must be less than three years and provided that technical systems in existing buildings can be controlled without substantial modifications. |  | http://www.cylaw.org/nomoi/enop/non-ind/2006_1_142/full.html
Provisions on monitoring systems for AC in residential buildings (EPBD Art.15(5)) | "Mandatory requirements" = a regulation set mandatory requirements "Other types of measures" = no mandatory requirement, but informative or other type(s) of measure(s) promoting the use of monitoring systems |  | In Cyprus, the implementation of Article 15(5) of the Energy Performance of Buildings Directive (EPBD) concerning the installation of continuous electronic monitoring and effective control functionalities in residential buildings is not explicitly mandated. The EPBD allows Member States the discretion to introduce such requirements for residential buildings with air-conditioning systems exceeding an effective rated output of 70 kW. However, as of now, Cyprus has not established specific national regulations enforcing this provision. Consequently, while the EPBD provides a framework for enhancing energy efficiency through monitoring systems, the adoption of these measures in Cyprus's residential sector remains voluntary. This approach aligns with the current practices observed in several EU Member States, where mandatory implementation of Building Automation and Control Systems (BACS) in the residential sector has not been widely adopted.
Details about provisions on BACS and other monitoring systems | Short description about the main provisions in national regulations or policies to implement EPBD Art.15(4) and (5) |  | In Cyprus, the implementation of Articles 15(4) and (5) of the Energy Performance of Buildings Directive (EPBD) focuses on enhancing the energy efficiency of air-conditioning systems in both non-residential and residential buildings. Article 15(4): For non-residential buildings with heating or air-conditioning systems exceeding an effective rated output of 290 kW, the integration of Building Automation and Control Systems (BACS) is mandated by December 31, 2024. These systems must continuously monitor, log, analyze, and adjust energy use, as well as detect inefficiencies and inform facility managers about opportunities for optimization. This requirement will extend to systems with an output exceeding 70 kW by December 31, 2029. Article 15(5): While the EPBD allows for the introduction of monitoring systems for air-conditioning in residential buildings exceeding 70 kW, Cyprus has not mandated specific provisions for this sector. Instead, measures for energy efficiency improvements in residential buildings remain focused on voluntary actions and compliance with broader energy performance standards.
Note on B50: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : Art.15(1): "Member States shall lay down the necessary measures to establish regular inspections of the accessible parts of air-conditioning systems or of systems for combined air-conditioning and ventilation, with an effective rated output of over 70 kW. The inspection shall include an assessment of the efficiency and sizing of the air-conditioning system compared with the cooling requirements of the building and, where relevant, consider the capabilities of the air-conditioning system or of the system for combined air-conditioning and ventilation to optimise its performance under typical or average operating conditions " Art.15(3): "As an alternative to paragraph 1 and provided that the overall impact is equivalent to that resulting from paragraph 1, Member States may opt to take measures to ensure the provision of advice to users concerning the replacement of air-conditioning systems or systems for combined air-conditioning and ventilation, other modifications to the air-conditioning system or system for combined air-conditioning and ventilation and alternative solutions to assess the efficiency and appropriate size of those systems"
Note on B52: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : Exemptions included in the EPBD: buildings equipped with BACS, or under Energy Performance Contracting or other performance monitoring
Note on B56: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : Art.15(4): "Member States shall lay down requirements to ensure that, where technically and economically feasible, non-residential buildings with an effective rated output for systems for air-conditioning or systems for combined air-conditioning and ventilation of over 290 kW are equipped with building automation and control systems by 2025. "

## Public Schemes
ID | Country | Level | Region | City | Scheme Name (EN) | Scheme Name (local) | Building Eff | H&C Eff | H&C RES | DHC | Geo DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Start-End Year | Description | Last Visited on
64 | Cyprus | National |  |  | Energy efficiency obligation scheme (White certificates) | Σχέδιο υποχρεώσεων αποδοτικότητας ενέργειας (Λευκά πιστοποιητικά) | Y | Y | Y | Y | Y | Y | Y | Y | Energy efficiency obligations | https://ec.europa.eu/energy/sites/ener/files/documents/cy_final_necp_main_en.pdf | https://ensmov.eu/wp-content/uploads/2020/06/ENSMOV_Snapshot_EEOS_provisional.pdf | 2020-ongoing | Energy suppliers must save a certain annual rate of their energy sales with additional energy efficiency projects. The obligation schemes will helps to fulfil the mandatory national target and is directly and indirectly linked with the achievement of primary energy saving target, RES and CO2 targets up to 2030. | 29.07.2024
65 | Cyprus | National |  |  | Energy Fund of Funds providing soft loans for energy efficiency | Ενεργειακό Ταμείο Ταμείων (Ταμείο) Κύπρος | Y | Y | Y | Y | Y | Y |  | Y | Debt financing | https://www.fi-compass.eu/financial-instruments/cyprus/energy-fund-funds-fof-cyprus | https://www.oeb.org.cy/wp-content/uploads/2020/01/%CE%93%CE%94-%CE%95%CE%A0%CE%A3%CE%91.pdf | 2020-ongoing | Low-interest loans are offered by private banks to households, SMEs, and the public sector for capital costs associated with investments in energy savings, efficiency, and renewable energy sources (RES). The loans may feature longer terms and require securities or collateral. | 29.07.2024
66 | Cyprus | National |  |  | Grant Scheme to encourage the use of Renewable Energy Sources and Energy Saving in Homes (2024-2025) | Σχέδιο Χορηγιών για Ενθάρρυνση της Χρήσης Ανανεώσιμων Πηγών Ενέργειας και Εξοικονόμησης Ενέργειας σε Κατοικίες | Y | [5 empty] | Y |  | Grant/Subsidy | https://www.fundingprogrammesportal.gov.cy/en/call/grant-scheme-to-encourage-the-use-of-renewable-energy-sources-and-energy-saving-in-homes-2024-2025/ | http://www.cyprus-tomorrow.gov.cy/ | 2022-ongoing | Funding is offered, as part of Cyprus's Recovery and Resilience Plan, to promote the use of renewable energy sources (RES) and energy-saving measures for existing residential buildings owned by individuals. It aims to reduce primary energy consumption, lower energy costs, and meet national renewable energy and efficiency targets. Additionally, it supports actions aligned with the National Strategy for the Development of Mountain Communities. Covered investments include the installation of photovoltaic system and roof thermal insulation of an existing building. Additional funding is foreseen for vulnerable households. | 29.07.2024
67 | Cyprus | National |  |  | Scheme to Promote Energy Efficiency Investments by Small and Medium Enterprises and Non-Profit Organisations | Σχέδιο Προώθησης Επενδύσεων Ενεργειακής Απόδοσης από Μικρομεσαίες Επιχειρήσεις και Μη Κερδοσκοπικούς Οργανισμούς | Y | Y | Y | Y | Y | Y |  | Y | Grant/Subsidy | https://www.fundingprogrammesportal.gov.cy/en/call/scheme-to-promote-energy-efficiency-investments-by-small-and-medium-enterprises-and-non-profit-organizations/ | http://www.meci.gov.cy/sit | 2022-ongoing | Funding is offered in the form of grants for energy-saving investments in buildings and facilities owned or used by small and medium enterprises (SMEs) and non-profit organizations. It targets energy efficiency upgrades in high-energy-consumption buildings and production units, aiming for a 30% average reduction in primary energy use. Installations must be performed by registered installers. | 29.07.2024

## Private Schemes
ID | Country | Level | Scheme Name (EN) | Scheme Name (local) | Provider (Bank/ Investment Firm) | Building Eff | H&C Eff | H&C RES | DHC | Geo DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Description | Last Visited on
29 | Cyprus | National | Business Green Loan | Πράσινο δάνειο για επιχειρήσεις | Hellenic Bank | Y | Y | Y | Y | Y | Y |  | Y | Green Loan | https://www.hellenicbank.com/en/business/growgreen-and-development-finance/business-green-loan |  | Favorable terms are offered for financing Green projects. | 01.08.2024
30 | Cyprus | National | Fil-eco Home renovation for energy upgrade | Fil-eco Σχέδιο Προϊόντων Ανακαίνιση για ενεργειακή αναβάθμιση | Bank of Cyprus | Y | Y | (Y) |  |  | (Y) | Y |  | Green Loan | https://www.bankofcyprus.com/en-gb/Personal/loans/environmentally-friendly/Home-renovation-energy-upgrade/ |  | Environmentally friendly loans are offered for home renovations up to €30,000, with no initial charges and a 1% credit discount for securing an energy upgrade certificate. | 01.08.2024
31 | Cyprus | National | Fil-eco Photovoltaic & other systems | Fil-eco Σχέδιο Προϊόντων Φωτοβολταϊκά και άλλα συστήματα | Bank of Cyprus | Y | Y | Y |  |  | (Y) | Y |  | Green Loan | https://www.bankofcyprus.com/en-gb/Personal/loans/environmentally-friendly/energy-upgrade/ |  | Energy loans are offered by Bank of Cyprus for home energy efficiency upgrades, with lower interest rates and loan amounts up to €15,000, with no own contribution required. | 01.08.2024
32 | Cyprus | National | Green Energy Solutions | Green Energy Solutions | CDB Bank | Y | Y | Y | (Y) | (Y) | (Y) | (Y) | (Y) | Green Loan | https://www.cdb.com.cy/green-energy-loans |  | Green energy financing solutions are offered by cdbbank for purchasing and installing Green energy systems, reflecting its corporate social responsibility. | 01.08.2024
33 | Cyprus | National | Green Home Loan | Πράσινο οικιακό δάνειο | Hellenic Bank | Y | (Y) | (Y) |  |  | (Y) | Y |  | Green Loan | https://www.hellenicbank.com/en/personal/housing/green-home-loan |  | Financial incentives are offered for building an energy-conscious future, including discounts on the interest rates of regular home loans. | 01.08.2024
34 | Cyprus | National | Green Loan for Home Improvements | Πράσινο δάνειο για οικιακές βελτιώσεις | Hellenic Bank | Y | Y | Y |  |  | Y | Y |  | Green Loan | https://www.hellenicbank.com/en/personal/personal/green-loan-for-home-improvements |  | Affordable financing is offered for sustainable home upgrades. | 01.08.2024

## Adaptation
COUNTRY: | Cyprus
Review of the NAS/NAP
Back to Table of Contents
Part 1 - Climate haxard/ Key topic of measures
Details / explanations | • Heatwave • Cyclone • Heavy precipitation (rain hail snow/ ice) • Temperature variability • Saline intrsuion • Soil erosion • Precipitation and/or hydrological variability
Part 2 - Adaptation priorities
Details / explanations | • Improving health care structures (infrastructure & organisation) and existing building stock as well as through increasing the green and blue infrastructure. • Risks related to the marine environment. • Sustainable tourism development. • Invasive species, pest’s outbreaks and diseases form an important risk for the natural environment. • Proposed Forest management options include; modification of tending and thinning practices, use of more drought resistant trees in reforestation and plantation actions etc. • Land desertification, degradation and soil erosion represents already a serious threat for Cyprus and it is expected to be aggravated under CC.
Part 3 - NAS/NAP
Publication report (year) | NAS 2017 NAP
NAS/NAP Objectives | Improving the institutional framework and introducing new principles for budgeting that strengthen the flexibility of economic operators and the transparency of the use of state resources, achieving measurable results.
NAS/NAP Key Measures (related to the keywords) | • Assessment of the impacts on the environment from plans/ programmes/ projects and other actions. • Raising awareness and informing communities on the Natura 2000 Network. • Involvement of the stakeholders in assessment of current and future impacts, adaptation and vulnerability assessment, identification and assessment of the adaptation measures the development of the NAS.
Part 4 - Good Practice
Campaigns
Energy sector
Housing sector

## List
Summary and NECP
YesNotFound | EnergyPoverty | Renovation
Yes, directly | Yes | Yes, with clear information
Yes, indirectly | No assessment | Yes, vaguely
Not found | Not found | Not found
Comprehensive Assessments
Targets | PoliciesMeasures | Consumption | YesNotfound | Map | EconomicAnalysis
Yes, specific to cooling | Yes, with info relevant to space cooling | Yes, per sector | Yes | Yes, separate map about cooling | Yes, with detailed analysis
No, only jointly for heating and cooling | Yes, but nothing related to space cooling | Yes, but total only | Not found | Yes, joint map about heating and cooling | Yes, with rough analysis only
No clear target | Not found | No (merged with heating data) |  | No, only map about heating | No (analysis on heating only)
not applicable | Not applicable | Not found |  | No map found
Building regulations
Setpoint temperature | Cooling season | Definitions | Calculation methodology | Difference | Requirements | Sector
indicative | indicative | Yes | Yes, in global performance | Yes | Global and specific | yes for residential only
minimum not to exceed | mandatory | Unclear | Yes, separately | Not found | Global only | yes for non-residential only
other | other | Not found | Unclear |  | Specific only | yes for both
none found | none found |  | Not found |  | Not found | not found
AC inspections | AC sector differences | EPBDArt15(4) | EPBDArt15(5)
Mandatory regular inspections | Provisions for non-residential only | Already in force | Mandatory requirements
Alternative approach | Provisions for residential only | Deadline set | Other types of measures
Unclear | Provisions for both, and the same | Provision planned | Not found
| Provisions for both, but different | Unclear
Financing schemes
Country | Complete | Level | Topic | Type of scheme (Public) |  | Type of scheme (Private)
EU |  | EU | Y | Advisory Service, Technical Assistance |  | Advisory Service, Technical Assistance
Austria |  | National | (Y) | Loan/Soft Loan |  | Equity financing
Belgium |  | Regional |  | Energy efficiency obligations |  | Grants/ subsidy
Bulgaria |  | City |  | Equity financing |  | Green Bonds
Croatia |  |  |  | Grant/Subsidy |  | Green Leasing
Cyprus |  |  |  | Grant/Subsidy, Loan/Soft Loan |  | Green Loan
Czechia |  |  |  | Guarantee |  | Green Loan, Advisory Service
Denmark |  |  |  | Multiple (Grant/Subsidy, Tax rebate, Debt, Equity, Guarantee, TA) |  | Green Mortgage
Estonia |  |  |  | Other public scheme |  | Guarantees
Finland |  |  |  | Tax incentives |  | On-bill financing
France
Germany
Greece
Hungary
Ireland
Italy
Latvia
Lithuania
Luxembourg
Malta
Netherlands
Poland
Portugal
Romania
Slovakia
Slovenia
Spain
Sweden