## ToC
Driving a sustainable future in space cooling
The CoolLIFE project aims to address the need for sustainable solutions to the EU’s rising demand for space cooling in buildings. The project will develop open-source tools which encourage the consideration of green cooling solutions in public and private decision-making, planning, design, and implementation processes.
What will you find in this file? |  | Table of Contents
This file gathers information available in the Member State's reporting to the European Commission about strategies, policies and regulations relevant to sustainable space cooling, and a focus on the national building regulations and financing schemes (public and private) (see Table of Contents on the right): - [Summary] provides an overview of the main information from all sources reviewed - [draftNECPupdate] provides the information identified in the draft update of National Energy Climate Plan (2023) - [CA2020] provides the information identified in the Comprehensive Assessment for heating and cooling (2020 version) - [BuildingRegulation] provides the information identified in the national building regulations - [Public Schemes] and [Private Schemes] provide two lists of financing schemes that promote energy efficiency in buildings and/or efficient space cooling systems - [Adaptation] provides the information identified in the National Adaptation Strategy and/or National Adaptation Plan |  | Summary
draftNECPupdate
CA2020
BuildingRegulation
Public Schemes
Private Schemes
Adaptation
#VALUE! | The CoolLIFE project has received funding from the LIFE Programme of the European Union. Views and opinions expressed are however those of the author(s) only and do not necessarily reflect those of the European Union or CINEA. Neither the European Union nor CINEA can be held responsible for them.

## Summary
COUNTRY: | Greece
Data summary about national policies and regulations
Back to Table of Contents
Tab 1 - National background and strategy
National background and strategy | Greece did not develop yet a specific cooling or cooling and heating strategy. Overall, Greece’s energy and climate planning primarily revolves around the NECP (National Energy and Climate Plan) and the Long-Term Strategy, both of which are periodically revised to reflect new developments and commitments, in line with the EU governance regulation of the Energy Union. The NECP outlines a comprehensive roadmap for achieving specific energy and climate targets by 2030, and serves as the key reference point for national planning. Initially adopted in 2019, the NECP is currently undergoing a revision to align with the latest EU climate targets (cf. draft update of NECP submitted in 2023). This revision is anticipated to significantly shape future energy strategies and policies in the country. Complementing the NECP, Greece has also developed a Long-Term Strategy for 2050, which presents an overarching plan for climate and energy issues. The Long-Term Strategy is based on the 2030 targets established in the NECP, ensuring that progress toward these objectives is consistently monitored and achieved. In this context, the National Air Pollution Control Programme (NAPCP) and the National Climate Law 4936/2022 are aligned with the NECP and also refer to it. While the NECP is not solely a product of these frameworks, it plays a crucial role in their implementation and serves as the primary vehicle for reporting and integrating national energy planning efforts. In most cases, there is no specific objective connected directly with space cooling exclusively, while the majority of the references and targets are referred in regards to "heating and cooling". The following relevant targets are indirectly connected to space coolling: - GHG emissions and removals: e.g., "Existing EU F-gas regulations, including the new Regulation (2022/0099 (COD)) adopted by the European Commission, are expected to almost completely eliminate the use of hydrofluorocarbons (HFCs) in heat pumps and air conditioning (AC) for heating and cooling as early as 2025". The comprehensive assessment also mentions several measures to reduce fluorinated gas emissions (e.g., forbidding fluorinated gases with GWP>150; training and certification for professionals handling fluorinated gases). - Renewables: e.g., "The binding RES development target specifically for heating and cooling is set at 46% for 2030, higher than 43% of the previous NECP. Heat pumps will contribute mainly to this objective, as they use electricity and ambient heat, together with solar thermal systems." In practice, this mostly deals with heating. - Energy Efficiency: e.g., "The use of RES systems for heating and cooling (mainly heat pumps and solar thermal systems) will be enhanced by combining different policy measures in full compliance with the projections of the comprehensive assessment to promote efficient heating and cooling. In order to promote RES systems, initiatives were launched and programmes were implemented to replace energy-intensive appliances with new, more energy-efficient appliances." For example, one programme of Greece's Recovery and Resilience Plan was focused on the replacement of inefficient air-conditioning systems.
Sources | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy
Tab 2 - Governance
Governance | In the period from 2020 to date, the EU has set itself more ambitious targets for 2030 and incorporated the 2050 climate neutrality target in all Member States’ NECPs. With regard to this objective, the Greek Government has submitted a long-term energy and climate strategy, as a separate study in the context of the NECP. Previously, the objectives were formulated in the context of the EU’s 'Clean Energy for All Europeans' Package adopted in 2018-2019, including the Governance Regulation of the Energy Union, as well as revisions or amendments to the Renewable Energy Directive (RED),the Energy Efficiency Directive (EED), and the Energy Performance of Buildings Directive (EPBD). The National Air Pollution Control Programme (NAPCP) (Joint Ministerial Decision No ΥΠΕΝ/ΔΚΑΠΑ/5615/121/2021, Government Gazette, Series II, No 812) has been established with national policies and measures to comply with the required national commitments on emission reductions. The NAPCP in accordance with an obligation under the above legislation is due to be updated by early 2025. Most importantly, following the European Climate Law 2021/1119 establishing a framework to achieve climate neutrality by 2050, Greece adopted for the first time a National Climate Law 4936/2022 (Government Gazette, Series I, No 105), which sets specific targets, including reducing greenhouse gas emissions by 55 % by 2030 and 80 % by 2040 (compared to 1990 levels), and achieving climate neutrality (i.e. zero total greenhouse gas emissions) by 2050. Therefore, the current NECP incorporates the objectives of the National Climate Law, the objectives of the European Union policy (RE-PowerEU and Fit-for-55 under the Green Deal) and the European directives on renewable energy sources, energy efficiency and others, which are being finalised. The Ministry of Energy and Environment oversees the NECP process, and defines and manages most policy measures and strategies relevant so space cooling (e.g. ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ), Saving at home, Saving business, ELEKTRA, Energy efficiency obligation scheme, etc.) . Regional and local authorities are involved several ways: (i) they contribute to the development of the national strategy and planning, for example by participating in the consultation process for the updated NECP; (ii) they formulate and implement policies and plans based on national guidelines, like in the case of Municipal plans for the reduction of net greenhouse gas emissions (see: http://www.opengov.gr/minenv/?p=12272 ) or Regional Plans for Climate Change adaptation; and (iii) they act as beneficiaries of relevant programmes, such as ELEKTRA (see: https://hlektra.gov.gr/home).
Sources | draft NECP update 2023
Tab 3 - Links with Adaptation
Links with adaptation | In the National Climate Change Adaptation Strategy (NACCS) of 2016, of the Ministry of Environment & Energy, there is no direct reference to space cooling. Generally, it aims to contribute to the country’s resilience against climate change impacts. The NACCS forms the basis for the specification of adaptation policies and actions for each of the 13 administrative regions of Greece. The NACCS preliminary concludes that agriculture is the sector expected to be most severely affected by climate change in Greece, while the impacts on tourism and coastal systems should have major consequences on household incomes and the economy as a whole. Of particular significance is also the water reserves sector, given its implications for agriculture and water supply. The NACCS does not provide any concrete suggestion in regards to space cooling. The draft NECP update of 2023 highlights about climate change issues that the increase in the average temperature is expected to reduce energy needs for heating in winter and increase cooling needs in the summer. It also stressed that these changes in energy demand will lead to greater variability of loads, and especially to very high peak loads during heatwaves, possibly putting the electricity system at risk.
Sources | draft NECP update 2023 national adaptation strategy
Tab 4 - Planning processes
Planning processes | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans.
More details | Greece's comprehensive assessment reported in 2020 does not include any target specific to space cooling. It provides an assessment of the current demand for space cooling in the residential (final energy consumption of 835 GWh in 2018; useful energy demand of 1.5 TWh) and services sector (6.9 TWh of final energy consumption, 12.3 TWh of useful energy demand). It also estimated that the energy demand will increase over the next 30 years to reach 2.1 TWh in the residential sector and 19.9 TWh in the services sector (by 2050). However, the difficulty in finding data regarding the cooling sector, including district cooling (not implemented in Greece yet), made it hard to identify the cooling and district cooling potential and limited the ability to identify and implement additional policy measures. Furthermore, the need for cooling and district cooling in Greece remains relatively small compared to the need for heating and district heating. While the comprehensive assessment does not explicitly referred to the Long Term Renovation Strategy, it mentioned several renovation programmes (for family houses, multi-apartment buildings and public buildings).
Sources | draft NECP update 2023, comprehensive assessment 2020,
Tab 5 - National regulations (building level)
How space cooling is addressed in the building regulations | There is not a specific definition regarding space cooling or summer comfort in Greece's building regulations (KENAK). The only relevant definition is the following: "Thermal comfort is a relatively subjective situtation, affected by a number of parameters and circumstances. The most influencial are the following: air temperature (Dry bulb), mean "radiation" temperature of the surfaces of the interior, relative air humidity, user clothing, user activity and velocity of interior air currents." Space cooling is considered in the assessment of the overall energy performance of buildings. The calculation methodology specifies indicative values for comfort indoor temperature. The building requirements specific to space cooling are about the seasonal energy efficiency ratio (SEER) of the cooling system, and defined per type of cooling system and building usage (residential / non-residential). This applies to new buildings and existing buildings undergoing major renovation.
Main provisions relevant to space cooling needs or summer comfort | The climate zone, in which the building is based, defines the standard duration and period of the cooling season. In addtion setpoints used for the calculation of the energy performance are determined according to the uasge of the building: 26°C for residential buildings, and between 20 to 26°C for non-residential buildings (depending on the building usage).
Main provisions relevant to the use of space cooling | The energy performance calculation provided in the Technocal Instructions of Technical Chamber of Greece compares the primary energy consumption of the studied building with a reference building. As a part of this process the energy demand of the cooling system is taken into consideration among a variety of other parameters, including climate zone, building usage, building envelope, HVAC systems, Building Energy Management Systems, renewables, domestic hot water, etc. One of the parameters for the estimation of energy performance calculation is the use of the building (i.e., residential or non-residential), which influences the calculation of the energy performance. There is no specific requirement for the maximum allowed cooling demand. The relevant requirements for new buildings and buildings undergoing major renovations include minimum global energy performance of the buildings (i.e. being class B or better), and cooling system efficiency (minimum SEER).
References of the relevant regulations (or other source(s)) | Technical Instruction of Technical Chamber of Greece: ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ)
Tab 6 - Regulations on space cooling systems or products
EU regulations and provisions | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives.
National implementation | The seasonal energy efficiency ratio of the cooling system must follow the minumum requirements as they are specified, according to cooling system type and building usage, in KENAK. Furthermore, the cooling system must be in accordance with EU regulations (i.e., the COMMISSION REGULATION (EU) 2016/2281 or the COMMISSION REGULATION (EU) No 206/2012). Targets and planned measures about cooling systems in the Comprehensive assessment 2020: - Reduce fluorinated gas emissions - This measure relates to the reduction of fluorinated gas emissions by preventing leaks and emissions and monitoring the use of fluorinated gases. Examples include: discontinuing the production of new refrigeration and freezing equipment for household use that works with fluorinated gases with GWP>150; production of firefighting equipment that contains HFC-23 fluorinated gases; training and certification of technical personnel that handles fluorinated gases; installing leak detection systems in large cooling systems, air conditioners, and fire protection systems; and circulation of vehicles using fluorinated gases that do not have GWP>150. - Use guarantees of origin - adopting Guarantees of Origin for biogas and hydrogen from various forms of energy and connecting the systems of Guarantees of Origin of various energy media (electricity, gas fuel, heating and cooling energy) will contribute to the penetration of renewable energy sources in final consumption.
References of the relevant regulations (or other source(s)) | Technical Instruction of Technical Chamber of Greece - ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ), comprehensive assessment 2020
Tab 8 - Financing schemes | See separate file on financing schemes
Overview of public schemes | Main relevant public schemes include: - I Save 2024 Saving at home, Saving business (subsidy program aiming to finance energy efficiency upgrades: Building shell insulation, HVAC upgrade, windows, shading, integration of RES and energy management devices) - ELEKTRA (subsidy program aiming to finance energy efficiency upgrades: building shells, heating and cooling systems, energy management systems and autonomy systems aiming at the upgrade of the energy class to at least class B) -New Development Law 4887/2022 - Green Transition (tax exemptions, subsidies, leasing subsidies, wage subsidies and risk financing for eligible expenses in green transition such as expenses for innovation, research and development projects, investment for energy efficiency measures, recycling and reuse of waste high efficiency energy cogeneration from RES and production of energy from RES. - Energy efficiency obligation scheme (White certificates) (EEOS targeting suppliers of electricity, natural gas and petroleum product/ The obligated parties can implement all kind of measures (whether technical or behavioral) that can lead to final energy savings.) -Recycle-Change Appliance (Grant for the replacement of old electrical appliances, including air conditioners)
Overview of private schemes | Main relevant private schemes include: - Green Fixed-Rate Mortgage Loan (Mortgage Loan for purchase, construction, completion or radical renovation of a low energy efficiency home) - Estia Green Mortgage Loan (Mortgage Loan for purchase, construction, completion or radical renovation of a low energy efficiency home) - Green Loan (Soft Loan to upgrade the energy efficiency of a house or purchase energy-saving products)

## draftNECPupdate
COUNTRY: | GREECE
Review of the draft NECP update
Back to Table of Contents | 2023 draft update National Energy and Climate Plans available at: | https://commission.europa.eu/energy-climate-change-environment/implementation-eu-countries/energy-and-climate-governance-and-reporting/national-energy-and-climate-plans_en#national-energy-and-climate-plans-2021-2030
Part 1 - (see particularly Executive summary - section 1.1; and Overview of current policy situation - section 1.2)
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | Only referred to in "heating and cooling"
Part 2 - National objectives and targets
Section 2.1.1 GHG emissions and removals (particularly if sub-section about buildings)
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | 2.2.1.1 Greenhouse gas emissions other than carbon dioxide emissions: "Main mesures for emissions reduction, including [...] Existing EU F-gas regulations, including the new Regulation (2022/0099 (COD)) adopted by the European Commission, are expected to almost completely eliminate the use of hydrofluorocarbons (HFCs) in heat pumps and air conditioning (AC) for heating and cooling as early as 2025"
Section 2.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (ii))
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | Only referred to in "heating and cooling"
Section 2.2 Energy Efficiency (see points (ii) about long-term renovation strategies and (iii) about other objectives)
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | Only referred to in "heating and cooling"
Section 2.4.4 Energy poverty
Does the assessment of energy poverty consider 'summer energy poverty'? | Not found
Details / explanations
Section 2.5 Dimension research, innovation and competitiveness
Any mention about research or innovation related to cooling and related aspects? | Not found
Details / explanations
Part 3 - Policies and Measures (PaMs)
Section 3.1.1 GHG emissions and removals (particularly if sub-section about PaMs for buildings, in point (i))
Any mention about cooling and related aspects?
Details / explanations | 3.1.9 Measures and policies for urban bioclimate regeneration and smart cities: In addition, sound urban and architectural bioclimate planning and the use of sustainable materials in bioclimate planning (cool materials, shading structures, vegetation)are key prerequisites for the sustainable development of cities. Individual actions to strengthen urban green areas, such as the creationof green routes and urban green canyons with appropriate afforestation of roads, urban gaps, poplarpublic spaces and squares, the protection and development of streams, rivers, bedsand the regeneration of the Annexes, rivers and coastal areas; as well as the use of modern cold materials and technologies that are highly reflective in solar radiation and lead to energy savings in the built environment, in particular the reduction of noise and waste in water consumption, are structural components of the sustainable development of cities and reduce thermal quantities and the energy and carbon footprint, significantly contributing to mitigating climate impacts and enhancing citizens’quality of life.
Section 3.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (i) and in point (vi) about district cooling)
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | Only referred to in "heating and cooling"
Section 3.2 Energy Efficiency (particularly in points (ii) about long-term renovation strategies)
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | Only referred to in "heating and cooling"
Section 3.4.4 Energy poverty
Is any policy measure about energy poverty dealing with 'summer energy poverty'? | Not found
Details / explanations
Section3.5 Dimension research, innovation and competitiveness (particularly in point (i))
Any mention about research or innovation related to cooling and related aspects? | Not found
Details / explanations
Parameters and variables to be reported in Part B (often in a separate annex)
Point 1(13): Cooling Degree Days | Not found
Details / explanations
Other sections of the NECP
Is space cooling mentioned or addressed in other sections of the NECP? | 3.1.3 Actions to adapt to climate change: "The ESSCG and the regional SSPAs provide for actions and measures to saveenergy and energy from RES to cover the projected increase in demand and cold load peaks during the summer period (due to increased frequency, duration and intensity of the exhaust), as well as actions and measures for the adaptation and climate resilience of renewable energy sources and plants. In particular, they shall provide for the following actions and measures: • Assess the impact of climate change onhydropower generation. • Improving efficiency in the energy sector in terms of water supply and consumption of future hydropower plants. • Examination of the need to update the Energy Performance of Buildings Regulation (KENAK). • Use of innovative and energy-friendly materials for the energy renovation of buildings and the construction of new (zero-energy consumption) buildings, as well as thevalue of RES and other saving techniques. • Reducing the thermal and energy needs of buildings (saving technologies, energy efficient systems and equipment, saving techniques, training/informing users) • Adapting urban planning to climate change and improving the thermal environment in cities (redesigning free spaces, refurbishment, bioclimatic planning, increasing urban green). • Examination of the need to improve the specifications of touristestablishments. • Saving and efficient energy use in tourism units in combinationwith the transition of the tourism product to a lower carbonfootprint. • Information/awareness of the impact of climate change onpeople supporting tourism activity and related to the country’s energy reserves and the required actions. • Incentives for tourism businesses to reduce energy consumption. • Modernisation of water supply and irrigation networks. Development of smart gridsand demand management systems. It is noted that measures to adapt forests and agriculture to climate change also contribute to maintaining their biomass production capacity for energy purposes." "The increase in the average temperature is expected to reduce energy needs for heating in winter and increase cooling needs in the summer around theroute. Changes in demand will lead to greater variability of loadsand shoes in very high peak loads during heatwaves, testing the electricity system. "The climate projections (temperature, precipitation, wind speed) recently produced by LIFE-IP AdaptIn, as well as the calculation of relevant climate indicators such as the change in the number of days with strong cooling needs [...] are indicative of the magnitude of the impact of climate change on the country’s energy system and on the absorption capacity of CO2 from the homesystems acting as its sinks." 3.1.10 Summary of policy measures: "Reduction of fluorinatedgas emissions"
Details / explanations
Complementary information about financing schemes promoting building renovation (in point (i) and/or (ii) of section 3.2 of the draft NECP update)
Does the draft NECP update provide information about schemes for building renovation?
General comments
Name of the scheme 1
Name of the scheme 2
Name of the scheme 3
etc
Note on A48: add here the name of the scheme
Note on A49: add here the name of the scheme
Note on A50: add here the name of the scheme
Note on A51: add here the name of the scheme

## CA2020
COUNTRY: | Greece
Review of the Comprehensive Assessment 2020
The parts / sections mentioned below are the ones listed in Annex VIII of the initial Energy Efficiency Directive 2012/27/EU (as amended by regulation (EU) 2019/826)
Back to Table of Contents |  | Comprehensive Assessements available at: | https://energy.ec.europa.eu/topics/energy-efficiency/heating-and-cooling_en#comprehensive-assessments-on-efficient-heating-and-cooling
Criteria | Yes/No categorisation | Explanations / comments
Information reported on Part II (Objectives, strategies and policy measures)
Point 5: planned contribution of the Member State to its national objectives and targets (through efficiency in heating and cooling)
Any objective/target in terms of reductions of GHG emissions specifically from cooling? | No, only jointly for heating and cooling | The fundamental objective is a decrease by at least 40 % of the total greenhouse gas emissions relative to 1990.
Any objective/target in terms of share of RES specifically from cooling? | No, only jointly for heating and cooling | Beyond the target for a share of RES in gross electricity generation and gross final consumption of energy, a specific target is set for a minimum RES share of 40 % in covering heating and cooling needs.
Any objective/target in terms of contribution specifcally from cooling to the energy efficiency target | No, only jointly for heating and cooling | The improved energy efficiency objective is set at 38 % (in line with the European methodology); this is one of the greatest challenges for the policies scheduled to be implemented by 2030 and a cross-cutting priority in the wider framework of policies and measures to be adopted. Another objective is that the final consumption of energy will not exceed 16.5 Mtoe in the year 2030.
Other objectives/targets mentioned about or relevant to cooling? | No clear target
Other comments or explanations related to objectives and targets mentioned in the Comprehensive Assessment (when relevant to how space cooling is addressed) |  | Page 35, Table 5 - National energy and environmental objectives for 2021 - 2030, relating to heating and cooling and page 36, Table 6 - Key results for the energy system for 2030.
Point 6: information on existing policies and measures related to heating and cooling
Information about a strategy, umbrella framework or overall planning for heating and cooling? | Yes, with info relevant to space cooling | NECP draft, delivered to the EC in 2023 (https://commission.europa.eu/document/download/83ffdc95-2d22-4c67-8d4c-a3e59f752921_en?filename=GREECE%20-%20DRAFT%20UPDATED%20NECP%202021-2030%20EN.pdf)
Information about building regulation(s)? | Not found
Information about financial incentives for energy efficiency in buildings? | Not found
Information about measures related to cooling systems (e.g. standards, labelling, incentives)? | Yes, with info relevant to space cooling | Reduce fluorinated gas emissions - This measure relates to the reduction of fluorinated gas emissions by preventing leaks and emissions and monitoring the use of fluorinated gases. Examples include: discontinuing the production of new refrigeration and freezing equipment for household use that works with fluorinated gases with GWP>150; production of firefighting equipment that contains HFC-23 fluorinated gases; training and certification of technical personnel that handles fluorinated gases; installing leak detection systems in large cooling systems, air conditioners, and fire protection systems; and circulation of vehicles using fluorinated gases that do not have GWP>150. Use guarantees of origin - dopting Guarantees of Origin for biogas and hydrogen from various forms of energy and connecting the systems of Guarantees of Origin of various energy media (electricity, gas fuel, heating and cooling energy) will contribute to the penetration of renewable energy sources in final consumption.
Information about measures to develop RES for cooling (or RES for heating&cooling)? | Yes, but nothing related to space cooling | Measures to develop RES are focused on energy production for both heating and cooling, but no explicitly dissagregated. For example, measure "Replace fuel imports by RES for heating/cooling" aims to replace fuel imports by RES in the heating and cooling sector. Also, measure "Promote RES systems for heating and cooling in the agricultural sector" aims to promote RES systems for heating and coling in crop and livestock farms.
Information about measures for district cooling (or district heating&cooling)? | Yes, but nothing related to space cooling | There is a measure called "Develop and improve licensing framework and technical specifications for district heating from RES and for biogas injection into the NG network, and exploitation of geothermal fields" that adresses the development and implementation of the framework for implementing projects related to the construction o RES district heating systems.
Information about other type(s) of measure that could be relevant to space cooling? | Yes, but nothing related to space cooling | Develop innovative technologies for energy conservation - This measure aims to support Research & Innovation (R&I) activities in the building sector that relate to new materials; prefabricated active elements for facades and roofs; economically efficient, smart, and adaptable heat pumps and heat pumps suitable for high temperatures; digital planning for buildings and optimising their operation. Develop innovative technologies for decarbonisation, and implement methods for capture, storage, and use of carbon emissions - This measure aims to support R&I in solar thermal technology both in centralised solar water heating systems and in heating-cooling applications.
Summary comments about the policies and measures mentioned in the Comprehensive Assessment (as regards aspects relevant to space cooling) |  | However, it is worth mentioning that the difficulty in finding data regarding the cooling sector, including district cooling (as it has not been implemented in Greece yet) makes it hard to identify the cooling and district cooling potential and limits the ability to identify and implement additional policy measures. Furthermore, the need for cooling and district cooling in Greece is relatively small compared to the need for heating and district heating.
Information reported on Part IV (Potential new strategies and policy measures)
Point 9: overview of new legislative and non-legislative policy measures to realise the economic efficiency potential in heating and cooling
Any reference to a national multi-annual strategy or planning (other than the NECP)? | Not found | Even though multi-annual strategies, other than NECP, are not mentioned in the CA, they should be mentioned here since they are referring to cooling: Report on the long-term strategy for renovating the stock of public and private buildings and transforming it into a decarbonised and highly energy efficient stock of buildings by 2050, facilitating the cost-effective transformation of existing buildings into nearly zero- energy buildings (https://energy.ec.europa.eu/document/download/154abea9-f01e-4151-8c19-b4e5036ed983_en?filename=el_2020_ltrs_en_version.pdf)
Information on development(s) planned or under discussion about regulations for new buildings? | Not applicable | CA does not mention any changes in existing regulations nor the development of new ones.
Information on development(s) planned or under discussion about measures for the renovation of existing buildings? | Not applicable | CA refers to several energy renovation programmes (for family houses, multi-apartment buildings and public buildings)
Information on development(s) planned or under discussion about measures for cooling systems (e.g. about standards, labelling, incentives)? | Yes, but nothing related to space cooling | Page 95, Table 32- Envisaged policy measures for the period 2021 - 2030 concerning heating and cooling
Information on development(s) planned or under discussion about measures to develop RES for cooling? | Not found
Information on development(s) planned or under discussion about measures to develop district cooling? | Not found | Clearer regulations must be adopted regarding official approval, by the competent authorities, for cooling / district cooling projects. These regulations must be adapted as appropriate to prove that a cooling / district cooling project is more energy-efficient, according to the definition of efficient cooling / district cooling of the Energy Efficiency Directive. This specific arrangement is expected to equip municipalities with an important tool for handling approvals for cooling / district cooling projects. As mentioned, in Greece there is limited knowledge on and development of the cooling / district cooling sector. The companies engaged in cooling / district cooling projects across Greece must collect and publish more extensively any data regarding their projects, including turnover, fuel consumption, emissions, coverage of cooling / district cooling needs, etc. Such data is considered necessary so that additional measures and policies may be suggested subsequently for the further development of the domestic cooling / district cooling sector.
Information on development(s) planned or under discussion about other type(s) of measure? | Not found
Summary comments about policy developments planned or under discussion (as regards aspects relevant to space cooling)
Information reported on Part I (Overview of heating and cooling)
Point 1: Heating and cooling demand in terms of assessed useful energy and quantified final energy consumption in GWh per year by sectors
Does the comprehensive assessment include separate data on cooling consumption? | Yes | The demand for cooling in terms of final energy was 835 GWh in 2018 in the residential sector, while the service sector was in the lead at 6.9 TWh. The demand for cooling in terms of useful energy was 1.5 TWh in the residential sector in 2018 and over 12.3 TWh in the service sector. Demand for cooling in both sectors is estimated to increase over the next 30 years, reaching 2.1 TWh in the residential sector and 19.9 TWh in the service sector.
Any other more disaggregated data on cooling consumption/demand? | Yes | Page 11, Table 1 -Demand or heating and cooling per sector in Greece
Point 3: Map covering the entire national territory identifying heating and cooling demand areas, existing and planned heating and cooling supply points
Does the map / assessment cover cooling demand (or only heating)? | Yes, separate map about cooling | Page 24, Map 2 - Energy demand for cooling per municipality (MWh/yr)
Point 4: Forecast of trends in the demand for heating and cooling (which is supposed to take into account the expected impacts from the long-term renovation strategy)
Does the comprehensive assessment include separate forecast data on future cooling consumption? | Not found | Final consumption of heating and cooling in the residential sector is expected to decline over the next 30 years, from 39.6 TWh in 2020 to 29.6 TWh in 2050 (pg 27, Graph 5 - Final consumption for heating, DHW and cooling per fuel type in residential sector, 2020-2050 and pg 28, Graph 7 - Energy demand in the residential sector per use, 2020-2050). Energy consumption for heating and cooling in the tertiary sector is expected to nearly double over the next 30 years, from 23.5 TWh in 2020 to 39.6 TWh in 2050. There is no graph that depicts the trend in cooling, only joint with heating (pages 30-33). Energy consumption for heating and cooling in the industrial sector (Graph 11) is expected to decline over the next 30 years, from 23.1 TWh in 2020 to 21.6 TWh in 2050. There is no graph that depicts the trend in cooling, only joint with heating (page 34, Graph 11 - Consumption for heating and cooling per fuel type in the industrial sector 2020-2050)
other comment(s) on data about energy consumption/demand or cooling technologies
Information reported on Part III (analysis of the economic potential for efficiency in heating and cooling
Does the analysis deal with cooling as well? | No (analysis on heating only) | An cost-benefit analysis of the penetration of various technologies for individual installation was conducted. This examines the viability of replacing existing conventional systems for heating, cooling and domestic hot water at the level of installation per activity sector, with usage of energy generated from various technologies. However, even though more detailed analysis of each technology was conducted, there is nowhere the analysis for cooling.
Does the comprehensive assessment include cost data about cooling technologies? | Not found
other comment(s) on cost data or the cost-benefit methodology
other comment(s) about the comprehensive assessment

## BuildingRegulation
COUNTRY: | Greece |  | Back to Table of Contents
BUILDING REGULATIONS
HOW SPACE COOLING OR SUMMER COMFORT IS ADDRESSED IN THE BUILDING REGULATIONS
DEFINITION(S) (about space cooling or summer comfort; in building regulations)
Data field | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
clear definition(s)? | Yes = an official and clear definition is included Unclear = a definition or some elements close to a definition are included, but this remains vague | Unclear |  | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) | https://web.tee.gr/kenak/
Definition(s) |  | There is not a specific definition regarding space cooling or summer comfort. Nevertheless the only relevant definition is the following: "Thermal comfort is a relatively subjective situtation, affected by a number of parameters and circumstances. The most influencial are the following: air temperature (Dry bulb), mean "radiation" temperature of the surfaces of the interior, relative air humidity, user clothing, user activity and velocity of interior air currents." |  | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) | https://web.tee.gr/kenak/totee/
ENERGY PERFORMANCE CALCULATION (energy performance of the building)
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Is space cooling considered in the calculation methodology? | "Yes, in global performance" = when energy demand related to space cooling or summer comfort is taken into account for calculating the global energy performance of the building "Yes, separately" = when energy demand related to space cooling or summer comfort is taken into account only separately (e.g. to set specific requirements on the cooling demand) "Unclear" = when the calculation methology does not make it clear whether and how space cooling would be taken into account | Yes, in global performance | The energy performance calculation compares the primary energy consumption of the studied building with a reference building. As a part of this process the energy demand of the cooling system is taken into consideration among a variety of other parameters. (ex. Climate zone, building use, building envelope, HVAC systems, BEMS, renewables, DHW etc.) | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) | https://web.tee.gr/kenak/totee/
Any difference between residential and non-residential? |  | Yes | One of the parameters for the estimation of energy performance calculation is the use of the building (i.e., residential or non-residential), which influences the calculation of the energy performance. | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) | https://web.tee.gr/kenak/totee/
MINIMUM ENERGY PERFORMANCE REQUIREMENTS
Any requirement in terms of maximum allowed cooling demand? | (more details and other type(s) of requirements can be described below, per type of building) | not found | Generally, there is no specific requirement for the maximum allowed cooling demand. Such requirements can be found in the case of new or deeply-renovated buildings i.e., minimum energy performance, and cooling system efficiency which will be discussed in the following categories.
1) NEW BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone | Global and specific | All new buildings' energy performance must be classified as category B or better (the energy performance categories and their specifications can be found in KENAK). In addition, the seasonal energy efficiency ratio (SEER) of the cooling system must follow the minimum requirements as specified in KENAK, for each cooling system type and building usage. Furthermore, the cooling system must be in accordance with EU regulations (i.e., the COMMISSION REGULATION (EU) 2016/2281 or the COMMISSION REGULATION (EU) No 206/2012). | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) | https://web.tee.gr/kenak/totee/ https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32016R2281&rid=4 https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32012R0206
Details about the requirements for new residential buildings |  | All new buildings' energy performance must be classified as category B or better (the energy performance categories and their specifications can be found in KENAK).Minimum requirements for the SEER of cooling systems are differentiated between residential and non-residential buildings. |  | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) | https://web.tee.gr/kenak/totee/
Details about the requirements for new non-residential buildings |  | All new buildings' energy performance must be classified as category B or better (the energy performance categories and their specifications can be found in KENAK). Minimum requirements for the SEER of cooling systems are differentiated between residential and non-residential buildings. |  | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) | https://web.tee.gr/kenak/totee/
Other main requirements related to space cooling or summer comfort |  | The cooling system must be in accordance with EU regulations (i.e., the COMMISSION REGULATION (EU) 2016/2281 or the COMMISSION REGULATION (EU) No 206/2012). |  |  | https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32016R2281&rid=4 https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32012R0206
2) EXISTING BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone | Global and specific | Generally, there is no requirement for existing buildings, with the exception of deeply renovated buildings. All deeply-renovated buildings' energy performance must be classified as category B or better (the energy performance categories and their specifications can be found in KENAK). This requirement can be removed, if appropriate evidence and documentation are provided to support that to do so is not technically or economically feasible. In addition, the SEER of the cooling system must follow the minumum requirements as they are specified, according to cooling system type and building usage, in KENAK. Furthermore, the cooling system must be in accordance with EU regulations (i.e., the COMMISSION REGULATION (EU) 2016/2281 or the COMMISSION REGULATION (EU) No 206/2012). | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) | https://web.tee.gr/kenak/totee/ https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32016R2281&rid=4 https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32012R0206
Details about the requirements for existing residential buildings |  | Generally, there is no requirement for existing buildings, with the exception of deeply renovated buildings. All deeply renovated buildings' energy performance must be classified as category B or better. This requirement can be removed, if appropriate evidence and documentation are provided to support it is not technically or economically feasible (the energy performance categories and their specifications can be found in KENAK). The minimum requirements for the SEER of cooling systems are differentiated between residential and non-residential buildings. |  | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) | https://web.tee.gr/kenak/totee/
Details about the requirements for existing non-residential buildings |  | Generally, there is no requirement for existing buildings, with the exeption of deeply renovated buildings. All deeply-renovated buildings' energy performance must be classified as category B or better. This requirement can be removed, if appropriate evidence and documentation is provided to support that it is not technically or economically feasible (the energy performance categories and their specifications can be found in KENAK). The minimum requirement for the SEER of cooling systems are differentiated between residential and non-residential buildings. |  | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) | https://web.tee.gr/kenak/totee/
Other main requirements related to space cooling or summer comfort |  | The cooling system must be in accordance with COMMISSION REGULATION (EU) 2016/2281 or COMMISSION REGULATION (EU) No 206/2012 with regard to its nominal power. |  |  | https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32016R2281&rid=4 https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32012R0206
REGULATIONS (OR STANDARD VALUES) ABOUT THE USE OF SPACE COOLING
SETPOINT and/or COMFORT INDOOR TEMPERATURE (when mentioned in regulations, either as mandatory or indicative / standard assumption)
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any comfort indoor temperature(s) defined? | (whatever mandatory or indicative; considering sector coverage, i.e. residential and/or non-residential) | yes for both |  | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) | https://web.tee.gr/kenak/totee/
type of value | "minimum not to exceed" = mandatory, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand | indicative | The energy demand must be estimated for the calculation of a building's energy performance. For this calculation, the indicative value for comfort indoor temperature is defined by the technical instructions of TCG (TOTEE), based on ΕΛΟΤ EN 15251:2007. | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) pg. 29-31 Table 2.2 | https://web.tee.gr/kenak/totee/
value (in °C) (residential) |  | 26 |  | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) pg. 29-31 Table 2.2 | https://web.tee.gr/kenak/totee/
type of value |  | indicative |  | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) pg. 29-31 Table 2.2 | https://web.tee.gr/kenak/totee/
value (in °C) (non-residential) |  | 20-26 | The set value for a building's temperature is determined by the building's usage. | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) pg. 29-31 Table 2.2 | https://web.tee.gr/kenak/totee/
COOLING SEASON
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any requirement related to the annual duration for which the standard comfort would not be met or would require extra cooling demand? | (considering sector coverage, i.e. residential and/or non-residential) | not found
some kind of cooling season defined? (i.e. period when cooling is allowed and/or standard cooling period used as assumption in modelling, contracts, etc.) | "mandatory" = to be complied with, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand | mandatory | The climate zone, in which the building is based, defines the standard duration and period of the cooling season. | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) pg. 18-19 | https://web.tee.gr/kenak/totee/
details about the cooling season | (e.g. period/duration, exceptions / cases not subject to limitation of use, etc.) |  | Analytical data for the climate data of the different regions of Greece are provided by TOTEE 20701-3/2010. | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-3/2010 (ΚΕΝΑΚ) | https://web.tee.gr/kenak/totee/
REGULATIONS FOR COOLING OR AIR-CONDITIONING SYSTEMS
MAINTENANCE AND INSPECTION OF AIR-CONDITIONING SYSTEMS (implementation of Article 15 of EPBD)
MANDATORY INSPECTIONS or ALTERNATIVE APPROACH (implementation of EPBD Art.15(1) and (3))
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Approach used to implement Art.15 of the EPBD (inspection of large aid-conditioning systems) | "mandatory regulary inspections" = Art.15(1) "alternative approach" = Art.15(3) (alternative information measures) "unclear" = when no official reporting available about implementation of Art.15 | Mandatory regular inspections |  | Law No 4122/2013 ΝΟΜΟΣ ΥΠ’ ΑΡΙΘ. 4122/2013 KENAK | https://www.buildingcert.gr/N4122_2013.pdf https://ypen.gov.gr/wp-content/uploads/2020/11/KENAK_FEK_B2367_2017.pdf
Sector coverage / differences | Are the provisions to implement Art.15 covering both, residential and non-residential buildings? And in the same way? | Provisions for both, and the same |  | Law No 4122/2013 ΝΟΜΟΣ ΥΠ’ ΑΡΙΘ. 4122/2013 KENAK | https://www.buildingcert.gr/N4122_2013.pdf https://ypen.gov.gr/wp-content/uploads/2020/11/KENAK_FEK_B2367_2017.pdf
Scope for the mandatory inspections or alternative measures | Size threshold(s) (e.g. effective rated output of 70 kW set in Art.15, but it can be lower in national regulations), and whether different thresholds apply according to building segments or types of provisions + possible exemptions | Effective rated output over 12 kW. |  | Law No 4122/2013 ΝΟΜΟΣ ΥΠ’ ΑΡΙΘ. 4122/2013 KENAK | https://www.buildingcert.gr/N4122_2013.pdf https://ypen.gov.gr/wp-content/uploads/2020/11/KENAK_FEK_B2367_2017.pdf
Details about the mandatory inspections or alternative measures | Short description about the main provisions in national regulations to implement EPBD Art.15(1) or (3) | All buildings must audit all the accessible parts of their cooling system, that have an effective rated output over 12 kW, at least every 5 years. The audit includes an evaluation of the efficiency and rated output of the cooling system, in accordance with the energy demand of the building. The audit of the rated output is not necessary if no changes are made in the cooling system or no changes are made in the energy demand of the building. |  | Law No 4122/2013 ΝΟΜΟΣ ΥΠ’ ΑΡΙΘ. 4122/2013 KENAK | https://www.buildingcert.gr/N4122_2013.pdf https://ypen.gov.gr/wp-content/uploads/2020/11/KENAK_FEK_B2367_2017.pdf
Requirements on BACS or other monitoring systems (implementation of EPBD Art.15(4) and (5))
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Regulation on BACS (Building Automation and Control System) for large AC in non-residential buildings (EPBD Art.15(4)) | "Already in force" = requirements on BACS already in force "Deadline set" = deadline of 2025 (or earlier) including in legislation "Provision planned" = legislation not yet adopted, but planned "Unclear" = no official information found on national implementation of Art.15(4) | Already in force |  | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) pg. 161-167, 177 | https://web.tee.gr/kenak/totee/
Provisions on monitoring systems for AC in residential buildings (EPBD Art.15(5)) | "Mandatory requirements" = a regulation set mandatory requirements "Other types of measures" = no mandatory requirement, but informative or other type(s) of measure(s) promoting the use of monitoring systems | Mandatory requirements |  | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) pg. 161-167, 177 | https://web.tee.gr/kenak/totee/
Details about provisions on BACS and other monitoring systems | Short description about the main provisions in national regulations or policies to implement EPBD Art.15(4) and (5) | Generally, there are no requirements for existing buildings, with the exception of deeply renovated buildings. New buildings and deeply renovated buildings have some minimum requirements regarding BEMS (Building energy management systems). These requirements are determined according to the use of the building. |  | Technical Instruction of TCG (Technical Chamber of Greece) ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) pg. 161-167, 177 | https://web.tee.gr/kenak/totee/

## Public Schemes
ID | Country | Level | Scheme Name (EN) | Scheme Name (local) | Building Eff | H&C Eff | H&C RES | DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Start-End Year | Description | Rephrase | Budget | Above 500 characters | Start | End Year | Geothermal | Cooling | Air conditioning | Supported measures | Total Budget | Yearly Budget
196 | Greece | National | I Save 2024 (Saving at home, Saving business) | Εξοικονομώ 2024 (Εξοικονομώ στο σπίτι, Εξοικονομώ επιχειρήσεις) | Y | Y | Y |  | Y | Y | Y | Grant/Subsidy | https://www.typosthes.gr/oikonomia/333080_erhetai-neo-programma-exoikonomo-2024-ta-nea-haraktiristika | https://exoikonomo2024.gov.gr/ https://www.gov.gr/en/ipiresies/periousia-kai-phorologia/epidoteseis-politon/exoikonomo-2023 | 2024 (announced) | The Exoikonomo subsidy programs (Exoikonomo at Home, Exoikonomo for Young People, Exoikonomo Business) aim to improve the energy efficiency of homes and businesses by providing financial support and incentives to businesses and individuals. Building shell insulation, HVAC upgrade, windows, shading, integration of RES and energy mgmt devices are included. Households can receive a loan with full interest subsidy for 75% of eligible costs, a greek state guarante and coverage of EPC, Project Consultant, potential assessments costs. Substantial changes were announced for the 2024 program: the aid will not be determined based on expanded geographical zones but on the standards of the heating allowance, where each region has its own coefficients. |  |  | 1 | 2016 | ongoing | 641 | #VALUE! | #VALUE!
197 | Greece | National | ELEKTRA | ΗΛΕΚΤΡΑ | Y | Y | Y |  | (Y) |  | Y | Grant/Subsidy | https://hlektra.gov.gr/home |  | 2022-2026 | The program "ELECTRA" aims at the energy upgrade of the buildings of the Public sector. The program budget of €640,000,000 is expected to leverage one billion euros. The Program subsidizes interventions on building shells, heating and cooling systems, energy management systems and autonomy systems aiming at the upgrade of the energy class to at least class B, with at least 30% annual primary energy savings and 30% reduction of greenhouse gas emissions. (currently not receiving applications but reopening every year and planned until 2026) |  |  | 1 | 2022 | ongoing | #VALUE! | 236 | #VALUE!
198 | Greece | National | New Development Law 4887/2022 - Green Transition | Νέος αναπτυξιακός νόμος 4887/2022 - Πράσινη μετάβαση | Y | Y | Y | (Y) | Y |  | Y | Other public scheme | https://faolex.fao.org/docs/pdf/gre212993.pdf | https://www.pwc.com/gr/en/Tax%20Flash-new-investment-incentive-law-EN.pdf | 2022-ongoing | The "Development Law - Greece Strong Development" offers tax exemptions, subsidies, leasing subsidies, wage subsidies and risk financing for eligible expenses in green transition such as expenses for innovation, research and development projects, investment for energy efficiency measures, recycling and reuse of waste high efficiency energy cogeneration from RES and production of energy from RES. |  |  | 0 | 2003 | ongoing | #VALUE! | #VALUE! | #VALUE!
199 | Greece | National | Energy efficiency obligation scheme (White certificates) | Σχέδιο υποχρεώσεων αποδοτικότητας ενέργειας (Λευκά πιστοποιητικά) | Y | Y | Y | Y | Y | Y | Y | Energy efficiency obligations | https://www.ca-eed.eu/ia_document/national-implementation-report-greece/ | https://ensmov.eu/wp-content/uploads/2020/06/ENSMOV_Snapshot_EEOS_provisional.pdf | 2017-Ongoing | The obligated parties are the suppliers of electricity, natural gas and petroleum products (excluding aviation fuels). The obligated parties in each individual year for each energy product selected to be the energy providers that account for at least 95% of the energy sold for final consumption, and have an energy market share of more than 1% of the energy sold. The obligated parties can implement all kind of measures (whether technical or behavioral) that can lead to final energy savings. The list of indicative measures to improve energy efficiency in the residential, tertiary, transport and industrial sectors is available on the Operator’s website. |  |  | 1 | 2013 | 2024 (announced) | #VALUE! | #VALUE! | #VALUE!
200 | Greece | National | Recycle-Change Appliance | Ανακυκλώνω – Αλλάζω Συσκευή |  | Y | Y |  | Y |  |  | Grant/Subsidy | https://allazosyskevi.gov.gr/ |  | 2023-ongoing | The "RECYCLE-CHANGE APPLIANCE" Program grants households to replace old electrical appliances with new, environmentally friendly and more energy efficient ones among air conditioners, refrigerators and freezers. The grant is provided through Program vouchers, which can be used when purchasing a new device at electrical retail stores and cover a portion of the total cost. For each purchase of a new subsidized device, the obligation to hand in an old one for recycling that belongs to the same category is simultaneously created. |  |  | 1 | 2022 | 2026 | #VALUE! | #VALUE! | 167

## Private Schemes
ID | Country | Level | Scheme Name (EN) | Scheme Name (local) | Provider (Bank/ Investment Firm) | Building Eff | H&C Eff | H&C RES | DHC | Geo DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Description | Notes
91 | Greece | National | Green Fixed-Rate Mortgage Loan | Green Στεγαστικό Δάνειο Σταθερού Επιτοκίου | Piraeus Bank | Y | (Y) | (Y) |  |  | (Y) | Y |  | Green Mortgage | https://www.piraeusbank.gr/en/idiwtes/daneia/stegastiko-daneio/green-stegastiko-statherou-epitokiou |  | Green Mortgage Loan for the purchase, construction, completion or radical renovation of a low energy efficiency home. The loan is offered either with a fixed interest rate for its entire tenor (3, 5, 10, 15, 20, 25, 30 years) or with a fixed interest rate for a specific initial period and then with floating interest rate based on Euribor 1m, plus a fixed spread for the remaining duration of the loan. Pricing is personalized, thus unique for each customer.
92 | Greece | National | Estia Green Mortgage Loan | Πράσινο Στεγαστικό Δάνειο Εστίας | National Bank of Greece | Y | (Y) | (Y) |  |  | (Y) | Y |  | Green Mortgage | https://www.nbg.gr/en/individuals/loans/mortgages/property-loans/estia-green |  | With ESTIA Green Home the purchase of a house with energy class of at least B can be financed on favorable terms: a floating interest rate, a fixed interest rate for an initial term and floating rate thereafter. Reduced floating rate margin by 0.15-0.30%, depending on the energy class, 50% discount on loan expenses, repayment up to 40 years.
93 | Greece | National | Green Loan | Πράσινο δάνειο | National Bank of Greece | Y | (Y) | (Y) |  |  | (Y) | Y |  | Green Loan | https://www.nbg.gr/en/individuals/loans/eco-loans/green-loan |  | Soft loan to upgrade the energy efficiency of a house or purchase energy-saving products on favorable financing terms: privileged interest rate, reduced loan charges, covering the cost of all your green purchases.

## Adaptation
COUNTRY: | Greece
Review of the NAS/NAP
Keywords to look for | "space cooling" or "cool" ; "air-conditioning" ; "comfort" ; "summer" ; "heat pump" ; "green areas" ; "shading" ; "sun protection" (+ when needed, "thermal" and "passive")
Part 1 - Climate haxard/ Key topic of measures
Details / explanations | • Wildfire • Storm (including blizzards dust and sandstorms) • Snow and ice load • Landslide • Temperature variability • Saline intrusion • Soil erosion
Part 2 - Adaptation priorities
Details / explanations | • The systematization and improvement of short- and long-term decision making for Climate Change Adaptation (CCA). • The linking of CCA with a sustainable development model through Regional and Local Action Plans. • The promotion of actions and adaptation policies in all sectors, and particularly the most vulnerable ones. • The establishment of a monitoring mechanism for the evaluation and review of adaptation policies and actions; and • The strengthening of the adaptive capacity of the Greek society through awareness and dissemination actions.
Part 3 - NAS/NAP
Publication report (year) | NAS 2016
NAS/NAP Objectives | • Establish and enhance the (short-term and long-term) decision-making proce-dure regarding adaptation issues. • Link adaptation with the promotion of a sustainable growth model through the implementation of regional/ local action plans. • Promote adaptation actions and policies in all sectors of the Greek economy. • Create a monitoring, evaluation and update mechanism for adaptation actions and policies. • Build adaptation capacity and raise public awareness.
NAS/NAP Key Measures (related to the keywords) | • Support of various institutions to include environmental education courses on climate change, the atmosphere and the environment in general and bring awareness. • Build the adaptation capacities of professionals, governmnet agencies, and other stakeholders in early warning systems, disseminating information and accessibility to climate data, partnerships between the academic scientific community of universities and private sector, as well as training and lifelong learning.
Part 4 - Good Practice
Campaigns | Implementation of the Heat-Health Action Plan of North Macedonia. The Heat Health Action Plan (HHAP) of North Macedonia, implemented since 2012, includes a heat health warning system, cross-government coordination, and public awareness strategies. Translating climate health impacts for policymakers, and involving stakeholders was key for its implementation. https://climate-adapt.eea.europa.eu/en/metadata/case-studies/implementation-of-the-heat-health-action-plan-of-the-former-yugoslav-republic-of-macedonia Greek cities are adapting urban planning to improve the thermal environment by updating the building regulations. The plan includes appropriate architectural redesign of spaces and the integration of greenery into existing structures (ceilings, vertical surfaces, etc.) as a priority. https://www.kenak.gr/
Urban | Athens is putting in place significant green infrastructure improvements to help reduce heat. A project is underway to harness water from an ancient, underground Roman aqueduct in order to green the city. https://innovationorigins.com/en/athens-combats-the-heat-the-citys-innovative-response-to-rising-temperatures/

## List
Summary and NECP
YesNotFound | EnergyPoverty | Renovation
Yes, directly | Yes | Yes, with clear information
Yes, indirectly | No assessment | Yes, vaguely
Not found | Not found | Not found
Comprehensive Assessments
Targets | PoliciesMeasures | Consumption | YesNotfound | Map | EconomicAnalysis
Yes, specific to cooling | Yes, with info relevant to space cooling | Yes, per sector | Yes | Yes, separate map about cooling | Yes, with detailed analysis
No, only jointly for heating and cooling | Yes, but nothing related to space cooling | Yes, but total only | Not found | Yes, joint map about heating and cooling | Yes, with rough analysis only
No clear target | Not found | No (merged with heating data) |  | No, only map about heating | No (analysis on heating only)
not applicable | Not applicable | Not found |  | No map found
Building regulations
Setpoint temperature | Cooling season | Definitions | Calculation methodology | Difference | Requirements | Sector
indicative | indicative | Yes | Yes, in global performance | Yes | Global and specific | yes for residential only
minimum not to exceed | mandatory | Unclear | Yes, separately | Not found | Global only | yes for non-residential only
other | other | Not found | Unclear |  | Specific only | yes for both
none found | none found |  | Not found |  | Not found | not found
AC inspections | AC sector differences | EPBDArt15(4) | EPBDArt15(5)
Mandatory regular inspections | Provisions for non-residential only | Already in force | Mandatory requirements
Alternative approach | Provisions for residential only | Deadline set | Other types of measures
Unclear | Provisions for both, and the same | Provision planned | Not found
| Provisions for both, but different | Unclear
Financing schemes
Country | Complete | Level | Topic | Type of scheme (Public) |  | Type of scheme (Private)
EU |  | EU | Y | Advisory Service, Technical Assistance |  | Advisory Service, Technical Assistance
Austria |  | National | (Y) | Loan/Soft Loan |  | Equity financing
Belgium |  | Regional |  | Energy efficiency obligations |  | Grants/ subsidy
Bulgaria |  | City |  | Equity financing |  | Green Bonds
Croatia |  |  |  | Grant/Subsidy |  | Green Leasing
Cyprus |  |  |  | Grant/Subsidy, Loan/Soft Loan |  | Green Loan
Czechia |  |  |  | Guarantee |  | Green Loan, Advisory Service
Denmark |  |  |  | Multiple (Grant/Subsidy, Tax rebate, Debt, Equity, Guarantee, TA) |  | Green Mortgage
Estonia |  |  |  | Other public scheme |  | Guarantees
Finland |  |  |  | Tax incentives |  | On-bill financing
France
Germany
Greece
Hungary
Ireland
Italy
Latvia
Lithuania
Luxembourg
Malta
Netherlands
Poland
Portugal
Romania
Slovakia
Slovenia
Spain
Sweden