## ToC
Driving a sustainable future in space cooling
The CoolLIFE project aims to address the need for sustainable solutions to the EU’s rising demand for space cooling in buildings. The project will develop open-source tools which encourage the consideration of green cooling solutions in public and private decision-making, planning, design, and implementation processes.
What will you find in this file? |  | Table of Contents
This file gathers information available in the Member State's reporting to the European Commission about strategies, policies and regulations relevant to sustainable space cooling, and a focus on the national building regulations and financing schemes (public and private) (see Table of Contents on the right): - [Summary] provides an overview of the main information from all sources reviewed - [draftNECPupdate] provides the information identified in the draft update of National Energy Climate Plan (2023) - [CA2020] provides the information identified in the Comprehensive Assessment for heating and cooling (2020 version) - [BuildingRegulation] provides the information identified in the national building regulations - [Public Schemes] and [Private Schemes] provide two lists of financing schemes that promote energy efficiency in buildings and/or efficient space cooling systems - [Adaptation] provides the information identified in the National Adaptation Strategy and/or National Adaptation Plan |  | Summary
draftNECPupdate
CA2020
BuildingRegulation
Public Schemes
Private Schemes
Adaptation
#VALUE! | The CoolLIFE project has received funding from the LIFE Programme of the European Union. Views and opinions expressed are however those of the author(s) only and do not necessarily reflect those of the European Union or CINEA. Neither the European Union nor CINEA can be held responsible for them.

## Summary
COUNTRY: | Hungary
Data summary about national policies and regulations
Back to Table of Contents
Tab 1 - National background and strategy
National background and strategy | Hungary does not have a specific cooling strategy, nor a heating & cooling strategy. The national energy strategy is defined in the NEKT (Nemzeti Energia és Klímaterv - National Energy and Climate Plan), updated last as a draft in 2023. However, the reference scenarios used for this national energy planning do not provide data nor objectives specific to space cooling. National energy policy does not specifically address space cooling, but space heating and cooling is considered together. Targets consider the reduction of final energy use for space heating and cooling, for disitrct heating and cooling, inlcuding the increas of the renewable energy ratio in the energy mix. Decarbonization targets focus on electricity, heat pumps for heating are promoted. Targets in the latest update of the draft NECP are not yet aligned with the requirements of the RED Renewable Energy Directive, or the EED recast. Similarly, while Hungary implements various policy measures to promote building renovations, these schemes are primarily meant to reduce space heating consumption and do not explicitly address summer comfort or space cooling. Likewise,Hungary's 2020 Comprehensive Assessment is focused on heating only (no data on cooling), while the renewable energy target is included only in the context of electrification. This might be because space cooling is still a negligible share of the final energy consumption compared to space heating. From an energy efficiency viewpoint, space cooling is therefore mostly addressed through the regulations for buildings and cooling products. In the energy performance certificate calculation methodology, the latest implementation of EPDB from 2023, requires the assessment of the "summer heat protection" of buildings, based on the glazing area and related solar exposure.
Sources | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy
Tab 2 - Governance
Governance
Sources | draft NECP update 2023
Tab 3 - Links with Adaptation
Links with adaptation
Sources | national adaptation strategy
Tab 4 - Planning processes
Planning processes | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans.
More details | The CA includes estimated energy consumption of public and commercial building: Primary energy demand of cooling 1.90 kWh/m2/year, 0.7%, Table IV.7
Sources | draft NECP update 2023, comprehensive assessment 2020
Tab 5 - National regulations (building level)
How space cooling is addressed in the building regulations | In the EPBD implementation, there is no separate requirement for limiting space cooling energy use, it is only considered as part of the total energy demand. However, there is a mandatory calculation of the methodology for "Summer heat protection", which is relevant to buildings where the total surface area of ​​the transparent structures of the building envelope that differ from the north orientation by at least 45°, or have an inclination angle lower than 45° exceeds 8% of the useful floor area of ​​the building, the solar heat gain coefficient calculated over these surfaces may not exceed the give limit.
Main provisions relevant to space cooling needs or summer comfort | There are several parameters for the calculation that need to be followed when calculating relevant to cooling system. Such parameters are, SEER, latent cooling demand, occupancy parameters, requirement for using free cooling, passive cooling options when it is possible in architectural or other reasons, etc As per 3.1.1 point of the Decree, when planning the building technical systems of new buildings and major renovations, it is recommended to take into account the MSZ EN 16798-1 standard or an equivalent technical specification with regard to the indoor environmental parameters to be ensured in conditioned spaces. 253/1997. (XII. 20.) Government decree on the national settlement planning and construction requirements states that during the planning and development of new buildings, protection against excessive summer warming must be ensured with architectural means (e.g. external shading) and vegetation. Local codes may include the limitation of the urban heat island effect for new developments. For example: the § 10 of the district building regulation of the 11th distric in Budapest requires that in the case of construction of offices and residential apartment block, the magnitude of the heat island effect caused by the development must be investigated, and the planned development may not cause an increase of the heat island effect.
Main provisions relevant to the use of space cooling | Values are specified withtin the calculations for the reference case: Residential: Mandatory 26ºC in the calculations, 0,5 air change/hour, which value can be increased by 3 (one facade) or 6 (cross ventilation) during night time in case of natural ventilation is possible. Non-residential buildings/premises: Indicative 26ºC in the calculations, indicative values in m3/(m2h) from 4 (small office premise) to 90 (cooking kithcen) which value can be increased by 3 airchange/hour (one facade) or 6 air change/hour (cross ventilation) during night time in case of natural ventilation is possible
References of the relevant regulations (or other source(s)) | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings 253/1997. (XII. 20.) Government decree on the national settlement planning and construction requirements
Tab 6 - Regulations on space cooling systems or products
EU regulations and provisions | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives.
National implementation | The legislation mandates regular energy audits for heating or air conditioning systems with an effective nominal capacity exceeding 70 kW. The first audit for systems in operation before the effective date must occur by December 31, 2025. Inspection reports are submitted electronically to the National Climate Protection Authority's online database. The auditor must be listed in the Hungarian Chamber of Engineers' database with specific professional practice certification (G, G-ÉF, SZÉS3, SZÉS6). Auditors must undergo yearly training defined by the Chamber of Engineers.
References of the relevant regulations (or other source(s)) | Act LVII/2015 on energy efficiency F-gas database: Klímagáz adatbázis:https://nemzetiklimavedelmihatosag.kormany.hu/
Tab 8 - Financing schemes | See separate file on financing schemes
Overview of public schemes | Schemes are not specifically targetted at reducing space cooling demand, or improving thermal comfort, but at energy efficiency as general. As energy saving is one of the main KPI to be reported in the schemes, the avoidance of space cooling with passive measures is not subsidized within the schemes. Main relevant public schemes include tax incentives: - Development tax allowance - TAO discount for energy efficiency investments Non-residential grants/subsidies or loans: - Support for the investments necessary for the transition to zero net emissions (Temporary Crisis and Transition Framework TCTF) - Factory Rescue Program - Baross Gábor Credit Program - Green Investment Loan And subsidies or loans to particular homes or areas improving energy efficiency: - Rural family housing support - REPowerEU Energy and modernization tender and Home renovation grant 2024 - Hungary Public Tenders - Energy - Loan to Rural family housing support
Overview of private schemes | Similarly, the private schemes available do not focus on space cooling specifically, but are more relevant to energy efficiency globally. - Thermo / Style Credit - Green Loan - Heating Modernization - Green Bonds - Green Home loan

## draftNECPupdate
COUNTRY: | HUNGARY
Review of the draft NECP update
Back to Table of Contents | 2023 draft update National Energy and Climate Plans available at: | https://commission.europa.eu/energy-climate-change-environment/implementation-eu-countries/energy-and-climate-governance-and-reporting/national-energy-and-climate-plans_en#national-energy-and-climate-plans-2021-2030
Part 1 - (see particularly Executive summary - section 1.1; and Overview of current policy situation - section 1.2)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | "In line with the revised draft Renewable Energy Directive, we increase the share of renewable energy in heating and cooling by 1 percentage point between 2021 and 2025 and at least 1.3 percentage points per year between 2026 and 2030" "We see great potential for the use of ambient heat through heat pumps" "Increasing energy efficiency is our priority by using renewable-based heating/cooling solutions, reducing the share of natural gas in the district heating sector and reducing energy use for residential, public, industrial and transport purposes."
Part 2 - National objectives and targets
Section 2.1.1 GHG emissions and removals (particularly if sub-section about buildings)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | "In line with the revised draft Renewable Energy Directive, we increase the share of renewable energy in heating and cooling by 1 percentage point between 2021 and 2025 and at least 1.3 percentage points per year between 2026 and 2030. In addition, the share of renewable energy, residual heat and waste cooling in district heating will be increased by 2.2 percentage points per year. We see great potential for the use of ambient heat through heat pumps. Hungary has a significant geothermal potential, which we are increasingly exploiting. Inview of the circumstances of our country, the goal is to increase the use of geothermal thermal energy for a wider and wider use of geothermal energy in the 2030 horizon."
Section 2.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (ii))
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | "In line with the revised draft Renewable Energy Directive, we increase the share of renewable energy in heating and cooling by 1 percentage point between 2021 and 2025 and at least 1.3 percentage points per year between 2026 and 2030. In addition, the share of renewable energy, residual heat and waste cooling in district heating will be increased by 2.2 percentage points per year."
Section 2.2 Energy Efficiency (see points (ii) about long-term renovation strategies and (iii) about other objectives)
Any mention about cooling and related aspects? | Not found
Details / explanations
Section 2.4.4 Energy poverty
Does the assessment of energy poverty consider 'summer energy poverty'? | No assessment
Details / explanations
Section 2.5 Dimension research, innovation and competitiveness
Any mention about research or innovation related to cooling and related aspects? | Not found
Details / explanations
Part 3 - Policies and Measures (PaMs)
Section 3.1.1 GHG emissions and removals (particularly if sub-section about PaMs for buildings, in point (i))
Any mention about cooling and related aspects? | Not found
Details / explanations
Section 3.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (i) and in point (vi) about district cooling)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | "Heating and cooling, domestic hot water As a result of last year’s energy crisis in the field of heating and cooling, the share of biomass in renewable energy sources increased most in view of the fact that the residential sector used heating with either fully switched or complementary solutions for heating. In the area of individual heating, the main intervention direction is the expansion of heat pumps while reducing the heat demand of buildings." - Heat pumps but only in the heating context "Ageing and greening district heating (greening the district heating sector by increasing the use of geothermal, biomass, biogas, residual heat and possibly waste for heating/cooling) as well as increased use from wastewater treatment, depolnia gas and the use of agricultural biogas can play a key role in replacing natural gas and increasing our use of renewable energy in the heat market" "4.pyrority: Renewable energy economy In promoting renewable energies, the focus is on putting electricity generation at community and power plant level and community heating and cooling on a renewable energy base'"
Section 3.2 Energy Efficiency (particularly in points (ii) about long-term renovation strategies)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | "The revised Energy Efficiency Directive requires an annual saving obligation of 1.9 % in the public sector and at least 3 % of the total floor area of heated and/or cooled buildings owned by public bodies to be renovated annually by transforming them into nearly zero-energy or zero-emission buildings. Deep renovation projects and the widespread deployment of renewable energy sources can contribute to harnessing the energy saving potential of public buildings." "We also count on the new Social Climate Fund 2026-2032, of which Hungary will contribute 4.33 % to around EUR 2.816 billion. In order to draw up the funds, a Social Climate Plan needs to be prepared and we will start preparing it. Eligible measures shall include, interalia, increasing the energy efficiency of buildings, building renovation, decarbonisation of heating and cooling of buildings, facilitating the uptake of zero- and low-emission mobility and transport, and direct income support."
Section 3.4.4 Energy poverty
Is any policy measure about energy poverty dealing with 'summer energy poverty'? | Not found
Details / explanations
Section3.5 Dimension research, innovation and competitiveness (particularly in point (i))
Any mention about research or innovation related to cooling and related aspects? | Not found
Details / explanations | Seasonal heat and cold storage is mentioned. Also focus is on the electrical grid: systems balance, seasonal storage and Smart Regulation.
Parameters and variables to be reported in Part B (often in a separate annex)
Point 1(13): Cooling Degree Days | 42-505
Details / explanations | Cooling degree days: 2005 - 42; 2010 - 97; 2015 - 196; 2019 (base year) - 196; 2020 - 505; 2025 - 505; 2030- 505; 2035 - 505; 2040 - 505; 2045 - 505; 2050 - 505
Other sections of the NECP
Is space cooling mentioned or addressed in other sections of the NECP? | Yes, indirectly
Details / explanations | "Obligation to carry out an energy review was introduced as of 1 January 2022 under Act LVII of 2015 on energy efficiency. This included regular energy inspections (inspections) for heating and air-conditioning systems with a rated capacity above 70 kW, to be carried out every 8 years."
Complementary information about financing schemes promoting building renovation (in point (i) and/or (ii) of section 3.2 of the draft NECP update)
Does the draft NECP update provide information about schemes for building renovation? | Yes, with clear information
General comments | None of these are cooling specific
Name of the scheme 1 | "January 2021. — Open from 31 December 2022. It covered 50 % of the renovation costs, with a maximum available amount of HUF 6 million. In this context, the Government supported the renovation of the homes of some 300 thousand families with children, worth more than HUF 620 billion. According to the data, half of the investments were for energy efficiency purposes." Not cooling specific.
Name of the scheme 2 | a non-refundable State grant of up to HUF 10 million, which can be claimed for an existing orborn child and which can be used for the purchase, construction or extension of a new or second-hand dwelling or housing. Not cooling specific.
Name of the scheme 3 | A subscheme of CSOK in the 2631 preferred small municipalities of Hungary. The Government has extended the scheme and is therefore open until 31 December 2024. Importantly, half of the amount that can be claimed can be spent on purchase, the other half should be used for modernisation or extension. In the case of an extension or modernisation with the purchase of a dwelling in the preferred small settlement, a maximum of 50 % of the maximum amount of the aid may be used for the purchase of dwellings. Not cooling specific.
etc | Provides grants to large companies for energy efficiency and energy production investments. With a maximum aid intensity of 30 % in Budapest and 45 % in rural areas, a total of EUR 15 million (approx. HUF 6.2 billion) per company. The Government allocated a budget of HUF 150 billion for implementation in 2022 Not cooling specific.
Aimed at 23 towns with county rights, with resources of HUF 4200 billion, with which agreements were signed in 2017. The aim of the programme is to support the implementation of large, regionally important and complex investments. Cities were able to set their own development goals according to their own needs. 133 for the 270 development targets have been fully implemented and a high share of investments is planned to be completed by 2025. The total budget of the scheme exceeds HUF 4.000 billion; more than half of the amount has already been paid to the project promoters. Two thirds of the grants are domestic budgetary resources. Not cooling specific.
Launched in July 2019 and is ongoing under the coordination of the Hungarian Charity Service of Malta. It provides targeted interventions to help the 300 most disadvantaged settlements in the country. The overall objective of the interventions is to improve the social and infrastructural supply of lagging settlements and to bring about positive, forward-looking changes in the lives of their people and communities, and to provide the necessary expertise, support and services. The 300 municipalities were selected using a complex indicator, taking into account as many indicators as possible, in cooperation with the Central Statistical Office. Not cooling specific.
in 2018. The aim of the programme is to strengthen and develop small settlements below 5000 inhabitants, improve local quality of life and stop population exodus. Not cooling specific.
Was a grant in 2021, with a maximum rate of 50 % of the eligible gross heating modernisation costs of a given co-ownership building. HUF 3 billion was available for the entire tender. The minimum amount to be won per co-ownership was HUF 150 thousand, but up to HUF 75 million - Heating
In addition, a new tax advantage was introduced in 2017 for businesses on energy efficiency-enhancing investments. Up to 70 % of the Company Tax Allowance (TAO) can be spent on energy efficiency investments in the form of tax relief. The tax relief is available in the form of tax retention. The tax reduction that may be used by the taxpayer shall be 50 % of the total investment cost in the case of small enterprises, 40 % of the total investment cost in the case of medium-sized enterprises, and 30 % of the total investment cost in the case of large enterprises.
Note on A48: add here the name of the scheme
Note on A49: add here the name of the scheme
Note on A50: add here the name of the scheme
Note on A51: add here the name of the scheme

## CA2020
COUNTRY: | Hungary
Review of the Comprehensive Assessment 2020
The parts / sections mentioned below are the ones listed in Annex VIII of the initial Energy Efficiency Directive 2012/27/EU (as amended by regulation (EU) 2019/826)
Back to Table of Contents |  | Comprehensive Assessements available at: | https://energy.ec.europa.eu/topics/energy-efficiency/heating-and-cooling_en#comprehensive-assessments-on-efficient-heating-and-cooling
Criteria | Yes/No categorisation | Explanations / comments
Information reported on Part II (Objectives, strategies and policy measures)
Point 5: planned contribution of the Member State to its national objectives and targets (through efficiency in heating and cooling)
Any objective/target in terms of reductions of GHG emissions specifically from cooling? | No clear target
Any objective/target in terms of share of RES specifically from cooling? | No clear target | renewable energy target included only in the context of electrification
Any objective/target in terms of contribution specifcally from cooling to the energy efficiency target | No clear target
Other objectives/targets mentioned about or relevant to cooling? | No clear target
Other comments or explanations related to objectives and targets mentioned in the Comprehensive Assessment (when relevant to how space cooling is addressed)
Point 6: information on existing policies and measures related to heating and cooling
Information about a strategy, umbrella framework or overall planning for heating and cooling? | Yes, but nothing related to space cooling | New National Energy Strategy (the Strategy) adopted on 8 January 2021 https://2010-2014.kormany.hu/download/7/d7/70000/Hungarian%20Energy%20Strategy%202030.pdf Long-term renovation strategy (LTRS) https://energy.ec.europa.eu/system/files/2021-07/hu_2020_ltrs_0.pdf The Hungarian National Clean Development Strategy (Nemzeti Tiszta Fejlődési Stratégia, NTFS) 2021.09.10. https://eionet.kormany.hu/download/d/32/d2000/NFTS%20-%20EN.pdf The second National Climate Change Strategy (Nemzeti Éghajlatváltozási Stratégia, NÉS-2) adopted by the Hungarian Parliament in October 2018 https://magyarkozlony.hu/dokumentumok/6bcb816077f795960249fcc31c699245299be2da/letoltes First Climate Change Action Plan (I. Éghajlatváltozási Cselekvési Terv, I. ÉCsT)
Information about building regulation(s)? | Not found
Information about financial incentives for energy efficiency in buildings? | Not found
Information about measures related to cooling systems (e.g. standards, labelling, incentives)? | Not found
Information about measures to develop RES for cooling (or RES for heating&cooling)? | Not found
Information about measures for district cooling (or district heating&cooling)? | Not found
Information about other type(s) of measure that could be relevant to space cooling? | Not found
Summary comments about the policies and measures mentioned in the Comprehensive Assessment (as regards aspects relevant to space cooling) |  | There is no separate section or information in the document on the existing policies and measures, only under "III. DEVELOPMENTS BASED ON COMMUNITY CO-FINANCING IN THE COOLING AND HEATING SECTOR".
Information reported on Part IV (Potential new strategies and policy measures)
Point 9: overview of new legislative and non-legislative policy measures to realise the economic efficiency potential in heating and cooling
Any reference to a national multi-annual strategy or planning (other than the NECP)? | Yes, but nothing related to space cooling | see above
Information on development(s) planned or under discussion about regulations for new buildings? | Not found | see above
Information on development(s) planned or under discussion about measures for the renovation of existing buildings? | Yes, but nothing related to space cooling | Section III. - "Planned measures of the Multiannual Financial Framework (MFF) 2021–2027. Hungary primarily contributes to the Renovation Wave Strategy of the European Commission through the priority axis of Renewable energy economy of the KEHOP Plusz operational programme and the building energy investments of the TOP Plusz programme." - focus is heating and renewables. "- KEHOP Plusz supports the improvement of the energy efficiency of public buildings; - TOP Plusz complements the above by supporting public buildings maintained by local governments; - for the renovation of residential buildings, support programmes with a variety of financing forms are available until 2023... - as of 2021, a support for the premises of businesses will be available under the KEHOP Plusz." Energy efficient renovation is mentioned, incl. envelope and passive measures. Modernisation of cooling is mentioned only in one place, here: "Developments for technical systems in a building (modernisation of cooling and heating systems, as well as equipment and systems for producing domestic hot water),"
Information on development(s) planned or under discussion about measures for cooling systems (e.g. about standards, labelling, incentives)? | Not found
Information on development(s) planned or under discussion about measures to develop RES for cooling? | Yes, but nothing related to space cooling | "Promoting renewable energy sources in electricity generation and in the field of heating and cooling (KEHOP Plusz)" focus is electricity generation and heating. Heat pumps are mentioned. Biomass and Geothermal are mentioned specifically, and "renewable energy meeting electric heating demand" "Planned measures of the Recovery and Resilience Facility (RRF) - The programme called Supporting residential solar panel systems and the electrification of heating systems combined with solar panel systems can be outlined among the planned measures" "The flagship project called Energy-intelligent and modern Hungarian homes (Energiatudatos és modern magyar otthonok) implementing the relevant strategic direction of the new National Energy Strategy promotes the installation of solar panel systems to partially or completely replace own electricity consumption"
Information on development(s) planned or under discussion about measures to develop district cooling? | Yes, but nothing related to space cooling | "Improving the efficiency of district heating and cooling systems (KEHOP Plusz)" the program focuses on district heating: energy efficiency interventions affecting the whole of the district heating system (including the elements at the consumers), and connecting new consumers to the district heating system. No DH mentioned.
Information on development(s) planned or under discussion about other type(s) of measure? | Yes, but nothing related to space cooling | "Facilitating energy efficiency measures and promoting activities for the shaping of attitude (KEHOP Plusz)" - Mentioning of ESCO schemes.
Summary comments about policy developments planned or under discussion (as regards aspects relevant to space cooling) |  | No detailed information on the programs which are existing, which are only planned. One mentioning of a scheme for the future: "Furthermore, a new soft loan facility financed from the KEHOP Plusz will become available from this year"
Information reported on Part I (Overview of heating and cooling)
Point 1: Heating and cooling demand in terms of assessed useful energy and quantified final energy consumption in GWh per year by sectors
Does the comprehensive assessment include separate data on cooling consumption? | Yes | Table IV.7: Energy consumption of public and commercial building: Primary energy demand of cooling 1.90 kWh/m2/year, 0.7%
Any other more disaggregated data on cooling consumption/demand? | Not found
Point 3: Map covering the entire national territory identifying heating and cooling demand areas, existing and planned heating and cooling supply points
Does the map / assessment cover cooling demand (or only heating)? | No map found
Point 4: Forecast of trends in the demand for heating and cooling (which is supposed to take into account the expected impacts from the long-term renovation strategy)
Does the comprehensive assessment include separate forecast data on future cooling consumption? | Not found
other comment(s) on data about energy consumption/demand or cooling technologies |  | Projections only on household size, number of households, no. of dwellings, new constructions, renovation level (this latter is disaggregated as building age.) Based on HCSO’s What do we live in? analysis of 2015 and other Hungarian sources.
Information reported on Part III (analysis of the economic potential for efficiency in heating and cooling
Does the analysis deal with cooling as well? | No (analysis on heating only)
Does the comprehensive assessment include cost data about cooling technologies? | Not found
other comment(s) on cost data or the cost-benefit methodology |  | Payback years are included for heat pumps for heating only.
other comment(s) about the comprehensive assessment

## BuildingRegulation
COUNTRY: | Hungary |  | Back to Table of Contents
BUILDING REGULATIONS
HOW SPACE COOLING OR SUMMER COMFORT IS ADDRESSED IN THE BUILDING REGULATIONS
DEFINITION(S) (about space cooling or summer comfort; in building regulations)
Data field | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
clear definition(s)? | Yes = an official and clear definition is included Unclear = a definition or some elements close to a definition are included, but this remains vague | Unclear | No direct definition for "summer comfort", however there is requirement description and calculation methodology for "Summer heat protection" | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
Definition(s) |  | Mechanical cooling: removal of thermal energy from the building with a technical building system through air or a liquid heat carrier medium Conditioned space: a space whose regulated internal temperature is provided directly or indirectly by technical building systems ‘Air-conditioning system’ means a combination of the components required to provide a form of indoor air treatment, by which temperature is controlled or can be lowered (as per in EPB Directive) | - | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
ENERGY PERFORMANCE CALCULATION (energy performance of the building)
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Is space cooling considered in the calculation methodology? | "Yes, in global performance" = when energy demand related to space cooling or summer comfort is taken into account for calculating the global energy performance of the building "Yes, separately" = when energy demand related to space cooling or summer comfort is taken into account only separately (e.g. to set specific requirements on the cooling demand) "Unclear" = when the calculation methology does not make it clear whether and how space cooling would be taken into account | Yes, separately | Space cooling demand is calculated in the global performance of the building, there is no separate requirement (e.g. specific heat demand has), however there is separate regulation and requirement for summer heat protection that must be comliant with the regulation separately. | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
Any difference between residential and non-residential? |  | Yes | Basically there is no deifference in regulation, however there are some initial differences in the following items: - Internal heat load considerations, calculations and numbers - Reference building"s default cooling system - User/operational profile used for the calculations | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
MINIMUM ENERGY PERFORMANCE REQUIREMENTS
Any requirement in terms of maximum allowed cooling demand? | (more details and other type(s) of requirements can be described below, per type of building) | not found |  | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
1) NEW BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone | Global only |  | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
Details about the requirements for new residential buildings |  | There is requirement (max. allowance) for new buildings as part of "Nearly zero-energy buiding" requirements. It cannot be higher than 76 kWh/m2a or higher than 80% of the reference building's primary energy use (in case of dynamic sim. methodology). Also there is indirect requirement by max. allowance for specific CO2 LCA based emissions, where the quality, the energy efficiency of the cooling system is also calculated. |  | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
Details about the requirements for new non-residential buildings |  | There is requirement (max. allowance) for new buildings as part of "Nearly zero-energy buiding" requirements. It cannot be higher than 80% of the reference building's primary energy use. Also there is indirect requirement by max. allowance for specific CO2 LCA based emissions, where the quality, the energy efficiency of the cooling system is also calculated. |  | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
Other main requirements related to space cooling or summer comfort |  | There are several parameters for the calculation that need to be followed when calculating relevant to cooling system. Such parameters are, SEER, latent cooling demand, occupancy parameters, requirement for using free cooling, passive cooling options when it is possible in architectural or other reasons, etc. |  | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
2) EXISTING BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone | Global only | The application of minimum requirements to the energy performance of existing buildings, building units and building elements that are subject to major renovation terminology stated in the 9/2023. (V.25.) ÉKM decree. Major renovation: renovation affecting at least 25% of the total surface of the boundary structures; Link and alignment with previous so called "cost-optimized" level is stated in the decree. | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
Details about the requirements for existing residential buildings |  | There is a requirement (maximum allowance) for major renovation. The primary energy use must not exceed the specified values on the graph, which are dependent on the A/V ratio of the building. |  | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
Details about the requirements for existing non-residential buildings |  | There is a requirement (maximum allowance) for major renovation. The primary energy use must not exceed that of the reference building. |  | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
Other main requirements related to space cooling or summer comfort |  | There are several parameters for the calculation that need to be followed when calculating relevant to cooling system. Such parameters are, SEER, latent cooling demand, occupancy parameters, requirement for using free cooling, passive cooling options when it is possible in architectural or other reasons, etc. |  | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
REGULATIONS (OR STANDARD VALUES) ABOUT THE USE OF SPACE COOLING
SETPOINT and/or COMFORT INDOOR TEMPERATURE (when mentioned in regulations, either as mandatory or indicative / standard assumption)
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any comfort indoor temperature(s) defined? | (whatever mandatory or indicative; considering sector coverage, i.e. residential and/or non-residential) | yes for both | Residential: Mandatory 26C in the calculations, 0,5 air change/hour, which value can be increased by 3 (one facade) or 6 (cross ventilation) during night time in case of natural ventilation is possible Non-residential buildings/premises: Indicative 26C in the calculations, indicative values in m3/(m2h) from 4 (small office premise) to 90 (cooking kithcen) which value can be increased by 3 airchange/hour (one facade) or 6 air change/hour (cross ventilation) during night time in case of natural ventilation is possible | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
type of value | "minimum not to exceed" = mandatory, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand | other | Using the predefined exact value is mandatory | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
value (in °C) (residential) |  | 26 |  | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
type of value |  | indicative |  | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
value (in °C) (non-residential) |  | 26 |  | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
COOLING SEASON
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any requirement related to the annual duration for which the standard comfort would not be met or would require extra cooling demand? | (considering sector coverage, i.e. residential and/or non-residential) | yes for both | Option between simplified and detaild calculation methodology. For simlpified methodology it is mandatory, for detailed version hourly data required based on weather file. | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
some kind of cooling season defined? (i.e. period when cooling is allowed and/or standard cooling period used as assumption in modelling, contracts, etc.) | "mandatory" = to be complied with, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand | other | Option between simplified and detaild calculation methodology. For simlpified methodology it is mandatory, for detailed version hourly data required based on weather file. | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
details about the cooling season | (e.g. period/duration, exceptions / cases not subject to limitation of use, etc.) | Duration for cooling season: 15th May - 15th Sept. |  | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings | https://njt.hu/jogszabaly/2023-9-20-8X
REGULATIONS FOR COOLING OR AIR-CONDITIONING SYSTEMS
MAINTENANCE AND INSPECTION OF AIR-CONDITIONING SYSTEMS (implementation of Article 15 of EPBD)
MANDATORY INSPECTIONS or ALTERNATIVE APPROACH (implementation of EPBD Art.15(1) and (3))
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Approach used to implement Art.15 of the EPBD (inspection of large aid-conditioning systems) | "mandatory regulary inspections" = Art.15(1) "alternative approach" = Art.15(3) (alternative information measures) "unclear" = when no official reporting available about implementation of Art.15 | Mandatory regular inspections |  | Act LVII/2015 on energy efficiency CA EPBD | https://net.jogtar.hu/jogszabaly?docid=a1500057.tv https://epbd-ca.eu/wp-content/uploads/2022/10/Implementation-of-the-EPBD-in-Hungary-2020.pdf
Sector coverage / differences | Are the provisions to implement Art.15 covering both, residential and non-residential buildings? And in the same way? | Provisions for both, but different | Different exemptions | Act LVII/2015 on energy efficiency | https://net.jogtar.hu/jogszabaly?docid=a1500057.tv
Scope for the mandatory inspections or alternative measures | Size threshold(s) (e.g. effective rated output of 70 kW set in Art.15, but it can be lower in national regulations), and whether different thresholds apply according to building segments or types of provisions + possible exemptions | For both segment there is a 70 kW treshold |  | Act LVII/2015 on energy efficiency | https://net.jogtar.hu/jogszabaly?docid=a1500057.tv
Details about the mandatory inspections or alternative measures | Short description about the main provisions in national regulations to implement EPBD Art.15(1) or (3) | The legislation mandates regular energy audits for heating or air conditioning systems with an effective nominal capacity exceeding 70 kW. The first audit for systems in operation before the effective date must occur by December 31, 2025. Inspection reports are submitted electronically to the National Climate Protection Authority's online database. The auditor must be listed in the Hungarian Chamber of Engineers' database with specific professional practice certification (G, G-ÉF, SZÉS3, SZÉS6). Auditors must undergo yearly training defined by the Chamber of Engineers. |  | Act LVII/2015 on energy efficiency Klímagáz adatbázis | https://net.jogtar.hu/jogszabaly?docid=a1500057.tv https://nemzetiklimavedelmihatosag.kormany.hu/
Requirements on BACS or other monitoring systems (implementation of EPBD Art.15(4) and (5))
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Regulation on BACS (Building Automation and Control System) for large AC in non-residential buildings (EPBD Art.15(4)) | "Already in force" = requirements on BACS already in force "Deadline set" = deadline of 2025 (or earlier) including in legislation "Provision planned" = legislation not yet adopted, but planned "Unclear" = no official information found on national implementation of Art.15(4) | Unclear | No deadline has been set yet | Act LVII/2015 on energy efficiency | https://net.jogtar.hu/jogszabaly?docid=a1500057.tv
Provisions on monitoring systems for AC in residential buildings (EPBD Art.15(5)) | "Mandatory requirements" = a regulation set mandatory requirements "Other types of measures" = no mandatory requirement, but informative or other type(s) of measure(s) promoting the use of monitoring systems | Other types of measures |  | Act LVII/2015 on energy efficiency | https://net.jogtar.hu/jogszabaly?docid=a1500057.tv
Details about provisions on BACS and other monitoring systems | Short description about the main provisions in national regulations or policies to implement EPBD Art.15(4) and (5) | Residential buildings are exempt if they have electronic monitoring and efficient control functions. For non-residential buildings, the condition for exemption from the inspection is that the relevant system - with an effective nominal capacity exceeding 290 kW - must have a building automation and control system capable of: a) continuous monitoring, recording, and, if necessary, adjustment of energy consumption; b) evaluating energy efficiency, detecting efficiency degradation, and informing personnel; and c) communicating with other systems and ensuring interoperability. |  | Act LVII/2015 on energy efficiency | https://net.jogtar.hu/jogszabaly?docid=a1500057.tv

## Public Schemes
ID | Country | Level | Scheme Name (EN) | Scheme Name (local) | Building Eff | H&C Eff | H&C RES | DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Start-End Year | Description | Rephrase | Budget | Above 500 characters | Start | End Year | Geothermal | Cooling | Air conditioning | Supported measures | Total Budget | Yearly Budget
201 | Hungary | National | Development tax allowance | Fejlesztési adókedvezmény | Y | Y | Y | Y | Y |  | Y | Tax Incentives | https://online.kpr.hu/site-print.php?template_article_id=2331&template_article_sid=42064258177 | https://bbj.hu/economy/statistics/analysis/tax-incentives-for-corporate-environmental-protection-energy-efficiency-investments https://net.jogtar.hu/jogszabaly?docid=99600081.tv https://net.jogtar.hu/jogszabaly?docid=a1400165.kor | 2014-ongoing | A development tax allowance for investments exceeding EUR 100 million in eligible expenditure (which is in accordance with EU regulations on government subsidies) is available. According to the rules the development tax allowance, 80% of corporate income tax payable may be deducted for up to 10 years within the 16-year period beginning from the filing of the relevant notification with the Ministry for National Economy. Aid intensity varies through regions, with Large enterprises based in Budapest not eligible. |  |  | 1 | 2022 | ongoing | #VALUE! | #VALUE! | #VALUE!
202 | Hungary | National | TAO discount for energy efficiency investments | TAO kedvezmény energiahatékonysági beruházásokho | Y | Y |  |  |  |  | Y | Tax Incentives | https://audit-info.hu/tao-kedvezmeny |  | 2017-ongoing | Companies carrying out investments increasing energy efficiency apply for a credit on income tax (TAO discount). This may be cover up to 70% of the calculated liability decreased by the utilised development tax incentive for other investments, if any. The degree of support intensity varies from region to region: 30-45% for large companies, 40-55% for medium-sized companies, and 50-65% for small ones. |  |  | 0 | 2017 | ongoing | #VALUE! | #VALUE! | #VALUE!
203 | Hungary | National | Support for the investments necessary for the transition to zero net emissions (Temporary Crisis and Transition Framework TCTF) | A nulla nettó kibocsátásra való átálláshoz szükséges beruházások támogatása (Temporary Crisis and Transition Framework TCTF) | Y | Y | Y |  | Y |  | Y | Grant/Subsidy | https://kpmg.com/hu/en/home/insights/2023/08/taxalert-2023-08-09.html | https://pbkik.hu/2023/10/19/hirek/tctf-zold-atallas-tamogatasa/ | 2023-2025 | A new incentive subsidy for investments in strategic sectors to foster the transition towards a net-zero economy may be granted for production of batteries, solar panels, wind turbines, heat-pumps, electrolysers and equipment for carbon capture usage and storage (CCUS) and critical raw materials. The potential incentive is capped at: 15% of the eligible costs or EUR 150 million on the current value in the case of investments in Budapest; 35% of the eligible costs or EUR 350 million on current value in the case of investments outside Budapest. The amount may be increased by 20% for small enterprises and 10% for medium-sized enterprises. |  |  | 1 | 2023 | ongoing | #VALUE! | #VALUE! | #VALUE!
204 | Hungary | National | Factory Rescue Program | Gyármentő Program | Y | Y | Y | Y | Y |  | Y | Grant/Subsidy | https://hipa.hu/news/government-launches-factory-rescue-program/ | https://magyarkozlony.hu/hivatalos-lapok/j27xYWAZJCt1NRnmeTr763519a94889e5/dokumentumok/8f8dbedf6c1084fab83186324fb38c6862070309/letoltes | 2022-ongoing | In order to keep domestic companies out of the economic recession affecting Europe, the Government decided to launch a Factory Rescue Program. The Program provides large companies with non-refundable aid for energy efficiency and energy production investments. An aid intensity of up to 30% in Budapest and up to 45% outside of the capital will be available, and companies could be entitled to a total of EUR 15 millionin support. The realized investment must be worth at least EUR 500,000. Projects can receive aid for investments to: achieve a higher level of energy efficiency; produce and store energy from renewable sources; or both, especially for companies affected by the war in Ukraine. |  |  | 1 | 2014 | ongoing | #VALUE! | #VALUE! | #VALUE!
205 | Hungary | National | Baross Gábor Credit Program - Green Investment Loan | Baross Gábor Hitelprogram - Zöld Beruházási Hitel | Y | Y | Y |  | Y |  | Y | Loan/Soft Loan | https://abouthungary.hu/news-in-brief/government-to-launch-700-billion-forint-subsidized-credit-scheme-for-businesses | https://www.otpbank.hu/portal/hu/KNV/Finanszirozas/Refinanszirozotthitelek/EximBarossGaborUjraiparositasiZold | 2023-ongoing | The Baross Gábor Credit Program is a governmental loan scheme with a budget of HUF 700 billion. It has a sub-program "green investment loan" for sustainability purposes, to make the existing operation more energy efficient. |  |  | 0 | 2017 | ongoing | #VALUE! | #VALUE! | #VALUE!
206 | Hungary | National | Rural family housing support | Falusi Családok otthonteremtési kedvezménye (Falusi CSOK) | Y | Y | Y |  | Y | Y |  | Grant/Subsidy, Loan/Soft Loan | https://www.enhat.mekh.hu/penzugyi-eszkozok https://hitelnet.hu/csok/ | https://hitelnet.hu/csok/ ; https://www.measures.odyssee-mure.eu/energy-efficiency-policies-database.html#/measures/4252 | 2019-ongoing | Families in rural areas can apply for the CSOK for the construction, purchase or extension of a flat, submitted to a participating credit institution (commercial banks, mortgage institutions, savings cooperatives). |  |  | 0 | 2023 | 2025 | #VALUE! | #VALUE! | #VALUE!
207 | Hungary | National | REPowerEU Energy and modernization tender and Home renovation grant 2024 | REPowerEU Energetikai és korszerűsítési pályázat és Otthonfelújítási támogatás 2024 | Y | Y | Y | Y | Y | Y |  | Grant/Subsidy | https://jelzalog.com/energetikai-es-korszerusitesi-palyazat-2024/ | https://pulzuspalyazatiras.hu/osszes-palyazat/233-lakossagi-energiahatekonysagi-palyazat-2023-2027 | 2024 | The new energy and modernization tender will affect 20,000 households. The tender will be opened with a budget of HUF 224 billion. It can be used for: improving the thermal properties of buildings; Reducing the consumption of electrical equipment connected to buildings; Modernization of heating, cooling, ventilation and domestic hot water systems of buildings; Installation of heat generation systems based on renewable energy. (The Ministry of National Economy announced a new Home Renovation Grant.) |  |  | 1 | 2022 | ongoing | #VALUE! | 298 | #VALUE!
208 | Hungary | National | Hungary Public Tenders - Energy | Magyarország nyilvános pályázatok - Energia | Y | Y | Y | Y | Y | Y | Y | Grant/Subsidy | https://palyazatmenedzser.hu/?category_name=palyazatok-vallalkozasoknak%2Cpalyazatok-civil-szervezeteknek%2Cpalyazatok-intezmenyeknek%2Cpalyazatok-onkormanyzatoknak%2Cpalyazatok-maganszemelyeknek%2Clejart-palyazatok%2Cpalyazati-hirek&tag=energetikai-palyazatok&s= |  | 2024-ongoing | The page collects all currently open tenders for support to projects in he field of energy. |  |  | 0 | 2023 | ongoing | #VALUE! | #VALUE! | #VALUE!
209 | Hungary | National | Loan to Rural family housing support | CSOK hitel | Y | Y | Y |  | Y | Y |  | Loan/Soft Loan | https://bankmonitor.hu/mediatar/cikk/lesz-tamogatas-lakasfelujitasra-korszerusitesre-2024-ben/ |  | 2024-ongoing | A loan in addition to the Falusi CSOK (rural family house support), which can partially be used for renovations. |  |  | 0 | 2019 | ongoing | #VALUE! | #VALUE! | #VALUE!

## Private Schemes
ID | Country | Level | Scheme Name (EN) | Scheme Name (local) | Provider (Bank/ Investment Firm) | Building Eff | H&C Eff | H&C RES | DHC | Geo DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Description | Notes
94 | Hungary | National | Thermo / Style Credit | Thermo / Stílus Hitel | OTP | Y | Y | Y |  |  | Y | Y |  | Green Loan | https://www.otpbank.hu/portal/hu/Tarsashaz/Hitelek/ThermoStilus |  | In addition to state interest subsidies, it provides favorable funds to apartment buildings and housing cooperatives that do not have sufficient own funds for external or internal renovations and energy-saving investments.
95 | Hungary | National | Green Loan | Green Loan | Erste Bank | Y | Y | Y |  |  | Y | Y | Y | Green Loan | https://bbj.hu/economy/finance/banking/erste-bank-hungary-issues-debut-huf-10-43-bln-green-bond |  | Erste Bank offers energy efficiency loans to businesses and individuals in Hungary, to support energy-efficient equipment upgrades, building thermal insulation and more.
96 | Hungary | National | Heating Modernization | Gázmegtakarítás | Energy Hungary Zrt. | Y | Y | Y |  |  | Y | Y | Y | On-bill financing | https://energy-hungary.hu/en/cimke/esco-en/ ; https://www.enhat.mekh.hu/esco ; https://ebrdgeff.com/hungary/ ; https://energy-hungary.hu/en/our-activities/financing-and-implementation-of-investments/ |  | ESCOs that offers energy efficiency services and finances projects. They typically offer energy audits, project implementation, and performance-based contracting.
97 | Hungary | National | Green Bonds | Green Bonds | EximBank | Y | Y | Y | Y | Y | Y | Y | Y | Green Bonds | https://exim.hu/images/docs/ZFK/Eximbank_Green_Finance_Framework_Final.pdf |  | Eximbank issues green bonds whose proceeds are designated for financing environmentally friendly projects, including energy efficiency initiatives.
98 | Hungary | National | Green Home loan | zöld lakáshitel | K&H Bank | Y | Y | Y |  |  | Y | Y |  | Green Loan | https://www.kh.hu/web/eng/loans/home |  | K&H green home loan applies to purchase, purchase & renovation (2in1 loan), construction, renovation, modernization, and refunds the price of the energy certificate.

## Adaptation
COUNTRY: | Hungary
Review of the NAS/NAP
Keywords to look for | "space cooling" or "cool" ; "air-conditioning" ; "comfort" ; "summer" ; "heat pump" ; "green areas" ; "shading" ; "sun protection" (+ when needed, "thermal" and "passive")
Part 1 - Climate haxard/ Key topic of measures
Details / explanations | • Heatwave • Storm (including blizzards dust and sandstorms) • Heavy precipitation (rain hail snow/ ice) • Subsidence • Water scarcity • Soil erosion • Changing wind patterns
Part 2 - Adaptation priorities
Details / explanations | • Preservation of natural and semi-natural ecosystems. • Detection the adaptation of vulnerable regions. • Developing the flexible and innovative adaptation of vulnerable sectors. • Developing adaptation in priority horizontal areas of national strategic importance. • Facilitating social familiarisation with adaptation options. • Supporting research projects and innovation, publication of scientific research results.
Part 3 - NAS/NAP
Publication report (year) | NAS 2018 NAP 2020
NAS/NAP Objectives | Aligning with our international and EU commitments on climate protection, providing a response that is valid for the whole Carpathian Basin, and meeting all the challenges, including those of the domestic environment. Hungary’s priority is to protect the natural environment, the rich water resources and the fertile soils of the Carpathian Basin, forests and diverse wildlife. The Carpathian Basin is a suitable place to be able to sustain the livelihoods of Hungarian families, even in the event of less favourable climate scenarios
NAS/NAP Key Measures (related to the keywords) | • Budapest’s climate change strategy had been elaborated and they had been adopted by county assemblies and the local level. • Cooperation of cities and local companies for climate change adaptation. • The DEEPWATER-CE transnational cooperation project in cooperation with 5 countries (Slovakia, Poland, Germany, Croatia, and Hungary) to promote the use of Managed Aquifer Recharge (MAR) and water storage technologies.
Part 4 - Good Practice
Campaigns | To reduce heatwave and wildfire impact, Tatabánya uses a proactive heat and UV alert system, along with improved fire brigade capabilities, and educational activities targeting vulnerable groups. Community engagement and communication play a pivotal role in the success of these measures. http://www.tatabanya.hu https://climate-adapt.eea.europa.eu/en/metadata/case-studies/tatabanya-hungary-addressing-the-impacts-of-urban-heat-waves-and-forest-fires-with-alert-measures

## List
Summary and NECP
YesNotFound | EnergyPoverty | Renovation
Yes, directly | Yes | Yes, with clear information
Yes, indirectly | No assessment | Yes, vaguely
Not found | Not found | Not found
Comprehensive Assessments
Targets | PoliciesMeasures | Consumption | YesNotfound | Map | EconomicAnalysis
Yes, specific to cooling | Yes, with info relevant to space cooling | Yes, per sector | Yes | Yes, separate map about cooling | Yes, with detailed analysis
No, only jointly for heating and cooling | Yes, but nothing related to space cooling | Yes, but total only | Not found | Yes, joint map about heating and cooling | Yes, with rough analysis only
No clear target | Not found | No (merged with heating data) |  | No, only map about heating | No (analysis on heating only)
not applicable | Not applicable | Not found |  | No map found
Building regulations
Setpoint temperature | Cooling season | Definitions | Calculation methodology | Difference | Requirements | Sector
indicative | indicative | Yes | Yes, in global performance | Yes | Global and specific | yes for residential only
minimum not to exceed | mandatory | Unclear | Yes, separately | Not found | Global only | yes for non-residential only
other | other | Not found | Unclear |  | Specific only | yes for both
none found | none found |  | Not found |  | Not found | not found
AC inspections | AC sector differences | EPBDArt15(4) | EPBDArt15(5)
Mandatory regular inspections | Provisions for non-residential only | Already in force | Mandatory requirements
Alternative approach | Provisions for residential only | Deadline set | Other types of measures
Unclear | Provisions for both, and the same | Provision planned | Not found
| Provisions for both, but different | Unclear
Financing schemes
Country | Complete | Level | Topic | Type of scheme (Public) |  | Type of scheme (Private)
EU |  | EU | Y | Advisory Service, Technical Assistance |  | Advisory Service, Technical Assistance
Austria |  | National | (Y) | Loan/Soft Loan |  | Equity financing
Belgium |  | Regional |  | Energy efficiency obligations |  | Grants/ subsidy
Bulgaria |  | City |  | Equity financing |  | Green Bonds
Croatia |  |  |  | Grant/Subsidy |  | Green Leasing
Cyprus |  |  |  | Grant/Subsidy, Loan/Soft Loan |  | Green Loan
Czechia |  |  |  | Guarantee |  | Green Loan, Advisory Service
Denmark |  |  |  | Multiple (Grant/Subsidy, Tax rebate, Debt, Equity, Guarantee, TA) |  | Green Mortgage
Estonia |  |  |  | Other public scheme |  | Guarantees
Finland |  |  |  | Tax incentives |  | On-bill financing
France
Germany
Greece
Hungary
Ireland
Italy
Latvia
Lithuania
Luxembourg
Malta
Netherlands
Poland
Portugal
Romania
Slovakia
Slovenia
Spain
Sweden