## ToC
Driving a sustainable future in space cooling
The CoolLIFE project aims to address the need for sustainable solutions to the EU’s rising demand for space cooling in buildings. The project will develop open-source tools which encourage the consideration of green cooling solutions in public and private decision-making, planning, design, and implementation processes.
What will you find in this file? |  | Table of Contents
This file gathers information available in the Member State's reporting to the European Commission about strategies, policies and regulations relevant to sustainable space cooling, and a focus on the national building regulations and financing schemes (public and private) (see Table of Contents on the right): - [Summary] provides an overview of the main information from all sources reviewed - [draftNECPupdate] provides the information identified in the draft update of National Energy Climate Plan (2023) - [CA2020] provides the information identified in the Comprehensive Assessment for heating and cooling (2020 version) - [BuildingRegulation] provides the information identified in the national building regulations - [Public Schemes] and [Private Schemes] provide two lists of financing schemes that promote energy efficiency in buildings and/or efficient space cooling systems - [Adaptation] provides the information identified in the National Adaptation Strategy and/or National Adaptation Plan |  | Summary
draftNECPupdate
CA2020
BuildingRegulation
Public Schemes
Private Schemes
Adaptation
The CoolLIFE project has received funding from the LIFE Programme of the European Union. Views and opinions expressed are however those of the author(s) only and do not necessarily reflect those of the European Union or CINEA. Neither the European Union nor CINEA can be held responsible for them.

## Summary
COUNTRY: | Poland
Data summary about national policies and regulations
Back to Table of Contents
Tab 1 - National background and strategy
National background and strategy | Poland’s strategy for space heating and cooling aligns with its broader climate and energy goals by aiming to phase out coal in household heating by 2040, replacing it with renewable energy sources (RES) such as biomass, geothermal, and heat pumps. National policies emphasize the decarbonization of district heating systems, focusing on expanding low- and zero-emission technologies, alongside RES, within urban and rural areas. The transition is supported by various EU and national funds, regulatory adjustments, and targets to raise the share of RES in heating and cooling, reaching an expected 32.1% by 2030​​.
Sources | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy
Tab 2 - Governance
Governance | National governance regarding space heating and cooling in Poland emphasizes the shift towards renewable energy sources, particularly in district heating and individual heating systems, aiming to reduce dependency on fossil fuels and improve energy efficiency by 2030​. Poland’s updated National Energy and Climate Plan (NECP) outlines ambitious decarbonization goals within heating sectors, incorporating targets for renewable energy adoption and emissions reduction to align with EU directives on sustainability​​. To support these goals, national policies provide funding instruments, incentives for renewable energy integration, and progressive targets to phase out coal, thereby fostering a transition to low-emission and energy-efficient systems in alignment with the EU’s climate objectives​.
Sources | draft NECP update 2023
Tab 3 - Links with Adaptation
Links with adaptation | National policies in Poland link adaptation measures for space heating and cooling with broader climate objectives, aligning with strategies that emphasize increased use of renewable energy and gradual decarbonization in these sectors. The National Strategy for Adaptation to Climate Change by 2020, extended with perspectives up to 2030, includes measures to support resilient heating and cooling systems, integrating renewable sources to reduce dependency on fossil fuels​ ​. Poland's NECP (National Energy and Climate Plan) also encourages the adoption of efficient technologies for space heating and cooling within urban and district-level frameworks to align with EU adaptation targets​.
Sources | national adaptation strategy
Tab 4 - Planning processes
Planning processes | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans. | standard text for all 27 Member States
More details | This point has been covered for 10 Member States. It was not possible to deep dive in the building regulations of all Member States in this project. | NOT FOR ALL 27 MEMBER STATES
Sources | draft NECP update 2023, comprehensive assessment 2020
Tab 5 - National regulations (building level)
How space cooling is addressed in the building regulations | Space cooling in building regulations is increasingly integrated into national policies addressing energy efficiency and climate adaptation. The Polish National Energy and Climate Plan (NECP) emphasizes the need for decarbonizing building operations, which includes both heating and cooling, aiming to improve building energy performance and adapt structures to climate resilience goals by 2030​. Specific targets within the NECP encourage the increased use of renewable energy sources for both heating and cooling, with annual incremental targets set for renewable energy shares in these sectors. Additionally, national adaptation strategies like NAS 2020 promote sectoral adaptation, focusing on sustainable building practices that incorporate both heating and cooling solutions as part of climate change preparedness​.
Main provisions relevant to space cooling needs or summer comfort | Polish policies emphasize reducing space cooling needs and enhancing summer comfort as part of their national energy and climate strategies. The NECP update highlights the importance of building design and renovation measures that improve thermal efficiency and reduce overheating, especially by increasing insulation, shading, and utilizing natural ventilation where feasible​​. Additionally, Poland aims to adapt its energy systems to accommodate climate-induced cooling demands while maintaining energy efficiency standards, reducing emissions, and promoting renewable energy use in cooling systems​. | NOT FOR ALL 27 MEMBER STATES
Main provisions relevant to the use of space cooling | This point has been covered for 10 Member States. It was not possible to deep dive in the building regulations of all Member States in this project. | NOT FOR ALL 27 MEMBER STATES
References of the relevant regulations (or other source(s)) | draft NECP update 2023, comprehensive assessment 2020
Tab 6 - Regulations on space cooling systems or products
EU regulations and provisions | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives. | standard text for all 27 Member States
National implementation | This point has been covered for 10 Member States. It was not possible to deep dive in the building regulations of all Member States in this project. | NOT FOR ALL 27 MEMBER STATES
References of the relevant regulations (or other source(s))
Tab 7 - Other relevant legislations
Other EU legislations or documents relevant to space cooling or summer comfort |  | standard text for all 27 Member States
Other national legislations or policies relevant to space cooling or summer comfort |  | NOT FOR ALL 27 MEMBER STATES
References of the relevant regulations (or other source(s)) | -
Tab 8 - Financing schemes | See separate file on financing schemes | PREPARED SEPARATELY
Overview of public schemes | Poland's public financing schemes for space heating and cooling focus on enhancing energy efficiency and supporting low-emission solutions within the national policy framework. These schemes align with EU targets, utilizing funds such as the Operational Programme Infrastructure and Environment, which finances projects in renewable energy and efficiency improvements across vulnerable sectors​. Key measures include subsidizing renewable energy adoption, with priorities on district heating upgrades, heat pump installations, and incentives for individual household transitions to cleaner heating sources by 2040​.
Overview of private schemes | An overview of private financing schemes for space heating and cooling in Poland shows that they are primarily supported through a combination of national policies and EU funds. These policies aim to encourage investments in renewable energy and energy efficiency, which are aligned with the objectives of Poland's National Energy and Climate Plan (NECP) to reduce greenhouse gas emissions and increase the use of renewable energy sources. Private financing is further encouraged through targeted subsidies, tax incentives, and support programs focused on sustainable heating and cooling solutions in the residential and commercial sectors​​.
Tab 9 - Good practices |  | TO BE PREPARED LATER
Overview of good practices |  | standard text for all 27 Member States
Examples |  | NOT FOR ALL 27 MEMBER STATES ?
Note on B5: Concise introduction highlighting the main relevant legislations and schemes, and referring to the national cooling strategy (or other relevant planning or strategic document), if any Guidance: summary to be prepared from the national cooling strategy (if any), or from the screening of the draft NECP update, comprehensive assessments, national adaptation strategy
Note on B6: Add other sources (e.g. national heating and cooling strategy) when relevant
Note on B8: Brief explanation of the distribution of main responsibilities between the national/Federal level, regional level and municipal level Guidance: information should be available from sections 1.2(iv) and 1.3 of the NECP2019 or draft NECP update
Note on B9: add other sources, when relevant
Note on B11: Key information about adaptation issues related to cooling (e.g. expected increase of heat waves) Summary about action plans to address these adaptation issues, and how it may relate to the cooling strategy
Note on B12: add other sources, when relevant
Note on B14: Brief reminder of the main provisions in the EED about heating & cooling plans and comprehensive assessments (+ possible links with adaptation plans when possible/relevant)
Note on B15: Depending on the info available: overview of the relevant national processes, with key objectives , timeline and consultation process (if any)
Note on B16: add other sources, when relevant
Note on B18: from the template on building regulation data (summary from lines 6 to 11) or standard summary explaining that the EPBD requires the calculation of energy performance to include space cooling (in case of country not analysed in detail)
Note on B19: from the template on building regulation data (summary from lines 13 to 25)
Note on B20: from the template on building regulation data (summary from lines 29 to 39)
Note on B21: add other sources, when relevant
Note on B23: Same text for all countries: brief reminder of the relevant ecodesign regulations + EPBD provisions on inspection of cooling systems + regulation on F-Gas
Note on B24: from the template on building regulation data (summary from lines 43 to 60) Or possibly from EU reports summarizing MS implementation of EPBD Art.15, and similar reports about Ecodesign
Note on B25: Full references (with links when possible) of the ecodesign regulations (and their national adoption when relevant) + of the possible other relevant regulations Other relevant sources (e.g. MS notification to EC about the implementation of Art.15 of EPBD)
Note on B27: Same text for all countries. Summary about the other EU legislations that have provisions relevant to space cooling or summer comfort
Note on B28: Overview of possible other relevant national legislations or policies, with the references and brief explanations about the most relevant ones
Note on B29: Full references (with links when possible) of the other regulations or policies mentioned in the two lines above
Note on B31: from the tab "public schemes" in the fille compiling the financing schemes
Note on B32: from the tab "private schemes" in the fille compiling the financing schemes
Note on B34: Brief text referring to where the whole set of good practices can be found in the Knowledge Hub
Note on B35: Brief introduction (e.g. with a bullet list) about the good practices identified in the country An alternative for countries with no good practice identified, would be to include a standard text per type/group of countries, referring to relevant good practices in similar/neighbooring countries. For example, if we find one good practice in a Northern country, then this example could be mentioned here for the other Northern countries as well.

## draftNECPupdate
COUNTRY: | Poland
Review of the draft NECP update
Back to Table of Contents | 2023 draft update National Energy and Climate Plans available at: | https://commission.europa.eu/energy-climate-change-environment/implementation-eu-countries/energy-and-climate-governance-and-reporting/national-energy-and-climate-plans_en#national-energy-and-climate-plans-2021-2030
Part 1 - (see particularly Executive summary - section 1.1; and Overview of current policy situation - section 1.2)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | Yes, there is mention of cooling in the document, specifically in the context of increasing the share of renewable energy sources (RES) in the heating and cooling sectors. The targets set by RED III require each EU Member State, including Poland, to increase the share of RES in heating and cooling by specific annual percentage points, aiming for 32.1% in Poland by 2030. The document highlights that heating and cooling constitute a significant portion of energy consumption, with strategies proposed to "green" these systems using alternatives like biomass, geothermal, heat pumps, and waste heat​.
Part 2 - National objectives and targets
Section 2.1.1 GHG emissions and removals (particularly if sub-section about buildings)
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | The document highlights the role of cooling alongside heating as essential sectors for energy consumption in Poland, covering applications in buildings, industry, and district systems. It addresses the need for renewable energy sources (RES) in these sectors and mandates annual increases in RES use, driven by EU policies. These targets reflect a broader strategy to decarbonize heating and cooling through energy efficiency and cleaner energy sources​.
Section 2.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (ii))
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | The document mentions cooling within the context of renewable energy targets for heating and cooling, specifying that Poland aims to reach a 32.1% share of RES in these sectors by 2030. The integration of district heating and cooling is considered, with the potential to utilize renewable sources like geothermal energy, large-scale heat pumps, and hydrogen​ .
Section 2.2 Energy Efficiency (see points (ii) about long-term renovation strategies and (iii) about other objectives)
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | There is an emphasis on reducing energy demands within buildings, addressing both heating and cooling requirements as they account for a significant portion of household energy consumption across the EU. The strategy encourages energy efficiency improvements and a shift towards low- and zero-emission buildings, which would mitigate cooling needs in alignment with EU targets​.
Section 2.4.4 Energy poverty
Does the assessment of energy poverty consider 'summer energy poverty'? | Yes
Details / explanations | The assessment of energy poverty in the document includes the inability to provide adequate cooling, which implicitly addresses aspects of "summer energy poverty." However, there is no explicit distinction made for "summer energy poverty" as a separate concept from general energy poverty considerations, which include challenges in both heating and cooling​.
Section 2.5 Dimension research, innovation and competitiveness
Any mention about research or innovation related to cooling and related aspects?
Details / explanations | The document highlights ongoing investment in research and development aimed at clean energy technologies and climate adaptation, including cooling systems within the broader context of energy efficiency and climate adaptation measures. However, specific innovations directly targeting cooling technologies are not elaborated upon; instead, there is a general emphasis on R&D for the transition to a climate-neutral economy, which may indirectly support advances in cooling as part of energy efficiency efforts​.
Part 3 - Policies and Measures (PaMs)
Section 3.1.1 GHG emissions and removals (particularly if sub-section about PaMs for buildings, in point (i))
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | The document mentions that cooling is an area with significant energy consumption, and Poland prioritizes expanding renewable energy sources (RES) in cooling and heating systems. This expansion includes innovations in integrating biomass, geothermal energy, heat pumps, and district heating systems with renewable sources to meet ambitious RES targets. There is a particular focus on promoting technological advancements in energy-efficient systems and increasing flexibility in sector coupling between electricity and thermal energy distribution​ .
Section 3.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (i) and in point (vi) about district cooling)
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | In the document, there is an emphasis on research and innovation aimed at advancing district cooling systems, with particular attention to developing clean and efficient heating and cooling networks. This includes promoting smart district heating and cooling infrastructure and integrating renewable energy sources to support these systems​.
Section 3.2 Energy Efficiency (particularly in points (ii) about long-term renovation strategies)
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | The document indicates Poland’s target to increase energy efficiency through long-term renovation strategies, including the heating and cooling sectors, focusing on integrating renewable energy sources (RES) and modern technologies to phase out coal. While research activities related to energy efficiency and sustainability are highlighted, there is no specific mention of cooling-focused research or innovation​.
Section 3.4.4 Energy poverty
Is any policy measure about energy poverty dealing with 'summer energy poverty'? | Not found
Details / explanations | In the "Energy Poverty" section of the document, policies and measures primarily target general energy poverty and improving thermal comfort, with a particular emphasis on heating. There is no specific mention of "summer energy poverty" or targeted measures addressing cooling needs for warmer months​.
Section3.5 Dimension research, innovation and competitiveness (particularly in point (i))
Any mention about research or innovation related to cooling and related aspects? | Yes, indirectly
Details / explanations | The document briefly addresses cooling within the context of heating and cooling energy demands, which account for about half of Poland's total energy consumption. In line with EU targets, Poland aims to reduce greenhouse gas emissions in heating and cooling, partly by phasing out coal by 2040 and implementing renewable energy solutions such as heat pumps, geothermal, and potentially hydrogen as future cooling and heating sources. Investments in district cooling systems and modernizing cooling infrastructure are also included in strategies to increase renewable energy integration​.
Parameters and variables to be reported in Part B (often in a separate annex)
Point 1(13): Cooling Degree Days | Yes, directly
Details / explanations | The Cooling Degree Days (CDD) metric, essential for assessing cooling energy demand, reflects the cumulative annual temperature elevation beyond a base level suitable for thermal comfort. High CDD values correlate with increased energy required for cooling buildings, particularly relevant in warmer climates where air conditioning usage surges during peak temperatures. Thus, CDD provides a crucial parameter in evaluating cooling loads, impacting energy consumption forecasts and efficiency measures in both residential and commercial sectors.
Other sections of the NECP
Is space cooling mentioned or addressed in other sections of the NECP? | Not found
Details / explanations | Not found
Complementary information about financing schemes promoting building renovation (in point (i) and/or (ii) of section 3.2 of the draft NECP update)
Does the draft NECP update provide information about schemes for building renovation?
General comments
Name of the scheme 1
Name of the scheme 2
Name of the scheme 3
etc
Note on B5: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B9: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B12: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B15: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B18: Yes = 'summer energy poverty' or related aspects (e.g. decent comfort in summer, ability to keep home cool in summer) is mentioned No assessment = no definition, no indicator and no qualitative assessment about energy poverty in the country Not found = there is some assessment (e.g. a definition or indicator(s)), but there is no mention of any of the keywords
Note on B21: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B25: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B28: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B31: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B34: Yes, directly = summer energy poverty or alike (e.g. ability to keep home adequately cool in summer) is mentioned about the objectives or focus of at least one policy measure against energy poverty Yes, indirectly = one of the policy measures mentioned might contribute to improve summer comfort or reduce summer energy poverty (even if not mentioned explicitly), or the topic of summer energy poverty is mentioned among the issues to be addressed in a national energy povery strategy or alike Not found = none of the keywords is mentioned
Note on B37: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B43: Yes, directly = "cooling" or "cool" is mentioned at least once Yes, indirectly = one of the other keywords is mentioned at least once Not found = none of the keywords is mentioned
Note on B44: If "cooling" or other related keywords are found in other sections of the NECP, please explain briefly where and about what. For example, space cooling could be mentioned in sections about energy security and electricity infrastuctures in countries where space cooling can generate strong peak loads. "cooling" or other related keyworks could also be mentioned in sections about future trends in GHG emissions and energy consumption.
Note on B46: Yes, with clear information: when renovation schemes are clearly mentioned, with details about schemes already in place, or planned schemes with clear timeline, budget, etc. Yes, vaguely: when plans or measures for building renovation are mentioned, but with no clear name of schemes, and no detail about their date of implementation, budget, etc. Not found: if no information could be found about schemes for building renovation
Note on B47: General comments about the information available on renovation schemes (e.g. whether it is vague or with details on concrete schemes already in place; if there is information about funding; etc.)
Note on A48: add here the name of the scheme
Note on B48: When available, summarize here the main information about the scheme: - implementation period - type of financing instrument (e.g. grants, loans, etc.) - budget - whether actions more specific to cooling (e.g. sun shading or protection) are eligible
Note on A49: add here the name of the scheme
Note on B49: When available, summarize here the main information about the scheme: - implementation period - type of financing instrument (e.g. grants, loans, etc.) - budget - whether actions more specific to cooling (e.g. sun shading or protection) are eligible
Note on A50: add here the name of the scheme
Note on B50: When available, summarize here the main information about the scheme: - implementation period - type of financing instrument (e.g. grants, loans, etc.) - budget - whether actions more specific to cooling (e.g. sun shading or protection) are eligible
Note on A51: add here the name of the scheme
Note on B51: When available, summarize here the main information about the scheme: - implementation period - type of financing instrument (e.g. grants, loans, etc.) - budget - whether actions more specific to cooling (e.g. sun shading or protection) are eligible

## CA2020
COUNTRY: | Poland
Review of the Comprehensive Assessment 2020
The parts / sections mentioned below are the ones listed in Annex VIII of the initial Energy Efficiency Directive 2012/27/EU (as amended by regulation (EU) 2019/826)
Back to Table of Contents |  | Comprehensive Assessements available at: | https://energy.ec.europa.eu/topics/energy-efficiency/heating-and-cooling_en#comprehensive-assessments-on-efficient-heating-and-cooling
Criteria | Yes/No categorisation | Explanations / comments
Information reported on Part II (Objectives, strategies and policy measures)
Point 5: planned contribution of the Member State to its national objectives and targets (through efficiency in heating and cooling)
Any objective/target in terms of reductions of GHG emissions specifically from cooling? | No clear target | This information is not present in the Comprehensive Assessment​​.
Any objective/target in terms of share of RES specifically from cooling? | No clear target | This information is not present in the Comprehensive Assessment​​.
Any objective/target in terms of contribution specifcally from cooling to the energy efficiency target | No clear target | This information is not present in the Comprehensive Assessment​​.
Other objectives/targets mentioned about or relevant to cooling? | No, only jointly for heating and cooling | The CA includes identification of potential supply from installations that generate waste heat or cold, reported shares of energy from renewable sources and from waste heat or cold in district heating and cooling, and forecast trends in demand for heating and cooling for the next 30 years. It also involves a description of the role of efficient heating and cooling in long-term greenhouse gas (GHG) emission reductions and an overview of existing policies and measures on heating and cooling ("consumption with breakdowns by technologies and as to whether the energy was derived from fossil or renewable sources; ... a description of the role of efficient heating and cooling in long-term greenhouse gas (GHG) emission reductions; and ... a general overview of existing policies and measures on heating and cooling")​​.
Other comments or explanations related to objectives and targets mentioned in the Comprehensive Assessment (when relevant to how space cooling is addressed)
Point 6: information on existing policies and measures related to heating and cooling
Information about a strategy, umbrella framework or overall planning for heating and cooling? | Yes, but nothing related to space cooling | The CA outlines three strategic goals for the Polish energy sector: energy security, competitiveness and improving energy efficiency, and reducing environmental footprint. It includes specific objectives in the fuel and energy sector, such as the development of district heating and cogeneration and improving energy efficiency, along with references to other relevant documents like The National Air Pollution Control Programme and The European Green Deal ("The document sets the following three strategic goals for the Polish energy sector: ... energy security; ... competitiveness and improving energy efficiency; ... reducing environmental footprint.")​​.
Information about building regulation(s)? | Not found | This information is not present in the Comprehensive Assessment​​.
Information about financial incentives for energy efficiency in buildings? | Not found | This information is not present in the Comprehensive Assessment​​.
Information about measures related to cooling systems (e.g. standards, labelling, incentives)? | Not found | This information is not present in the Comprehensive Assessment​​.
Information about measures to develop RES for cooling (or RES for heating&cooling)? | Not found | This information is not present in the Comprehensive Assessment​​.
Information about measures for district cooling (or district heating&cooling)? | Yes, with info relevant to space cooling | In Poland, there are no district cooling systems supplied from centralized sources. Management of cold mainly involves satisfying the needs of individual consumers. Local supply of cold is very rare, serving isolated or 'island' consumers like food cold storage facilities, agricultural and food storage warehouses, wholesalers, office buildings. Cold for these consumers is sourced from compressor installations ("In Poland there are no district cooling systems that are supplied from centralised sources. Management of cold mainly involves satisfying the needs of individual consumers").
Information about other type(s) of measure that could be relevant to space cooling? | Not found | This information is not present in the Comprehensive Assessment​​.
Summary comments about the policies and measures mentioned in the Comprehensive Assessment (as regards aspects relevant to space cooling)
Information reported on Part IV (Potential new strategies and policy measures)
Point 9: overview of new legislative and non-legislative policy measures to realise the economic efficiency potential in heating and cooling
Any reference to a national multi-annual strategy or planning (other than the NECP)? | Not found | This information is not present in the Comprehensive Assessment​​.
Information on development(s) planned or under discussion about regulations for new buildings? | Yes, but nothing related to space cooling | The CA mentions the "Heating Sector Strategy for 2030 with an Outlook for 2040," which will implement provisions from national and EU documents addressing the need to ensure technical and economic security of heat supplies ("The year 2023 is to see the approval of a sectoral planning document entitled ‘Heating Sector Strategy for 2030 with an Outlook for 2040’"​​).
Information on development(s) planned or under discussion about measures for the renovation of existing buildings? | Not found | This information is not present in the Comprehensive Assessment​​.
Information on development(s) planned or under discussion about measures for cooling systems (e.g. about standards, labelling, incentives)? | Not found | This information is not present in the Comprehensive Assessment​​.
Information on development(s) planned or under discussion about measures to develop RES for cooling? | Not found | This information is not present in the Comprehensive Assessment​​.
Information on development(s) planned or under discussion about measures to develop district cooling? | Not found | This information is not present in the Comprehensive Assessment​​.
Information on development(s) planned or under discussion about other type(s) of measure? | Not found | This information is not present in the Comprehensive Assessment​​.
Summary comments about policy developments planned or under discussion (as regards aspects relevant to space cooling)
Complementary screening of data that could be relevant to WP2
Information reported on Part I (Overview of heating and cooling)
Point 1: Heating and cooling demand in terms of assessed useful energy and quantified final energy consumption in GWh per year by sectors
Does the comprehensive assessment include separate data on cooling consumption? | Not found | This information is not present in the Comprehensive Assessment​​.
Any other more disaggregated data on cooling consumption/demand? | Not found | This information is not present in the Comprehensive Assessment​​.
Point 3: Map covering the entire national territory identifying heating and cooling demand areas, existing and planned heating and cooling supply points
Does the map / assessment cover cooling demand (or only heating)? | Yes, joint map about heating and cooling | Yes, the map/assessment covers cooling demand as well as heating ("Table 21. Heating and cooling demand and forecast heating and cooling demand in Białystok"​​).
Point 4: Forecast of trends in the demand for heating and cooling (which is supposed to take into account the expected impacts from the long-term renovation strategy)
Does the comprehensive assessment include separate forecast data on future cooling consumption? | Yes | Yes, the comprehensive assessment includes separate forecast data on future cooling consumption ("Table 21. Heating and cooling demand and forecast heating and cooling demand in Białystok"​​).
Add in C41 any other comment on data about energy consumption/demand or cooling technologies that could be interesting for WP2
Information reported on Part III (analysis of the economic potential for efficiency in heating and cooling
Does the analysis deal with cooling as well? | Yes, with rough analysis only | Yes, the analysis deals with cooling as well. It includes cooling supply analysis, which involves identifying the city’s climate zone for both winter and summer seasons, determining the length of the cooling season, and calculating indicators for the cooling period​​.
Does the comprehensive assessment include cost data about cooling technologies? | Not found | This information is not present in the Comprehensive Assessment​​.
Add in C45 any other comment on cost data or the cost-benefit methodology that could be interesting for WP2
Add in C46 any other comment you would like to highlight about the comprehensive assessment
Note on C8: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C9: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C10: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C11: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C14: If a national strategy, planning document or other relevant document is mentioned, please include the reference here, with a brief explanation what it is about, and the publication or adoption date (when relevant/mentioned). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C15: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C16: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C17: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C18: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C19: List here the measures mentioned in the Comprehensive Assessment to support the development of district cooling (or of district heating & cooling, if not addressed separately; in that case make it clear in your explanation; also mention it if district cooling is not mentioned at all, or if the comprehensive assessment states that there is no development of district cooling in the country). (if more than 5 measures, mention the main ones, and refer to the pages where the other measures can be found) Mention if the information mentions the types of sources/technologies promoted for district cooling. Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on C20: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C24: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C25: Briefly mention whether changes/developments in the building regulations were planned or under discussion. And if so, whether the comprehensive assessment provides details about how this would address space cooling or summer comfort. Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the main policy measures relevant to space cooling
Note on C26: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C27: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C28: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C29: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C30: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C35: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C36: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)
Note on C38: If a cooling map is included, mention the section or pages where the related info can be found. Feel free to add brief comments about it. If no cooling map is included, mention whether the comprehensive assessment provides justification why cooling was not covered (e.g. too low cooling demand; lack of data; ...).
Note on C40: If possible, mention briefly the type of data (e.g. until 2030 or 2050; total data only or disaggregated per sector). No need to enter in further details here. Please mention the section or pages where the data can be found. Feel free to add comments that can help the WP2 team to know how interesting the data may be.
Note on C43: If the analysis covers cooling, mention the section or pages where the related info can be found. Feel free to add brief comments about it. If no economic analysis on cooling is included, mention whether the comprehensive assessment provides justification why cooling was not covered in this part (e.g. too low cooling demand; lack of data; ...).
Note on C44: Copy here the target (if specific to cooling) Useful to include here also if the comprehensive assessment refers to a national strategy, law or other document where the objective or target is set (even if this is a joint target for heating & cooling). Feel free to add any complementary comment or explanation that you find relevant in view of summarizing the national strategy on cooling (or on heating & cooling)

## BuildingRegulation
COUNTRY:
BUILDING REGULATIONS
HOW SPACE COOLING OR SUMMER COMFORT IS ADDRESSED IN THE BUILDING REGULATIONS
DEFINITION(S) (about space cooling or summer comfort; in building regulations)
Data field | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
clear definition(s)? | Yes = an official and clear definition is included Unclear = a definition or some elements close to a definition are included, but this remains vague
Definition(s)
ENERGY PERFORMANCE CALCULATION (energy performance of the building)
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Is space cooling considered in the calculation methodology? | "Yes, in global performance" = when energy demand related to space cooling or summer comfort is taken into account for calculating the global energy performance of the building "Yes, separately" = when energy demand related to space cooling or summer comfort is taken into account only separately (e.g. to set specific requirements on the cooling demand) "Unclear" = when the calculation methology does not make it clear whether and how space cooling would be taken into account
Any difference between residential and non-residential?
MINIMUM ENERGY PERFORMANCE REQUIREMENTS
Any requirement in terms of maximum allowed cooling demand? | (more details and other type(s) of requirements can be described below, per type of building)
1) NEW BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone
Details about the requirements for new residential buildings
Details about the requirements for new non-residential buildings
Other main requirements related to space cooling or summer comfort
2) EXISTING BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone
Details about the requirements for existing residential buildings
Details about the requirements for existing non-residential buildings
Other main requirements related to space cooling or summer comfort
REGULATIONS (OR STANDARD VALUES) ABOUT THE USE OF SPACE COOLING
SETPOINT and/or COMFORT INDOOR TEMPERATURE (when mentioned in regulations, either as mandatory or indicative / standard assumption)
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any comfort indoor temperature(s) defined? | (whatever mandatory or indicative; considering sector coverage, i.e. residential and/or non-residential)
type of value | "minimum not to exceed" = mandatory, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand
value (in °C) (residential)
type of value
value (in °C) (non-residential)
COOLING SEASON
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any requirement related to the annual duration for which the standard comfort would not be met or would require extra cooling demand? | (considering sector coverage, i.e. residential and/or non-residential)
some kind of cooling season defined? (i.e. period when cooling is allowed and/or standard cooling period used as assumption in modelling, contracts, etc.) | "mandatory" = to be complied with, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand
details about the cooling season | (e.g. period/duration, exceptions / cases not subject to limitation of use, etc.)
REGULATIONS FOR COOLING OR AIR-CONDITIONING SYSTEMS
MINIMUM REQUIREMENTS ABOUT SPACE COOLING DEVICES? --> can there be differences among Member States?
MAINTENANCE AND INSPECTION OF AIR-CONDITIONING SYSTEMS (implementation of Article 15 of EPBD)
MANDATORY INSPECTIONS or ALTERNATIVE APPROACH (implementation of EPBD Art.15(1) and (3))
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Approach used to implement Art.15 of the EPBD (inspection of large aid-conditioning systems) | "mandatory regulary inspections" = Art.15(1) "alternative approach" = Art.15(3) (alternative information measures) "unclear" = when no official reporting available about implementation of Art.15 |  |  | Possible source to start from: country reports 2020 of the CA EPBD (see section "2.IV.vi. Progress and current status on AC systems" in the country reports) MS reports submitted in 2014 (in case of alternative approaches) | CA EPBD country reports: https://epbd-ca.eu/database-of-outputs MS reports submitted in 2014: https://scientificnet.sharepoint.com/:f:/r/sites/CoolLIFE2/Shared%20Documents/General/WP4_Policies/Sources/EPBDart15_MSreports2014?csf=1&web=1&e=atJAyX
Sector coverage / differences | Are the provisions to implement Art.15 covering both, residential and non-residential buildings? And in the same way?
Scope for the mandatory inspections or alternative measures | Size threshold(s) (e.g. effective rated output of 70 kW set in Art.15, but it can be lower in national regulations), and whether different thresholds apply according to building segments or types of provisions + possible exemptions
Details about the mandatory inspections or alternative measures | Short description about the main provisions in national regulations to implement EPBD Art.15(1) or (3)
Requirements on BACS or other monitoring systems (implementation of EPBD Art.15(4) and (5))
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Regulation on BACS (Building Automation and Control System) for large AC in non-residential buildings (EPBD Art.15(4)) | "Already in force" = requirements on BACS already in force "Deadline set" = deadline of 2025 (or earlier) including in legislation "Provision planned" = legislation not yet adopted, but planned "Unclear" = no official information found on national implementation of Art.15(4)
Provisions on monitoring systems for AC in residential buildings (EPBD Art.15(5)) | "Mandatory requirements" = a regulation set mandatory requirements "Other types of measures" = no mandatory requirement, but informative or other type(s) of measure(s) promoting the use of monitoring systems
Details about provisions on BACS and other monitoring systems | Short description about the main provisions in national regulations or policies to implement EPBD Art.15(4) and (5)
Note on B50: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : Art.15(1): "Member States shall lay down the necessary measures to establish regular inspections of the accessible parts of air-conditioning systems or of systems for combined air-conditioning and ventilation, with an effective rated output of over 70 kW. The inspection shall include an assessment of the efficiency and sizing of the air-conditioning system compared with the cooling requirements of the building and, where relevant, consider the capabilities of the air-conditioning system or of the system for combined air-conditioning and ventilation to optimise its performance under typical or average operating conditions " Art.15(3): "As an alternative to paragraph 1 and provided that the overall impact is equivalent to that resulting from paragraph 1, Member States may opt to take measures to ensure the provision of advice to users concerning the replacement of air-conditioning systems or systems for combined air-conditioning and ventilation, other modifications to the air-conditioning system or system for combined air-conditioning and ventilation and alternative solutions to assess the efficiency and appropriate size of those systems"
Note on B52: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : Exemptions included in the EPBD: buildings equipped with BACS, or under Energy Performance Contracting or other performance monitoring
Note on B56: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : Art.15(4): "Member States shall lay down requirements to ensure that, where technically and economically feasible, non-residential buildings with an effective rated output for systems for air-conditioning or systems for combined air-conditioning and ventilation of over 290 kW are equipped with building automation and control systems by 2025. "

## Public Schemes
ID | Country | Level | Region | City | Scheme Name (EN) | Scheme Name (local) | Building Eff | H&C Eff | H&C RES | DHC | Geo DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Start-End Year | Description | Last Visited on
274 | Poland | National |  |  | Agroenergy - Micro-installations, heat pumps and accompanying energy storage facilities | Agroenergia - Mikroinstalacje, pompy ciepła i towarzyszące magazyny energii |  | Y | Y |  |  | (Y) |  | Y | Grant/Subsidy, Debt Financing | https://www.gov.pl/web/nfosigw/agroenergia-czesc-1-mikroinstalacje-pompy-ciepla-i-towarzyszace-magazyny-energii-dla-wfosigw |  | 2021-2027 | Funding is offered in the form of subsidies for micro-installations, heat pumps, and accompanying energy storage facilities in the agricultural sector. | 30.07.2024
275 | Poland | National |  |  | Clean Air Program | Program Czyste Powietrze | Y | Y | (Y) |  | (Y) |  | Y |  | Grant/Subsidy | https://czystepowietrze.gov.pl/ |  | 2018-2029 | Funding is offered in the form of a non-refundable subsidy for the comprehensive thermal modernization of buildings and the replacement of old, inefficient solid fuel heat sources with modern, high-standard heat sources. Owners and co-owners of single-family residential houses or separate residential premises with a separate land and mortgage register can receive up to PLN 136,200. | 30.07.2024
276 | Poland | National |  |  | Cogeneration for District Heating | Kogeneracja powiatowa |  | Y | Y | Y | Y | (Y) |  |  | Grant/Subsidy, Debt Financing | https://www.gov.pl/web/nfosigw/kogeneracja-powiatowa |  | 2022-ongoing | Grants and/or loans are available to entrepreneurs in heat or combined heat and electricity production for high-efficiency cogeneration projects with thermal power below 50 MW. Eligible projects include constructing or reconstructing generating units (minimum 1 MW) using waste heat, renewable energy, or gaseous fuels, and integrating energy storage and network connections. The maximum funding allocation is up to PLN 500,000,000. | 30.07.2024
277 | Poland | National |  |  | Cogeneration for Energy and Industry | Kogeneracja dla Energetyki i Przemysłu |  | Y | Y | Y | Y | (Y) |  |  | Grant/Subsidy, Debt Financing | https://www.gov.pl/web/nfosigw/kogeneracja-dla-energetyki-i-przemyslu |  | 2022-ongoing | Funding is offered in the form of grants and/or loans for constructing or reconstructing generating units with a minimum capacity of 10 MW or 0.5 MW under high-efficiency cogeneration conditions. This includes projects utilizing waste heat, renewable energy, or gaseous fuels. The maximum funding allocation is up to PLN 100,000,000. | 30.07.2024
278 | Poland | National |  |  | Compensation bonus | Premia kompensacyjna | Y | Y | Y | Y | Y | Y | Y |  | Grant/Subsidy | https://www.bgk.pl/programy-i-fundusze/programy/program-termo/premia-kompensacyjna/ |  | 2011-ongoing | Funding is offered in the form of a compensation bonus to owners of residential buildings or parts used for housing between 1994 and 2005 for renovation projects. The bonus amount is calculated as 2% of the project cost per square meter of usable area in the accommodation units. | 30.07.2024
279 | Poland | National |  |  | Digitization of District Heating Networks | Digitalizacja Sieci Ciepłowniczych |  | Y | Y | Y | Y | Y | Y | Y | Grant/Subsidy, Debt Financing | https://www.gov.pl/web/nfosigw/digitalizacja-sieci-cieplowniczych |  | 2023-ongoing | Funding is offered in the form of grants and/or loans to energy companies licensed for heat transmission and distribution to digitize heating networks. Eligible investments include automation, telemetry, and telemechanics systems, as well as constructing or reconstructing systems with modern IT/OT tools, RES installations for telemetry, and using waste heat from control rooms in high-efficiency cogeneration. Adherence to ex-ante audit recommendations is required. | 30.07.2024
280 | Poland | National |  |  | Energy efficiency obligation scheme (White certificates) | System zobowiązujący do efektywności energetycznej (białymi certyfikatami) | Y | Y | Y | Y | Y | Y | Y | Y | Energy efficiency obligations | https://www.gov.pl/web/klimat/system-zobowiazujacy-do-efektywnosci-energetycznej-inaczej-zwany-bialymi-certyfikatami |  | 2013-ongoing | The program mandates energy efficiency improvements across all sectors except transport, targeting electricity, gas, and district heating. Obligated parties include companies selling these fuels to final consumers, as well as members of a commodities exchange and commodity brokerage houses. Eligible measures include building fabric improvements, heating systems, appliances, lighting, and waste heat recovery, excluding behavioral measures. Savings are assessed based on deemed savings and scaled savings. | 30.07.2024
281 | Poland | National |  |  | Energy for the countryside | Energia dla wsi | (Y) | Y | Y | (Y) | (Y) | (Y) |  | Y | Grant/Subsidy, Debt Financing | https://www.gov.pl/web/funduszmodernizacyjny/Programy-Priorytetowe |  | 2022-2030 | Funding is offered in the form of grants and loans totaling PLN 1,000,000,000 to promote renewable energy in rural and rural-urban communes. Beneficiaries include energy cooperatives, emerging cooperatives, and farmers. Eligible projects include hydroelectric power plants, agricultural biogas installations, energy storage facilities, wind, and photovoltaic installations. Co-financing supports projects integrating energy storage with other investments. Investments must start only after the application date and are considered public aid for renewable energy sources. | 30.07.2024
282 | Poland | National |  |  | Energy Plus | Energia Plus |  | Y | Y | Y | Y | (Y) |  | Y | Debt financing | https://www.gov.pl/web/nfosigw/nabor-iv-wnioskow-2023-2024 |  | 2020-ongoing | Funding is offered in the form of a loan to reduce environmental impact and enhance air quality. The program supports projects that focus on reducing raw material consumption, curbing harmful emissions, improving energy efficiency, and utilizing renewable energy sources, waste heat, cogeneration heat, and geothermal energy. | 30.07.2024
283 | Poland | National |  |  | Jessica2 loan to improve energy efficiency | Pożyczka Jessica2 na poprawę efektywności energetycznej | Y | Y | Y | (Y) | (Y) | Y | Y | Y | Debt financing | https://www.bgk.pl/pozyczki-unijne/oferta-pozyczek-unijnych/pozyczka-jessica2-na-poprawe-efektywnosci-energetycznej-64/ |  | 2020-ongoing | Funding is offered in the form of loans ranging from PLN 100,000 to PLN 10 million through the Jessica2 program in the Greater Poland Voivodeship. The loan features a 0.15% annual interest rate, reduced by 20% for green projects, with no fees, up to 20 years repayment, and a grace period of up to 15 months, extendable based on energy savings. Eligible entities include local government units, TBS, cooperatives, and housing communities, focusing on comprehensive energy efficiency improvements in housing and public buildings. A minimum 25% energy efficiency improvement must be demonstrated through a verified energy audit, with supplementary financing available. | 30.07.2024
284 | Poland | National |  |  | My Electricity Program | Program Mój Prąd |  | Y | Y |  |  | Y | Y |  | Grant/Subsidy | https://mojprad.gov.pl/ |  | 2021-ongoing | Funding is offered in the form of a subsidy for the purchase, installation, and connection of photovoltaic solar panels, energy storage systems, heat pumps, and intelligent management systems. The 6th program, announced for 2024, includes possible co-financing options. | 30.07.2024
285 | Poland | National |  |  | My Heat | Moje Ciepło |  | Y | Y |  |  | Y | Y |  | Grant/Subsidy | https://mojecieplo.gov.pl/ |  | 2022-2027 | Funding is offered in the form of a subsidy up to 30% or 45% of eligible costs, with a maximum of PLN 21,000, for purchasing and installing heat pumps in new single-family buildings. This support aims to reduce low emissions from inefficient fossil fuel heating, increase renewable energy use, and promote renewable energy sources. | 30.07.2024
286 | Poland | National |  |  | MZG bonus with MZG grant option | Premia MZG z opcją grantu MZG | Y | Y | Y | Y | Y | Y | Y |  | Grant/Subsidy | https://www.bgk.pl/programy-i-fundusze/programy/program-termo/premia-mzg-z-opcja-grantu-mzg/ |  | 2023-ongoing | Funding is offered in the form of the MZG bonus and grant to municipalities or commercial law companies that own or manage residential buildings in municipal housing stocks for thermal modernization or renovations. Eligible investors include communes or companies with over 50% communal ownership. The bonus covers 50% of project costs, increasing to 60% if the building is a monument or part of a revitalization project. An MZG grant, covering 30% of net investment costs, is available if heat source conditions are met. The bonus increases for projects including non-residential spaces. Applications, including energy audits, must be submitted to BGK by June 30, 2026, with the option to choose the MZG grant. | 30.07.2024
287 | Poland | National |  |  | Polish Residential Energy Efficiency Financing Facility (PolREFF) | Polish Residential Energy Efficiency Financing Facility (PolREFF) | Y | Y | Y |  |  | (Y) | Y |  | Debt financing | https://polreff.org/program/o-polreff/ |  | 2019-ongoing | Funding is offered in the form of soft loans through the PolREFF program, managed by the European Bank for Reconstruction and Development (EBRD). The program supports apartment and residential house owners in modernization, renovation, and combating smog. It provides financing for home improvement projects aimed at increasing energy efficiency and enhancing living quality. Projects financed under PolREFF may also qualify for additional grant support from participating banks. | 30.07.2024
288 | Poland | National |  |  | Renewable energy grant | Grant OZE | Y | Y | Y | Y | Y | Y | Y |  | Grant/Subsidy | https://www.bgk.pl/programy-i-fundusze/programy/program-termo/grant-oze/ |  | 2022-ongoing | Funding is offered in the form of a 50% RES grant on net costs to investors implementing renewable energy installation projects. Eligible applicants include owners or managers of multi-family buildings, such as housing communities, local government units, social housing associations, commercial companies, and individuals. The grant applies to new installations or modernizations increasing capacity by at least 25%, producing energy for the building's needs. It serves as de minimis aid for business investors and adjusts for non-residential spaces. Applications must meet environmental criteria and cannot begin before approval. | 30.07.2024
289 | Poland | National |  |  | Renewable energy sources – heat source for heating | OZE – źródło ciepła dla ciepłownictwa |  | Y | Y | Y | Y | Y | (Y) | (Y) | Grant/Subsidy, Debt Financing | https://www.gov.pl/web/funduszmodernizacyjny/Programy-Priorytetowe |  | 2021-2030 | Funding is offered in the form of loans up to PLN 1,430,000,000 and grants up to PLN 570,000,000 for investments in renewable heat energy production. Eligible projects include constructing or reconstructing sources with a minimum capacity of 2 MWt, such as heat pumps, solar collectors, and geothermal energy. The scope may include connecting to the heating network and integrating energy storage. Projects using high-efficiency cogeneration or ORC technology are ineligible. Installations must contribute at least 70% of useful heat to the public heating network and are exclusively for renewable energy. | 30.07.2024
290 | Poland | National |  |  | Renovation bonus (multifamily house buildings) | Premia remontowa | Y | Y | Y | Y | Y | Y | Y |  | Grant/Subsidy | https://www.bgk.pl/programy-i-fundusze/programy/program-termo/premia-remontowa/ |  | 2021-ongoing | Funding is offered in the form of a bonus for owners or managers of multi-family buildings in use for at least 40 years (20 years for social housing). Eligible investors include housing communities, cooperatives, local government units, social housing associations and initiatives, commercial law companies, and individuals. The bonus covers 25% of renovation project costs and is provided as repayment for loans covering at least 50% of the project. | 30.07.2024
291 | Poland | National |  |  | Renovation with EPC (Energy Performance Contract) Plus savings guarantee | Renowacja z gwarancją oszczędności EPC (Energy Performance Contract) Plus | Y | Y | Y |  |  | (Y) | Y |  | Grant/Subsidy | https://www.gov.pl/web/funduszmodernizacyjny/Programy-Priorytetowe |  | 2021-ongoing | Funding is offered in the form of subsidies to housing cooperatives, communities, local government units, and their companies for enhancing energy efficiency in multi-family residential and public buildings. The "Renovation with EPC Plus Savings Guarantee" program supports insulation, ventilation, heating, lighting, and renewable energy projects, aiming for a 30% reduction in energy consumption. The program has a PLN 110 million budget, with an initial 2021 application call of PLN 10 million. Costs are eligible from July 1, 2021, to December 31, 2026. | 30.07.2024
292 | Poland | National |  |  | Stop Smog | Stop Smog | Y | Y | (Y) | (Y) | (Y) | (Y) | Y |  | Grant/Subsidy | https://czystepowietrze.gov.pl/inne-programy/stop-smog |  | 2021-ongoing | Grants are offered through the "Stop Smog" program for low-emission projects in single-family residential buildings, providing up to 70% co-financing, with a maximum of PLN 53,000. Municipalities, counties, intermunicipal unions, and metropolitan unions in the Silesian Voivodeship can apply. Eligible projects include heat source replacement, thermal modernization, network connections, renewable energy access, and reducing energy demand. Projects can be implemented over up to 3 years for up to 2% of buildings or up to 4 years for projects covering more than 2%. | 30.07.2024
293 | Poland | National |  |  | Support for the energy-intensive industry | Wsparcie dla przemysłu energochłonnego) |  | Y | Y | Y | Y | Y |  | Y | Grant/Subsidy, Debt Financing | https://www.gov.pl/web/nfosigw/wsparcie-dla-przemyslu-energochlonnego |  | 2018-ongoing | Funding is offered in the form of a loan up to PLN 4,000,000, with the possibility of a bonus, to decrease emission intensity in Polish energy-intensive sectors. Eligible projects include adopting low-emission technologies, enhancing energy efficiency, and reducing raw material consumption. Entrepreneurs with legal rights to energy-intensive installations can apply, excluding those in liquidation or bankruptcy. Projects involving the construction or reconstruction of renewable energy sources with storage or network connections are also considered. | 30.07.2024
294 | Poland | National |  |  | Thermal modernization bonus with the option of a thermal modernization grant | Premia termomodernizacyjna z opcją grantu termomodernizacyjnego | Y | Y | Y | Y | Y | Y | Y | Y | Grant/Subsidy | https://www.bgk.pl/programy-i-fundusze/programy/program-termo/premia-termomodernizacyjna-z-opcja-grantu-termomodernizacyjnego/ |  | 1999-ongoing | Funding is offered in the form of a thermal modernization bonus to owners or managers of residential, collective housing, public buildings, local heating networks, and local heat sources for implementing thermal modernization projects. This bonus subsidizes 26% of project costs, 31% if combined with a RES project (at least 10% of total costs), and 50% for strengthening large-panel buildings. The bonus repays part of the loan and is not available for projects using own funds. | 30.07.2024
295 | Poland | National |  |  | Thermal modernization tax relief | Ulga termomodernizacyjna | Y | Y | Y | Y | Y | Y | Y |  | Tax Incentives | https://www.podatki.gov.pl/pit/ulgi-odliczenia-i-zwolnienia/ulga-termomodernizacyjna/ |  | 2021-ongoing | Funding is offered in the form of a tax deduction for homeowners of single-family residential buildings for 100% of expenses related to thermo-modernization projects, up to PLN 53,000. The deduction applies to existing buildings and projects completed within three years. Deductions can be claimed for up to six years after the first expenditure. | 30.07.2024
296 | Poland | National |  |  | Warm apartment program | Program Priorytetowy Ciepłe Mieszkanie | Y | Y | Y | (Y) | (Y) | (Y) | Y |  | Grant/Subsidy | https://czystepowietrze.gov.pl/cieple-mieszkanie/ |  | 2022-ongoing | Funding is offered in the form of subsidies to owners of apartments in multi-family buildings, tenants of municipal apartments, and communities with 3 to 7 residential premises for replacing heat sources and improving energy efficiency. The Warm Apartment program, with a budget of PLN 1.75 billion, aims to enhance air quality and reduce dust and greenhouse gas emissions. | 30.07.2024
297 | Poland | Regional | Silesia |  | Loan for energy efficiency | Pożyczka na efektywność energetyczną | (Y) | Y | Y | Y | Y | Y | Y | Y | Debt financing | https://www.bgk.pl/pozyczki-unijne/oferta-pozyczek-unijnych/pozyczka-na-efektywnosc-energetyczna-62/ | https://www.bgk.pl/programy-i-fundusze/programy/pozyczka-jessica2-dla-wojewodztwa-mazowieckiego/ | 2014-ongoing | Funding is offered in the form of loans ranging from PLN 200,000 to PLN 3 million in the Lower Silesian Voivodeship for micro, small, and medium-sized enterprises. The loan features an annual interest rate starting at 0.5% and supports energy efficiency projects. Eligible beneficiaries include entrepreneurs, agricultural producer groups, and enterprises majority-owned by Local Government Units. The program covers deep energy modernization, including improvements, technical connections to centralized heat sources, energy source replacement, heating device investments, ventilation modernization, lighting replacement, and energy-efficient technology. Repayment extends up to 15 years with a grace period of up to 6 months. | 30.07.2024

## Private Schemes
ID | Country | Level | Scheme Name (EN) | Scheme Name (local) | Provider (Bank/ Investment Firm) | Building Eff | H&C Eff | H&C RES | DHC | Geo DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Description | Last Visited on
153 | Poland | National | Clean Air Credit | Kredyt Czyste Powietrze | BOS Bank | Y | Y | Y |  |  |  | Y |  | Green Loan | https://www.bosbank.pl/klient-indywidualny/pozyczki-i-kredyty/eko-kredyty/kredyt-czyste-powietrze |  | Part of the national Clean Air Programme, this loan finances thermal modernization or renovation projects that meet specific conditions. | 01.08.2024
154 | Poland | National | Clean Air Installment Loan | Kredyt Gotówkowy Czyste Powietrze | Alior Bank | Y | Y | (Y) |  |  |  | Y |  | Green Loan | https://www.aliorbank.pl/dam/jcr:9c1d5d68-fc24-4d68-bba0-2f94a0068e87/lista-pytan-i-odpowiedzi-do-oferty-kredytow-Czyste-Powietrze.pdf |  | This loan finances projects consistent with the Clean Air program, including replacing old heat sources, insulating buildings, and installing solar panels. | 01.08.2024
155 | Poland | National | Ecological loan with a subsidy from BGK | Kredyt ekologiczny z dotacją BGK | ING Bank Slasky | Y | Y | Y |  |  |  |  | Y | Green Loan | https://www.ing.pl/spolki/finansowanie/kredyt-ekologiczny-z-dotacja-bgk |  | An ecological loan with BGK subsidy finances ecological investments reducing primary energy consumption by at least 30% in modernized areas. | 01.08.2024
156 | Poland | National | Ecological mortgage loan | EKOlogiczny kredyt hipoteczny | BOŚ Bank | Y | Y | (Y) |  |  |  | Y |  | Green Mortgage | https://www.bosbank.pl/klient-indywidualny/pozyczki-i-kredyty/eko-hipoteka/eko-kredyt-hipoteczny |  | Ecological loans finance single-family or multi-family homes with low energy consumption or ecological certifications from BOŚ SA. | 01.08.2024
157 | Poland | National | Eco-mortgage housing loan | Ekokredyt hipoteczny | mbank | Y | Y | Y |  |  |  | Y |  | Green Mortgage | https://www.mbank.pl/indywidualny/kredyty/kredyty-hipoteczne/eko/ |  | Mortgages finance energy-efficient housing projects with benefits like partial early repayment, no commission, and reduced loan margins. | 01.08.2024
158 | Poland | National | Green Loan | Pożyczka Zielona | BOS Bank | (Y) | Y | Y |  |  |  | Y |  | Green Loan | https://www.bosbank.pl/klient-indywidualny/pozyczki-i-kredyty/eko-kredyty/pozyczka-zielona |  | Loans fund energy efficiency, renewable energy sources like heat pumps, and waste and water management projects. | 01.08.2024
159 | Poland | National | Loan for energy efficiency in the residential sector | Pożyczka na efektywność energetyczną w sektorze mieszkaniowym | BGK Polski Bank | Y | Y | Y |  |  | Y | Y |  | Green Loan | https://www.bgk.pl/pozyczki-unijne/oferta-pozyczek-unijnych/pozyczka-na-efektywnosc-energetyczna-w-sektorze-mieszkaniowym-74/#contacts |  | Loans in Lower Silesian Voivodeship target energy efficiency improvements in cooperatives, housing communities, and social housing societies, including insulation, heating modernization, and renewable energy installations. | 01.08.2024
160 | Poland | National | LOAN FOR GREEN CHANGES | KREDYT NA ZIELONE ZMIANY | BNP PARIBAS Polska | Y | Y | Y | Y |  |  | Y |  | Green Loan | https://www.bnpparibas.pl/klienci-indywidualni/kredyty/kredyt-na-zielone-zmiany |  | The Green Change Loan finances green renovations, including replacing heat sources, modernization, insulation, and installing technologies like PV panels. | 01.08.2024
161 | Poland | National | Loan with bonus for thermomodernization | Kredyt z premią na termomodernizację | BOS Bank | Y | Y |  |  |  |  | Y |  | Green Loan | https://www.bosbank.pl/klient-indywidualny/pozyczki-i-kredyty/eko-kredyty/kredyt-termomodernizacyjny |  | This loan supports thermal modernization or renovation projects meeting legal requirements for energy efficiency. | 01.08.2024
162 | Poland | National | Mortgage Loan | KREDYT HIPOTECZNY | BNP PARIBAS Polska | Y | Y | Y |  |  |  | Y |  | Green Mortgage | https://www.bnpparibas.pl/klienci-indywidualni/kredyty/kredyt-hipoteczny-z-niska-marza |  | Mortgages with lower interest rates are provided for energy-efficient housing projects, requiring an energy performance certificate showing specific thresholds. | 01.08.2024
163 | Poland | National | Mortgage loan for an energy-efficient house | Kredyt hipoteczny na dom energooszczędny | ING Bank Slasky | Y | Y | (Y) |  |  |  | Y |  | Green Mortgage | https://www.ing.pl/indywidualni/kredyty-i-pozyczki/kredyt-hipoteczny-eko |  | Interest-free loans support renovation works improving home energy performance, deep renovation to meet minimum energy standards, or converting sewage facilities. | 01.08.2024
164 | Poland | National | RLF - Poland - Pekao Leasing | RLF - Poland - Pekao Leasing | Pekao Leasing S.A | Y | Y | Y |  |  |  |  | Y | Green Leasing | https://www.ebrd.com/work-with-us/projects/psd/54019.html | https://www.pekaoleasing.com.pl/ | EBRD's €150 million funding supports Polish SMEs for energy efficiency projects, aiming to build a green economy. | 01.08.2024

## Adaptation
COUNTRY: | Poland
Review of the NAS/NAP
Back to Table of Contents
Part 1 - Climate haxard/ Key topic of measures
Details / explanations | • Heatwave • Storm (including blizzards dust and sandstorms) • Heavy precipitation (rain hail snow/ ice) • Landslide • Changing temperature (air freshwater marine water) • Sea level rise • Soil degradation (including desertification) • Changing wind patterns
Part 2 - Adaptation priorities
Details / explanations | The main goal of the Strategic Adaptation Plan 2020 is to ensure sustainable development and effective functioning of the economy and society in the conditions of climate change. The main goal will be achieved through the implementation of specific goals and the directions of activities indicated within these goals: 1. Ensuring energy security and good environmental condition 2. Effective adaptation to climate change in rural areas 3. Development of transport in the conditions of climate change 4. Ensuring sustainable regional and local development, taking into account climate change 5. Stimulating innovations conducive to adaptation to climate change 6. Shaping social attitudes conducive to adaptation to climate change
Part 3 - NAS/NAP
Publication report (year) | NAP 2020
NAS/NAP Objectives | Ensuring conditions for stable socio-economic development in the face of the risks posed by climate change, but also with a view to harnessing the positive impact that adaptation measures can have not only on the state of the Polish environment, but also on economic growth.
NAS/NAP Key Measures (related to the keywords) | • The Government Center for Security serves as the United Nations National Contact Point for the implementation of the Sendai Agenda for Action which is a platform attended not only by representatives of government and self-government administration, but also research institutes, universities, non-governmental organizations and the private sector. • The creation of National Crisi Management Plan 2018 which enables the implementation of a risk management system in Poland. • Regular reviews on "Strategic Adaptation Plan for Climate Vulnerable Sectors and Areas up to 2020 with an Outlook to 2030" (SPA 2020) has been prepared by the Ministry of the Environment.
Part 4 - Good Practice
Campaigns | Development of urban adaptation plans for cities with more than 100.000 inhabitants in Poland. 44 Polish cities, in cooperation with the Ministry of the Environment, participate in the project aimed at adapting them to the observed and prognosed climate changes. http://www.44mpa.pl/?lang=en
Energy sector | Climate projectoin, maps,weather monitoring and measurements information in every municipality. https://meteo.imgw.pl/ https://klimat.imgw.pl/ http://aplikacjameteo.imgw.pl/
Housing sector

## List
Summary and NECP
YesNotFound | EnergyPoverty | Renovation
Yes, directly | Yes | Yes, with clear information
Yes, indirectly | No assessment | Yes, vaguely
Not found | Not found | Not found
Comprehensive Assessments
Targets | PoliciesMeasures | Consumption | YesNotfound | Map | EconomicAnalysis
Yes, specific to cooling | Yes, with info relevant to space cooling | Yes, per sector | Yes | Yes, separate map about cooling | Yes, with detailed analysis
No, only jointly for heating and cooling | Yes, but nothing related to space cooling | Yes, but total only | Not found | Yes, joint map about heating and cooling | Yes, with rough analysis only
No clear target | Not found | No (merged with heating data) |  | No, only map about heating | No (analysis on heating only)
not applicable | Not applicable | Not found |  | No map found
Building regulations
Setpoint temperature | Cooling season | Definitions | Calculation methodology | Difference | Requirements | Sector
indicative | indicative | Yes | Yes, in global performance | Yes | Global and specific | yes for residential only
minimum not to exceed | mandatory | Unclear | Yes, separately | Not found | Global only | yes for non-residential only
other | other | Not found | Unclear |  | Specific only | yes for both
none found | none found |  | Not found |  | Not found | not found
AC inspections | AC sector differences | EPBDArt15(4) | EPBDArt15(5)
Mandatory regular inspections | Provisions for non-residential only | Already in force | Mandatory requirements
Alternative approach | Provisions for residential only | Deadline set | Other types of measures
Unclear | Provisions for both, and the same | Provision planned | Not found
| Provisions for both, but different | Unclear
Financing schemes
Country | Complete | Level | Topic | Type of scheme (Public) |  | Type of scheme (Private)
EU |  | EU | Y | Advisory Service, Technical Assistance |  | Advisory Service, Technical Assistance
Austria |  | National | (Y) | Loan/Soft Loan |  | Equity financing
Belgium |  | Regional |  | Energy efficiency obligations |  | Grants/ subsidy
Bulgaria |  | City |  | Equity financing |  | Green Bonds
Croatia |  |  |  | Grant/Subsidy |  | Green Leasing
Cyprus |  |  |  | Grant/Subsidy, Loan/Soft Loan |  | Green Loan
Czechia |  |  |  | Guarantee |  | Green Loan, Advisory Service
Denmark |  |  |  | Multiple (Grant/Subsidy, Tax rebate, Debt, Equity, Guarantee, TA) |  | Green Mortgage
Estonia |  |  |  | Other public scheme |  | Guarantees
Finland |  |  |  | Tax incentives |  | On-bill financing
France
Germany
Greece
Hungary
Ireland
Italy
Latvia
Lithuania
Luxembourg
Malta
Netherlands
Poland
Portugal
Romania
Slovakia
Slovenia
Spain
Sweden