## ToC
Driving a sustainable future in space cooling
The CoolLIFE project aims to address the need for sustainable solutions to the EU’s rising demand for space cooling in buildings. The project will develop open-source tools which encourage the consideration of green cooling solutions in public and private decision-making, planning, design, and implementation processes.
What will you find in this file? |  | Table of Contents
This file gathers information available in the Member State's reporting to the European Commission about strategies, policies and regulations relevant to sustainable space cooling, and a focus on the national building regulations and financing schemes (public and private) (see Table of Contents on the right): - [Summary] provides an overview of the main information from all sources reviewed - [draftNECPupdate] provides the information identified in the draft update of National Energy Climate Plan (2023) - [CA2020] provides the information identified in the Comprehensive Assessment for heating and cooling (2020 version) - [BuildingRegulation] provides the information identified in the national building regulations - [Public Schemes] and [Private Schemes] provide two lists of financing schemes that promote energy efficiency in buildings and/or efficient space cooling systems - [Adaptation] provides the information identified in the National Adaptation Strategy and/or National Adaptation Plan |  | Summary
draftNECPupdate
CA2020
BuildingRegulation
Public Schemes
Private Schemes
Adaptation
#VALUE! | The CoolLIFE project has received funding from the LIFE Programme of the European Union. Views and opinions expressed are however those of the author(s) only and do not necessarily reflect those of the European Union or CINEA. Neither the European Union nor CINEA can be held responsible for them.

## Summary
COUNTRY: | Spain
Data summary about national policies and regulations
Back to Table of Contents
Tab 1 - National background and strategy
National background and strategy | Spain is already strongly impacted by climate changes, notably warmer summers. This resulted for example in several thousand deaths attributed to the heat wave in 2022. Sustainable space cooling is therefore one of the key issues related to climate adaptation, with major implications for health and the electricity system (cf. summer peak loads). These concerns can also be found in the recommendations from the Citizens’ Climate Assembly, and more specifically these two ones: - Adapting housing to climate change for people in vulnerable situations or in need of specific care; - Reduce the sensitivity of workplaces to the potential impacts of climate change, taking advantage of their environmental conditions to improve energy efficiency Spain does not have a strategy or roadmap specific to cooling (or heating and cooling). The broader umbrella strategy has been established from 2019 with its Strategic Energy and Climate Framework (Marco Estratégico de Energía y Clima) gathering the key planning processes (including the National Energy and Climate Plan - NECP), and complemented with specific roadmap (including the Long Term Building Renovation Strategy - ERESEE). Major policy instruments for energy efficiency in buildings include regulations (Technical Building Code - CTE and Regulation on Thermal Installations in Buildings - RITE) and renovation programmes (e.g. PREE, PREE 5000, PREE Terciario + PIREP schemes for public buildings) with financial incentives partly funded by the National Energy Efficiency Fund and boosted by the Recovery, Transformation and Resilience Plan (PRTR), and more specifically its Housing Rehabilitation and Urban Regeneration Plan. The action types eligible to these programmes include actions relevant to sustainable space cooling such as sun shading, free cooling, efficient air conditioning and ventilation systems, building automation and control systems, connection of the building to district heating and/or cooling. Spain also implements an Energy Efficiency Obligation Scheme, including white certificates (CAE) since 2023, but the extent to which it could support building renovations or space cooling actions is not known yet. The draft NECP update (2023) clearly mentions the objective to significantly develop district heating and cooling (while stressing that district cooling was still rare in Spain). More specifically to cooling systems, Spain already implements a set of measures to reduce GHG emissions related to fluorinated gases, including the Regulation (EU) No 517/2014 and complementary measures (e.g. tax on fluorinated gases). The Sectoral Plan for Market Surveillance of Energy Labelling aims at ensuring good information for the purchase of cooling equipment, in line with the related EU regulations. Another important background element is that Spain has already a high share of RES in its electricity mix (43% in 2020), and aims at reaching 81% RES by 2030. As space cooling is mostly supplied with electricity, this means that indirect CO2 emissions related to space cooling should significantly decrease. This also means that flexibiliy in electricy end-use (including space cooling) will also be increasingly important. This should be partly ensured with the development of self-consumption that has known an exponential growth in Spain in recent years (self-consumption capacities increased from 0.4 GW in 2018 to 5.2 GW in 2022).
Sources | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy
Tab 2 - Governance
Governance | The major public authorities for policies relevant to sustainable space cooling are MITECO (Ministry for the Ecological Transition and the Demographic Challenge) and MIVAU (Ministry for Housing and Urban Agenda). MITECO coordinates the umbrella Strategic Energy and Climate Framework, and MIVAU leads the building regulations (together with MITECO). They jointly define the renovation programmes that are co-managed with the Regions (Autonomous Communities). The Autonomous Communities and local authorities play a major role in the implementation of the energy efficiency policies and programmes (including for the building regulations and the renovation programmes), according to Spain’s distribution of legal competences. Moreover, the Spanish Urban Agenda (Agenda Urbana Española - AUE) provides a voluntary framework for municipalities to develop action plans covering various objectives. Strategic objective 2 includes among others 'improving the quality and sustainbility of buildings'. Strategic objective 3 includes among others 'adapting the territorial and urban planning to the effects of climate change and achieve progress in preventing climate change'. IDAE (national agency to diversify and save energy, related to MITECO) provides technical support to the design, implementation and monitoring of the energy efficiency policies and programmes. It is in charge of the National Energy Efficiency Fund, and coordinates the implementation of the renovation programmes. Energy suppliers are the obligated parties of the Energy Efficiency Obligation Scheme now including white certificates (CAE). However, it is not known yet if their programmes will include incentives for actions related to sustainable space cooling (and to what extent this would play a significant role in this field).
Sources | draft NECP update 2023
Tab 3 - Links with Adaptation
Links with adaptation | Spain is among the front-runner countries in developing a national adaptation plan (Plan Nacional de Adaptación al Cambio Climático - PNACC), adopting its first one in 2006. The new plan was adopted in 2020 for the period 2021-2030. As stressed in the background section above, Spain is already significantly impacted by climate changes, notably warmer summers and more frequent and intense heatwaves, as well as more frequent and severe droughts. Clear links are made between the PNACC and the NECP. For example, among the various action lines of the PNACC, action line I.8 is about cities, urban planning and buildings (e.g. to address urban heat islands, and with action 8.3 focused on integrating adaptation in the buildings sector), and I.10 is about climate change impacts on the energy sector (e.g. action 10.4 to improve knowledge about the impacts of climate change on energy demand and identify measures to prevent or limit peaks in demand, especially those associated with heat waves). In the other way, measures of the NECP, such as ‘Low-Emission Areas’ or ‘Energy efficiency in existing buildings in the residential sector’ are also meant to contribute to adaptation purposes as they reduce the impact of heat waves on the population. The draft NECP update also highlights that it is essential that these measures are developed with adaptive criteria to ensure their feasibility and functionality in a climate change context. Since 2004, the Health Ministry prepares an annual National Plan for Preventive Actions for the Effects of Excess Temperatures on Health (Plan Nacional de Actuaciones Preventivas de los Efectos del Exceso de Temperaturas sobre la Salud), including an alert system (4 levels of risk) to inform citizen and coordinate the actions of local governments.
Sources | national adaptation plan 2021-2030; draft NECP update 2023; https://www.miteco.gob.es/es/cambio-climatico/temas/impactos-vulnerabilidad-y-adaptacion/plan-nacional-adaptacion-cambio-climatico.html
Tab 4 - Planning processes
Planning processes | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans.
More details | Spain does not have a specific cooling plan (or heating and cooling) plan. The overall energy and climate planning is done following the process of the NECP, under the Climate Change and Energy Transition Law, and aligning the trajectory with the Long Term Strategy (to achieve carbon neutrality by 2050). More specifically about buildings, the Long Term Building Renovation Strategy (ERESEE) is the main roadmap. The current version was published in 2020. It should be soon revised, according to the new EPBD adopted in May 2024. The Comprehensive Assessment for heating and cooling (2020 version) provides a detailed estimation of the cooling demand (useful energy) and related final energy (mostly electricity) consumption, that would have represented 4% in housing and 29.5% in services of the final energy consumption for heating and cooling (i.e. space heating, space cooling and domestic hot water). However, this does not include electricity consumption for fans/ventilators (and likely not for mobile air-conditioning systems either). The projection foresaw a large increase in the cooling demand (useful energy) in housing (+40% in 2030 vs. 2018), and a moderate increase in services (+ 8% in 2030 vs. 2018). The revised projections (in line with the updated targets) in the draft NECP update 2023 show that the reduction final energy consumption of the residential and service sectors would represent about 23% of the total reduction in Spain's final energy consumption. More specifically, the expected cumulative savings over 2021-2030 in the residential and service sectors would represent 21% of Spain's energy savings obligation (Art.8 EED), behind savings in transport (36%) and industry (25%). Moreover, it is likely that most expected savings in buildings be related to space heating, not to space cooling. The technologies considered for space cooling in the Comprehensive Assessment 2020 include, by decreasing order of technical potential for cooling in housing and services: air-source heat pumps, ground-source heat pumps, district heating and cooling (with various technologies), concentrated solar thermal (with absorption systems) and high-efficiency cogeneration (with absorption systems). The draft NECP update promotes the development of district cooling as the most sustainable option to supply space cooling (while the Comprehensive Assessment showed that individual heat pumps would be more cost-effective). District cooling is still rare in Spain, and further studies and R&D seem to be needed to support the development of district cooling.
Sources | draft NECP update 2023, comprehensive assessment 2020
Tab 5 - National regulations (building level)
How space cooling is addressed in the building regulations | The Technical Building Code (Código Técnico de la Edificación, CTE) specifies all the technical regulations that buildings need to comply with. The part related to energy efficiency requirements is the CTE-HE for energy savings, which covers six criteria including: - one about the maximum (upper) limit of primary energy consumption in kWh/m².year (including heating, cooling, domestic hot water, ventilation, and, where appropriate, lighting), according to the regulatory climate zones: this has been aligned with the nZEB (nearly Zero Energy Buildings) and also includes maximum limits for non-renewable primary energy consumption (also in kWh/m².year). As the calculation methodology gives first the final energy consumption, the regulation provides conversion factors (final to primary). The conversion factor for electricity has a strong influence on how energy consumption due to cooling weights in the total primary energy consumption. - one about the conditions for the control of energy demand, that include the requirements on thermal insulation (depending on the climate zones) - one about the conditions for thermal systems (including cooling systems). Space cooling is thus taken into account when assessing the overall energy performance of the building. No specific requirement applies to the cooling demand. The Regulation on Thermal Installations in Buildings (RITE) complements the Technical Building Code (CTE) with specific requirements about the thermal systems (including cooling systems). These requirements cover the sizing and minimum energy performance standards that are aligned with the EU Ecodesing regulations.
Main provisions relevant to space cooling needs or summer comfort | The main objective of the regulation is to ensure that the thermal well-being of the building occupants is achieved with a "rational use of energy". "Thermal well-being" is defined in the terminology (Annex A) of the regulation CTE-HE as "indoor conditions of temperature, humidity and air speed established by regulations that are considered to produce an adequate and sufficient sense of well-being for the occupants." It is put in practice through operational conditions (indoor temperature, humidity, airflow), and distinguishing winter (October to May) and summer (June to September) periods.
Main provisions relevant to the use of space cooling | For residential buildings, these conditions are specified in Annex D of the regulation CTE-HE (standard setpoint cooling temperatures of 25-27°C). For certain tertiary buildings, the complementary regulation for thermal systems (RITE) specifies that the setpoint cooling temperature shall not be lower than 26°C (requirement temporarily increased to 27°C during the energy crisis 2022-2023).
References of the relevant regulations (or other source(s))
Tab 6 - Regulations on space cooling systems or products
EU regulations and provisions | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives.
National implementation | The National Market Surveillance Strategy adopted in 2022 includes the Sectoral Plan for Market Surveillance of Energy Labelling (covering cooling systems). About fluorinated gases, the draft NECP update includes a measure (1.34) focused on the reduction of the related GHG emissions related, including the following objectives: A.1. Replacement of installations using fluorinated gases with high warming potential (GWP) (mainly cooling/air conditioning equipment) with other installations using low or zero GWP ; A.2. Reduction of HFCs emissions through actions in existing installations using HFCs (mainly to reduce leaks, through regular checks, automatic leak control systems, retrofit etc.) A.3. Recovery and management of F-gases at the end of life of equipment A.4. Promotion of the use of low-GWP lightly flammable refrigerants (revision of the safety standards for cooling and air conditioning, to make it possible a greater use of slightly flammable low-GWP A2L refrigerants, such as R32 and HFO, especially in the domestic air conditioning sector). The policy instruments to achieve these objectives (for the scope of cooling and air conditioning equipment) include mostly taxation and regulations: - a tax on fluorinated greenhouse gases (Law 16/2013) - Gradual reduction by quota system under Regulation (EU) No 517/2014 - Royal Decree 115/2017 regulating the placing on the market and handling of fluorinated gases and equipment based on them, as well as the certification of the professionals using them and establishing the technical requirements for installations carrying out activities that emit fluorinated gases - Amendment of Royal Decree 138/2011 approving the safety regulation for refrigeration installations and its additional technical instructions
References of the relevant regulations (or other source(s)) | see details in draft NECP update 2023
Tab 8 - Financing schemes | See separate file on financing schemes
Overview of public schemes | Renovation programmes aim at reducing both, heating and cooling demand. Eligible actions include sunscreen/sun shading, free cooling, efficient air conditioning and ventilation systems, building automation and control systems, connection of the building to district heating and/or cooling. Moreover priority is given to investments in the thermal envelope over improvements in thermal installations, in line with the Energy Efficiency First principle (and to avoid over-sizing of heating and cooling systems). The main national programmes include: - PREE (Programme of Aid for Energy Renovation Actions in Existing Buildings) - PREE 5000 Programme (Energy Renovation Programme for existing buildings in municipalities facing demographic challenges, focused on municipalities of less than 5000 inhabitants) - Rehabilitation programme for economic and social recovery in residential settings - PIREP for the renovation of public buildings (part of the Energy Transition Plan in the General State Administration), with complementary schemes for the buildings of Autonomous Communities and municipalities. - Regeneration and Demographic Challenge Programme (DUS 5000) - PREE Terciario (for tertiary buildings, including incentives for efficient cooling systems)
Overview of private schemes | Some of the banks offer green loans meant for investments in energy efficiency of buildings (or sustainable buildings), all covering improvements of the building envelope (or overall energy performance) and some also the cooling systems: - Energy Efficiency Loan (Préstamo Eficiencia Energética), by Santander (for residential buildings) - PF4EE by Santander (for non-residential buildings) - Green Loan 'Préstamo Eficiencia Energética Comunidades de Propietarios', by BBVA (for condominiums) - Sustainable Building loan (Edificio +Sostenible), by Ibercaja (for both, residential and non-residential buildings) Example of green mortgage: - Green mortgages (emisión 'verde' de cédulas hipotecarias) by Caja Rural Navarra

## draftNECPupdate
COUNTRY: | Spain
Review of the draft NECP update
Back to Table of Contents | 2023 draft update National Energy and Climate Plans available at: | https://commission.europa.eu/energy-climate-change-environment/implementation-eu-countries/energy-and-climate-governance-and-reporting/national-energy-and-climate-plans_en#national-energy-and-climate-plans-2021-2030
Part 1 - (see particularly Executive summary - section 1.1; and Overview of current policy situation - section 1.2)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | The background analysis mentions among other aspects the impacts of warmer summer in Spain, and notably several thousand deaths attributed to the heat wave in 2022. Moreover, the National Adaptation Plan includes, among other objectives, to improve knowledge about the impacts of climate change on energy demand and identify measures to prevent or limit peaks in demand, especially those associated with heat waves. More generally, when highlighting key solutions to achieve energy and climate targets, the draft NECP update mentions the stronger development of heat pumps, district heating and cooling, and building renovations. The summary reminds also the tax on fluorinated gases, which has enabled a rapid transformation of this sector by drastically reducing its emissions. The summary also provides an overview of Spain's energy and climate policy framework that does not include a plan specific to cooling, nor a heating and cooling plan. For space cooling, instead, this is mostly addressed in the Long Term Building Renovation Strategy (ERESEE) Spain has established from 2019 its Strategic Energy and Climate Framework (Marco Estratégico de Energía y Clima), providing the basis for Spain's National Energy and Climate Plan (NECP) and its implementation. The key pieces of this framework include: - the Climate Change and Energy Transition Law (Ley 7/2021, 20 May 2021) that set the headline energy and climate targets of Spain, and the basis mid-term (NECP) and long-term planning (until 2050, e.g. aiming at 97% RES in the heating and cooling sector, and energy use in buildings 100% decarbonised) - the NECP, whose draft update in 2023 announced the revision of the headline targets in line with the EU fit-for-55 package (including an headline energy efficiency target more ambitious than the EU one) - the National Adaptation Plan (Plan Nacional de Adaptación al Cambio Climático 2021-2030) for 2021-2030 - the Just Transition Strategy (Estrategia de Transición Justa) This is complemented with specific roadmap per sector or sub-sector, including the Long Term Building Renovation Strategy (ERESEE). The draft NECP update also stresses the use of the Recovery, Transformation and Resilience Plan (PRTR) to accelerate the energy transition / decarbonisation policies (but no detail about whether this would also cover measures for space cooling, apart for boosting the renovation of buildings) Another addition was made in October 2022 with the More Energy Security Plan (Plan +SE: Plan Más Seguridad Energética). The National Energy Efficiency Fund (FNEE) is a key funding framework for sectoral energy efficiency programmes, co-managed with the Regions (Autonomous Communities), including for the renovation programmes. Special renovation programmes have also been funded by the PRTR as part of the Housing Rehabilitation and Urban Regeneration Plan. The key role of the Technical Building Code (CTE) and the Regulation on Thermal Installations in Buildings (RITE) is also highlighted.
Part 2 - National objectives and targets
Section 2.1.1 GHG emissions and removals (particularly if sub-section about buildings)
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | The draft NECP update does not include targets related to GHG emissions from cooling. However, it highlights the recommendations from the Citizens’ Climate Assembly. Two of these recommendations are directly relevant to sustainable space cooling, and related to an adaptation perspective (for buildings): - Adapting housing to climate change for people in vulnerable situations or in need of specific care; - Reduce the sensitivity of workplaces to the potential impacts of climate change, taking advantage of their environmental conditions to improve energy efficiency
Section 2.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (ii))
Any mention about cooling and related aspects? | Yes, indirectly
Details / explanations | The draft NECP update does not include a target in terms of RES share in gross final energy consumption. The target is in terms of annual increase in renewable percentage of heating and cooling: 1.27 % (2021-2025), then 2.07 % (2026-2030). However, the draft NECP update includes a projection of the RES share in gross final energy consumption for heating and cooling from 17.90% in 2020, to 24.35% in 2025 and 34.69% in 2030. Moreover, Spain has already a high share of RES in its electricity mix (43% in 2020), and aims at reaching 81% RES by 2030. As space cooling is mostly supplied with electricity, this means that indirect CO2 emissions related to space cooling should significantly decrease. This also means that flexibiliy in electricy end-use (including space cooling) will also be increasingly important. This should be partly ensured with the development of self-consumption that has known an exponential growth in Spain in recent years (self-consumption capacities increased from 0.4 GW in 2018 to 5.2 GW in 2022).
Section 2.2 Energy Efficiency (see points (ii) about long-term renovation strategies and (iii) about other objectives)
Any mention about cooling and related aspects? | Not found
Details / explanations | The energy efficiency targets are general (cross-cutting). No target specific to cooling (nor to heating and cooling).
Section 2.4.4 Energy poverty
Does the assessment of energy poverty consider 'summer energy poverty'? | Not found
Details / explanations | National Strategy against Energy Poverty adopted in 2019, including a definition and a set of indicators, including "Inability to maintain the dwelling at an adequate temperature" (considering both, winter and summer conditions), and considering the various climate zones of Spain. The share of households unable to maintain their dwelling at an adequate temperature was 14.3% in 2021. However, it is likely that this refers to the winter period (as it is based on the SILC survey, that does not cover the summer period in recent years). New studies were under preparation and might fill this data gap.
Section 2.5 Dimension research, innovation and competitiveness
Any mention about research or innovation related to cooling and related aspects? | Yes, directly
Details / explanations | "Renewable heat and cold generation systems", "Participation of renewable energy in district heating and cooling networks" and "Active and passive solutions in the energy renovation of buildings" part of SET-Plan Action 5 (for buildings)
Part 3 - Policies and Measures (PaMs)
Section 3.1.1 GHG emissions and removals (particularly if sub-section about PaMs for buildings, in point (i))
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | Measure 1.34. Reduction of GHG emissions related to fluorinated gases, including the following objectives: A.1. Replacement of installations using fluorinated gases with high warming potential (GWP) (mainly cooling/air conditioning equipment) with other installations using low or zero GWP ; A.2. Reduction of HFCs emissions through actions in existing installations using HFCs (mainly to reduce leaks, through regular checks, automatic leak control systems, retrofit etc.) A.3. Recovery and management of F-gases at the end of life of equipment A.4. Promotion of the use of low-GWP lightly flammable refrigerants (revision of the safety standards for cooling and air conditioning, to make it possible a greater use of slightly flammable low-GWP A2L refrigerants, such as R32 and HFO, especially in the domestic air conditioning sector). The policy instruments to achieve these objectives (for the scope of cooling and air conditioning equipment) include mostly taxation and regulations: - a tax on fluorinated greenhouse gases (Law 16/2013) - Gradual reduction by quota system under Regulation (EU) No 517/2014 - Royal Decree 115/2017 regulating the placing on the market and handling of fluorinated gases and equipment based on them, as well as the certification of the professionals using them and establishing the technical requirements for installations carrying out activities that emit fluorinated gases - Amendment of Royal Decree 138/2011 approving the safety regulation for refrigeration installations and its additional technical instructions
Section 3.1.2 Renewables (particularly if sub-section about RES for heating and cooling, in point (i) and in point (vi) about district cooling)
Any mention about cooling and related aspects? | Not found
Details / explanations | Measure 1.11 is the Framework for the development of thermal renewables, however it seems to be mostly focused on RES for heating. The development of district cooling is addressed in the section 3,2 (Energy Efficiency policies and measures)
Section 3.2 Energy Efficiency (particularly in points (ii) about long-term renovation strategies)
Any mention about cooling and related aspects? | Yes, directly
Details / explanations | Measure 2.8. Energy efficiency in existing buildings in the residential sector (including the programmes PREE, PREE 5000 Programme and Programme of Support for Rehabilitation Offices + a new fiscal incentive: deductions from personal income tax): it is clearly mentioned that the renovation of buildings should aim at reducing both, heating and cooling demand. Eligible actions include sunscreen/sun shading, free cooling, efficient air conditioning and ventilation systems, building automation and control systems, connection of the building to district heating and/or cooling. Moreover priority is given to investments in the thermal envelope over improvements in thermal installations, in line with the Energy Efficiency First principle (and to avoid over-sizing of heating and cooling systems). Measure 2.10. District heating and cooling networks and Measure 2.12 District heat and cooling networks in the tertiary sector : a significant potential has been estimated for district heating and cooling, whereas the existing heating and cooling networks supplied only 0.5 GWh of heat and 0.18 GWh of cold in 2022. District cooling (supplied with geothermal energy and large heat pumps) is presented as a more consistent option than individual heat pumps that increase urban heat islands, peak loads, provide less flexibility to the grid (as not well controlled), less well maintained, etc. The planned actions to support the development of district heating and cooling include R&D, feasibility studies, developing favourable legislation/regulation, and financial incentives and public investments. Measure 2.11. Energy efficiency in buildings in the tertiary sector: including among others, the Royal Decree-Law 14/2022 (limiting cooling setpoint temperature to a minimum of 27°C + air-conditioned rooms with access to the street must have a door that closes automatically), PIREP (Programme to Promote the Renovation of Public Buildings) and the 2022 Plan of energy saving and efficiency measures in the General State Administration. Eligible actions include the same types as the programmes for residential buildings (sun shading, etc.). Measure 2.13 Energy efficiency in cold generating equipment and large air conditioning installations in the tertiary sector and public infrastructure: among other cooling equipment/needs, this measure targets large air-conditioning installations (i.e. over 70 kWe) for buildings in the tertiary sector (airports, hospitals, shopping centres, offices, etc.). This measure includes the National Market Surveillance Strategy adopted in 2022, that includes the Sectoral Plan for Market Surveillance of Energy Labelling, as well as the promotion of efficient cooling systems as part of the renovation programme for tertiary buildings (PREE Terciario)
Section 3.4.4 Energy poverty
Is any policy measure about energy poverty dealing with 'summer energy poverty'? | Yes, indirectly
Details / explanations | Measure 4.2 'Fight against energy poverty' refers to Measures 2.6 and 2.7 about renovation programmes. These programmes are not fully dedicated to tackle energy poverty, however their provisions specify that "interventions in energy-poor households have higher aid rates". Moreover, the actions eligible to these renovation programmes include actions relevant to sustainable space cooling (e.g. sun shading, efficient cooling and ventilation systems, free cooling; see above about measure 2.6). However, the draft NECP update does not mention explicitly the issue of energy poverty related to summer comfort.
Section3.5 Dimension research, innovation and competitiveness (particularly in point (i))
Any mention about research or innovation related to cooling and related aspects? | Not found
Details / explanations
Parameters and variables to be reported in Part B (often in a separate annex)
Point 1(13): Cooling Degree Days
Details / explanations | "As regards heating and cooling days, these parameters have not been used in the modelling, and therefore the projections provided by the European Commission have not been used" (p.399)
Other sections of the NECP
Is space cooling mentioned or addressed in other sections of the NECP? | Yes, directly
Details / explanations | The description of the modelling used to develop the scenario / projection for 2021-2030 mentions that cooling is included in the modelling as a distinct end-use, and more specifically that aerothermal, geothermal and hydrothermal heat pumps, solar cooling and absorption machines have been modelled. Likewise, the details about the modelling/scenario include that "For F-gas emissions from refrigeration and air-conditioning activities, foaming agents, fire-fighting equipment have been projected in accordance with the F-gas Regulation UE/517/2014 targets that aim to reduce emissions in 2010 by 2/3 and F-gas sales in 2014 by 79 % by 2030."
Complementary information about financing schemes promoting building renovation (in point (i) and/or (ii) of section 3.2 of the draft NECP update)
Does the draft NECP update provide information about schemes for building renovation? | Yes, vaguely
General comments | The umbrella measures for building renovations (measures 2.6 for residential and 2.11 for tertiary buildings) mention the programmes currently implemented and their budget, but no other specific detail about each is provided. Nevertheless, the details about the umbrella measures provide the general approach and what action types are eligible (see above).
PREE (Programme of Aid for Energy Renovation Actions in Existing Buildings) | continuation of PAREER-CRECE and PAREER II, budget of 402 million euros for 2020-2023
PREE 5000 Programme (Energy Renovation Programme for existing buildings in municipalities facing demographic challenges) | budget of 200 million euros for 2020-2023
Rehabilitation programme for economic and social recovery in residential settings | special programme part of the PRTR, budget of 3.4 billion euros for 2020-2023 including 2 programmes mainly dedicated to the energy renovation of buildings owned by the local and Autonomous Communities (local PIREP with 600 million euros, and PIREP for Autonomous communities with 480 million euros)
Energy Transition Plan in the General State Administration | 664.5 million euros for the energy renovation of buildings owned by the State administration
Regeneration and Demographic Challenge Programme (DUS 5000) | 68 million euros (i.e. 10% of the budget) earmarked for the energy renovation of tertiary buildings in the targeted areas
PREE Terciario | new programme launched in 2023 for the energy renovation of tertiary buildings, with a budget of 100 million euros from the FNEE
Note on A48: add here the name of the scheme
Note on A49: add here the name of the scheme
Note on A50: add here the name of the scheme
Note on A51: add here the name of the scheme
Note on A52: add here the name of the scheme
Note on A53: add here the name of the scheme

## CA2020
COUNTRY: | Spain
Review of the Comprehensive Assessment 2020
The parts / sections mentioned below are the ones listed in Annex VIII of the initial Energy Efficiency Directive 2012/27/EU (as amended by regulation (EU) 2019/826)
Back to Table of Contents |  | Comprehensive Assessements available at: | https://energy.ec.europa.eu/topics/energy-efficiency/heating-and-cooling_en#comprehensive-assessments-on-efficient-heating-and-cooling
Criteria | Yes/No categorisation | Explanations / comments
Information reported on Part II (Objectives, strategies and policy measures)
Point 5: planned contribution of the Member State to its national objectives and targets (through efficiency in heating and cooling)
Any objective/target in terms of reductions of GHG emissions specifically from cooling? | No, only jointly for heating and cooling | The expected reduction in GHG emissions from heating and cooling by 2030 vs. 1990 represent 24% of the total reductions of GHG emissions to meet Spain's climate target for 2030, based on the first NECP (no further disaggregation of this objective in the comprehensive assessment) A similar estimate is made from the Long-Term Strategy about reduction in GHG emissions in 2050 vs. 1990: 16% of this reduction would come from reductions in the emissions related to heating and cooling.
Any objective/target in terms of share of RES specifically from cooling? | No, only jointly for heating and cooling | Objective of a share of 31.23% of renewable energy in gross final energy consumption for heating cooling in 2030 (with intermediate target for 2025), based on the first NECP (no further disaggregation of this objective in the comprehensive assessment)
Any objective/target in terms of contribution specifcally from cooling to the energy efficiency target | No, only jointly for heating and cooling | Estimation that 40 to 45% of the expected energy savings to meet the 2030 target would come from heating and cooling, based on the difference between a reference and target scenarios used in the NECP (no further disaggregation of this objective in the comprehensive assessment)
Other objectives/targets mentioned about or relevant to cooling? | No, only jointly for heating and cooling | Estimation of expected energy savings in heating and cooling for Spain's energy savings obligation for 2021-2030 (Article 7 EED): 14 124 ktoe (i.e. 38% of the expected cumulative savings for 2021-2030) (no further disaggregation of this objective in the comprehensive assessment, and very likely that most of these savings are related to heating) Reference to Spain's Long-Term Renovation Strategy (ERESEE 2020) that estimated that 91.8% of the energy savings in housing sector for 2020-2050 would come from savings in heating and cooling + estimation of expected savings from heating and cooling in housing of 5 063 ktoe (58.9 TWh) and 3 348 ktoe in services (38,9 TWh)
Other comments or explanations related to objectives and targets mentioned in the Comprehensive Assessment (when relevant to how space cooling is addressed)
Point 6: information on existing policies and measures related to heating and cooling
Information about a strategy, umbrella framework or overall planning for heating and cooling? | Not found | The general frameworks mentioned are Spain's Climate Change and Clean Energy Strategy, the Renewable Energy Plan and National Energy Efficiency Action Plan (both now replaced with the NECP). No reference to any strategy or plan specific to heating and cooling. Reminder of the importance of the roles of regions (Autonomous Communities) and local authorities Reference to cross-cutting measures: Carbon Fund for a Sustainable Economy (FES-CO2); Environmental Stimulus Plans (PIMAs); National Energy Efficiency Fund
Information about building regulation(s)? | Yes, but nothing related to space cooling | Brief reference to Spain's Technical Building Code (CTE) and its 'Basic Energy Saving Document', that specifies energy performance requirements for buildings (including the nZEB definition). The comprehensive assessment just reminds that the regulations require the use of efficient thermal installations (i.e. HVAC equipment) to ensure comfort and air quality, and promote the use of RES (but primarily for domestic hot water).
Information about financial incentives for energy efficiency in buildings? | Yes, with info relevant to space cooling | Reference to Spain's Long-Term Renovation Strategy (ERESEE 2020) National programmes for building renovation (PAREER / PAREER-CRECE / PAREER II / PREE / National Housing Plan). The current programme (PREE) is coordinated by IDAE and implemented by the Autonomous Communities. The eligible actions cover the building envelope and heating, ventilation and air-conditioning systems. The Comprehensive Assessment does not enter in the details, but the draft NECP update clarifies that for example sun shading and free cooling can be eligible. The National Housing Plan 2018-2021 included a sub-programme for energy efficiency of dwellings. Eligible actions included building envelope, heating and cooling installations (including air conditioning) and connections to district heating and cooling. + Multiregional Operational Programme 2014-2020 for energy renovations of central government buildings (now PIREP) + JESSICA-FIDAE Fund for projects carried out by ESCos (but unclear whether these projects may deal with space cooling)
Information about measures related to cooling systems (e.g. standards, labelling, incentives)? | Yes, with info relevant to space cooling | Thermal Building Installations Regulation (RITE) setting requirements for systems for heating, air conditioning and domestic hot water. This regulation was under revision to catch up with ecodesign regulations and technological developments. Implementation of the EU regulation on energy labelling for heating and cooling appliances. Specific tax on fluorinated gases ("which has enabled the rapid transformation of this sector, drastically reducing its emissions") And other measures specific to cooling (but probably not about space cooling): Cooling equipment PIMA (2018): incentive for commercial distribution businesses to adopt alternatives to the use of fluorinated gases
Information about measures to develop RES for cooling (or RES for heating&cooling)? | Yes, but nothing related to space cooling | Autonomous Communities' grants for installed capacities for RES for heating and cooling IDAE programmes (but no detail) Financing facilities for energy service companies to install renewable thermal installations in buildings (but mostly related to RES for heating) (ended in 2020, as RES for heating then covered by the renovation programmes PAREER then PREE, see above + support programme for local authorities for exemplary projects (co-funded wih ERDF), with RES for heating and/or cooling, or developing district heating and cooling, among the possible objectives of these projects
Information about measures for district cooling (or district heating&cooling)? | Yes, with info relevant to space cooling | The Thermal Building Installations Regulation also applies to district heating and cooling. + connection to district heating and cooling was among the eligible actions of the National Housing Plan 2018-2020 + support programme for local authorities for exemplary projects (see above, also covering RES for heating and cooling) + cities may have measures to develop district heating and cooling
Information about other type(s) of measure that could be relevant to space cooling? | Yes, but nothing related to space cooling | Brief reference to the Energy Performance Certificates (but nothing specific to space cooling) Brief reference to giving suitable price signals to end consumers, removing barriers to the development of self-consumption, and consumers’ access to data for more efficient management and decision-making About R&D, brief reference to the National Scientific and Technical Research and Innovation Plans, but with no information specific to space cooling solutions.
Summary comments about the policies and measures mentioned in the Comprehensive Assessment (as regards aspects relevant to space cooling) |  | Spain's comprehensive assessment does not mention any national strategy or plan specific to heating and cooling. None of the measure is specific to space cooling. The only measures specific to cooling are about fluorinated gases (so cooling in general, not only space cooling). Then the measures for buildings are usually about their whole energy performance and/or about RES for heating and cooling. For some of the measures for buildings, it is unclear, whether they include actions for space cooling solutions. However, it seems that the scope of the more recent renovation programmes include actions relevant to sustainable space cooling. The set of measures covers cooling devices, buildings and district heating and cooling. The comprehensive assessment does not mention measures about urban heat islands or other measures at urban level (these issues are mentioned in the national adaptation plan). The list of measures covers the main types of policy instruments (regulations, financing schemes, information).
Information reported on Part IV (Potential new strategies and policy measures)
Point 9: overview of new legislative and non-legislative policy measures to realise the economic efficiency potential in heating and cooling
Any reference to a national multi-annual strategy or planning (other than the NECP)? | Yes, but nothing related to space cooling | Reference to the Government’s Energy and Climate Framework, that includes the Climate Change and Energy Transition Act, the NECP, the Just Transition Strategy, the Energy Poverty Strategy, the National Climate Change Adaptation Plan and the Long-Term Strategy for a Modern, Competitive and Climate-Neutral Economy by 2050. But clarifying that the NECP is the umbrella framework for programmes implemented in 2021-2030. Also referring to the Recovery and Resilience Plan that reinforced the existing framework.
Information on development(s) planned or under discussion about regulations for new buildings? | Not found | No information in the comprehensive assessment about possible updates or revisions of the building regulations.
Information on development(s) planned or under discussion about measures for the renovation of existing buildings? | Yes, but nothing related to space cooling | Housing Renovation and Urban Regeneration Plan (part of the Recovery and Resilience Plan - RRP), with the aim to increase renovation rates, and including the two programmes: - extension of PREE (programme for energy renovation of buildings; see existing measures above) - regeneration and demographic challenge, focused on municipalities of less than 5000 inhabitants (PREE 5000), and including energy efficiency of buildings and RES in its scope (together with the deployment of electric mobility). Another budget line of the RRP is about the public authority modernisation initiatives, including the renovation and use of RES in public buildings.
Information on development(s) planned or under discussion about measures for cooling systems (e.g. about standards, labelling, incentives)? | Yes, with info relevant to space cooling | The Thermal Building Installations Regulation was under revision at the time of the comprehensive assessment (2020), to catch up with ecodesign regulations and technological developments.
Information on development(s) planned or under discussion about measures to develop RES for cooling? | Yes, with info relevant to space cooling | One budget line of the RRP is focused on RES. While it is mostly focused on RES for electricity, it also includes a programme for renewable thermal systems in the housing sector (with a scope covering heating, air-conditioning and domestic hot water).
Information on development(s) planned or under discussion about measures to develop district cooling? | Not found | The section on new measures does not mention possible new measures about district heating and cooling.
Information on development(s) planned or under discussion about other type(s) of measure? | Not applicable
Summary comments about policy developments planned or under discussion (as regards aspects relevant to space cooling) |  | The policy framework for 2021-2030 is the NECP. About further measures, the comprehensive assessment mostly presents briefly budget lines and programmes of the Recovery and Resilience Plan that brought additional funding for programmes for building renovation and RES. Very little information is provided about how these programmes would cover space cooling.
Information reported on Part I (Overview of heating and cooling)
Point 1: Heating and cooling demand in terms of assessed useful energy and quantified final energy consumption in GWh per year by sectors
Does the comprehensive assessment include separate data on cooling consumption? | Yes | The model-based assessment estimated the cooling demand (useful energy) in 2018 to 3819 GWh/year in the housing sector, and 22224 GWh/year in the service sector. The corresponding final energy (mostly electricity) consumption in 2018 was estimated to be 1645 GWh/year in housing and 9616 GWh/year in services (i.e. average COP of about 2.3 in both cases). Space cooling would represent 4% in housing and 29.5% in services of the final energy consumption for heating and cooling (i.e. space heating, space cooling and domestic hot water). However, this does not include electricity consumption for fans/ventilators (and likely not for mobile air-conditioning systems either).
Any other more disaggregated data on cooling consumption/demand? | Yes | The disaggregation of the data follows the modelling approach, in terms of building types (housing) or sub-sectors (services). The modelling also differentiates the buildings per construction period, climate zones and rural/urban. Aggregate results also provide data per energy source. As a simplifying description of the rate of air-conditioning equipement, almost all space cooling in housing and services is assumed to be supplied with heat pumps (remaining part from cogeneration would be only 0.04 GWh/year in housing and 57.43 GWh/year in services; which probably overlaps with the few district cooling networks delivering 20 GWh/year in 2018).
Point 3: Map covering the entire national territory identifying heating and cooling demand areas, existing and planned heating and cooling supply points
Does the map / assessment cover cooling demand (or only heating)? | Yes, joint map about heating and cooling | The data available from the map provides the demand for both (heating and cooling) for each area, with data available per main sector (housing, services, industry), and the possibility to select among 3 main building types (for housing) and main sub-sectors/branches (for services). See https://mapadecalor.idae.es/
Point 4: Forecast of trends in the demand for heating and cooling (which is supposed to take into account the expected impacts from the long-term renovation strategy)
Does the comprehensive assessment include separate forecast data on future cooling consumption? | Yes | The projection foresees a very large increase in the cooling demand (useful energy) for the housing sector: 5357 GWh in 2030 (+40% vs. 2018) and 6515 GWh in 2050 (+71% vs. 2018). The increase would be moderate for the service sector: 24020 GWh in 2030 (+8% vs. 2018) and 24909 GWh in 2050 (+12% vs. 2018).
other comment(s) on data about energy consumption/demand or cooling technologies |  | The document makes it clear that more detailed data were available on space heating from the Long-Term Renovation Strategy (ERESEE), but that the ERESEE document did not include detailed data on space cooling. So other sources had to be found/used, mostly data from the SPAHOUSEC study about the housing sector (survey of households), notably about the equipment rate per climate zone. This provided a rate of consumption per m², that was then combined with the areas of main residences from the National Statistics Institute. The combination of consumption per m² and areas was done using a probability distribution of the proportion of dwellings with each technology from the SPAHOUSEC study. It should be noted that all the options considered for space cooling are heat pumps (distinguishing two levels of COP: 2.2 and 2.4, hence the average COP of 2.3).
Information reported on Part III (analysis of the economic potential for efficiency in heating and cooling
Does the analysis deal with cooling as well? | Yes, with detailed analysis | In practice, the CBA is mostly focused on RES technologies for heating and high-efficiency solutions related to CHP and the use of waste heat (in line with the approach of the EED). Nevertheless, the CBA includes solutions that can supply both, heating and cooling: - concentrated solar thermal (with absorption systems, and for the service sector only, cf. minimum capacity of 50 kW): technical potential of 654 GWh/year for cooling in services (probably not limited to space cooling). - air-source heat pumps: technical potential of 3842 GWh/year and 22236 GWH/year for space cooling in housing and services respectively - ground-source heat pump: technical potential of 1807 GWh/year and 5981 GWh/year for space cooling in housing and services respectively - high-efficiency cogeneration (with absorption systems, for the services sector only): 471 GWh/year for cooling - district heating and cooling, technical potentials per technology (mostly for the services sector): 2178 GWh/year for cooling from ground-source heat pumps ; 1178 GWh/year for cooling from concentrated solar power; 19 GWh/year for cooling from industrial waste heat with absorption systems ; 169 GWh/year for cooling from combined-cycle waste heat with absorption systems ; 204 GWh/year for cooling from incineration waste heat with absorption systems ; 127 GWh/year for cooling from incineration waste heat with absorption systems Section 7.1 then provides the results in terms of economic potential per technology, and table 123 in section 8.1 provides the final result in terms of cost-effective potential from society's viewpoint.
Does the comprehensive assessment include cost data about cooling technologies? | Yes | data of CAPEX and OPEX available for the following technologies: - concentrated solar thermal (table 45): CAPEX = EUR 750 per kW ; OPEX = EUR 5.33 per MWh - air-source heat pumps (table 48): CAPEX = EUR 1 370 per kWt (≤50 kW), EUR 850 per kWt (>50 kW) ; EUR 16 per MWh (≤ 50 kW), EUR 10 per MWh (> 50 kW) - ground-source heat pump (table 51): CAPEX = EUR 2 250 per kWt (≤50 kW), EUR 1 750 per kWt (>50 kW) ; OPEX = EUR 16 per MWh (≤ 50 kW), EUR 10 per MWh (> 50 kW) - high-efficiency cogeneration (with absorption systems) (table 55): CAPEX = EUR 1 000 per kWe (≤5 MW), EUR 1 800 per kWe (< 5 MW) ; OPEX = EUR 15 per MWh (> 5 MW), EUR 20 per MWh (< 5 MW - district heating and cooling (see detailed costs for pipes, exchangers, etc. in section 5.2.6)
other comment(s) on cost data or the cost-benefit methodology
other comment(s) about the comprehensive assessment |  | The CBA clearly ranks air-source heat pump as the most cost-effective option (CBA from society's perspective), among all RES options considered (for heating and cooling). The various options of district heating are all in the last ranks.

## BuildingRegulation
COUNTRY: | Spain |  | Back to Table of Contents
BUILDING REGULATIONS
HOW SPACE COOLING OR SUMMER COMFORT IS ADDRESSED IN THE BUILDING REGULATIONS
DEFINITION(S) (about space cooling or summer comfort; in building regulations)
Data field | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
clear definition(s)? | Yes = an official and clear definition is included Unclear = a definition or some elements close to a definition are included, but this remains vague | Yes | The regulation uses the term "bienestar térmico" (thermal well-being), that is defined in Annex A of CTE-HE, in vague terms (qualitative only). The main objective of the regulation is to ensure that this thermal well-being for the building occupants is achieved with a "rational use of energy". It is put in practice through operational conditions (temperature, humidity, airflow) per main type of building, and distinguishing winter (October to May) and summer (June to September) periods. For residential buildings, these conditions are specified in Annex D of the regulation (see section on temperatures below). | The Technical Building Code (CTE) is the regulatory framework that establishes the basic quality requirements that buildings must meet in relation to the basic safety and habitability requirements established in Law 38/1999 of 5 November, on Building Regulations (LOE). | https://www.codigotecnico.org/DocumentosCTE/AhorroEnergia.html
Definition(s) |  | "Thermal well-being: Indoor conditions of temperature, humidity and air speed established by regulations that are considered to produce an adequate and sufficient sense of well-being for the occupants." "Air-conditioned living space: Living space that needs to maintain certain operational conditions for the thermal well-being of its occupants." | For residential buildings, all indoor spaces of dwellings are considered to be air-conditioned living space, and must meet the operational conditions according to Annex D of the regulation (CTE-HE). It should be noted that the regulation does not specify the operational conditions for non-residential buildings. Instead, the complementary regulation on thermal systems (RITE) specifies a mandatory 'limit setpoint temperatures' (21°C for heating, 26°C for cooling) for certain tertiary buildings. | CTE-HE and RITE | https://www.codigotecnico.org/DocumentosCTE/AhorroEnergia.html
ENERGY PERFORMANCE CALCULATION (energy performance of the building)
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Is space cooling considered in the calculation methodology? | "Yes, in global performance" = when energy demand related to space cooling or summer comfort is taken into account for calculating the global energy performance of the building "Yes, separately" = when energy demand related to space cooling or summer comfort is taken into account only separately (e.g. to set specific requirements on the cooling demand) "Unclear" = when the calculation methology does not make it clear whether and how space cooling would be taken into account | Yes, in global performance | The Technical Building Code (Código Técnico de la Edificación, CTE) specifies all the technical regulations that buildings need to comply with. The part related to energy efficiency requirements is the CTE-DB-HE for energy savings, which covers six criteria including: - CTE-DB-HE0 about the maximum (upper) limit of energy consumption (including heating, cooling, domestic hot water, ventilation, and, where appropriate, lighting): this has been aligned with the nZEB (nearly Zero Energy Buildings) requirement of the EPBD, transposed as maximum limits for total and non-renewable primary energy consumption levels (kWh/m².year) according to the climate zones defined in the building code. - CTE-DB-HE1 about the conditions for the control of energy demand, that include the requirements on thermal insulation (depending on the climate zones) - CTE-DB-HE2 about the conditions for thermal systems (including cooling systems). The calculation procedure must allow the energy consumption of final energy to be broken down based on the energy vector used (type of fuel or electricity) to satisfy the energy needs of each of the technical services (heating, cooling, DHW, ventilation, and, where appropriate, lighting). | Technical Building Code (CTE) / Basic Document (DB) establishing rules and procedures to meet the basic requirements of energy saving. | DBHE.pdf (codigotecnico.org)
Any difference between residential and non-residential? |  | Yes | Lighting needs to be considered only in uses other than private residential. Operational conditions to ensure minimum comfort are specified for residential buildings, but not for non-residential buildings. Instead, limit setpoint temperatures are specified in RITE for certain non-residential buildings. | Basic Document (DB) establishing rules and procedures to meet the basic requirements of energy saving. | DBHE.pdf (codigotecnico.org)
MINIMUM ENERGY PERFORMANCE REQUIREMENTS
Any requirement in terms of maximum allowed cooling demand? | (more details and other type(s) of requirements can be described below, per type of building) | not found | Generally, there is no specific requirement for the maximum allowed cooling demand. However, there is a 'limit setpoint temperature' (26°C) for the use of cooling systems in certain tertiary buildings.
1) NEW BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone | Global only | The total primary energy consumption of buildings (including cooling) shall be limited depending on the climate zone of their location, the use of the building and, in the case of existing buildings, the scope of the intervention. There is no specific requirement on the energy consumption from space cooling. The methodology to assess the energy performance of the building (and thereby if the requirement is met) takes into account the energy consumption to meet the cooling needs over June to September. This assessment is first in final energy consumption. Conversion factors (final to primary) are therefore provided by the regulation. The conversion factor for electricity has a strong influence on how energy consumption due to cooling weights in the total primary energy consumption. The reference cooling system considered to cover cooling needs has a COP of 2.6. The complementary regulation for thermal systems (RITE) specifies minimum energy performance requirements for cooling systems, in line with the ecodesign regulations, and a limit temperature for the use of cooling systems in certain tertiary buildings. | Basic Document (DB) establishes rules and procedures to meet the basic requirements of energy saving. | https://www.codigotecnico.org/pdf/Documentos/HE/DBHE.pdf
Details about the requirements for new residential buildings |  | No specific requirement for space cooling, but operational conditions specifying that cooling systems are needed when the indoor temperature exceed 25 or 27°C, depending on the time of the day (cooling demand assessed accordingly in the overall energy performance of the building). | For residential buildings, all indoor spaces of dwellings are considered to be air-conditioned living space, and must meet the operational conditions according to Annex D of the regulation (CTE-HE). Annex D sets the summer period (June to September) for which a standard setpoint temperature is defined to meet thermal well-being (i.e. cooling systems are needed when the indoor temperature exceed 25°C during the afternoon or 27°C during the night)
Details about the requirements for new non-residential buildings |  | No specific requirement for space cooling, and no operational conditions specified in the part of the building code dealing with the energy performance of the building (CTE-HE). However, a limit setpoint temperature for the use of cooling systems is specified in the complementary regulation for thermal systems (RITE). | Annex D about operational conditions does not apply to non-residential buildings. However, the RITE specifies that the setpoint cooling temperature shall not be lower than 26°C (this was temporarily changed to 27°C during the energy crisis 2022-2023).
Other main requirements related to space cooling or summer comfort
2) EXISTING BUILDINGS
Details | Details on the data field (Wiki) | Values / information | Explanations / comments | SOURCE(S) / REFERENCE(S) | LINK
Are there requirements related to space cooling or summer comfort? | "Global and specific" = requirements set on total energy demand (including cooling) and on space cooling alone "Global only" = requirements set only on total energy demand (including cooling) "Specific only" = requirements set only on space cooling alone | Global only | The same requirements as for new buildings apply to major renovations. | Basic Document (DB) establishes rules and procedures to meet the basic requirements of energy saving. | https://www.codigotecnico.org/pdf/Documentos/HE/DBHE.pdf
Details about the requirements for existing residential buildings |  | 40-80 depending on the climate zone | The same requirements as for new buildings apply to major renovations.
Details about the requirements for existing non-residential buildings |  | 70 + 8 · CFI 55 + 8 · CFI 50 + 8 · CFI 35 + 8 · CFI 20 + 8 · CFI 10 + 8 · CFI AND CFI: Carga interna media [W/m2] | The requirement about the use of space cooling (limit setpoint temperature), applies to new and existing buildings for building usages defined in the RITE regulation: administration, commercial (shops, etc.), public attendance, cultural and entertainment, restaurants and bars, airports and transport stations.
Other main requirements related to space cooling or summer comfort
REGULATIONS (OR STANDARD VALUES) ABOUT THE USE OF SPACE COOLING
SETPOINT and/or COMFORT INDOOR TEMPERATURE (when mentioned in regulations, either as mandatory or indicative / standard assumption)
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any comfort indoor temperature(s) defined? | (whatever mandatory or indicative; considering sector coverage, i.e. residential and/or non-residential) | yes for both | Annex D of the main regulation (CTE-HE) specifies the operational conditions corresponding to the thermal well-being to be met in residential buildings. These conditions include maximum indoor comfort temperatures during the summer period (June-September) (and minimum indoor temperatures for the winter period, October-May). This corresponds to the standard setpoint temperatures, i.e. the activation temperature of the heating (low setpoint) and cooling (high setpoint) equipment. For non-residential buildings, the complementary regulation for thermal systems (RITE) specifies the limit temperatures when space cooling systems are used (i.e. lowest allowed cooling setpoint temperature, binding). | Basic Document (DB) establishes rules and procedures to meet the basic requirements of energy saving. | https://www.codigotecnico.org/pdf/Documentos/HE/DcmHE.pdf
type of value | "minimum not to exceed" = mandatory, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand | indicative | The indoor design conditions of operating temperature and relative humidity shall be set on the basis of the metabolic activity of individuals, their level of clothing and the estimated percentage of dissatisfied (PPD) | Basic Document (DB) establishes rules and procedures to meet the basic requirements of energy saving. | https://www.codigotecnico.org/pdf/Documentos/HE/DcmHE.pdf
value (in °C) (residential) |  | 25 or 27°C | 25°C during daytime, 27°C during night time (exact time periods specified in Annex D of CTE-HE). | Basic Document (DB) establishes rules and procedures to meet the basic requirements of energy saving. Annex D Operational conditions and usage profiles | https://www.codigotecnico.org/pdf/Documentos/HE/DcmHE.pdf
type of value |  | minimum not to exceed
value (in °C) (non-residential) |  | 26°C | 26°C is the usual lowest setpoint cooling temperature allowed by the regulation (RITE). The Royal Decree-Law 14/2022 introduced extraordinary energy saving measures, temporarily amending paragraph 2 of the RITE IT.3.8.1 for certain non-residential buildings until 1/11/2023, limiting the heating temperature to maximum 19 °C and cooling temperature to a minimum of 27 °C. In addition, air-conditioned rooms that have access to the street must have a door that is automatically closed. | Royal Decree-Law 14/2022
COOLING SEASON
Details | Details on the data field (Wiki) | Values / information | Explanations | SOURCE(S) / REFERENCE(S) | LINK
any requirement related to the annual duration for which the standard comfort would not be met or would require extra cooling demand? | (considering sector coverage, i.e. residential and/or non-residential) | yes for residential only | Annex D of the regulation, specifying operational conditions for thermal well-being (and thereby winter/summer periods), applies to residential buildings only.
some kind of cooling season defined? (i.e. period when cooling is allowed and/or standard cooling period used as assumption in modelling, contracts, etc.) | "mandatory" = to be complied with, may be controlled ; "indicative" = recommended value, or value used for standardised modelling of the cooling demand | indicative | This is the period considered for the assessment of the cooling demand when applying the methodology of the building code to assess the energy performance of the building.
details about the cooling season | (e.g. period/duration, exceptions / cases not subject to limitation of use, etc.) | June to September | See above | Basic Document (DB) establishes rules and procedures to meet the basic requirements of energy saving. Annex D Operational conditions and usage profiles | https://www.codigotecnico.org/pdf/Documentos/HE/DcmHE.pdf
REGULATIONS FOR COOLING OR AIR-CONDITIONING SYSTEMS
MAINTENANCE AND INSPECTION OF AIR-CONDITIONING SYSTEMS (implementation of Article 15 of EPBD)
MANDATORY INSPECTIONS or ALTERNATIVE APPROACH (implementation of EPBD Art.15(1) and (3)) |  | June to September
Details | Details on the data field (Wiki) | 2h | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Approach used to implement Art.15 of the EPBD (inspection of large aid-conditioning systems) | "mandatory regulary inspections" = Art.15(1) "alternative approach" = Art.15(3) (alternative information measures) "unclear" = when no official reporting available about implementation of Art.15 | 20 | Thermal installations and, in particular, their heat and cold generation equipment and solar thermal installations will be periodically inspected throughout their useful life, in order to verify compliance with the energy efficiency requirement of RITE | Royal Decree 1027/2007, of July 20, 2007, approving the Regulation on Thermal Installations in Buildings.CHAPTER VI Conditions for the use and maintenance of the installation | https://www.boe.es/eli/es/rd/2007/07/20/1027/con
Sector coverage / differences | Are the provisions to implement Art.15 covering both, residential and non-residential buildings? And in the same way? | 20h |  | Royal Decree 1027/2007, of July 20, 2007, approving the Regulation on Thermal Installations in Buildings.CHAPTER VI Conditions for the use and maintenance of the installation | https://www.boe.es/eli/es/rd/2007/07/20/1027/con
Scope for the mandatory inspections or alternative measures | Size threshold(s) (e.g. effective rated output of 70 kW set in Art.15, but it can be lower in national regulations), and whether different thresholds apply according to building segments or types of provisions + possible exemptions | 0 | Thermal installations will make it possible to maintain acceptable indoor air quality in premises occupied by people, eliminating pollutants that are commonly produced during normal use, providing a sufficient flow of outside air and guaranteeing the extraction and expulsion of stale air | Royal Decree 1027/2007, of July 20, 2007, approving the Regulation on Thermal Installations in Buildings. | https://www.boe.es/eli/es/rd/2007/07/20/1027/con
Details about the mandatory inspections or alternative measures | Short description about the main provisions in national regulations to implement EPBD Art.15(1) or (3) | 1,32 |  | Royal Decree 1027/2007, of July 20, 2007, approving the Regulation on Thermal Installations in Buildings.CHAPTER VII Conditions for the use and maintenance of the installation | https://www.boe.es/eli/es/rd/2007/07/20/1027/con
Requirements on BACS or other monitoring systems (implementation of EPBD Art.15(4) and (5)) |  | 0
Details | Details on the data field (Wiki) | June to September | Explanations | SOURCE(S) / REFERENCE(S) | LINK
Regulation on BACS (Building Automation and Control System) for large AC in non-residential buildings (EPBD Art.15(4)) | "Already in force" = requirements on BACS already in force "Deadline set" = deadline of 2025 (or earlier) including in legislation "Provision planned" = legislation not yet adopted, but planned "Unclear" = no official information found on national implementation of Art.15(4) | Already in force |  | Royal Decree 1027/2007, of July 20, 2007, approving the Regulation on Thermal Installations in Buildings. | https://www.boe.es/eli/es/rd/2007/07/20/1027/con
Provisions on monitoring systems for AC in residential buildings (EPBD Art.15(5)) | "Mandatory requirements" = a regulation set mandatory requirements "Other types of measures" = no mandatory requirement, but informative or other type(s) of measure(s) promoting the use of monitoring systems | Mandatory requirements |  | Royal Decree 1027/2007, of July 20, 2007, approving the Regulation on Thermal Installations in Buildings. | https://www.boe.es/eli/es/rd/2007/07/20/1027/con
Details about provisions on BACS and other monitoring systems | Short description about the main provisions in national regulations or policies to implement EPBD Art.15(4) and (5) | Generally, there are no requirements for existing buildings, with the exception of deeply renovated buildings. New buildings and deeply renovated buildings have some minimum requirements regarding BEMS (Building energy management systems). These requirements are determined according to the use of the building. |  | Royal Decree 1027/2007, of July 20, 2007, approving the Regulation on Thermal Installations in Buildings. | https://www.boe.es/eli/es/rd/2007/07/20/1027/con

## Public Schemes
ID | Country | Level | Scheme Name (EN) | Scheme Name (local) | Building Eff | H&C Eff | H&C RES | DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Start-End Year | Description | Rephrase | Budget | Above 500 characters | Start | End Year | Geothermal | Cooling | Air conditioning | Supported measures | Total Budget | Yearly Budget
335 | Spain | Regional | Program for the thermal renovation of buildings (PREE) (Basque Country, Cantabria, Castilla y León, Valencia, Madrid, Navarra) | Programa de subvenciones a la rehabilitación energética para edificios existentes (PREE) (Euskadi, Cantabria, Castilla y león, Valencia, Madrid, Nabarra) | Y | Y | Y |  | Y | Y | Y | Grant/Subsidy | https://www.euskadi.eus/ayuda_subvencion/2021/eve-programa-pree-5000-es/web01-tramite/es/ | https://instalacionesyeficienciaenergetica.com/ayudas-y-subvenciones-eficiencia-comunidades-autonomas/ | 2022-2024 | Energy rehabilitation program for existing buildings in municipalities with demographic challenges in the Autonomous Community of the Basque Country (PREE), amounting to 1,554,450 Euros. Improvement of energy efficiency and use of renewable energies in thermal installations for heating, air conditioning, refrigeration, ventilation and sanitary hot water. |  |  | 0 | 2019 | 2023 (likely to reopen) | #VALUE! | #VALUE! | 289
336 | Spain | National | (Program for the thermal renovation of buildings for municipalities with less than 5000 inhabitants) PREE 5000 | PREE 5000. Rehabilitación energética de edificios en Municipios de reto demográfico (municipios con hasta 5.000 habitantes) | Y | Y | Y | Y | (Y) | Y | Y | Grant/Subsidy | https://www.idae.es/ayudas-y-financiacion/para-la-rehabilitacion-de-edificios/programa-pree-5000-rehabilitacion |  | 2019-2023 (likely to be prolongued in 2024) | Energy rehabilitation program for existing buildings in municipalities with demographic challenges, municipalities with up to 5,000 inhabitants, which concentrate 5.7 million people, 12% of the total population. Program budget of 129,134,965 Euros until 2023, which may be increased. |  |  | 0 | 2017 | ongoing | #VALUE! | #VALUE! | #VALUE!
337 | Spain | Regional | Incentive Program for the Sustainable Energy Development of Andalusia (Andalusia) | Programa de incentivos para el Desarrollo Energético Sostenible de Andalucía (Andalucía) | Y | Y | Y | (Y) | Y | Y | Y | Grant/Subsidy | https://www.agenciaandaluzadelaenergia.es/soporteinteractivoOrden/actuaciones-incentivables/actuaciones-incentivables-por-tipo-de-beneficiario/ | https://instalacionesyeficienciaenergetica.com/ayudas-y-subvenciones-eficiencia-comunidades-autonomas/ | 2017-Ongoing | Incentive Program for Energy Development incentive different energetical sustainable actions, like thermal insulation, advanced solutions for reducing energy demand, basic and advanced thermal power generation, hot air or water generation systems using high-performance biomass high-performance biomass equipment, etc... |  |  | 0 | 2021 | 2022 | #VALUE! | #VALUE! | 216
338 | Spain | National | (Support for investments in local clean energy projects in municipalities with less than 5000 inhabitants) DUS5000 | Programa DUS 5000. Ayudas para inversiones a proyectos singulares locales de energía limpia en municipios de reto demográfico. | (Y) | Y | Y | Y | Y |  | Y | Grant/Subsidy | https://www.idae.es/ayudas-y-financiacion/programa-dus-5000-ayudas-para-inversiones-proyectos-singulares-locales-de |  | 2021-2022 | The DUS 5000 PROGRAMME, has a budget allocation of 675,000,000 euros and will finance energy efficiency projects in public buildings and infrastructure, promoting green investments and, in particular, self-consumption, as well as sustainable mobility, facilitating modal shift and ensuring the participation of municipalities in the deployment of recharging infrastructure |  |  | 0 | 2019 | 2023 (likely to reopen) | #VALUE! | #VALUE! | #VALUE!
339 | Spain | Regional | Installation of thermal renewable energies in the residential sector within the framework of the recovery plan (Galicia). | Realización de instalacións de enerxías renovables térmicas no sector residencial no marco do plan de recuperación (Galicia). |  |  | Y |  | (Y) | Y | Y | Grant/Subsidy | https://www.inega.gal/subvencions/subvencions/Energiasrenovables/2021/ficha_renovables2021_0008.html |  | 2021-Ongoing | Renewable thermal energy installation projects in the residential sector. BIOMASS. GEOTHERMAL, HYDROTHERMAL, AEROTHERMAL, SOLAR. Incentive program 6: implementation of thermal renewable energy installations in the residential sector. |  |  | 0 | 2021 | ongoing | 84 | #VALUE! | #VALUE!
340 | Spain | National | Renocoge Program: Order TED/641/2023 | Programa Renocogen: Orden TED/641/2023 |  | Y | Y | (Y) | (Y) | (Y) | Y | Grant/Subsidy | https://www.idae.es/index.php/ayudas-y-financiacion/programa-renocogen |  | 2023-Ongoing | Which establishes the regulatory bases for the calls of the incentive program for electricity and heat production projects from renewable energies to replace production from fossil fuels. Under the Recovery, Transformation and Resilience Plan. |  |  | 0 | 2023 | ongoing | #VALUE! | #VALUE! | #VALUE!
341 | Spain | Regional | Grants for energy renovation of buildings (Navarra) | Ayudas para la rehabilitación energética de edificios (Navarra). | Y | Y | Y |  |  | Y | Y | Grant/Subsidy | https://www.navarra.es/es/tramites/on/-/line/ayudas-para-la-rehabilitacion-energetica-de-edificios |  | 2022-2023 (likely to be prolongued in 2024) | Se conceden ayudas para actuaciones de mejora acreditada en la eficiencia energética o rehabilitación de edificios, con especial atención a la envolvente edificatoria en edificios de tipología residencial colectiva, en edificios de uso predominante residencial. |  |  | 0 | 2022 | 2023 (likely to reopen) | #VALUE! | #VALUE! | #VALUE!
342 | Spain | National | Program to enhance energy efficiency and sustainability in houses | Programa de fomento de la mejora de la eficiencia energética y la sostenibilidad en viviendas | Y | Y |  |  |  | Y |  | Grant/Subsidy | https://www.mitma.gob.es/arquitectura-vivienda-y-suelo/programas-de-ayudas-a-la-vivienda/programa-de-fomento-de-eficiencia-energetica-y-sostenibilidad-en-viviendas | https://www.mitma.gob.es/vivienda/plan-estatal-de-vivienda/plan-2022-2025/enlaces-a-ccaa-ceuta-y-melilla | 2022-2025 | To regulate grants for works to improve energy efficiency and sustainability of single-family homes and collective residence buildings. For more information on grants, please contact your Autonomous Community in the second link. |  |  | 0 | 2022 | 2025 | #VALUE! | #VALUE! | #VALUE!
343 | Spain | National | Energy efficiency obligation scheme (White certificates) | Obligaciónes de eficiencia energética (Certificados blancos) | Y | Y | (Y) | (Y) | (Y) | (Y) | Y | Energy efficiency obligations | https://magnuscmd.com/a-practical-guide-to-eecs-the-certificates-that-will-monetize-efficiency-projects/#:~:text=The%20Energy%20Efficiency%20Certificate%20System,energy%2Dintensive%20production%20and%20limit | https://ensmov.eu/wp-content/uploads/2020/06/ENSMOV_Snapshot_EEOS_provisional.pdf | 2023-ongoing | The Energy Efficiency Certificate System (EECs) was introduced in 2023. Aligned with the "Fit for 55" package and Law 18/2014, it aims to finance national energy efficiency initiatives. The EECs measure savings in kWh/year, linked to specific actions and validated by accredited entities. Obligated Subjects and Delegated Subjects play key roles, with verification by accredited entities, issuance by Autonomous Regions, and oversight by the National Coordinator. EECs allow settling obligations, providing a market for owners and investors while promoting energy efficiency and reducing environmental impact. Challenges include precision in measurement and upcoming regulations. |  |  | 1 | 2023 | ongoing | #VALUE! | #VALUE! | #VALUE!
344 | Spain | National | Subsidies for geothermal (Ivace) and other renewables (Valencia) | Valencia, Spain offers subsidies for geothermal, other renewables |  |  | Y | Y | Y | Y | Y | Grant/Subsidy | https://www.districtenergy.org/blogs/district-energy/2024/01/16/valencia-spain-offers-subsidies-for-geothermal-oth | https://www.ivace.es/index.php/es/ | 2022-2024 | Projects that utilize geothermal energy, hydrothermal energy, aerothermal energy, solar thermal energy, or biomass can apply for the grant. District heating and/or cooling micro-grid projects are also eligible. |  |  | 0 | 2022 | 2024 | 1 | 1 | #VALUE!

## Private Schemes
ID | Country | Level | Scheme Name (EN) | Scheme Name (local) | Provider (Bank/ Investment Firm) | Building Eff | H&C Eff | H&C RES | DHC | Geo DHC | Cooling | Residential | Non-Residential | Scheme Type | Main Link | Other Links | Description | Notes
189 | Spain | National | Santander Energy Efficiency Loan | Préstamo Eficiencia Energética | SANTANDER | Y | Y | Y |  |  | Y | Y |  | Green Loan | https://www.bancosantander.es/santander-sostenible/prestamo-verde-eficiencia-energetica#:~:text=El%20Pr%C3%A9stamo%20Eficiencia%20Energ%C3%A9tica%20es,la%20compra%20de%20electrodom%C3%A9sticos%20sostenibles. |  | Energy Efficiency Loan. Improve your home's certification. Dispose of up to €100,000 and use it for whatever you need. Pay it back in up to 7 year. Fixed annual nominal interest rate: 4% with a commission of opening financed: 1%. Installation of solar panels and batteries. Heating, cooling and hot water. Insulation of facades and building envelopes.
190 | Spain | National | PF4EE Santander | SANTANDER ENERGY EFFICIENCY FL - PF4EE | SANTANDER | Y | Y | Y | (Y) | (Y) | Y |  | Y | Green Loan | https://www.eib.org/en/projects/pipelines/all/20150531 |  | Energy Efficiency Loan FL - PF4EE. Dispose of up to €50,000,000. Financing existing hotels and other buildings for tourist accommodation in Spain. The investments involve a variety of measures such as improvements to the building envelope, heating and cooling systems, energy-efficient lighting, energy-management systems, solar heaters, etc...
191 | Spain | National | Caja Rural Navarra green mortgages | Caja Rural de Navarra emisión 'verde' de cédulas hipotecarias | Caja Rural Navarra | Y | (Y) | (Y) |  |  | (Y) |  | Y | Green mortgage | https://www.diariodenavarra.es/noticias/negocios/economia/2022/02/07/caja-rural-navarra-lanza-emision-verde-cedulas-hipotecarias-500-millones-euros-7-anos-516608-1033.html | https://www.cajaruraldenavarra.com/es/sostenibilidad | Mortgage dispose of up to €500,000,000 and use it for whatever you need, for green label buildings. Pay it back in up to 7 year. Refinance the construction, acquisition or renovation of energy-efficient buildings. In order to align with European regulations.
192 | Spain | National | BBVA Green Loan for HOAs | Préstamo Eficiencia Energética Comunidades de Propietarios | BBVA | Y | Y | Y |  |  |  | Y |  | Green Loan | https://www.bbva.es/empresas/productos/financiacion/prestamo-eficiencia-energetica-comunidad-propietarios.html |  | Intended for homeowners' communities with a minimum of 8 homes in buildings. Dispose of up to €1,000,000 and pay it back in up to 10 years. Interest rate of 5.60% or more. For investment projects aimed at energy savings and efficiency (rehabilitation of facades, roofs, installation of solar panels, lighting, boilers, enclosures, etc.).
193 | Spain | National | Sustainable Building | Edificio +Sostenible | Ibercaja | Y | Y | Y |  |  |  | Y | Y | Green Loan | https://www.ibercaja.es/particulares/hipotecas-prestamos/prestamos/prestamo-edificio-sostenible/ |  | It is possible to finance up to 100% of the project and save on your energy consumption in a sustainable way. Improvement of the thermal envelope of facades and roofs. Substitute conventional energy by installing renewable energy generation systems in the building for shared electric self-consumption and to achieve maximum efficiency.

## Adaptation
COUNTRY: | Spain
Review of the NAS/NAP
Back to Table of Contents
Part 1 - Climate haxard/ Key topic of measures
Details / explanations | • Wildfire • Storm (including blizzards dust and sandstorms) • Heavy precipitation (rain hail snow/ ice) • Subsidence • Temperature variability • Water scarcity • Solifluction • Water quality deterioration
Part 2 - Adaptation priorities
Details / explanations | • Reinforce systematic observation, regionalised climate change projections and climate services. • Knowledge generation on impacts, risks and adaptation, methodologies and tools to analyse impacts of climate change. • Strengthening adaptation capacities. • Identify the main climate change risks and support implementation of adaptation measures. • Integrate adaptation into public policies. • Promote the involvement of all interested actors, governments, private sector, social organisations and the general public, to actively contribute to address climate change risks. • Strengthen governance on adaptation. • Fulfil and develop the commitments acquired by Spain in the EU and international context. • Promote the monitoring and evaluation of adaptation policies and measures.
Part 3 - NAS/NAP
Publication report (year) | NAS 2021-2030 NAP 2014-2020
NAS/NAP Objectives | • Strengthen the systematic observation of climate climate observation, updating of regional climate change projections and the development of climate services. • Promote a continuous and cumulative process of knowledge generation on impacts, risks and adaptation in Spain and facilitating its transfer to society, reinforcing the development of methodologies and tools to analyse the potential impacts of potential impacts of climate change. • Promote the acquisition and strengthening of capacities for adaptation. • Identify the main risks of climate change for change taking into account their nature, urgency and magnitude into account their nature, and promote the definition and implementation of the adaptation measures. • Integrate adaptation into public policies. • Promote the participation of all stakeholders, including the different levels of administration, the private sector, non-profit organisations and citizens as a whole, so that they actively contribute to the construction of responses to climate change risks. • Ensure administrative coordination and strengthen governance on adaptation. • To implement and develop the commitments acquired in the European and international context. • Promote the monitoring and evaluation of adaptation policies and measures.
NAS/NAP Key Measures (related to the keywords) | • Foster the coordination of observation activities in Spain, adapt operating protocols, standardize data dissemination formats, incorporate satellite information and promote citizen science climate observation initiatives. • Provide the most detailed and up-to-date information possible on adverse atmospheric phenomena that may affect Spain and to coordinate between the meteorological observation systems associated with warnings of adverse meteorological phenomena and the disaster risk preparedness system. • Make the regionalised climate scenarios (PNACC-Scenarios) available to all interested parties through appropriate and versatile tools, such as scenario viewers or user-oriented data download tools. • Promote the development of climate services oriented towards decision-making through the preparation and delivery of meteorological and climatic information useful for the planning and sustainable management of resources in institutional and economic sectors sensitive to the weather and climatic conditions. • The dissemination of information on the available tools and training for the proper use of the tools and climate data, through the development of methodological guidelines, examples of good practices and training actions. • Integration of climate change into the national health and environment plan. • Identify preventive actions and provide information on the temperature thresholds that trigger mortality due to heat in different areas of Spain. • Integartion of adaptation to climate change in hydrological planning and the management of the integral water cycle, drought, and flood risks. • Provide actions to improve the state of water bodies and aquatic ecosystems, with impact on groundwaters. • Planning and management of protected areas with adaptive criteria and improve the adaptive capacity for green infrastructure..
Part 4 - Good Practice
Campaigns | Spain has launched its annual plan to alert vulnerable people about heatwaves during the summer. The initiative from the Health Ministry has run for 20 years and will be active with a new feature will be meteoalert zones kicking in fwhich will be a reference map for extreme heat warnings. https://adaptecca.es/en/autonomous-communities National Plan for Preventive Actions for the Effects of Excess Temperatures on Health. The main purpose of the Plan is to alert to the local governments and residents in advance when the remperatures are set to get dangerously high. There are four risk levels: level 0 (green), no risk; level 1 (yellow), low risk; level 2 (orange), medium risk, and level 3 (red), high risk. Based on these, the authorities can advice citizens on the appropriate safety measures. https://www.sanidad.gob.es/areas/sanidadAmbiental/riesgosAmbientales/temperaturasExtremas/planAltasTemperaturas/home.htm https://www.sanidad.gob.es/en/home.htm
Energy sector | White roof, innovative solar shadings and bioclimatic design in Madrid. This new IMDEA building in Madrid incorporates both mitigation and adaptation solutions such as bioclimatic design, water-saving systems, and renewable energy. With a focus on energy efficiency and resource sustainability, it exemplifies integrated climate-resilient construction. https://climate-adapt.eea.europa.eu/en/metadata/case-studies/white-roof-innovative-solar-shadings-and-bioclimatic-design-in-madrid
Housing sector | Map of health risk levels by provinces https://www.sanidad.gob.es/en/excesoTemperaturas2024/provincias.do

## List
Summary and NECP
YesNotFound | EnergyPoverty | Renovation
Yes, directly | Yes | Yes, with clear information
Yes, indirectly | No assessment | Yes, vaguely
Not found | Not found | Not found
Comprehensive Assessments
Targets | PoliciesMeasures | Consumption | YesNotfound | Map | EconomicAnalysis
Yes, specific to cooling | Yes, with info relevant to space cooling | Yes, per sector | Yes | Yes, separate map about cooling | Yes, with detailed analysis
No, only jointly for heating and cooling | Yes, but nothing related to space cooling | Yes, but total only | Not found | Yes, joint map about heating and cooling | Yes, with rough analysis only
No clear target | Not found | No (merged with heating data) |  | No, only map about heating | No (analysis on heating only)
not applicable | Not applicable | Not found |  | No map found
Building regulations
Setpoint temperature | Cooling season | Definitions | Calculation methodology | Difference | Requirements | Sector
indicative | indicative | Yes | Yes, in global performance | Yes | Global and specific | yes for residential only
minimum not to exceed | mandatory | Unclear | Yes, separately | Not found | Global only | yes for non-residential only
other | other | Not found | Unclear |  | Specific only | yes for both
none found | none found |  | Not found |  | Not found | not found
AC inspections | AC sector differences | EPBDArt15(4) | EPBDArt15(5)
Mandatory regular inspections | Provisions for non-residential only | Already in force | Mandatory requirements
Alternative approach | Provisions for residential only | Deadline set | Other types of measures
Unclear | Provisions for both, and the same | Provision planned | Not found
| Provisions for both, but different | Unclear
Financing schemes
Country | Complete | Level | Topic | Type of scheme (Public) |  | Type of scheme (Private)
EU |  | EU | Y | Advisory Service, Technical Assistance |  | Advisory Service, Technical Assistance
Austria |  | National | (Y) | Loan/Soft Loan |  | Equity financing
Belgium |  | Regional |  | Energy efficiency obligations |  | Grants/ subsidy
Bulgaria |  | City |  | Equity financing |  | Green Bonds
Croatia |  |  |  | Grant/Subsidy |  | Green Leasing
Cyprus |  |  |  | Grant/Subsidy, Loan/Soft Loan |  | Green Loan
Czechia |  |  |  | Guarantee |  | Green Loan, Advisory Service
Denmark |  |  |  | Multiple (Grant/Subsidy, Tax rebate, Debt, Equity, Guarantee, TA) |  | Green Mortgage
Estonia |  |  |  | Other public scheme |  | Guarantees
Finland |  |  |  | Tax incentives |  | On-bill financing
France
Germany
Greece
Hungary
Ireland
Italy
Latvia
Lithuania
Luxembourg
Malta
Netherlands
Poland
Portugal
Romania
Slovakia
Slovenia
Spain
Sweden