## dataset_comfort temperatures
CM5 | Policies, regulations and financing schemes
| Tab 1 - National background and strategy | National background and strategy | Sources | Tab 2 - Governance | Governance | Sources | Tab 3 - Links with Adaptation | Links with adaptation | Sources | Tab 4 - Planning processes | Planning processes | More details | Sources | Tab 5 - National regulations (building level) | How space cooling is addressed in the building regulations | Main provisions relevant to space cooling needs or summer comfort | Main provisions relevant to the use of space cooling | References of the relevant regulations (or other source(s)) | Tab 6 - Regulations on space cooling systems or products | EU regulations and provisions | National implementation | References of the relevant regulations (or other source(s)) | Tab 7 - Other relevant legislations | Other EU legislations or documents relevant to space cooling or summer comfort | Other national legislations or policies relevant to space cooling or summer comfort | References of the relevant regulations (or other source(s)) | Tab 8 - Financing schemes | Overview of public schemes | Overview of private schemes | Tab 9 - Good practices | Overview of good practices | Examples
Nuts0 ID |  | Background | BackSources |  | Governance | GovSources |  | Adaptation | AdaptSources |  | Planning processes | PlanDetails | PlanSources |  | BR1 | BR2 | BR3 | BRsources |  | ProductsEU | ProductsNat | ProductsSources |  | OtherEU | OtherNat | OtherSources | FinGen | FinPub | FinPriv |  | GP1 | GP2
AT |  | Austria's draft NECP update emphasizes the importance of cooling within its national energy strategy. Cooling is repeatedly addressed in the country's energy objectives, including specific targets related to energy efficiency and the share of renewable energy in the cooling sector. While cooling is not the primary focus, it is integrated into broader energy planning and decarbonization strategies. Additionally, the NECP mentions adaptation measures for cooling, highlighting the importance of addressing the increasing demand for cooling in the context of climate change and energy efficiency improvements in buildings. | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy |  | In Austria, the framework for addressing cooling is integrated within the broader energy strategy, led primarily by the national government. Cooling is considered alongside energy efficiency and renewable energy goals outlined in national plans like the draft NECP update. While there is no dedicated cooling strategy, it is addressed through energy efficiency measures, particularly in building regulations. These regulations, set at the national level, ensure that cooling solutions are aligned with the country’s overall energy transition. Local authorities and stakeholders are engaged in discussions to promote efficient cooling technologies, while incentive schemes help encourage energy-efficient cooling practices. | draft NECP update 2023 |  | Austria's adaptation strategies related to cooling focus heavily on addressing the increasing risk of heatwaves, which are expected to become more frequent and intense due to climate change. The National Heat Protection Plan, updated regularly, involves coordinated efforts at federal, state, and local levels to protect public health during extreme heat events. The plan emphasizes the importance of public awareness campaigns, the preparation of cooling centers, and specific measures to safeguard vulnerable populations such as the elderly and those in urban areas prone to heat island effects. In addition, Austria is developing a heat early warning system to help healthcare facilities, local authorities, and the general public better prepare for and manage the health risks associated with heatwaves. The system will prioritize measures based on detailed climate scenarios, evaluating the effectiveness of interventions like urban greening and adaptation in buildings. This comprehensive approach ensures that cooling measures are integrated into Austria’s broader adaptation and public health strategies, helping mitigate the risks posed by rising temperatures. | national adaptation strategy, National Heat Protection plan Austria 2024 |  | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans. | The NECP and related assessments are aligned with Austria’s broader energy and climate goals, such as the Renewable Energy Expansion Act, which targets climate neutrality by 2040. While specific cooling data may still be limited, these assessments form the basis for future policy adjustments. At the regional level, local authorities, particularly in cities like Vienna and Graz, have been developing district heating systems, but there is no legal obligation for municipalities to create specific heating and cooling plans. Consultations with regional and local governments are ongoing, with increasing efforts to make spatial energy planning more consistent across Austria, especially regarding the integration of renewable energy into heating and cooling systems​ | draft NECP update 2023, comprehensive assessment 2020 |  | In Austria, space cooling and summer comfort are addressed in the building regulations with an official and clear definition provided. However, specifics on the measures or actions related to space cooling within the regulations are not well defined. The focus appears to be on acknowledging the importance of cooling, but detailed implementation guidelines or strategies are not outlined in the provided data. | The building regulations set specific provisions to minimize cooling demand. For new buildings, the cooling energy limit is set at 1 kWh/m³ per year, while for major renovations, the limit is 2 kWh/m³ per year. These provisions aim to reduce the need for externally induced cooling and promote energy efficiency in both new constructions and renovated buildings. | No specific provisions relevant to space cooling or summer comfort were found | OIB-LEITFADEN RL-6 (https://www.oib.or.at/de/oib-richtlinien/richtlinien/2019/oib-richtlinie-6-leitfaden) |  | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives. | In Austria, the implementation of EU energy labelling, ecodesign, and F-gas regulations is overseen by national market surveillance authorities. These authorities ensure compliance with EU standards for air conditioning units, cooling systems, and the phase-down of HFCs. Mandatory technician training and regular leak testing of large systems are part of the national enforcement, aligning with EU regulations on energy efficiency and refrigerant use. | https://leap.unep.org/en/countries/at/national-legislation/integrated-national-energy-and-climate-plan-austria |  |  |  |  | See separate file on financing schemes | - Wohnbauförderung (Housing Subsidies) - Neubau in energieeffizienter Bauweise (New building in energy efficient construction) - Abwärmeauskopplung (Waste heat extraction) - Wärme- und Kälteleitungsausbaugesetz (Heating and Cooling Line Expansion Act) -Nah-/Fernwärme Anschluss ≥ 100 kW (District heating connection ≥ 100 kW) | Climate Action Facility Loan (EIB) (Climate Action Facility Loan) - Nachhaltigkeitskredit (Sustainability Loan) - Erste Green Housing (Erste Green Housing) - Financing for Green investments (Financing for Green investments) -Going Green Kredit (Going Green Credit)
BE |  | Test | [5 empty] | Test
BG |  | Test
HR |  | No strategy or plan specific to cooling (or heating and cooling). Croatia's National Energy and Climate Plan (NECP) builds on national laws and related strategies. Croatia' Energy Act of 2012 transposed the EU acquis in the field of energy into the national legislation. This law, regularly revised, sets the process for the Energy Development Strategy until 2030 with an outlook to 2050, umbrella document for national energy planning. This strategy defines the national targets (e.g. for energy efficiency and RES) and was submitted to public consultation at the end of 2018. The 2019 Act on Climate Change and Protection of the Ozon layer complements this with the Low-Carbon Development Strategy until 2030 with an outlook to 2050, and the related Action Plan to implement this strategy over 5-year periods. The low-carbon strategy was drafted in 2017 and then aligned with the energy strategy in 2021. In parallel, the Climate Change Adaptation Strategy was adopted in 2020. More specifically about energy efficiency, the Energy Efficiency Act maintains the previous process of a National Energy Efficiency Action Plan (NEEAP) revised every three years with measures to be implemented under the NECP. More specifically about buildings, the key document is the Long-Term Strategy to encourage investment in the renovation of the national building stock until 2050, revised in 2020, with the objective to gradually increase the annual renovation rate from 0.7% in 2020 to 3% in 2030, with a 10-year average of 1.6%/year. Moreover, the Construction Act sets an obligation to regularly inspect large heating and cooling or air conditioning systems in buildings (in line with the EU Energy Performance of Buildings Directive - EPBD). About RES for heating and cooling, the measures are clearly focused on heating (and district heating). Similarly, while in theory some of the main energy efficiency policies (Energy Efficiency Obligation Scheme, energy renovation programmes for buildings, energy management systems) could address space cooling, they are mostly focused on heating, as heating remains the dominant share of buildings' energy consumption. | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy |  | The energy and climate fields mostly fall within the competence of two ministries, the Ministry of the Economy and Sustainable Development and the Ministry of Physical Planning, Construction and State Assets. The Committee for intersectoral coordination for policy and measures of mitigation of and adaptation to climate change was established in 2018, and includes a Coordination Group and a Technical Working Group, to coordinate mitigation and adaptation policies and measures. | draft NECP update 2023 |  | Croatia's Climate Change Adaptation Strategy was adopted in 2020 aims to to raise awareness about the importance and threats of climate change for society and the necessity of integrating the concept of adaptation to climate change into existing and new policies. This strategy includes the following measures relevant to sustainable space cooling, ensuring summer comfort or mitigating the impacts of heat waves: - Ensuring sustainable regional and urban development by introducing a new model of green urban renewal strategies and implementation of a pilot project for the development of green infrastructure and circular management of space and buildings. - Ensuring sustainable energy development by creating preconditions for improving the resilience of existing production capacities (thermal power plants, hydro power plants and thermal power plants –heating plants) to the effects of climate change. Initiatives are also developing at local level, for example with the Heat Stress of the City of Zagreb, or after the earthquake in 2020 that provided an opportunity for the comprehensive study of heat stress and the subsequent implementation of green infrastructure and nature-based solutions in city blocks. This has for example been investigated in pilot projects, like Greening the City (which involves the architectural design and planting of 1500 trees throughout the city, especially at educational facilities) and GreenscapeCE2 (a project which aims to develop technical and financial prerequisites for the deployment of green infrastructures and nature-based solutions) also provided solutions. | national adaptation strategy; https://www.interreg-central.eu/projects/greenscape-ce/ |  | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans. |  | draft NECP update 2023, comprehensive assessment 2020 |  | Under Construction act, there is an obligation to regularly inspect heating and cooling or air conditioning systems in buildings. Also, buildings and their installations for heating, cooling, lighting and ventilation must be designed and built so that the amount of energy they require remains at a low level, taking into account the users and the climatic conditions of the building's location. Buildings must also be energy efficient, so that they use as little energy as possible during construction and dismantling. | For buildings whose space, having regard to its purpose, should be protected against solar overheating, the outer opaque parts of the building shell exposed to sunlight must have the appropriate dynamic thermal characteristics to reduce their contribution to the heating of the air in the building during the summer months. | Residential and non-residential buildings for offices, educational purposes, hospitals, hotels and restaurants shall be designed and constructed in such a way that the annual heat required for cooling per unit of useful surface of the building, Q’’C,nd is not greater than the value 550 kWh/(m2·a). (2) Non-residential office, educational, hospitals, hotels, and restaurant buildings with a total window surface area of f > 30 % must be designed and constructed in such a way that the annual heat energy required per unit of useful area of the building , Q’’C,nd is not greater than 70 kWh/(m2·a). A building heated to a temperature higher than 12 °C and cooled to a temperature below 4 °C must be designed and constructed in such a way that the impact of the thermal bridges on the required annual heat and cooling is as low as possible and does not cause building damage in the form of internal or external surface condensation in project conditions of use of building space | https://mpgi.gov.hr/UserDocsImages/dokumenti/Propisi/PT_Technical.regulationNN128-15.pdf |  | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives. | Odinance on the labeling of the energy efficiency of air-conditioners establishes the requirements regarding labeling and delivery of additional product information for air conditioners with mains power supply, rated power ≤ 12 kW for cooling, or heating. | https://narodne-novine.nn.hr/clanci/sluzbeni/2013_04_48_940.html |  |  | not found |  | See separate file on financing schemes | Most relevant Public Schemes available are: - subsidies from National fund for Environmental Protection and Energy Efficiency (FZOEU) for energy renovation of public buildings, family homes and multi-residential buildings and for the use of renewable energy systems in family buildings - Scheme to reduce an electricity consumption levy imposed on energy-intensive companies (RES levy) - Croatian Modernisation Fund - Energy efficiency obligation scheme (White certificates) | Most relevant Private Schemes available are: - Green housing loan - Green Loans and Circular Economy - Sustainable ESG finance - Sustainability linked bonds
CY
CZ
DK
EE
FI
FR |  | France does not have a specific cooling strategy, nor a heating & cooling strategy. The national energy strategy is defined in two main planning documents: PPE (Multi-annual Energy Planning, with objectives for 5-year periods) and SNBC (National Low Carbon Strategy, long-term strategy to achieve carbon neutrality by 2050). However, the reference scenarios used for this national energy planning do not provide data nor objectives specific to space cooling. Similarly, while France implements various policy measures to promote building renovations, these schemes are primarily meant to reduce space heating consumption and do not explicitly address summer comfort or space cooling. Likewise, France's 2020 Comprehensive Assessment is focused on heating only (no data on cooling). This might be because space cooling is still a negligible share of the final energy consumption compared to space heating. From an energy efficiency viewpoint, space cooling is therefore mostly addressed through the regulations for buildings and cooling products. Summer comfort is also addressed from an adaptation perspective, with a close link with health policies, especially with the National Heat Wave Plan published in 2023 and updated in 2024. The main actions of this plan about summer comfort in buildings are to inform owners about improvements they can do to their buildings (homes and offices), and to inform building occupants about efficient behaviours. | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy |  | Consultation processes are in place, but the main decision-making about the national energy policy lies within the national government. Similarly, the building regulations are set at the national level by the Ministry of Ecological Transition, and the main incentive schemes are also national (e.g. MaPrimeRenov', white certificates scheme). Since 2009, a national committee ('Plan Bâtiment Durable', Sustainable Buildings Plan) has been established by the government to gather the stakeholders of the construction, renovation and real estate sectors, with the mission to help achieve the energy efficiency and environmental objectives for buildings. It includes various working groups that prepare reports and proposals. Due to the white certificates scheme, energy suppliers are also involved in supporting end-users to save energy, including about space cooling. Local authorities of more than 20 000 inhabitants shall prepare and implement a Local Energy Climate and Air Plan (PCAET), while regional authorities are coordinating local energy planning with regional scheme for planning, sustainable development and egality (SRADDET). | draft NECP update 2023, website of the Ministry of Ecological Transition (https://www.ecologie.gouv.fr/) |  | The latest National Adaptation Plan was published in 2018, the update has been delayed. The objective is to anticipate climate changes and extreme weather events, considering regional differences. The plan highlights the major role of local authorities. One of the main principles is to give priority to nature-based solutions wherever relevant. An emphasis is also put on overseas territories particularly vulnerable to climate changes. More specifically about cooling/summer comfort, the Ministry of Ecological Transition has developed a National Heat Wave Plan. This plan includes a set of actions to anticipate and manage heat waves, for example with: - national awareness campaign to inform about improving buildings, both dwellings and offices (e.g. sun shading) and behaviours - inventory of "cooling spots" where people can go during heat waves - online platform Cooler My City ("Plus fraîche ma ville") developed by the French agency (ADEME) to help local authorities identify solutions to their local conditions, with practical examples from front-runners - a special plan for schools | national adaptation strategy ; https://www.ecologie.gouv.fr/politiques-publiques/vagues-chaleur |  | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans. | While France's comprehensive assessments have been complemented with an online mapping of heating and cooling needs (covering cooling needs), the 2020 comprehensive assessment does not include any assessment or data specific to cooling (it is fully focused on heating). Both, the NECP and comprehensive assessment refer to the national energy planning, and especially the reference scenarios of the medium-term planning (PPE). However, these scenarios do not provide data specific to cooling. This is probably because cooling consumption are negligible compared to heating consumption. In terms of planning, the issue of summer comfort is mostly addressed as part of climate adaptation and health policy, through the National Heat Waves Plan that promotes measures to anticipate and manage heat waves (including promoting sun shading, identifying urban heat islands, etc.) | draft NECP update 2023, comprehensive assessment 2020, https://energy.ec.europa.eu/topics/energy-efficiency/heating-and-cooling_en |  | About space cooling, the regulation for new buildings aims at limiting the risk of summer discomfort, which is defined by the number of degree-hours (DH) above a base temperature (26°C at night and between 26°C and 28°C during the day, considering adaptative comfort). For buildings equipped with air conditioning, this indicator is calculated with the system turned off. | The energy performance of buildings is based on the conventional energy consumption, including space cooling. For new buildings, in cases where the degree-hours (DH) of discomfort would be too high, this consumption is increased by a cooling surcharge. The difference between residential and non-residential buildings is mainly considered in the building occupancy scenarios. For existing buildings, there are only requirements in case of major renovation (e.g. about solar protection of the glazing surfaces). | The regulatory assessment of the building energy performance considers a constant setpoint temperature for cooling devices (26°C for all buildings, except for housing used for medical care, for the elderly or young children). In theory, the regulations forbid to use lower setpoint temperature for cooling. However, in practice, this is not controlled. The energy performance requirements apply globally (no specific requirement on cooling demand/devices). For new buildings, the regulation includes a specific requirement to limit the risk of summer discomfort, with a maximum value of DH (Degree-Hours) that should not be exceeded. This threshold differs depending on the type of housing (individual or collective). For existing buildings, the requirements in case of major renovation include minimum performance requirements for air conditioning systems with a capacity higher than 12kW, devices for stopping the systems (including BACS-Building Automation and Control Systems), and pre-heating of the treated air. | Official guide about the building regulation (https://www.ecologie.gouv.fr/sites/default/files/guide_re2020.pdf) ; By-law of the regulation for existing buildings (https://www.legifrance.gouv.fr/loda/id/JORFTEXT000000822199) |  | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives. | The energy labelling, ecodesign and F-gas regulations are directly imposed in the Member States. National market surveillance authorities verify whether products sold in the EU follow the requirements laid out in Ecodesign and Energy Labelling regulations. A Concerted Action on Market Surveillance is funded by the EU to support experience sharing in this field (see: https://eepliant.eu/index.php/news). | Commission's webpage about ecodesign and energy labelling: https://energy-efficient-products.ec.europa.eu/product-list_en?prefLang=fr#heating-cooling-and-ventilation |  |  |  |  | See separate file on financing schemes | Main relevant public schemes include: - MaPrimeRénov' (main public grant for the energy renovation of dwellings) - Heat Fund (main public incentives for RES for heating and cooling, including for geothermal and district cooling) - Zero-interest eco-loan (eco-PTZ) for the energy renovation of dwellings - Social housing eco-loan - VAT reduction for energy renovation works - Energy renovation tax credit for SMEs - white certificates scheme (CEE) - Renovation Pass Hauts-De-France (Upper France, regional) | Most of the private schemes are financing solutions for energy renovation of buildings (mostly for residential buildings, when not specified otherwise) Some are related to public schemes: - Special loan to advance renovation upfront costs ("Prêt avance rénovation"), provided by commercial banks to low-income households (with financial guarantees provided by a public scheme) - Zero-interest-rate loans are also provided by commercial banks (interest rates funded by the State through the eco-PTZ scheme) Some are related to the white certificates scheme (partnerships with energy suppliers): - Eco-energy Premium Auchan (Prime Eco Energie Auchan) - Efficiency Premium (Prime Effy) - Soft loans provided by commercial banks with lower interest rates partly funded by energy suppliers Some are initiatives from financing institutions/banks: - Green mortgage by Triodos - Green Loans by La Banque Postale, for households (Prêt personnel Travaux Vert), local authorities ("Prêt vert aux collectivités") and companies ("Prêt vert"), refinanced with green bonds (offers covering residential and non-residential buildings) - Green loan EnergiBio (Prêt Energibio), by BNP Paribas - Green loan CRÉDINERGIE, by Crédit Mutuel - Green loan "Prêt Développement Durable" by Société Générale One scheme is provided by an NGO (Fondation Abbé Pierre): Housing microcredit (Microcrédit Habitat) meant for vulnerable households that cannot access the classical bank offers.
DE |  | Germany does not have a distinct space cooling policy, however it addresses space cooling through broader energy efficiency and climate policies that improve overall building performance, thus enhancing also summer comfort. These policies address: - energy efficiency standards: the Energy Saving Ordinance (EnEG, EnEV), the Building Energy Act (GEG) and the use of heat from renewable energies (EEWärmeG) set stringent energy efficiency requirements for buildings (including cooling systems); - renewable energy integration: the Renewable Energy Sources Act (EEG) encourages the use of renewable energy for cooling, such as solar thermal systems; - climate protection: the Climate Protection Act (Klimaschutzgesetz) outlines Germany's commitment to reducing greenhouse gas emissions, which includes measures to improve the energy efficiency of cooling systems; and - sustainable development: the Sustainable Development Strategy includes goals for sustainable urban development and energy-efficient buildings, promoting passive cooling techniques and low-energy cooling systems. Germany also adheres to EU directives on energy performance of buildings and eco-design requirements for energy-related products, which impact cooling systems. | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy Additional sources: - Germany's Sustainable Development Strategy, Federal Government. https://www.bundesregierung.de/breg-en/issues/sustainability/germany-s-sustainable-development-strategy-354566 - Cooling buildings sustainably in Europe https://www.eea.europa.eu/publications/cooling-buildings-sustainably-in-europe - National Space Strategy, Federal Government. https://www.bundesregierung.de/breg-en/news/space-strategy-2226198 - What is the German government doing for the climate?. https://www.bundesregierung.de/breg-en/issues/climate-action/government-climate-policy-1779414 - Climate protection and energy policy in Germany. https://www.umweltbundesamt.de/en/topics/climate-energy/climate-protection-energy-policy-in-germany |  | In Germany, the national government sets overarching policies for space cooling, while regions (Bundesländer) implement these policies. Local administrations handle specific regulations and enforcement. Utilities play a role in incentivize energy efficiency improvements, including cooling, thanks to white certificates. In Baden-Württemberg, municipalities with over 20,000 inhabitants are required to develop H&C plans by the end of 2023. At national level, municipalities with over 100,000 inhabitants must develop H&C plans by 2028. The German Energy Agency (dena) and the Federal Ministry for Economic Affairs and Climate Action (BMWK) often host consultations and workshops on energy efficiency, renewables and H&C strategies. The German government periodically opens public consultations on draft policies and regulations related to H&C. These consultations allow stakeholders, including municipalities, businesses, and citizens, to provide input and feedback. Besides, platforms like the German Association of Cities (Deutscher Städtetag) and the Association of German Cities and Municipalities (Deutscher Städte- und Gemeindebund) frequently organize forums and conferences where H&C policies are discussed. Also the Municipal Heat Transition Competence Centre (KWW) supports municipalities in developing and implementing their heat plans. | draft NECP update 2023 |  | Germany’s adaptation policies link space cooling to climate resilience through measures like summer thermal insulation, shading, and evaporative cooling in buildings. Green infrastructure initiatives, such as ventilation corridors and green roofs, combat the urban heat island effect, while heat warning systems address rising temperatures and heat-related risks. | national adaptation strategy |  | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans. | In Baden-Württemberg, municipalities with over 20,000 inhabitants are required to develop H&C plans by the end of 2023. At national level, municipalities with over 100,000 inhabitants must develop H&C plans by 2028. Currently, there are no specific obligations in Germany for companies to provide data for waste cold. The primary focus is on waste heat reporting, as mandated by the Energy Efficiency Act (EnEfG), which requires companies with annual energy consumption over 2.5 GWh to report waste heat potential to the Federal Office for Energy Efficiency (BfEE) by March 31 each year. This includes details on the annual heat quantity, maximum thermal output, and temporal availability of waste heat. Data centers have additional specific reporting requirements. | draft NECP update 2023, comprehensive assessment 2020 |  | In Germany's building regulations, space cooling is addressed mainly through global energy performance requirements for both new and existing buildings. Cooling demand is included in overall energy calculations. There is no specific requirement related to the cooling demand. Nevertheless, for new buildings, there are specific requirements on summer thermal protection. These requirements also stipulate that structural measures for summer thermal insulation shall be provided to the extent that the related investment can be recovered within their normal service life through the energy savings related to cooling. | The standard DIN 4108-2 specifies that the maximum allowed cumulated time of excess temperature is 1200 degree-hours in residential buildings and 500 degree-hours in non-residential buildings. Excess temperature is assessed against target indoor summer temperature between 25 and 27°C according to the location (considering operative temperature). The requirements on summer thermal protection shall limit the solar energy inputs, and thereby excess temperature degree hours, in line with these limits. | Regular inspections of large air-conditioning systems are mandatory for non-residential buildings. |  |  | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives. | Germany is actively implementing EU regulations on space cooling, energy efficiency and environmental impact. Germany follows the EU’s energy labelling for air conditioners, ensuring consumers are informed about energy efficiency. The latest updates aim to improve product comparison and efficiency calculations. Germany adheres to the Ecodesign Regulations on minimum energy performance standards for air conditioners and fans, including the 2024 revisions. Germany also complies with the Energy Performance of Buildings Directive and its mandatory inspections for large air-conditioning systems and requirements for building automation to regulate room temperature, as well as to the phase-down of HFC refrigerants, promoting low GWP alternatives set in the F-gas Regulation. | [5 empty] | See separate file on financing schemes | Germany offers various public financing schemes for space cooling, primarily through grants and soft loans. These schemes support energy-efficient renovations, installation of heat pumps, and modernisation in residential and non-residential buildings. Regional programs target insulation, renewable energy integration, and efficient heating/cooling systems, with tailored funding for private, municipal, and commercial entities. | Private financing for space cooling in Germany includes green loans and bonds offered by various banks, targeting energy-efficient buildings. These instruments, such as those from Umweltbank and Deutsche Hypo, support investments in sustainable commercial and residential properties, including cooling systems, energy efficiency upgrades, and reduced emissions, often with favorable terms.
EL |  | Greece did not develop yet a specific cooling or cooling and heating strategy. Overall, Greece’s energy and climate planning primarily revolves around the NECP (National Energy and Climate Plan) and the Long-Term Strategy, both of which are periodically revised to reflect new developments and commitments, in line with the EU governance regulation of the Energy Union. The NECP outlines a comprehensive roadmap for achieving specific energy and climate targets by 2030, and serves as the key reference point for national planning. Initially adopted in 2019, the NECP is currently undergoing a revision to align with the latest EU climate targets (cf. draft update of NECP submitted in 2023). This revision is anticipated to significantly shape future energy strategies and policies in the country. Complementing the NECP, Greece has also developed a Long-Term Strategy for 2050, which presents an overarching plan for climate and energy issues. The Long-Term Strategy is based on the 2030 targets established in the NECP, ensuring that progress toward these objectives is consistently monitored and achieved. In this context, the National Air Pollution Control Programme (NAPCP) and the National Climate Law 4936/2022 are aligned with the NECP and also refer to it. While the NECP is not solely a product of these frameworks, it plays a crucial role in their implementation and serves as the primary vehicle for reporting and integrating national energy planning efforts. In most cases, there is no specific objective connected directly with space cooling exclusively, while the majority of the references and targets are referred in regards to "heating and cooling". The following relevant targets are indirectly connected to space coolling: - GHG emissions and removals: e.g., "Existing EU F-gas regulations, including the new Regulation (2022/0099 (COD)) adopted by the European Commission, are expected to almost completely eliminate the use of hydrofluorocarbons (HFCs) in heat pumps and air conditioning (AC) for heating and cooling as early as 2025". The comprehensive assessment also mentions several measures to reduce fluorinated gas emissions (e.g., forbidding fluorinated gases with GWP>150; training and certification for professionals handling fluorinated gases). - Renewables: e.g., "The binding RES development target specifically for heating and cooling is set at 46% for 2030, higher than 43% of the previous NECP. Heat pumps will contribute mainly to this objective, as they use electricity and ambient heat, together with solar thermal systems." In practice, this mostly deals with heating. - Energy Efficiency: e.g., "The use of RES systems for heating and cooling (mainly heat pumps and solar thermal systems) will be enhanced by combining different policy measures in full compliance with the projections of the comprehensive assessment to promote efficient heating and cooling. In order to promote RES systems, initiatives were launched and programmes were implemented to replace energy-intensive appliances with new, more energy-efficient appliances." For example, one programme of Greece's Recovery and Resilience Plan was focused on the replacement of inefficient air-conditioning systems. | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy |  | In the period from 2020 to date, the EU has set itself more ambitious targets for 2030 and incorporated the 2050 climate neutrality target in all Member States’ NECPs. With regard to this objective, the Greek Government has submitted a long-term energy and climate strategy, as a separate study in the context of the NECP. Previously, the objectives were formulated in the context of the EU’s 'Clean Energy for All Europeans' Package adopted in 2018-2019, including the Governance Regulation of the Energy Union, as well as revisions or amendments to the Renewable Energy Directive (RED),the Energy Efficiency Directive (EED), and the Energy Performance of Buildings Directive (EPBD). The National Air Pollution Control Programme (NAPCP) (Joint Ministerial Decision No ΥΠΕΝ/ΔΚΑΠΑ/5615/121/2021, Government Gazette, Series II, No 812) has been established with national policies and measures to comply with the required national commitments on emission reductions. The NAPCP in accordance with an obligation under the above legislation is due to be updated by early 2025. Most importantly, following the European Climate Law 2021/1119 establishing a framework to achieve climate neutrality by 2050, Greece adopted for the first time a National Climate Law 4936/2022 (Government Gazette, Series I, No 105), which sets specific targets, including reducing greenhouse gas emissions by 55 % by 2030 and 80 % by 2040 (compared to 1990 levels), and achieving climate neutrality (i.e. zero total greenhouse gas emissions) by 2050. Therefore, the current NECP incorporates the objectives of the National Climate Law, the objectives of the European Union policy (RE-PowerEU and Fit-for-55 under the Green Deal) and the European directives on renewable energy sources, energy efficiency and others, which are being finalised. The Ministry of Energy and Environment oversees the NECP process, and defines and manages most policy measures and strategies relevant so space cooling (e.g. ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ), Saving at home, Saving business, ELEKTRA, Energy efficiency obligation scheme, etc.) . Regional and local authorities are involved several ways: (i) they contribute to the development of the national strategy and planning, for example by participating in the consultation process for the updated NECP; (ii) they formulate and implement policies and plans based on national guidelines, like in the case of Municipal plans for the reduction of net greenhouse gas emissions (see: http://www.opengov.gr/minenv/?p=12272 ) or Regional Plans for Climate Change adaptation; and (iii) they act as beneficiaries of relevant programmes, such as ELEKTRA (see: https://hlektra.gov.gr/home). | draft NECP update 2023 |  | In the National Climate Change Adaptation Strategy (NACCS) of 2016, of the Ministry of Environment & Energy, there is no direct reference to space cooling. Generally, it aims to contribute to the country’s resilience against climate change impacts. The NACCS forms the basis for the specification of adaptation policies and actions for each of the 13 administrative regions of Greece. The NACCS preliminary concludes that agriculture is the sector expected to be most severely affected by climate change in Greece, while the impacts on tourism and coastal systems should have major consequences on household incomes and the economy as a whole. Of particular significance is also the water reserves sector, given its implications for agriculture and water supply. The NACCS does not provide any concrete suggestion in regards to space cooling. The draft NECP update of 2023 highlights about climate change issues that the increase in the average temperature is expected to reduce energy needs for heating in winter and increase cooling needs in the summer. It also stressed that these changes in energy demand will lead to greater variability of loads, and especially to very high peak loads during heatwaves, possibly putting the electricity system at risk. There is not yet a national plan to address heat waves impacts. Nevertheless, in recent years, during periods of extreme heat, various ministries—such as the Ministry of Health, the Ministry of Labour and Social Security, and the Ministry of the Interior— have issued governmental circulars. These circulars outline guidelines and measures to protect the public from the effects of heat waves, including regulations for workplace conditions. For example, relevant circulars were issued during the extreme heat wave from July 15 to July 19, 2024 (see for example: https://www.ypes.gr/metra-prostasias-ypallilon-gia-logous-ygeias-leitourgia-dimosion-ypiresion-sto-plaisio-tou-kafsona/ ). | draft NECP update 2023 national adaptation strategy |  | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans. | Greece's comprehensive assessment reported in 2020 does not include any target specific to space cooling. It provides an assessment of the current demand for space cooling in the residential (final energy consumption of 835 GWh in 2018; useful energy demand of 1.5 TWh) and services sector (6.9 TWh of final energy consumption, 12.3 TWh of useful energy demand). It also estimated that the energy demand will increase over the next 30 years to reach 2.1 TWh in the residential sector and 19.9 TWh in the services sector (by 2050). However, the difficulty in finding data regarding the cooling sector, including district cooling (not implemented in Greece yet), made it hard to identify the cooling and district cooling potential and limited the ability to identify and implement additional policy measures. Furthermore, the need for cooling and district cooling in Greece remains relatively small compared to the need for heating and district heating. While the comprehensive assessment does not explicitly referred to the Long Term Renovation Strategy, it mentioned several renovation programmes (for family houses, multi-apartment buildings and public buildings). | draft NECP update 2023, comprehensive assessment 2020, |  | There is not a specific definition regarding space cooling or summer comfort in Greece's building regulations (KENAK). The only relevant definition is the following: "Thermal comfort is a relatively subjective situtation, affected by a number of parameters and circumstances. The most influencial are the following: air temperature (Dry bulb), mean "radiation" temperature of the surfaces of the interior, relative air humidity, user clothing, user activity and velocity of interior air currents." Space cooling is considered in the assessment of the overall energy performance of buildings. The calculation methodology specifies indicative values for comfort indoor temperature. The building requirements specific to space cooling are about the seasonal energy efficiency ratio (SEER) of the cooling system, and defined per type of cooling system and building usage (residential / non-residential). This applies to new buildings and existing buildings undergoing major renovation. | The climate zone, in which the building is based, defines the standard duration and period of the cooling season. In addtion setpoints used for the calculation of the energy performance are determined according to the uasge of the building: 26°C for residential buildings, and between 20 to 26°C for non-residential buildings (depending on the building usage). | The energy performance calculation provided in the Technocal Instructions of Technical Chamber of Greece compares the primary energy consumption of the studied building with a reference building. As a part of this process the energy demand of the cooling system is taken into consideration among a variety of other parameters, including climate zone, building usage, building envelope, HVAC systems, Building Energy Management Systems, renewables, domestic hot water, etc. One of the parameters for the estimation of energy performance calculation is the use of the building (i.e., residential or non-residential), which influences the calculation of the energy performance. There is no specific requirement for the maximum allowed cooling demand. The relevant requirements for new buildings and buildings undergoing major renovations include minimum global energy performance of the buildings (i.e. being class B or better), and cooling system efficiency (minimum SEER). | Technical Instruction of Technical Chamber of Greece: ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ) |  | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives. | The seasonal energy efficiency ratio of the cooling system must follow the minumum requirements as they are specified, according to cooling system type and building usage, in KENAK. Furthermore, the cooling system must be in accordance with EU regulations (i.e., the COMMISSION REGULATION (EU) 2016/2281 or the COMMISSION REGULATION (EU) No 206/2012). Targets and planned measures about cooling systems in the Comprehensive assessment 2020: - Reduce fluorinated gas emissions - This measure relates to the reduction of fluorinated gas emissions by preventing leaks and emissions and monitoring the use of fluorinated gases. Examples include: discontinuing the production of new refrigeration and freezing equipment for household use that works with fluorinated gases with GWP>150; production of firefighting equipment that contains HFC-23 fluorinated gases; training and certification of technical personnel that handles fluorinated gases; installing leak detection systems in large cooling systems, air conditioners, and fire protection systems; and circulation of vehicles using fluorinated gases that do not have GWP>150. - Use guarantees of origin - adopting Guarantees of Origin for biogas and hydrogen from various forms of energy and connecting the systems of Guarantees of Origin of various energy media (electricity, gas fuel, heating and cooling energy) will contribute to the penetration of renewable energy sources in final consumption. | Technical Instruction of Technical Chamber of Greece - ΤΟΤΕΕ 20701-1/2017 (ΚΕΝΑΚ), comprehensive assessment 2020 |  |  |  |  | See separate file on financing schemes | Main relevant public schemes include: - I Save 2024 Saving at home, Saving business (subsidy program aiming to finance energy efficiency upgrades: Building shell insulation, HVAC upgrade, windows, shading, integration of RES and energy management devices) - ELEKTRA (subsidy program aiming to finance energy efficiency upgrades: building shells, heating and cooling systems, energy management systems and autonomy systems aiming at the upgrade of the energy class to at least class B) -New Development Law 4887/2022 - Green Transition (tax exemptions, subsidies, leasing subsidies, wage subsidies and risk financing for eligible expenses in green transition such as expenses for innovation, research and development projects, investment for energy efficiency measures, recycling and reuse of waste high efficiency energy cogeneration from RES and production of energy from RES. - Energy efficiency obligation scheme (White certificates) (EEOS targeting suppliers of electricity, natural gas and petroleum product/ The obligated parties can implement all kind of measures (whether technical or behavioral) that can lead to final energy savings.) -Recycle-Change Appliance (Grant for the replacement of old electrical appliances, including air conditioners) | Main relevant private schemes include: - Green Fixed-Rate Mortgage Loan (Mortgage Loan for purchase, construction, completion or radical renovation of a low energy efficiency home) - Estia Green Mortgage Loan (Mortgage Loan for purchase, construction, completion or radical renovation of a low energy efficiency home) - Green Loan (Soft Loan to upgrade the energy efficiency of a house or purchase energy-saving products)
HU |  | Hungary does not have a specific cooling strategy, nor a heating & cooling strategy. The national energy strategy is defined in the NEKT (Nemzeti Energia és Klímaterv - National Energy and Climate Plan), updated last as a draft in 2023. However, the reference scenarios used for this national energy planning do not provide data nor objectives specific to space cooling. National energy policy does not specifically address space cooling, but space heating and cooling is considered together. Targets consider the reduction of final energy use for space heating and cooling, for disitrct heating and cooling, inlcuding the increas of the renewable energy ratio in the energy mix. Decarbonization targets focus on electricity, heat pumps for heating are promoted. Targets in the latest update of the draft NECP are not yet aligned with the requirements of the RED Renewable Energy Directive, or the EED recast. Similarly, while Hungary implements various policy measures to promote building renovations, these schemes are primarily meant to reduce space heating consumption and do not explicitly address summer comfort or space cooling. Likewise,Hungary's 2020 Comprehensive Assessment is focused on heating only (no data on cooling), while the renewable energy target is included only in the context of electrification. This might be because space cooling is still a negligible share of the final energy consumption compared to space heating. From an energy efficiency viewpoint, space cooling is therefore mostly addressed through the regulations for buildings and cooling products. In the energy performance certificate calculation methodology, the latest implementation of EPDB from 2023, requires the assessment of the "summer heat protection" of buildings, based on the glazing area and related solar exposure. | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy |  |  | draft NECP update 2023 |  |  | national adaptation strategy |  | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans. | The CA includes estimated energy consumption of public and commercial building: Primary energy demand of cooling 1.90 kWh/m2/year, 0.7%, Table IV.7 | draft NECP update 2023, comprehensive assessment 2020 |  | In the EPBD implementation, there is no separate requirement for limiting space cooling energy use, it is only considered as part of the total energy demand. However, there is a mandatory calculation of the methodology for "Summer heat protection", which is relevant to buildings where the total surface area of ​​the transparent structures of the building envelope that differ from the north orientation by at least 45°, or have an inclination angle lower than 45° exceeds 8% of the useful floor area of ​​the building, the solar heat gain coefficient calculated over these surfaces may not exceed the give limit. | There are several parameters for the calculation that need to be followed when calculating relevant to cooling system. Such parameters are, SEER, latent cooling demand, occupancy parameters, requirement for using free cooling, passive cooling options when it is possible in architectural or other reasons, etc As per 3.1.1 point of the Decree, when planning the building technical systems of new buildings and major renovations, it is recommended to take into account the MSZ EN 16798-1 standard or an equivalent technical specification with regard to the indoor environmental parameters to be ensured in conditioned spaces. 253/1997. (XII. 20.) Government decree on the national settlement planning and construction requirements states that during the planning and development of new buildings, protection against excessive summer warming must be ensured with architectural means (e.g. external shading) and vegetation. Local codes may include the limitation of the urban heat island effect for new developments. For example: the § 10 of the district building regulation of the 11th distric in Budapest requires that in the case of construction of offices and residential apartment block, the magnitude of the heat island effect caused by the development must be investigated, and the planned development may not cause an increase of the heat island effect. | Values are specified withtin the calculations for the reference case: Residential: Mandatory 26ºC in the calculations, 0,5 air change/hour, which value can be increased by 3 (one facade) or 6 (cross ventilation) during night time in case of natural ventilation is possible. Non-residential buildings/premises: Indicative 26ºC in the calculations, indicative values in m3/(m2h) from 4 (small office premise) to 90 (cooking kithcen) which value can be increased by 3 airchange/hour (one facade) or 6 air change/hour (cross ventilation) during night time in case of natural ventilation is possible | 9/2023. (V.25.) ÉKM decree on determining the energy performance of buildings 253/1997. (XII. 20.) Government decree on the national settlement planning and construction requirements |  | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives. | The legislation mandates regular energy audits for heating or air conditioning systems with an effective nominal capacity exceeding 70 kW. The first audit for systems in operation before the effective date must occur by December 31, 2025. Inspection reports are submitted electronically to the National Climate Protection Authority's online database. The auditor must be listed in the Hungarian Chamber of Engineers' database with specific professional practice certification (G, G-ÉF, SZÉS3, SZÉS6). Auditors must undergo yearly training defined by the Chamber of Engineers. | Act LVII/2015 on energy efficiency F-gas database: Klímagáz adatbázis:https://nemzetiklimavedelmihatosag.kormany.hu/ |  |  |  |  | See separate file on financing schemes | Schemes are not specifically targetted at reducing space cooling demand, or improving thermal comfort, but at energy efficiency as general. As energy saving is one of the main KPI to be reported in the schemes, the avoidance of space cooling with passive measures is not subsidized within the schemes. Main relevant public schemes include tax incentives: - Development tax allowance - TAO discount for energy efficiency investments Non-residential grants/subsidies or loans: - Support for the investments necessary for the transition to zero net emissions (Temporary Crisis and Transition Framework TCTF) - Factory Rescue Program - Baross Gábor Credit Program - Green Investment Loan And subsidies or loans to particular homes or areas improving energy efficiency: - Rural family housing support - REPowerEU Energy and modernization tender and Home renovation grant 2024 - Hungary Public Tenders - Energy - Loan to Rural family housing support | Similarly, the private schemes available do not focus on space cooling specifically, but are more relevant to energy efficiency globally. - Thermo / Style Credit - Green Loan - Heating Modernization - Green Bonds - Green Home loan
IE
IT |  | The Italian National Energy and Climate Plan (NECP) update highlights the country’s strategic approach towards addressing climate change and energy efficiency. Italy fully aligns with the EU's overarching goal of decarbonization, aiming to lead the world in achieving net-zero emissions. Key legislative frameworks guide this transition, including: - Fit for 55 (FF55): A package of EU legislative measures that tightens emission caps under the Emissions Trading Scheme (ETS), aiming for a 62% reduction in emissions by 2030 compared to 2005 levels. - Effort Sharing Regulation (ESR): Focuses on reducing emissions in transport, residential, agriculture, and waste sectors by 43.7% by 2030, based on 2005 levels. - LULUCF Regulation: Targets net CO2 removals in the land use, land-use change, and forestry sector, with Italy aiming to absorb more than 35 million tonnes of CO2 by 2030. Italy’s cooling strategy is intertwined with these national energy efficiency goals, emphasizing the deployment of renewables, energy-efficient technologies, and circular economy measures. In particular, the REPowerEU and NRRP (National Recovery and Resilience Plan) programs are crucial for improving energy security by accelerating the adoption of renewables and reducing reliance on Russian fuels. This includes enhancing LNG infrastructures and fostering renewable energy technologies like biomethane, hydrogen, and energy storage. | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy |  | The distribution of main responsibilities between the national, regional, and municipal levels as described in the NECP (National Energy and Climate Plan) is as follows: - National/Federal Level: The national government, through the Ministry of the Environment and Energy Security (MASE), is primarily responsible for setting and coordinating national energy and climate policies. This includes managing relations with the European Union, protecting competition, safeguarding environmental standards, and ensuring energy security. Additionally, the national level is responsible for the development and regulation of energy production, transportation, and distribution infrastructure on a broader scale, as well as implementing policies that align with national and EU targets​. - Regional Level: The regional governments have shared competencies with the national level concerning energy matters. Their responsibilities include formulating regional energy policy objectives, promoting renewable energy sources, managing local energy resources, and handling the certification of buildings for energy efficiency. Regions also play a role in the location and development of district heating systems and grant concessions for hydroelectric power projects. They are integral in ensuring the consistency of national objectives with local realities​. - Municipal Level: Municipalities and local authorities, while not as directly involved in energy policy formation, play an important role in implementing energy transition measures on the ground. They contribute through sustainable energy action plans (SEAPs) and local climate action strategies (PAESC), especially within the framework of the Covenant of Mayors. Municipal authorities help manage energy usage at the community level, especially for projects like renewable energy communities and decentralized renewable energy generation​. This hierarchical distribution ensures that energy and climate policy integrates national objectives while being tailored to regional and local contexts. | draft NECP update 2023 |  | The document provides information on adaptation issues related to cooling, particularly in the context of increasing heat waves and rising temperatures due to climate change. Here are the key points: -Increased Heat Waves and Cooling Demand: The document highlights the increase in the frequency and intensity of heat waves, particularly in flat and coastal areas. This is expected to lead to a higher demand for cooling and an increase in electricity consumption during the summer months . This rise in cooling needs, especially during heat waves, can exacerbate grid stress, leading to the risk of blackouts . -Cooling Strategy: The strategy for cooling includes promoting technologies such as electric and gas heat pumps, which can serve heating, air-conditioning, and domestic hot water needs. These systems are viewed as integral to addressing the increased demand for cooling . In particular, heat pumps are expected to contribute significantly to renewable heat and cooling needs . Italy is also promoting efficient district cooling systems to manage increased energy needs effectively . -Adaptation Actions: The plan includes measures like the renovation of existing buildings to improve energy efficiency and reduce the cooling demand. There is also an emphasis on adapting new buildings to better handle the cooling demand by integrating renewable energy technologies and energy-efficient solutions . The use of reflective materials, natural ventilation systems, and reforestation in urban areas are also part of adaptation efforts . In summary, the action plans outlined focus on increasing the resilience of the energy system to handle rising cooling demands, implementing energy-efficient technologies like heat pumps and district cooling, and upgrading infrastructure to reduce vulnerability to the impacts of heat waves. These measures are aligned with Italy's broader climate adaptation strategies to address the increasing risks posed by climate change. | draft NECP update 2023 |  | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans. |  | draft NECP update 2023, comprehensive assessment 2020 |  | The building regulations in Italy, based on the EPBD (Energy Performance of Buildings Directive), require the calculation of energy performance, including space cooling. Legislative Decree No. 48 of 2020, which transposes Directive (EU) 2018/844, updates criteria related to summer air conditioning, including provisions on energy efficiency checks for air conditioning systems. Presidential Decree No. 74/2013 also mandates inspections of thermal installations for both winter and summer conditioning with specific energy efficiency control requirements . | The key provisions regarding summer comfort and space cooling are included in updates to the operation, maintenance, and inspection criteria for air-conditioning systems, with specific focus on minimizing energy consumption and optimizing thermal comfort. Regulations also address the need for thermo-hygrometric well-being, especially in relation to maintaining appropriate indoor climate control. Further, measures to control the periods and limits of system operation based on climatic conditions are outlined to ensure comfort while reducing unnecessary energy use . | Italy's building regulations define the periodic inspections and operational criteria for cooling systems. These include guidelines for monitoring energy efficiency, the operation of air-conditioning systems, and limits on their use based on power capacity (systems over 12 kW). There are also considerations for controlling the use of these systems by setting minimum temperature thresholds and operational times to conserve energy while ensuring comfort. The regulation also emphasizes the adoption of efficient technologies like heat pumps for space cooling . | draft NECP update 2023, national regulations |  | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives. | In Italy, national regulations concerning space cooling systems are evolving to address energy efficiency and environmental impact: - General Provisions on Air Conditioning Systems: Italian national regulations include specific measures aimed at updating and replacing highly emitting cooling and heating installations. These updates are intended to reduce emissions and improve energy efficiency. One focus is on progressively replacing older systems such as diesel boilers and non-efficient biomass installations with low-emission, high-efficiency technologies . - Introduction of New Limits for Cooling Systems: New limits are being considered for the use of cooling installations in Italy. These may include constraints on days of use, specific times of day, and minimum temperature thresholds. These regulations would be applied differently depending on the climatic zone, with an update expected for Presidential Decree No 74/2013 . | draft NECP update 2023, national regulations |  |  |  |  | See separate file on financing schemes | In Italy, the Home Plafond scheme provides subsidized mortgages for specific groups, including young couples and families with disabled members, for purchasing energy-efficient homes or improving energy efficiency through renovations. The National Recovery and Resilience Plan (PNRR) supports sustainable energy initiatives, including the Green Transition Fund with €250 million for sectors like renewables and energy efficiency, and an additional €200 million for efficient district heating and cooling networks. | In Italy, private financing schemes for energy-efficient homes focus on offering lower interest rates and flexible terms to encourage environmentally-friendly property investments. Banks like Intesa Sanpaolo, Banca Etica, and Crédit Agricole provide green mortgages with incentives, such as reduced fees and interest rates, for purchasing or renovating properties with high energy efficiency ratings (EPC B or higher). These schemes often require energy certifications and prioritize renovations that significantly improve energy performance.
LV
LT
LU
MT
NL
PL
PT
RO
SK
SI
ES |  | Spain is already strongly impacted by climate changes, notably warmer summers. This resulted for example in several thousand deaths attributed to the heat wave in 2022. Sustainable space cooling is therefore one of the key issues related to climate adaptation, with major implications for health and the electricity system (cf. summer peak loads). These concerns can also be found in the recommendations from the Citizens’ Climate Assembly, and more specifically these two ones: - Adapting housing to climate change for people in vulnerable situations or in need of specific care; - Reduce the sensitivity of workplaces to the potential impacts of climate change, taking advantage of their environmental conditions to improve energy efficiency Spain does not have a strategy or roadmap specific to cooling (or heating and cooling). The broader umbrella strategy has been established from 2019 with its Strategic Energy and Climate Framework (Marco Estratégico de Energía y Clima) gathering the key planning processes (including the National Energy and Climate Plan - NECP), and complemented with specific roadmap (including the Long Term Building Renovation Strategy - ERESEE). Major policy instruments for energy efficiency in buildings include regulations (Technical Building Code - CTE and Regulation on Thermal Installations in Buildings - RITE) and renovation programmes (e.g. PREE, PREE 5000, PREE Terciario + PIREP schemes for public buildings) with financial incentives partly funded by the National Energy Efficiency Fund and boosted by the Recovery, Transformation and Resilience Plan (PRTR), and more specifically its Housing Rehabilitation and Urban Regeneration Plan. The action types eligible to these programmes include actions relevant to sustainable space cooling such as sun shading, free cooling, efficient air conditioning and ventilation systems, building automation and control systems, connection of the building to district heating and/or cooling. Spain also implements an Energy Efficiency Obligation Scheme, including white certificates (CAE) since 2023, but the extent to which it could support building renovations or space cooling actions is not known yet. The draft NECP update (2023) clearly mentions the objective to significantly develop district heating and cooling (while stressing that district cooling was still rare in Spain). More specifically to cooling systems, Spain already implements a set of measures to reduce GHG emissions related to fluorinated gases, including the Regulation (EU) No 517/2014 and complementary measures (e.g. tax on fluorinated gases). The Sectoral Plan for Market Surveillance of Energy Labelling aims at ensuring good information for the purchase of cooling equipment, in line with the related EU regulations. Another important background element is that Spain has already a high share of RES in its electricity mix (43% in 2020), and aims at reaching 81% RES by 2030. As space cooling is mostly supplied with electricity, this means that indirect CO2 emissions related to space cooling should significantly decrease. This also means that flexibiliy in electricy end-use (including space cooling) will also be increasingly important. This should be partly ensured with the development of self-consumption that has known an exponential growth in Spain in recent years (self-consumption capacities increased from 0.4 GW in 2018 to 5.2 GW in 2022). | draft NECP update 2023, comprehensive assessment 2020, national adaptation strategy |  | The major public authorities for policies relevant to sustainable space cooling are MITECO (Ministry for the Ecological Transition and the Demographic Challenge) and MIVAU (Ministry for Housing and Urban Agenda). MITECO coordinates the umbrella Strategic Energy and Climate Framework, and MIVAU leads the building regulations (together with MITECO). They jointly define the renovation programmes that are co-managed with the Regions (Autonomous Communities). The Autonomous Communities and local authorities play a major role in the implementation of the energy efficiency policies and programmes (including for the building regulations and the renovation programmes), according to Spain’s distribution of legal competences. Moreover, the Spanish Urban Agenda (Agenda Urbana Española - AUE) provides a voluntary framework for municipalities to develop action plans covering various objectives. Strategic objective 2 includes among others 'improving the quality and sustainbility of buildings'. Strategic objective 3 includes among others 'adapting the territorial and urban planning to the effects of climate change and achieve progress in preventing climate change'. IDAE (national agency to diversify and save energy, related to MITECO) provides technical support to the design, implementation and monitoring of the energy efficiency policies and programmes. It is in charge of the National Energy Efficiency Fund, and coordinates the implementation of the renovation programmes. Energy suppliers are the obligated parties of the Energy Efficiency Obligation Scheme now including white certificates (CAE). However, it is not known yet if their programmes will include incentives for actions related to sustainable space cooling (and to what extent this would play a significant role in this field). | draft NECP update 2023 |  | Spain is among the front-runner countries in developing a national adaptation plan (Plan Nacional de Adaptación al Cambio Climático - PNACC), adopting its first one in 2006. The new plan was adopted in 2020 for the period 2021-2030. As stressed in the background section above, Spain is already significantly impacted by climate changes, notably warmer summers and more frequent and intense heatwaves, as well as more frequent and severe droughts. Clear links are made between the PNACC and the NECP. For example, among the various action lines of the PNACC, action line I.8 is about cities, urban planning and buildings (e.g. to address urban heat islands, and with action 8.3 focused on integrating adaptation in the buildings sector), and I.10 is about climate change impacts on the energy sector (e.g. action 10.4 to improve knowledge about the impacts of climate change on energy demand and identify measures to prevent or limit peaks in demand, especially those associated with heat waves). In the other way, measures of the NECP, such as ‘Low-Emission Areas’ or ‘Energy efficiency in existing buildings in the residential sector’ are also meant to contribute to adaptation purposes as they reduce the impact of heat waves on the population. The draft NECP update also highlights that it is essential that these measures are developed with adaptive criteria to ensure their feasibility and functionality in a climate change context. Since 2004, the Health Ministry prepares an annual National Plan for Preventive Actions for the Effects of Excess Temperatures on Health (Plan Nacional de Actuaciones Preventivas de los Efectos del Exceso de Temperaturas sobre la Salud), including an alert system (4 levels of risk) to inform citizen and coordinate the actions of local governments. | national adaptation plan 2021-2030; draft NECP update 2023; https://www.miteco.gob.es/es/cambio-climatico/temas/impactos-vulnerabilidad-y-adaptacion/plan-nacional-adaptacion-cambio-climatico.html |  | At national level, Article 25(1) of the Energy Efficiency Directive (EU)2023/1791 requires Member States to submit a comprehensive heating and cooling assessment now as part of their NECP, including an update every 5 years, and to be prepared jointly with the assessment of their potential of energy from renewable sources and of the use of waste heat and cold in the heating and cooling sector (required by the Renewable Energy Directive (EU) 2018/2001). This assessment aims at mapping heating and cooling needs and supply, and analysing the economic potential for efficiency in heating and cooling (including district cooling), to propose changes or new policy measures when needed. In practice, this should also be consistent with the National Building Renovation Plans (replacing the former National Long Term Renovation Strategies), required by Article 3 of the Energy Performance of Buildings Directive (EU)2024/1275. At local level, Article 25(6) of the EED requires Member States to ensure that regional and local authorities with a total population higher than 45000 prepare local heating and cooling plans. | Spain does not have a specific cooling plan (or heating and cooling) plan. The overall energy and climate planning is done following the process of the NECP, under the Climate Change and Energy Transition Law, and aligning the trajectory with the Long Term Strategy (to achieve carbon neutrality by 2050). More specifically about buildings, the Long Term Building Renovation Strategy (ERESEE) is the main roadmap. The current version was published in 2020. It should be soon revised, according to the new EPBD adopted in May 2024. The Comprehensive Assessment for heating and cooling (2020 version) provides a detailed estimation of the cooling demand (useful energy) and related final energy (mostly electricity) consumption, that would have represented 4% in housing and 29.5% in services of the final energy consumption for heating and cooling (i.e. space heating, space cooling and domestic hot water). However, this does not include electricity consumption for fans/ventilators (and likely not for mobile air-conditioning systems either). The projection foresaw a large increase in the cooling demand (useful energy) in housing (+40% in 2030 vs. 2018), and a moderate increase in services (+ 8% in 2030 vs. 2018). The revised projections (in line with the updated targets) in the draft NECP update 2023 show that the reduction final energy consumption of the residential and service sectors would represent about 23% of the total reduction in Spain's final energy consumption. More specifically, the expected cumulative savings over 2021-2030 in the residential and service sectors would represent 21% of Spain's energy savings obligation (Art.8 EED), behind savings in transport (36%) and industry (25%). Moreover, it is likely that most expected savings in buildings be related to space heating, not to space cooling. The technologies considered for space cooling in the Comprehensive Assessment 2020 include, by decreasing order of technical potential for cooling in housing and services: air-source heat pumps, ground-source heat pumps, district heating and cooling (with various technologies), concentrated solar thermal (with absorption systems) and high-efficiency cogeneration (with absorption systems). The draft NECP update promotes the development of district cooling as the most sustainable option to supply space cooling (while the Comprehensive Assessment showed that individual heat pumps would be more cost-effective). District cooling is still rare in Spain, and further studies and R&D seem to be needed to support the development of district cooling. | draft NECP update 2023, comprehensive assessment 2020 |  | The Technical Building Code (Código Técnico de la Edificación, CTE) specifies all the technical regulations that buildings need to comply with. The part related to energy efficiency requirements is the CTE-HE for energy savings, which covers six criteria including: - one about the maximum (upper) limit of primary energy consumption in kWh/m².year (including heating, cooling, domestic hot water, ventilation, and, where appropriate, lighting), according to the regulatory climate zones: this has been aligned with the nZEB (nearly Zero Energy Buildings) and also includes maximum limits for non-renewable primary energy consumption (also in kWh/m².year). As the calculation methodology gives first the final energy consumption, the regulation provides conversion factors (final to primary). The conversion factor for electricity has a strong influence on how energy consumption due to cooling weights in the total primary energy consumption. - one about the conditions for the control of energy demand, that include the requirements on thermal insulation (depending on the climate zones) - one about the conditions for thermal systems (including cooling systems). Space cooling is thus taken into account when assessing the overall energy performance of the building. No specific requirement applies to the cooling demand. The Regulation on Thermal Installations in Buildings (RITE) complements the Technical Building Code (CTE) with specific requirements about the thermal systems (including cooling systems). These requirements cover the sizing and minimum energy performance standards that are aligned with the EU Ecodesing regulations. | The main objective of the regulation is to ensure that the thermal well-being of the building occupants is achieved with a "rational use of energy". "Thermal well-being" is defined in the terminology (Annex A) of the regulation CTE-HE as "indoor conditions of temperature, humidity and air speed established by regulations that are considered to produce an adequate and sufficient sense of well-being for the occupants." It is put in practice through operational conditions (indoor temperature, humidity, airflow), and distinguishing winter (October to May) and summer (June to September) periods. | For residential buildings, these conditions are specified in Annex D of the regulation CTE-HE (standard setpoint cooling temperatures of 25-27°C). For certain tertiary buildings, the complementary regulation for thermal systems (RITE) specifies that the setpoint cooling temperature shall not be lower than 26°C (requirement temporarily increased to 27°C during the energy crisis 2022-2023). |  |  | The EU legislation ensures the information of consumers through the Energy Labelling Directive, that established the first energy labels for room air conditioners in 2003, with minimum requirements on energy labelling of air conditioners coming into force in 2011 (cf. Regulation (EU) No 626/2011). Minimum energy performance requirements for small air conditioners and comfort fans were first introduced in 2012 by the ecodesign regulation (EU) No 206/2012, further updated in 2014 and 2018. Larger air conditioners (capacity larger than 12 kW) are covered by the ecodesign regulation on air-heating and cooling products ((EU) 2016/2281). A joint revision of the energy labelling and ecodesign regulations for air conditioners and comfort fans was on-going in 2023, with an adoption of the new regulations planned for 2024 . This revision aims, among other objectives, at increasing consistency between both regulations and making it easier for consumers to compare products, improving the method to calculate products’ energy efficiency and remove the least efficient products from the market. The Energy Performance of Buildings Directive (EU)2024/1275 includes requirements for cooling systems, once in use, with mandatory regular inspections for large air-conditioning systems (cf. Art.23 and 24), and provisions for the installation of building automation and control systems and devices that regulate temperature at room level (cf. Art.13). Moreover, the EU Regulation 842/2006 introduced requirements to reduce leakages of HFCs from refrigeration and air-conditioning systems, for example with mandatory training of technicians and mandatory leak testing of large systems. This regulation was repealed by the EU Regulation 517/2014 (F-gas regulation) setting the ground for an overall phase-down of the quantity of HFC refrigerant that can be sold in the EU (79% decrease by 2030) and bans on certain refrigerants in specific applications. The new regulation was meant to stimulate a progressive shift to low GWP (Global Warming Potential) alternatives. | The National Market Surveillance Strategy adopted in 2022 includes the Sectoral Plan for Market Surveillance of Energy Labelling (covering cooling systems). About fluorinated gases, the draft NECP update includes a measure (1.34) focused on the reduction of the related GHG emissions related, including the following objectives: A.1. Replacement of installations using fluorinated gases with high warming potential (GWP) (mainly cooling/air conditioning equipment) with other installations using low or zero GWP ; A.2. Reduction of HFCs emissions through actions in existing installations using HFCs (mainly to reduce leaks, through regular checks, automatic leak control systems, retrofit etc.) A.3. Recovery and management of F-gases at the end of life of equipment A.4. Promotion of the use of low-GWP lightly flammable refrigerants (revision of the safety standards for cooling and air conditioning, to make it possible a greater use of slightly flammable low-GWP A2L refrigerants, such as R32 and HFO, especially in the domestic air conditioning sector). The policy instruments to achieve these objectives (for the scope of cooling and air conditioning equipment) include mostly taxation and regulations: - a tax on fluorinated greenhouse gases (Law 16/2013) - Gradual reduction by quota system under Regulation (EU) No 517/2014 - Royal Decree 115/2017 regulating the placing on the market and handling of fluorinated gases and equipment based on them, as well as the certification of the professionals using them and establishing the technical requirements for installations carrying out activities that emit fluorinated gases - Amendment of Royal Decree 138/2011 approving the safety regulation for refrigeration installations and its additional technical instructions | see details in draft NECP update 2023 |  |  |  |  | See separate file on financing schemes | Renovation programmes aim at reducing both, heating and cooling demand. Eligible actions include sunscreen/sun shading, free cooling, efficient air conditioning and ventilation systems, building automation and control systems, connection of the building to district heating and/or cooling. Moreover priority is given to investments in the thermal envelope over improvements in thermal installations, in line with the Energy Efficiency First principle (and to avoid over-sizing of heating and cooling systems). The main national programmes include: - PREE (Programme of Aid for Energy Renovation Actions in Existing Buildings) - PREE 5000 Programme (Energy Renovation Programme for existing buildings in municipalities facing demographic challenges, focused on municipalities of less than 5000 inhabitants) - Rehabilitation programme for economic and social recovery in residential settings - PIREP for the renovation of public buildings (part of the Energy Transition Plan in the General State Administration), with complementary schemes for the buildings of Autonomous Communities and municipalities. - Regeneration and Demographic Challenge Programme (DUS 5000) - PREE Terciario (for tertiary buildings, including incentives for efficient cooling systems) | Some of the banks offer green loans meant for investments in energy efficiency of buildings (or sustainable buildings), all covering improvements of the building envelope (or overall energy performance) and some also the cooling systems: - Energy Efficiency Loan (Préstamo Eficiencia Energética), by Santander (for residential buildings) - PF4EE by Santander (for non-residential buildings) - Green Loan 'Préstamo Eficiencia Energética Comunidades de Propietarios', by BBVA (for condominiums) - Sustainable Building loan (Edificio +Sostenible), by Ibercaja (for both, residential and non-residential buildings) Example of green mortgage: - Green mortgages (emisión 'verde' de cédulas hipotecarias) by Caja Rural Navarra
SE
UK